## Table 126
Table 126: Microbiological Methods for Ambient Water
Fields of Accreditation in Ambient Water
Laboratory Name:
Certificate #:
Please refer to footnotes at the end of this Table
Subgroup Code | Analyte Code | Method | Analyte | Technology | Enter Y for Selection
126.021 | 001 | m-ColiBlue24 | E. coli (Enumeration) | MF
126.023 | 001 | EPA 1103.1 | E. coli (Enumeration) | MF
126.025 | 001 | EPA 1106.1 | Enterococci | MF
126.027 | 001 | EPA 1600 | Enterococci | MF
126.029 | 001 | EPA 1603 | E. coli (Enumeration) | MF
126.031 | 001 | EPA 1604 | E. coli (Enumeration) | MF
126.100 | 001 | SM 9213 D-2007 | E. coli (Enumeration) | MF
126.102 | 001 | SM 9221 B-2014 | Total Coliform (Enumeration) | MTF
126.104 | 001 | SM 9221 E-2014 | Fecal Coliform (Enumeration) | MTF
126.106 | 001 | SM 9221 F-2014 | E. coli (Enumeration) | MTF
126.106 | 002 | SM 9221 F-2014 | Fecal Coliform (Enumeration) | MTF
126.108 | 001 | SM 9222 B-2015 | Total Coliform (Enumeration) | MF
126.110 | 001 | SM 9222 D-2015 | Fecal Coliform (Enumeration) | MF
126.112 | 001 | SM 9222 I-2015 | E.Coli (Enumeration) | MF
126.114 | 001 | SM 9230 B-2013 | Fecal Streptococci | MTF
126.116 | 001 | SM 9230 C-2013 | Enterococci | MF
126.116 | 002 | SM 9230 C-2013 | Fecal Streptococci | MF
126.118 | 001 | SM 9230 D-2013 Enterolert | Enterococci | Enzyme substrate
126.120 | 001 | SM 9223 B-2016 Colilert | E. coli (Enumeration) | Enzyme substrate
126.122 | 001 | SM 9223 B-2016 Colilert 18 | E. coli (Enumeration) | Enzyme substrate
Footnotes:
Laboratories are required to check with all of the CA ELAP approved PT providers to find a PT study.
Where PTs are available, laboratories are required to participate in PT studies for the matrix selected.
Water Pollution PT studies are required for aqueous matrices.