#### Checklist for Drinking Water Source Assessment – Surface Water Source

Public water system:						ID No.:

Name of source:						ID No.:

Assessment date:		Assessment conducted by

Water System Contact Name:						Phone #:

Water System Contact Address:

The following information should be contained in the drinking water source assessment submittal.

If another report that is the functional equivalent to the drinking water assessment (e.g., Watershed Sanitary Survey) is included in this assessment, the part of that report that fulfills the components of the source water assessment should be clearly indicated.

Delineation of source area and protection zones

Source Data Sheet

Physical Barrier Effectiveness Checklist

Possible contaminating activities (PCA) inventory form

Assessment map with source location, source area (watershed), and protection zones (if defined).

Additional maps (optional) (e.g. local maps of zones and PCAs, recharge area maps, or maps indicating direction of ground water flow)

Means of Public Availability of Report (indicate those that will be used)

Notice in the Consumer Confidence Report* (minimum)

Copy in regulatory agency (DHS or LPA) office (minimum)

Copy in public water system office (recommended)

Copy in public library/libraries

Internet (indicate Internet address:  __________________________)

Other (describe)

*The CCR should indicate where customers can review the assessments.

Delineation for Surface Water Source Area and Protection Zones

Public water system:						ID No.:

Name of source:						ID No.:

Delineation date:______________Delineation conducted by _____________________________

The delineation of protection zones for a surface water source is optional.  The source area for a surface water source is the watershed.

If protection zones are established, the recommended distances are as follows:

Zone A:	   400 feet from reservoir banks or primary stream boundaries

200 feet from tributaries

Zone B:	2,500 feet from intakes

Protection zones established for this source are:

Zone A:	_________feet from reservoir banks or primary stream boundaries

_________feet from tributaries

Zone B:	_________feet from intakes

| SURFACE WATER DATA SHEET |
| --- |
| Complete as much information as possible. Leave blank if information is not available, use N.A. if not applicable. |
| * Indicates items required for Source Water Assessment |  |  |
|  | (separate multiple entries in field with semi-colon) | Actual, Estimated or Default? |
| GENERAL INFORMATION |  |  |
| System Name |  | from DHS database |
| System Number |  | from DHS database |
| Source of Information (well log, DHS/County files, system, etc) |  |  |
| Organization Collecting Information (DHS, County, System, other) |  |  |
| Date Information Collected/Updated |  |  |
| SOURCE IDENTIFICATION |  |  |
| * Source Name |  | from DHS database |
| * DHS Source Identification Number (FRDS ID No.) |  | from DHS database |
| Source Status (Active, Standby, Inactive) |  | from DHS database |
| SOURCE LOCATION |  |  |
| Inlet Ground Surface Elevation (ft above Mean Sea Level) |  |  |
| Street or Road |  |  |
| Nearest Cross Street |  |  |
| City |  |  |
| County |  |  |
| Site plan on file? ("YES" or "NO") |  |  |
| TYPE OF SOURCE |  |  |
| Type of Source: (Lake, Reservoir, River, Stream, Creek, Other) |  |  |
| Production (gallons per year) |  |  |
| Frequency of Use (hours/year) |  |  |
| LAKE/RESERVOIR DATA (If Applicable) |  |  |
| Name of Lake or Impounding Reservoir |  |  |
| Date Dam Constructed |  |  |
| Dam Length (feet) |  |  |
| Dam Height (feet) |  |  |
| Dam Width - Base (feet) |  |  |
| Dam Width - Top (feet) |  |  |
| Surface Area when full (acres) |  |  |
| Capacity (acre-feet) |  |  |
| Reservoir Yield (gallons per day) |  |  |
| Yield Reliability (% of time the above yield can be supplied) |  |  |
| Outlet Location |  |  |
| Outlet Level(s) (distance below maximum water surface) (feet) |  |  |
| Multiple Outlet Depths Available? "YES" or "NO" |  |  |
| Outlet Distance to Inflow (feet) |  |  |
| Algae Control Measures |  |  |
| Type of Recreational Activities in Reservoir (list all that apply: boating, swimming, fishing, water skiing, etc.) |  |  |
| Distance to Nearest Sewage Facilities to Outlet (feet) |  |  |
| STREAM INTAKE DATA (If Applicable) |  |  |
| Name of River, Stream or Creek |  |  |
| Intake Location |  |  |

| SURFACE WATER DATA SHEET (continued) |
| --- |
| STREAM INTAKE DATA (If Applicable) (continued) |  |  |
| Stream Flow - Maximum (ft3/sec) |  |  |
| Stream Flow - Minimum (ft3/sec) |  |  |
| Stream Flow - Average (ft3/sec) |  |  |
| Date Diversion Structure Constructed |  |  |
| Diversion Structure Type (direct, infiltration gallery, etc.) |  |  |
| Distance to Nearest Sewage Facilities to Diversion Structure (feet) |  |  |
| WATERSHED DATA |  |  |
| Area of Watershed (acres) |  |  |
| Area Owned or Controlled by Water System (acres) |  |  |
| Primary Tributaries |  |  |
| Topography (list all that apply: flat terrain, hilly, mountainous, etc.) |  |  |
| Percent slopes (range) |  |  |
| Geology |  |  |
| Watershed prone to landslides? "YES" or "NO" |  |  |
| Predominant Soil Types (list all that apply: sand, loam, silt, clay, gravel, rock, fractured rock) |  |  |
| Predominant Vegetation (list all that apply: grass, shrubs, chaparral, trees, forested, etc.) |  |  |
| Watershed prone to erosion? "YES" or "NO" |  |  |
| Mean Seasonal Precipitation (inches/year) |  |  |
| Significant Ground water Recharge? "YES" or "NO" |  |  |
| * Neighborhood/Surrounding Area (see Note 1) |  |  |
| Wastewater measures (septic systems, sewer treatment, etc.) |  |  |
| Watershed control measures |  |  |
| INTAKE PIPE |  |  |
| Material |  |  |
| Diameter |  |  |
| Length |  |  |
| Depth |  |  |
| Pumped or Gravity flow |  |  |
| Discharges to: (i.e., distribution system, storage, etc.) |  |  |
| INTAKE PUMP INFORMATION |  |  |
| Number |  |  |
| Make |  |  |
| Type |  |  |
| Size (hp) |  |  |
| * Capacity (gpm) |  |  |
| Lubrication Type |  |  |
| Type of Power: (i.e., electric, diesel, etc.) |  |  |
| Auxiliary power available? ("YES" or "NO") |  |  |
| Operation controlled by: (i.e., level in tank, pressure, etc.) |  |  |
| REMARKS AND DEFECTS (use additional sheets as necessary) |  |  |
| NOTES |  |  |
| 1. Neighborhood/Surrounding Area (list all that apply): A= Agricultural, Ru = Rural, Re = Residential, Co = Commercial, I = Industrial, Mu = Municipal, P = Pristine, O = Other |

Physical Barrier Effectiveness Checklist -- Surface Water Source

Public water system:						ID No.:

Name of source:						ID No.:

Assessment date:______________  Assessment conducted by _________________________________

Drinking Water Source/ Watershed Information

Note:  Most of the following information should be available from the Watershed Sanitary Survey of the water source.

- Is the source an impounded reservoir or a direct stream intake?

- Reservoir

- Stream intake

- Other, describe:

- Source Characteristics

a.	Area of tributary watershed:			acres or square miles

b.	Area of water body within watershed:		acres or square miles

c.	Volume of water body:				acre-feet

d.	Maximum rate of withdrawal through intake:		gallons per day

e.	Are the primary tributaries seasonal, perennial or both?

- What is the approximate travel time to the intake for water at farthest reaches of the water body?

- Source is direct intake, no impounded water body

- Less than 30 days

- More than 30 days and less than 1 year

- More than 1 year

- What is the general topography of the watershed?

a.	Flat terrain (<10% slopes)

- Hilly  (10 to 30% slopes)

- Mountainous (> 30% slopes)

- Not sure

- What is the general geology of the watershed?

- Materials prone to landslides

- Materials not prone to landslides

- Not sure

- What general soil types are on the watershed?

- Rock

- Loams, sands

- Clay

- Not sure

Physical Barrier Effectiveness Checklist -- Surface Water Source

(continued)

- What type of vegetation covers most of the watershed?

- Grasses

- Low growing plants and shrubs

- Trees

- Not sure

- What is the mean seasonal precipitation on the watershed?

- More than 40 inches/year

- 10 to 40 inches/year

- Less than 10 inches/year

- Not sure

- Is there significant ground water recharge to the water body?

- Yes

- No

- Not sure

# Physical Barrier Effectiveness Determination

Parameters indicating Low Physical Barrier Effectiveness

(A source with any of the parameters listed below would be considered to have less effective physical barrier properties)

3a

4c or 4d

5a or 5c

7c or 7d

8a or 8d

9a

Parameters indicating High Physical Barrier Effectiveness

(A source would need to have all of the parameters listed below to be considered to have highly effective physical barrier properties)

3d and

4a and

5b and

7a and

8c and

9b

All other sources are considered to have Moderate Physical Barrier Effectiveness

Determination for this source:

Low

Moderate

High

Possible Contaminating Activities (PCA) Inventory Form

Surface Water Source

Public water system name:						ID No.

Name of drinking water source:					ID No.

Inventory date: 			         Inventory conducted by:

Name of Surface Water Body :

Indicate PCAs pertinent to the drinking water source, its source area (watershed) and protection zones (if established), from the following tables, as applicable:

Commercial/Industrial

Residential/Municipal

Agricultural/Rural

Other (required for all)

Are zones established?   YES   or    NO

Proceed to appropriate checklist or checklists.  Indicate whether the PCA is located in the zone or watershed by placing a Y (yes), N (no), or U (unknown) in the appropriate boxes.

Example:

Y

N

U

Risk Ranking of PCAs, where  VH = Very High Risk, H = High Risk, M = Moderate Risk, L = Low Risk

Note: If zones are not established use higher risk ranking.  If zones are established, use higher risk ranking in zones, lower risk ranking for remainder of watershed.

| PCA Checklist COMMERCIAL/INDUSTRIAL |
| --- |
|  | If Zones Established |  |  |
| PCA (Risk Ranking) | PCA in Zone A? | PCA in Zone B? | PCA in Watershed? | Comments |
| Automobile-related activities |  |  |  |  |
| Body shops (H) |  |  |  |  |
| Car washes (M) |  |  |  |  |
| Gas stations (VH) |  |  |  |  |
| Repair shops (H) |  |  |  |  |
| Boat services/repair/ refinishing (H) |  |  |  |  |
| Chemical/petroleum processing/storage (VH) |  |  |  |  |
| Chemical/petroleum pipelines (H) |  |  |  |  |
| Dry cleaners (VH) |  |  |  |  |
| Electrical/electronic manufacturing (H) |  |  |  |  |
| Fleet/truck/bus terminals (H) |  |  |  |  |
| Furniture repair/ manufacturing (H) |  |  |  |  |
| Home manufacturing (H) |  |  |  |  |
| Junk/scrap/salvage yards (H) |  |  |  |  |
| Machine shops (H) |  |  |  |  |
| Metal plating/ finishing/fabricating (VH) |  |  |  |  |
| Photo processing/printing (H) |  |  |  |  |
| Plastics/synthetics producers (VH) |  |  |  |  |
| Research laboratories (H) |  |  |  |  |
| Wood preserving/treating (H) |  |  |  |  |
| Wood/pulp/paper processing and mills (H) |  |  |  |  |
| Lumber processing and manufacturing (H) |  |  |  |  |
| Sewer collection systems (H, if in Zones, otherwise L) |  |  |  |  |
| Parking lots/malls (>50 spaces) (M) |  |  |  |  |
| Cement/concrete plants (M) |  |  |  |  |
| Food processing (M) |  |  |  |  |
| Funeral services/graveyards (M) |  |  |  |  |
| Hardware/lumber/parts stores (M) |  |  |  |  |
| Appliance/Electronic Repair (L) |  |  |  |  |
| Office buildings/complexes (L) |  |  |  |  |
| Rental Yards (L) |  |  |  |  |
| RV/mini storage (L) |  |  |  |  |

| PCA Checklist RESIDENTIAL/MUNICIPAL |
| --- |
|  | If Zones Established |  |  |
| PCA (Risk Ranking) | PCA in Zone A? | PCA in Zone B? | PCA in Watershed? | Comments |
| Airports - Maintenance/ fueling areas (VH) |  |  |  |  |
| Landfills/dumps (VH) |  |  |  |  |
| Railroad yards/ maintenance/ fueling areas (H) |  |  |  |  |
| Septic systems - high density (>1/acre) (VH if in Zones, otherwise M) |  |  |  |  |
| Sewer collection systems (H, if in Zones, otherwise L) |  |  |  |  |
| Utility stations - maintenance areas (H) |  |  |  |  |
| Wastewater treatment and disposal facilities (VH in Zones, otherwise H) |  |  |  |  |
| Drinking water treatment plants (M) |  |  |  |  |
| Golf courses (M) |  |  |  |  |
| Housing - high density (>1 house/0.5 acres) (M) |  |  |  |  |
| Motor pools (M) |  |  |  |  |
| Parks (M) |  |  |  |  |
| Waste transfer/recycling stations (M) |  |  |  |  |
| Apartments and condominiums (L) |  |  |  |  |
| Campgrounds/ Recreational areas (L) |  |  |  |  |
| Fire stations (L) |  |  |  |  |
| RV Parks (L) |  |  |  |  |
| Schools (L) |  |  |  |  |
| Hotels, Motels (L) |  |  |  |  |

| PCA Checklist AGRICULTURAL/RURAL (Page 1 of 2) |
| --- |
|  | If Zones Established |  |  |
| PCA (Risk Ranking) | PCA in Zone A? | PCA in Zone B? | PCA in Watershed? | Comments |
| Grazing (> 5 large animals or equivalent per acre) (H in Zones, otherwise M) |  |  |  |  |
| Concentrated Animal Feeding Operations (CAFOs) as defined in federal regulation1 (VH in Zones, otherwise H) |  |  |  |  |
| Animal Feeding Operations as defined in federal regulation2 (VH in Zones, otherwise H) |  |  |  |  |
| Other Animal operations (H in Zones, otherwise M) |  |  |  |  |
| Concentrated Aquatic Animal Production Facilities, as defined in federal regulation (VH in Zones, otherwise H) |  |  |  |  |
| Other Aquatic Animal production operations (H in Zones, otherwise M) |  |  |  |  |
| Managed Forests (VH in Zones, otherwise H) (unless additional detail provided*) |  |  |  |  |
| Farm chemical distributor/ application service (H) |  |  |  |  |
| Farm machinery repair (H) |  |  |  |  |
| Septic systems – Low density (<1/acre) (H in Zones, otherwise L) |  |  |  |  |
| Lagoons / liquid wastes (H) |  |  |  |  |
| Machine shops (H) |  |  |  |  |
| Pesticide/fertilizer/ petroleum storage & transfer areas (H) |  |  |  |  |
| Agricultural Drainage (H in Zones, otherwise M) |  |  |  |  |
| Wells - Agricultural/ Irrigation (H) |  |  |  |  |
| Crops, irrigated (Berries, hops, mint, orchards, sod, greenhouses, vineyards, nurseries, vegetable) (M) |  |  |  |  |
| Sewage sludge/biosolids application (M) |  |  |  |  |
| Fertilizer, Pesticide/ Herbicide Application (M) |  |  |  |  |
| Crops, nonirrigated (e.g., Christmas trees, grains, grass seeds, hay, pasture) (L) (includes drip-irrigated crops) |  |  |  |  |

| PCA Checklist AGRICULTURAL/RURAL (Page 2 of 2) |
| --- |
|  | If Zones Established |  |  |
| PCA (Risk Ranking) | PCA in Zone A? | PCA in Zone B? | PCA in Watershed? | Comments |
| * Additional Detail for Managed Forests The following categories can be used in lieu of the default risk ranking for Managed Forests: |
| * Managed Forests - Broadcast fertilized areas (M in Zones, otherwise L) |  |  |  |  |
| * Managed Forests - Clearcut harvested <30 years (VH in Zones, otherwise H) |  |  |  |  |
| * Managed Forests - Partial harvested <10 years (H in Zones, otherwise M) |  |  |  |  |
| * Managed Forests - Road density > 2 mi/sq. mi) (H in Zones, otherwise M) |  |  |  |  |

- Concentrated Animal Feeding Operation: Animal Feeding Operation (requires NPDES permit) with greater than:

| If pollutants discharged (directly or indirectly) to navigable waters | If pollutants not discharged |
| --- | --- |
| 300 slaughter or feeder cattle | 1,000 slaughter or feeder cattle |
| 200 mature dairy cows | 700 mature dairy cows |
| 750 swine | 2500 swine |
| 150 horses | 500 horses |
| 3000 sheep or lambs | 10,000 sheep or lambs |
| 16,500 turkeys | 55,000 turkeys |
| 9,000 laying hens or broilers (liquid manure system) | 30,000 laying hens or broilers (liquid manure system) |
| 1500 ducks | 5000 ducks |
| 300 animal units | 1000 animal units |

- Animal Feeding Operation: lot or facility where animals (other than aquatic) have been or will be stabled or confined and fed or maintained for total of 45 days or more in any 12 month period.

| PCA Checklist OTHER ACTIVITIES (Page 1 of 2) |
| --- |
|  | If Zones Established |  |  |
| PCA (Risk Ranking) | PCA in Zone A? | PCA in Zone B? | PCA in Watershed? | Comments |
| NPDES/WDR permitted discharges (H) |  |  |  |  |
| Underground Injection of Commercial/Industrial Discharges (VH) |  |  |  |  |
| Historic gas stations (VH) |  |  |  |  |
| Historic waste dumps/ landfills (VH) |  |  |  |  |
| Illegal activities/ unauthorized dumping (H) |  |  |  |  |
| Injection wells/ dry wells/ sumps (VH) |  |  |  |  |
| Known contaminant plumes (VH) |  |  |  |  |
| Military installations (VH) |  |  |  |  |
| Mining operations - Historic (VH) |  |  |  |  |
| Mining operations – Active (VH) |  |  |  |  |
| Mining - Sand/Gravel (H) |  |  |  |  |
| Wells – Oil, Gas, Geothermal (H) |  |  |  |  |
| Salt Water Intrusion (H) |  |  |  |  |
| Recreational area – surface water source (H) |  |  |  |  |
| Snow Ski Areas (H in Zones, otherwise M) |  |  |  |  |
| Recent (< 10 years) Burn Areas (H in Zones, otherwise M) |  |  |  |  |
| Dredging (H in Zones, otherwise M) |  |  |  |  |
| Underground storage tanks |  |
| Confirmed leaking tanks (VH) |  |  |  |  |
| Decommissioned - inactive tanks (L) |  |  |  |  |
| Non-regulated tanks (tanks smaller than regulatory limit) (H) |  |  |  |  |
| Not yet upgraded or registered tanks (H) |  |  |  |  |
| Upgraded and/or registered - active tanks (L) |  |  |  |  |
| Above ground storage tanks (M) |  |  |  |  |
| Wells – Water supply (M) |  |  |  |  |
| Construction/demolition staging areas (M) |  |  |  |  |
| Contractor or government agency equipment storage yards (M) |  |  |  |  |
| Freeways/state highways (M) |  |  |  |  |
| Railroads (M) |  |  |  |  |
| Historic railroad right-of-ways (M) |  |  |  |  |
| Road Right-of-ways (herbicide use areas) (M) |  |  |  |  |
| Roads/ Streets (L) |  |  |  |  |
| Hospitals (M) |  |  |  |  |
| Storm Drain Discharge Points (M) |  |  |  |  |
| Storm Water Detention Facilities (M) |  |  |  |  |

| PCA Checklist OTHER ACTIVITIES (Page 2 of 2) |
| --- |
|  | If Zones Established |  |  |
| PCA (Risk Ranking) | PCA in Zone A? | PCA in Zone B? | PCA in Watershed? | Comments |
| Artificial Recharge Projects |  |
| Injection wells (potable water) (L) |  |  |  |  |
| Injection wells (non-potable water) (M) |  |  |  |  |
| Spreading Basins (potable water) (L) |  |  |  |  |
| Spreading Basins (non-potable water) (M) |  |  |  |  |
| Medical/dental offices/clinics (L) |  |  |  |  |
| Veterinary offices/clinics (L) |  |  |  |  |
| Surface water - streams/ lakes/rivers (L) |  |  |  |  |

#### Instructions for Surface Water Assessment Map

The assessment map for a surface water source should be submitted on USGS topographic maps (“quad maps”) at 1:24,000 scale.  The map should show:

- Location of the water system intake

- Watershed boundaries

- Zones within the watershed (optional, but recommended)

- Significant Possible Contaminating Activities (PCAs) within the watershed (optional, but recommended)

The watershed is the area that contributes water to an intake point on a stream or reservoir.  The watershed boundaries are determined by tracing the ridge lines on a topographic map that divide the watershed from adjacent basins.  Zones within the watershed may be established using these recommended distances:

Zone A:	   400 feet from reservoir banks or primary stream boundaries

200 feet from tributaries

Zone B:	2,500 feet from intake

USGS quad maps may be obtained from map or backpacking retailers.  There are also several computer software programs that include USGS quad maps.

For large watersheds, the watershed boundaries may spread onto multiple USGS quad maps, or the map may be of large size.  In these cases, it is acceptable to submit another type of map, or a map at a different scale, for the watershed boundaries.  In this case, the zones in the vicinity of the surface water intake should be shown on a separate USGS quad map at a size not to exceed 8 ½ x 11 inches.

At the discretion of the regulatory agency, the water system may request that the regulatory agency prepare a map displaying watershed boundaries and zones.

An example map is attached.

EXAMPLE SURFACE WATER ASSESSMENT MAP

(NOT TO SCALE)