## 2021MUR
OLD FOAs |  |  |  |  | NEW FOAs
Subgroup Code | Analyte Code | Method | Analyte | Technology | Subgroup Code | Analyte Code | Method | Analyte | Technology | On-Site Assessment
107.001 | 001 | SM 9221 B,C-2006 | Total Coliform, Enumeration | MTF | 107.050 | 001 | SM 9221 B-2014 | Total Coliform, Enumeration | MTF | Waiver Available
107.001 | 002 | SM 9221 C,E-2006 | Fecal Coliform, Enumeration | MTF | 107.052 | 001 | SM 9221 E-2014 | Fecal Coliform, Enumeration | MTF | Waiver Available
NEW | NEW | NEW | Fecal Coliform, Enumeration | MTF | 107.054 | 002 | SM 9221 F-2014 | Fecal Coliform, Enumeration | MTF | OSA Required
107.001 | 003 | SM 9221 C,F-2006 | E. Coli, Enumeration | MTF | 107.054 | 001 | SM 9221 F-2014 | E. Coli, Enumeration | MTF | Waiver Available
107.003 | 001 | SM 9222 B-2006 | Total Coliform, Enumeration | MF | 107.056 | 001 | SM 9222 B-2015 | Total Coliform, Enumeration | MF | Waiver Available
107.003 | 002 | SM 9222 D-2006 | Fecal Coliform, Enumeration | MF | 107.058 | 001 | SM 9222 D-2015 | Fecal Coliform, Enumeration | MF | Waiver Available
NEW | NEW | NEW | E. Coli, Enumeration | MF | 107.060 | 001 | SM 9222 I-2015 | E. Coli, Enumeration | MF | OSA Required
107.007 | 001 | SM 9230 B-2007 | Enterococci | MTF | 107.062 | 001 | SM 9230 B-2013 | Enterococci | MTF | Waiver Available
107.007 | 002 | SM 9230 B-2007 | Fecal Streptococci | MTF | 107.062 | 002 | SM 9230 B-2013 | Fecal Streptococci | MTF | Waiver Available
107.009 | 001 | SM 9230 C-2007 | Enterococci | MF | 107.064 | 001 | SM 9230 C-2013 | Enterococci | MF | Waiver Available
107.009 | 002 | SM 9230 C-2007 | Fecal Streptococci | MF | 107.064 | 002 | SM 9230 C-2013 | Fecal Streptococci | MF | Waiver Available
107.011 | 001 | SM 9230 D-2007 | Enterococci | Enzyme Substrate | 107.066 | 001 | SM 9230 D-2013 Enterolert | Enterococci | Enzyme Substrate | Waiver Available
107.017 | 001 | Enterolert | Enterococci | Enzyme Substrate | 107.066 | 001 | SM 9230 D-2013 Enterolert | Enterococci | Enzyme Substrate | Waiver Available
107.013 | 001 | SM 9223 B-2004 Colilert | E. Coli, Enumeration | Enzyme Substrate | 107.068 | 001 | SM 9223 B-2016 Colilert | E. Coli, Enumeration | Enzyme Substrate | Waiver Available
107.015 | 001 | SM 9223 B-2004 Colilert 18 | E. Coli, Enumeration | Enzyme Substrate | 107.070 | 001 | SM 9223 B-2016 Colilert 18 | E. Coli, Enumeration | Enzyme Substrate | Waiver Available
107.015 | 002 | SM 9223 B-2004 Colilert 18 | Fecal Coliform, Enumeration | Enzyme Substrate | 107.070 | 002 | SM 9223 B-2016 Colilert 18 | Fecal Coliform, Enumeration | Enzyme Substrate | Waiver Available
108.071 | 001 | SM 2540 B-2011 | Residue, Total | Gravimetric | 108.070 | 001 | SM 2540 B-2015 | Residue, Total | Gravimetric | Waiver Available
108.073 | 001 | SM 2540 C-2011 | Residue, Filterable (TDS) | Gravimetric | 108.072 | 001 | SM 2540 C-2015 | Residue, Filterable (TDS) | Gravimetric | Waiver Available
108.075 | 001 | SM 2540 D-2011 | Residue, Non-filterable (TSS) | Gravimetric | 108.074 | 001 | SM 2540 D-2015 | Residue, Non-filterable (TSS) | Gravimetric | Waiver Available
108.077 | 001 | SM 2540 E-2011 | Residue, Volatile | Gravimetric | 108.076 | 001 | SM 2540 E-2015 | Residue, Volatile | Gravimetric | Waiver Available
108.077 | 002 | SM 2540 E-2011 | Residue, Fixed Filterable (FDS) | Gravimetric | 108.076 | 002 | SM 2540 E-2015 | Residue, Fixed Filterable (FDS) | Gravimetric | Waiver Available
108.079 | 001 | SM 2540 F-2011 | Residue, Settleable | Volumetric | 108.078 | 001 | SM 2540 F-2015 | Residue, Settleable | Volumetric | Waiver Available
NEW | NEW | NEW | Fluoride | CIE/UV | 108.101 | 008 | SM 4140 B-2011 | Fluoride | CIE/UV | OSA Required
108.123 | 001 | SM 4500-CN- D-2011 | Cyanide, Total | Titrimetric | 108.120 | 001 | SM 4500-CN- D-2016 | Cyanide, Total | Titrimetric | Waiver Available
108.125 | 001 | SM 4500-CN- E-2011 | Cyanide, Total | Spectrophotometric | 108.124 | 001 | SM 4500-CN- E-2016 | Cyanide, Total | Spectrophotometric | Waiver Available
108.127 | 001 | SM 4500-CN- F-2011 | Cyanide, Total | Electrode | 108.126 | 001 | SM 4500-CN- F-2016 | Cyanide, Total | Electrode | Waiver Available
108.129 | 001 | SM 4500-CN- G-2011 | Cyanide, Available | Titrimetric or Spectrophotometric | 108.128 | 001 | SM 4500-CN- G-2016 | Cyanide, Available | Titrimetric or Spectrophotometric | Waiver Available
NEW | NEW | NEW | Cyanide, Total | Semi Auto Colorimetric | 108.130 | 001 | SM 4500-CN- N-2016 | Cyanide, Total | Semi Auto Colorimetric | OSA Required
108.155 | 001 | SM 4500-NO3- D-2011 | Nitrate (as N) | Electrode | 108.154 | 001 | SM 4500-NO3- D-2016 | Nitrate (as N) | Electrode | Waiver Available
108.157 | 001 | SM 4500-NO3- E-2011 | Nitrate-nitrite (as N) | Cd Reduction Manual | 108.156 | 001 | SM 4500-NO3- E-2016 | Nitrate-nitrite (as N) | Cd Reduction Manual | Waiver Available
108.157 | 002 | SM 4500-NO3- E-2011 | Nitrite (as N) | Cd Reduction Manual | 108.156 | 002 | SM 4500-NO3- E-2016 | Nitrite (as N) | Cd Reduction Manual | Waiver Available
108.159 | 001 | SM 4500-NO3- F-2011 | Nitrate-nitrite (as N) | Cd Reduction Auto | 108.158 | 001 | SM 4500-NO3- F-2016 | Nitrate-nitrite (as N) | Cd Reduction Auto | Waiver Available
108.159 | 002 | SM 4500-NO3- F-2011 | Nitrite (as N) | Cd Reduction Auto | 108.158 | 002 | SM 4500-NO3- F-2016 | Nitrite (as N) | Cd Reduction Auto | Waiver Available
108.161 | 001 | SM 4500-NO3- H-2011 | Nitrate-nitrite (as N) | Automated Hydrazine | 108.160 | 001 | SM 4500-NO3- H-2016 | Nitrate-nitrite (as N) | Automated Hydrazine | Waiver Available
NEW | NEW | NEW | Nitrite (as N) | Cd Reduction Auto | 108.162 | 001 | SM 4500-NO3- I-2016 | Nitrate-nitrite (as N) | Cd Reduction Auto | OSA Required
NEW | NEW | NEW | Nitrate-nitrite (as N) | Cd Reduction Auto | 108.162 | 002 | SM 4500-NO3- I-2016 | Nitrite (as N) | Cd Reduction Auto | OSA Required
NEW | NEW | NEW | Nitrate-nitrite (as N) | Enzyme Reduction Manual | 108.164 | 001 | SM 4500-NO3- J-2018 | Nitrate-nitrite (as N) | Enzyme Reduction Manual | OSA Required
NEW | NEW | NEW | Nitrite (as N) | Enzyme Reduction Manual | 108.164 | 002 | SM 4500-NO3- J-2018 | Nitrite (as N) | Enzyme Reduction Manual | OSA Required
108.165 | 001 | SM 4500-O C-2011 | Oxygen, Dissolved | Azide Modification | 108.166 | 001 | SM 4500-O C-2016 | Oxygen, Dissolved | Azide Modification | Waiver Available
108.167 | 001 | SM 4500-O D-2011 | Oxygen, Dissolved | Permanganate Modification | 108.168 | 001 | SM 4500-O D-2016 | Oxygen, Dissolved | Permanganate Modification | Waiver Available
108.169 | 001 | SM 4500-O E-2011 | Oxygen, Dissolved | Alum Flocculation Modification | 108.170 | 001 | SM 4500-O E-2016 | Oxygen, Dissolved | Alum Flocculation Modification | Waiver Available
108.171 | 001 | SM 4500-O F-2011 | Oxygen, Dissolved | Copper Sulfate Modification | 108.172 | 001 | SM 4500-O F-2016 | Oxygen, Dissolved | Copper Sulfate Modification | Waiver Available
108.173 | 001 | SM 4500-O G-2011 | Oxygen, Dissolved | Electrode | 108.174 | 001 | SM 4500-O G-2016 | Oxygen, Dissolved | Electrode | Waiver Available
NEW | NEW | NEW | Oxygen, Dissolved | luminescent-based sensor | 108.176 | 001 | SM 4500-O H-2016 | Oxygen, Dissolved | luminescent-based sensor | OSA Required
108.207 | 001 | SM 5210 B-2011 | Biochemical Oxygen Demand | DO Depletion | 108.206 | 001 | SM 5210 B-2016 | Biochemical Oxygen Demand | DO Depletion | Waiver Available
108.207 | 002 | SM 5210 B-2011 | Carbonaceous BOD | DO Depletion with Nitrogen Inhibitor | 108.206 | 002 | SM 5210 B-2016 | Carbonaceous BOD | DO Depletion with Nitrogen Inhibitor | Waiver Available
108.215 | 001 | SM 5310 B-2011 | Organic carbon-Total (TOC) | Combustion | 108.214 | 001 | SM 5310 B-2014 | Organic carbon-Total (TOC) | Combustion | Waiver Available
108.217 | 001 | SM 5310 C-2011 | Organic carbon-Total (TOC) | UV or Heated Persulfate | 108.216 | 001 | SM 5310 C-2014 | Organic carbon-Total (TOC) | UV or Heated Persulfate | Waiver Available
108.237 | 001 | ASTM D512-04C | Chloride | Electrode | 108.236 | 001 | ASTM D512-12 (C) | Chloride | Electrode | Waiver Available
NEW | NEW | NEW | Phosphorus, Total | Manual, digestion | 108.239 | 002 | ASTM D515-88 (A) | Phosphorus, Total | Manual, digestion | OSA Required
108.243 | 001 | ASTM D516-11 | Sulfate (as SO4) | Turbidimetric | 108.242 | 001 | ASTM D516-16 | Sulfate (as SO4) | Turbidimetric | Waiver Available
108.245 | 001 | ASTM D859-10 | Silica, Dissolved | Colorimetric | 108.244 | 001 | ASTM D859-16 | Silica, Dissolved | Colorimetric | Waiver Available
108.247 | 001 | ASTM D888-09A | Oxygen, Dissolved | Azide modification | 108.246 | 001 | ASTM D888-12 (A) | Oxygen, Dissolved | Azide modification | Waiver Available
108.249 | 001 | ASTM D888-09B | Oxygen, Dissolved | Electrode | 108.248 | 001 | ASTM D888-12 (B) | Oxygen, Dissolved | Electrode | Waiver Available
108.251 | 001 | ASTM D888-09C | Oxygen, Dissolved | Luminescence Sensor | 108.250 | 001 | ASTM D888-12 (C) | Oxygen, Dissolved | Luminescence Sensor | Waiver Available
108.253 | 001 | ASTM D1067-11 | Acidity | Titrimetric | 108.252 | 001 | ASTM D1067-16 | Acidity | Titrimetric | Waiver Available
108.253 | 001 | ASTM D1067-11 | Alkalinity | Titrimetric | 108.252 | 002 | ASTM D1067-16 | Alkalinity | Titrimetric | Waiver Available
108.257 | 001 | ASTM D1126-12 | Hardness | Titrimetric | 108.256 | 001 | ASTM D1126-17 | Hardness | Titrimetric | Waiver Available
108.268 | 001 | ASTM D1252-06B | Chemical Oxygen Demand | Spectrophotometric | 108.267 | 001 | ASTM D1252-06(12) (B) | Chemical Oxygen Demand | Spectrophotometric | Waiver Available
108.275 | 001 | ASTM D1426-08A | Ammonia (as N) | Nesslerization | 108.276 | 001 | ASTM D1426-15 (A) | Ammonia (as N) | Nesslerization | Waiver Available
108.275 | 002 | ASTM D1426-08A | Kjeldahl Nitrogen, Total (as N) | Nesslerization | 108.276 | 002 | ASTM D1426-15 (A) | Kjeldahl Nitrogen, Total (as N) | Nesslerization | Waiver Available
108.277 | 001 | ASTM D1426-08B | Ammonia (as N) | Electrode | 108.278 | 001 | ASTM D1426-15 (B) | Ammonia (as N) | Electrode | Waiver Available
108.277 | 002 | ASTM D1426-08B | Kjeldahl Nitrogen, Total (as N) | Electrode | 108.278 | 002 | ASTM D1426-15 (B) | Kjeldahl Nitrogen, Total (as N) | Electrode | Waiver Available
108.279 | 001 | ASTM D1783-01A | Phenols, Total | Colorimetric | 108.280 | 001 | ASTM D1783-01(12) (A) | Phenols, Total | Colorimetric | Waiver Available
108.281 | 001 | ASTM D1783-01B | Phenols, Total | Colorimetric | 108.283 | 001 | ASTM D1783-01(12) (B) | Phenols, Total | Colorimetric | Waiver Available
108.287 | 001 | ASTM D2036-09A | Cyanide, Total | FIA | 108.286 | 001 | ASTM D2036-09(15) (A) | Cyanide, Total | Manual, digestion | Waiver Available
108.289 | 001 | ASTM D2036-09B | Cyanide, Available | Titrimetric or Spectrophotometric | 108.289 | 001 | ASTM D2036-09(15) (B) | Cyanide, Available | Titrimetric or Spectrophotometric | Waiver Available
108.293 | 001 | ASTM D3590-11B | Kjeldahl Nitrogen, Total (as N) | Colorimetric | 108.292 | 001 | ASTM D3590-17 (B) | Kjeldahl Nitrogen, Total (as N) | Colorimetric | Waiver Available
108.295 | 001 | ASTM D3867-04A | Nitrate-nitrite (as N) | Cd Reduction Manual | 108.294 | 001 | ASTM D3867-16 (A) | Nitrate-nitrite (as N) | Cd Reduction Manual | Waiver Available
108.295 | 002 | ASTM D3867-04A | Nitrite (as N) | Cd Reduction Manual | 108.294 | 002 | ASTM D3867-16 (A) | Nitrite (as N) | Cd Reduction Manual | Waiver Available
108.297 | 001 | ASTM D3867-04B | Nitrate-nitrite (as N) | Cd Reduction Auto | 108.296 | 001 | ASTM D3867-16 (B) | Nitrate-nitrite (as N) | Cd Reduction Auto | Waiver Available
108.297 | 002 | ASTM D3867-04B | Nitrite (as N) | Cd Reduction Auto | 108.296 | 002 | ASTM D3867-16 (B) | Nitrite (as N) | Cd Reduction Auto | Waiver Available
108.299 | 001 | ASTM D4282-02 | Cyanide, Available | Colorimetric | 108.298 | 001 | ASTM D4282-15 | Cyanide, Free | Colorimetric | Waiver Available
108.301 | 001 | ASTM D4327-03 | Bromide | IC | 108.300 | 001 | ASTM D4327-17 | Bromide | IC | Waiver Available
108.301 | 002 | ASTM D4327-03 | Chloride | IC | 108.300 | 002 | ASTM D4327-17 | Chloride | IC | Waiver Available
108.301 | 003 | ASTM D4327-03 | Fluoride | IC | 108.300 | 003 | ASTM D4327-17 | Fluoride | IC | Waiver Available
108.301 | 004 | ASTM D4327-03 | Nitrate (as N) | IC | 108.300 | 004 | ASTM D4327-17 | Nitrate (as N) | IC | Waiver Available
108.301 | 005 | ASTM D4327-03 | Nitrate-nitrite (as N) | IC | 108.300 | 005 | ASTM D4327-17 | Nitrate-nitrite (as N) | IC | Waiver Available
108.301 | 006 | ASTM D4327-03 | Nitrite (as N) | IC | 108.300 | 006 | ASTM D4327-17 | Nitrite (as N) | IC | Waiver Available
108.301 | 007 | ASTM D4327-03 | Phosphate, Ortho (as P) | IC | 108.300 | 007 | ASTM D4327-17 | Phosphate, Ortho (as P) | IC | Waiver Available
108.301 | 008 | ASTM D4327-03 | Sulfate (as SO4) | IC | 108.300 | 008 | ASTM D4327-17 | Sulfate (as SO4) | IC | Waiver Available
108.305 | 001 | ASTM D4839-03 | Organic carbon-Total (TOC) | UV or Heated Persulfate | 108.304 | 001 | ASTM D4839-03(17) | Organic carbon-Total (TOC) | UV or Heated Persulfate | Waiver Available
108.307 | 001 | ASTM D5673-10 | Calcium | ICP-MS | 108.306 | 001 | ASTM D5673-16 | Calcium | ICP-MS | Waiver Available
108.307 | 002 | ASTM D5673-10 | Magnesium | ICP-MS | 108.306 | 002 | ASTM D5673-16 | Magnesium | ICP-MS | Waiver Available
108.307 | 003 | ASTM D5673-10 | Potassium | ICP-MS | 108.306 | 003 | ASTM D5673-16 | Potassium | ICP-MS | Waiver Available
108.307 | 004 | ASTM D5673-10 | Silica, Dissolved | ICP-MS | 108.306 | 004 | ASTM D5673-16 | Silica, Dissolved | ICP-MS | Waiver Available
108.307 | 005 | ASTM D5673-10 | Sodium | ICP-MS | 108.306 | 005 | ASTM D5673-16 | Sodium | ICP-MS | Waiver Available
108.313 | 001 | ASTM D6888-09 | Cyanide, Available | FIA | 108.312 | 001 | ASTM D6888-16 | Cyanide, Available | FIA | Waiver Available
108.315 | 001 | ASTM D6919-09 | Ammonia (as N) | IC | 108.314 | 001 | ASTM D6919-17 | Ammonia (as N) | IC | Waiver Available
108.315 | 002 | ASTM D6919-09 | Calcium | IC | 108.314 | 002 | ASTM D6919-17 | Calcium | IC | Waiver Available
108.315 | 003 | ASTM D6919-09 | Magnesium | IC | 108.314 | 003 | ASTM D6919-17 | Magnesium | IC | Waiver Available
108.315 | 004 | ASTM D6919-09 | Potassium | IC | 108.314 | 004 | ASTM D6919-17 | Potassium | IC | Waiver Available
108.315 | 005 | ASTM D6919-09 | Sodium | IC | 108.314 | 005 | ASTM D6919-17 | Sodium | IC | Waiver Available
108.317 | 001 | ASTM D7237-10 | Cyanide, Free | FIA | 108.316 | 001 | ASTM D7237-15 (A) | Cyanide, Free | FIA | Waiver Available
108.319 | 001 | ASTM D7284-13 | Cyanide, Total | FIA | 108.318 | 001 | ASTM D7284-13(17) | Cyanide, Total | FIA | Waiver Available
108.321 | 001 | ASTM D7511-12 | Cyanide, Total | Segmented Flow Injection | 108.320 | 001 | ASTM D7511-12(17) | Cyanide, Total | Segmented Flow Injection | Waiver Available
NEW | NEW | NEW | Nitrite (as N) | Enzyme Reduction Auto | 108.322 | 001 | ASTM D7781-14 | Nitrate-nitrite (as N) | Enzyme Reduction Auto | OSA Required
NEW | NEW | NEW | Nitrate-nitrite (as N) | Enzyme Reduction Auto | 108.322 | 002 | ASTM D7781-14 | Nitrite (as N) | Enzyme Reduction Auto | OSA Required
NEW | NEW | NEW | Kjeldahl Nitrogen, Total (as N) | Auto Gas Diffusion w/ Conductivity Cell | 108.341 | 002 | Timberline Ammonia-001 | Kjeldahl Nitrogen, Total (as N) | Auto Gas Diffusion w/ Conductivity Cell | OSA Required
NEW | NEW | NEW | Ammonia (as N) | Auto Gas Diffusion w/ Conductivity Cell | 108.345 | 001 | FIAlab 100 | Ammonia (as N) | Auto Gas Diffusion w/ Conductivity Cell | OSA Required
NEW | NEW | NEW | Kjeldahl Nitrogen, Total (as N) | Auto Gas Diffusion w/ Conductivity Cell | 108.345 | 002 | FIAlab 100 | Kjeldahl Nitrogen, Total (as N) | Auto Gas Diffusion w/ Conductivity Cell | OSA Required
NEW | NEW | NEW | Oxygen, Dissolved | Spectrophotometric | 108.347 | 001 | In-Situ 1002–8–2009 | Oxygen, Dissolved | luminescent-based sensor | OSA Required
NEW | NEW | NEW | Biochemical Oxygen Demand | luminescent-based sensor | 108.348 | 001 | In-Situ 1003–8–2009 | Biochemical Oxygen Demand | DO Depletion | OSA Required
NEW | NEW | NEW | Carbonaceous BOD | DO Depletion | 108.349 | 001 | In-Situ 1004–8–2009 | Carbonaceous BOD | DO Depletion with Nitrogen Inhibitor | OSA Required
NEW | NEW | NEW | Kjeldahl Nitrogen, Total (as N) | DO Depletion with Nitrogen Inhibitor | 108.355 | 001 | OIA PAI-DK01 | Kjeldahl Nitrogen, Total (as N) | Titrimetric | OSA Required
NEW | NEW | NEW | Kjeldahl Nitrogen, Total (as N) | Titrimetric | 108.356 | 001 | OIA PAI-DK02 | Kjeldahl Nitrogen, Total (as N) | Colorimetric | OSA Required
NEW | NEW | NEW | Kjeldahl Nitrogen, Total (as N) | Colorimetric | 108.357 | 001 | OIA PAI-DK03 | Kjeldahl Nitrogen, Total (as N) | Auto Gas Diffusion w/ Conductivity Cell | OSA Required
109.679 | 001 | SM 3500-Al B-2001 | Aluminum | Colorimetric | 109.680 | 001 | SM 3500-Al B-2011 | Aluminum | Colorimetric | Waiver Available
109.717 | 001 | ASTM D1687-12A | Chromium (VI) | Colorimetric | 109.718 | 001 | ASTM D1687-17 (A) | Chromium (VI) | Colorimetric | Waiver Available
NEW | NEW | NEW | Arsenic | GFAAS | 109.744 | 001 | ASTM D2972-15 (C) | Arsenic | GFAAS | OSA Required
109.745 | 001 | ASTM D3223-12 | Mercury | CVAAS, Manual | 109.746 | 001 | ASTM D3223-17 | Mercury | CVAAS, Manual | Waiver Available
109.785 | 001 | ASTM D5673-10 | Alumnum | ICP-MS | 109.784 | 001 | ASTM D5673-16 | Aluminum | ICP-MS | Waiver Available
109.785 | 002 | ASTM D5673-10 | Antimony | ICP-MS | 109.784 | 002 | ASTM D5673-16 | Antimony | ICP-MS | Waiver Available
109.785 | 003 | ASTM D5673-10 | Arsenic | ICP-MS | 109.784 | 003 | ASTM D5673-16 | Arsenic | ICP-MS | Waiver Available
109.785 | 004 | ASTM D5673-10 | Barium | ICP-MS | 109.784 | 004 | ASTM D5673-16 | Barium | ICP-MS | Waiver Available
109.785 | 005 | ASTM D5673-10 | Beryillium | ICP-MS | 109.784 | 005 | ASTM D5673-16 | Beryllium | ICP-MS | Waiver Available
109.785 | 006 | ASTM D5673-10 | Boron | ICP-MS | 109.784 | 006 | ASTM D5673-16 | Boron | ICP-MS | Waiver Available
109.785 | 007 | ASTM D5673-10 | Cadmium | ICP-MS | 109.784 | 007 | ASTM D5673-16 | Cadmium | ICP-MS | Waiver Available
109.785 | 008 | ASTM D5673-10 | Chromium | ICP-MS | 109.784 | 008 | ASTM D5673-16 | Chromium | ICP-MS | Waiver Available
109.785 | 009 | ASTM D5673-10 | Cobalt | ICP-MS | 109.784 | 009 | ASTM D5673-16 | Cobalt | ICP-MS | Waiver Available
109.785 | 010 | ASTM D5673-10 | Copper | ICP-MS | 109.784 | 010 | ASTM D5673-16 | Copper | ICP-MS | Waiver Available
109.785 | 011 | ASTM D5673-10 | Gold | ICP-MS | 109.784 | 011 | ASTM D5673-16 | Gold | ICP-MS | Waiver Available
109.785 | 012 | ASTM D5673-10 | Iron | ICP-MS | 109.784 | 012 | ASTM D5673-16 | Iron | ICP-MS | Waiver Available
109.785 | 013 | ASTM D5673-10 | Lead | ICP-MS | 109.784 | 013 | ASTM D5673-16 | Lead | ICP-MS | Waiver Available
109.785 | 014 | ASTM D5673-10 | Manganese | ICP-MS | 109.784 | 014 | ASTM D5673-16 | Manganese | ICP-MS | Waiver Available
109.785 | 015 | ASTM D5673-10 | Molybdenum | ICP-MS | 109.784 | 015 | ASTM D5673-16 | Molybdenum | ICP-MS | Waiver Available
109.785 | 016 | ASTM D5673-10 | Nickel | ICP-MS | 109.784 | 016 | ASTM D5673-16 | Nickel | ICP-MS | Waiver Available
109.785 | 017 | ASTM D5673-10 | Selenium | ICP-MS | 109.784 | 017 | ASTM D5673-16 | Selenium | ICP-MS | Waiver Available
109.785 | 018 | ASTM D5673-10 | Silver | ICP-MS | 109.784 | 018 | ASTM D5673-16 | Silver | ICP-MS | Waiver Available
109.785 | 019 | ASTM D5673-10 | Thallium | ICP-MS | 109.784 | 019 | ASTM D5673-16 | Thallium | ICP-MS | Waiver Available
109.785 | 020 | ASTM D5673-10 | Tin | ICP-MS | 109.784 | 020 | ASTM D5673-16 | Tin | ICP-MS | Waiver Available
109.785 | 021 | ASTM D5673-10 | Titanium | ICP-MS | 109.784 | 021 | ASTM D5673-16 | Titanium | ICP-MS | Waiver Available
109.785 | 022 | ASTM D5673-10 | Vanadium | ICP-MS | 109.784 | 022 | ASTM D5673-16 | Vanadium | ICP-MS | Waiver Available
109.785 | 023 | ASTM D5673-10 | Zinc | ICP-MS | 109.784 | 023 | ASTM D5673-16 | Zinc | ICP-MS | Waiver Available
111.370 | 001 | SM 6440 B-2000 | Acenaphthene | HPLC | 111.365 | 001 | SM 6440 B-2005 | Acenaphthene | HPLC | Waiver Available
111.370 | 002 | SM 6440 B-2000 | Acenaphthylene | HPLC | 111.365 | 002 | SM 6440 B-2005 | Acenaphthylene | HPLC | Waiver Available
111.370 | 003 | SM 6440 B-2000 | Anthracene | HPLC | 111.365 | 003 | SM 6440 B-2005 | Anthracene | HPLC | Waiver Available
111.370 | 004 | SM 6440 B-2000 | Benzo(a)anthracene | HPLC | 111.365 | 004 | SM 6440 B-2005 | Benzo(a)anthracene | HPLC | Waiver Available
111.370 | 005 | SM 6440 B-2000 | Benzo(a)pyrene | HPLC | 111.365 | 005 | SM 6440 B-2005 | Benzo(a)pyrene | HPLC | Waiver Available
111.370 | 006 | SM 6440 B-2000 | Benzo(b)fluoranthene | HPLC | 111.365 | 006 | SM 6440 B-2005 | Benzo(b)fluoranthene | HPLC | Waiver Available
111.370 | 007 | SM 6440 B-2000 | Benzo(g,h,i)perylene | HPLC | 111.365 | 007 | SM 6440 B-2005 | Benzo(g,h,i)perylene | HPLC | Waiver Available
111.370 | 008 | SM 6440 B-2000 | Benzo(k)fluoranthene | HPLC | 111.365 | 008 | SM 6440 B-2005 | Benzo(k)fluoranthene | HPLC | Waiver Available
111.370 | 009 | SM 6440 B-2000 | Chrysene | HPLC | 111.365 | 009 | SM 6440 B-2005 | Chrysene | HPLC | Waiver Available
111.370 | 010 | SM 6440 B-2000 | Dibenz(a,h)anthracene | HPLC | 111.365 | 010 | SM 6440 B-2005 | Dibenz(a,h)anthracene | HPLC | Waiver Available
111.370 | 011 | SM 6440 B-2000 | Fluoranthene | HPLC | 111.365 | 011 | SM 6440 B-2005 | Fluoranthene | HPLC | Waiver Available
111.370 | 012 | SM 6440 B-2000 | Fluorene | HPLC | 111.365 | 012 | SM 6440 B-2005 | Fluorene | HPLC | Waiver Available
111.370 | 013 | SM 6440 B-2000 | Indeno(1,2,3-cd)pyrene | HPLC | 111.365 | 013 | SM 6440 B-2005 | Indeno(1,2,3-cd)pyrene | HPLC | Waiver Available
111.370 | 014 | SM 6440 B-2000 | Naphthalene | HPLC | 111.365 | 014 | SM 6440 B-2005 | Naphthalene | HPLC | Waiver Available
111.370 | 015 | SM 6440 B-2000 | Phenanthrene | HPLC | 111.365 | 015 | SM 6440 B-2005 | Phenanthrene | HPLC | Waiver Available
111.370 | 016 | SM 6440 B-2000 | Pyrene | HPLC | 111.365 | 016 | SM 6440 B-2005 | Pyrene | HPLC | Waiver Available
112.007 | 001 | SM 7110 B | Gross Alpha | Scintillation/Proportional Counter | 112.008 | 001 | SM 7110 B-2000 | Gross Alpha | Scintillation/Proportional Counter | Waiver Available
112.007 | 002 | SM 7110 B | Gross Beta | Proportional Counter | 112.008 | 002 | SM 7110 B-2000 | Gross Beta | Proportional Counter | Waiver Available
112.009 | 001 | SM 7500-Ra B | Total Alpha Radium | Proportional Counter | 112.010 | 001 | SM 7500-Ra B-2001 | Total Alpha Radium | Proportional Counter | Waiver Available
112.011 | 001 | SM 7500-Ra C | Radium-226 | Scintillation Counter | 112.012 | 001 | SM 7500-Ra C-2001 | Radium-226 | Scintillation Counter | Waiver Available
126.005 | 004 | SM 9222 G-2006 | E. coli (Enumeration) | MF | 126.005 | REMOVED | REMOVED | REMOVED | REMOVED | N/A
126.003 | 001 | SM 9221 B,C-2006 | Total Coliform (Enumeration) | MTF | 126.102 | 001 | SM 9221 B-2014 | Total Coliform (Enumeration) | MTF | Waiver Available
126.003 | 002 | SM 9221 C,E-2006 | Fecal Coliform (Enumeration) | MTF | 126.104 | 001 | SM 9221 E-2014 | Fecal Coliform (Enumeration) | MTF | Waiver Available
NEW | NEW | NEW | Fecal Coliform (Enumeration) | MTF | 126.106 | 002 | SM 9221 F-2014 | Fecal Coliform (Enumeration) | MTF | OSA Required
126.003 | 003 | SM 9221 C,F-2006 | E. coli (Enumeration) | MTF | 126.106 | 001 | SM 9221 F-2014 | E. coli (Enumeration) | MTF | Waiver Available
126.005 | 001 | SM 9222 B-2006 | Total Coliform (Enumeration) | MF | 126.108 | 001 | SM 9222 B-2015 | Total Coliform (Enumeration) | MF | Waiver Available
126.005 | 003 | SM 9222 D-2006 | Fecal Coliform (Enumeration) | MF | 126.110 | 001 | SM 9222 D-2015 | Fecal Coliform (Enumeration) | MF | Waiver Available
126.005 | 002 | SM 9222 B-2006 | E. coli (Enumeration) | MF | 126.112 | 001 | SM 9222 I-2015 | E. coli (Enumeration) | MF | Waiver Available
126.009 | 001 | SM 9230 B-2007 | Fecal Streptococci | MTF | 126.114 | 001 | SM 9230 B-2013 | Fecal Streptococci | MTF | Waiver Available
126.011 | 001 | SM 9230 C-2007 | Enterococci | MF | 126.116 | 001 | SM 9230 C-2013 | Enterococci | MF | Waiver Available
126.011 | 002 | SM 9230 C-2007 | Fecal Streptococci | MF | 126.116 | 002 | SM 9230 C-2013 | Fecal Streptococci | MF | Waiver Available
126.013 | 001 | SM 9230 D-2007 | Enterococci | MTF | 126.118 | 001 | SM 9230 D-2013 Enterolert | Enterococci | Enzyme substrate | Waiver Available
126.019 | 001 | Enterolert | Enterococci | Enzyme substrate | 126.118 | 001 | SM 9230 D-2013 Enterolert | Enterococci | Enzyme substrate | Waiver Available
126.015 | 001 | SM 9223 B-2004 Colilert | E. coli (Enumeration) | Enzyme substrate | 126.120 | 001 | SM 9223 B-2016 Colilert | E. coli (Enumeration) | Enzyme substrate | Waiver Available
126.017 | 001 | SM 9223 B-2004 Colilert 18 | E. coli (Enumeration) | Enzyme substrate | 126.122 | 001 | SM 9223 B-2016 Colilert 18 | E. coli (Enumeration) | Enzyme substrate | Waiver Available