�����	August 6, 2001



TO:	 Permitted Wastewater Dischargers (attached list)



SUBJECT:	Requirement for Monitoring of Pollutants in Effluent and Receiving Water to Implement New Statewide Regulations and Policy



This letter is a requirement for technical information pursuant to Section 13267 of the California Water Code.  The information we request you to submit is effluent and receiving water data on priority pollutants (Enclosure A), and a sampling plan to collect those data.  The sample plan is due by October 1, 2001.  An interim report presenting the data is due May 18, 2003, with a final report due 180 days prior to expiration of your permit.  The remainder of this letter describes the reason and justification for the request, and further details about this requirement.  Due to its length, a table of contents is provided.



Please direct your questions to Chris Moore at 1-800-404-8919, or by e-mail at camonitoringquestions@tetratech-ffx.com, or Lila Tang at (510) 622-2425.



You should be aware that this is a formal requirement for technical information pursuant to California Water Code Section 13267.  Failure to respond or late response may subject you to civil liability imposed by the Board to a maximum amount of $1,000 per day.  Any revisions of the request set forth must be confirmed in writing by Board staff.



CONTENTS



Applicability	2

Purpose and Basis of Requirement	2

Parameters to Monitor	3

	Shortening the List of Pollutants	

Analytical Methodology	3

Effluent Monitoring	5

	Major Dischargers

	Minor Dischargers

Receiving Water Monitoring	6

	Dischargers to Bays through Deep Water Diffusers

	Dischargers to Estuarine/Tidal Areas of Rivers and Sloughs

	Dischargers to Upland Freshwater Rivers and Streams

Applicability of Historic Discharge Data	7

Data Reporting Requirements	7

Sampling Plan	8

Interim and Final Reports	8

Table 1 – Summary of Minimum Effluent Monitoring Requirements

Enclosure A – List of Monitoring Parameters and Analytical Methods

Enclosure B – Data Reporting Requirements

Enclosure C – Dischargers with Permit Monitoring Requirements 

	Amended by this Letter

Enclosure D – Example Outline for Sampling Plan

Enclosure E – Mailing List







Applicability



The requirements in this letter are intended for and applicable to all dischargers under a NPDES� permit with the following exceptions:  discharges to ocean waters, discharges consisting solely of storm water runoff, and discharges covered under general permits such as for solvent and fuels groundwater cleanup.



In the past 12 months, the Board has reissued permits that contain provisions for monitoring similar to what is required by this letter.  For these dischargers (Enclosure C), please note that this letter does not change the deadlines specified in those Permits.  However, this letter does change some of the Self-Monitoring Program specifications concerning the elements below:

addition of a grab for Total Solids (Standard Methods 2540B) concurrent with organics pollutant samples, 

addition of organophospate pesticides and tributyltin, 

type of sample (grab verse composite), 

minimum sampling frequency, and 

analytical methodology.



With respect to these specific sampling elements, this letter serves as an amendment of the self-monitoring programs for those specific dischargers listed in Enclosure C.



Purpose and Basis of Requirement



The necessity for these studies comes from new regulations promulgated last year by the State Water Resources Control Board.  The purpose of this requirement is to provide discharge and receiving water data that are sufficient for the Regional Board to:

determine if water quality-based effluent limitations for priority pollutants are required;

calculate effluent limitations (including interim performance based limits), if required; and

determine if immediate compliance is feasible.



The first step is to determine if a discharge has a “reasonable potential” to cause or contribute to an exceedance of water quality standards.  The second step involves deriving effluent limits for pollutants with “reasonable potential.”  The third step is to determine if the existing discharge can comply with these new limits.  If not, discharge data are necessary to calculate interim limits based on facility performance.  Each step requires accurate data on the discharge; the first two steps also require data on the receiving water.



The new regulations are contained in the State Water Resources Control Board’s (SWRCB) Policy for Implementation of Toxics Standards for Inland Surface Waters, Enclosed Bays, and Estuaries of California (the Policy�).  The Policy implements the provisions promulgated by the U.S. Environmental Protection Agency in the California Toxics Rule� (CTR), as well as any existing water quality objectives.  The CTR established numeric criteria for 126 priority pollutants.  Numeric objectives for 12 of these priority pollutants and tributyltin were previously established in the San Francisco Bay Water Quality Control Plan (Basin Plan�) and/or the National Toxics Rule.  



The Policy stipulates that the Regional Board shall issue letters to all dischargers requiring submittal of data sufficient for the purposes stated above.  The Policy further stipulates that data must be submitted no later than May 18, 2003.  These data requirements are in section 1.2 of the Policy.  Section 3 of the Policy specifically addresses data for dioxins and furans.  These requirements are manditory statewide and other Regions in the State have issued similar requirements.



Parameters to Monitor



Data should be collected on all 126 priority pollutants, total solids (SM 2540 B), and the discharge flow rate at the time of the sampling.  Additionally, municipal sewage treatment plant effluent dischargers should include tributyltin, diazinon, and chlorpyriphos.  Dischargers of cooling tower blowdown should include tributyltin.  These pollutants are listed in Enclosure A of this letter.



In some cases, receiving water monitoring should also include pH, hardness, salinity, and stream flow rate measurements at the time of sampling for the toxic pollutants.  Factors to consider when these should be measured are described below under Receiving Water Monitoring.



Shortening the List of Pollutants



Dischargers may propose a shorter list of pollutants than the list above, if they can certify to the absence of a pollutant on a pollutant-by-pollutant basis.  This certification must be substantiated with both of the following:

analytical data showing that the pollutant is not present in the influent water at levels above the lowest applicable criterion, or the lowest MLs listed in Enclosure A; and 

if chemicals are used in the treatment process, or other process after the influent point, these chemicals do not add the pollutant to the effluent discharged.



Analytical Methodology



Enclosure A lists the pollutants and parameters to monitor in the effluent and receiving water, along with suggested analytical methods for the 126 priority pollutants, and other toxic pollutants.  In summary, the methods are:

GFAA for antimony, beryllium, nickel, silver and thallium

ICP for cadmium and zinc

SPGFAA for copper and lead

EPA Method 1631 for mercury�, 

Gas Hydride generation AA for arsenic and selenium

Standard Methods 3500 (colormetric) for hexavalent chromium.  Analysis for total chromium may be substituted if the level measured is below the criterion for hexavalent chromium (11 ug/l).

Standard Method 4500-CN- C, or 4500-CN- I for cyanide,

EPA Method 1613 for dioxins and furans

EPA Methods 601, and 602 for volatile organics, or EPA 624 if the method detection limits (MDL) can be demonstrated to fall below the minimum levels (ML) listed in Enclosure A for the GC methods (EPA 601 and 602)

EPA Methods 603, 604, 610 (HPLC), and 606 for semi-volatiles, or EPA 625 if the MDLs can be demonstrated to fall below the MLs listed in Enclosure A for GC or HPLC methods (EPA 603, 604, 610 and 606)

EPA Method 625 for other semi-volatiles

EPA Method 608 for chlorinated pesticides and PCBs

EPA Method 614 for organophosphate pesticides (required only for municipal sewage)

For tributyltin, Batelle N-0959-2606 or an alternate method approved for treated wastewater (required only for cooling tower blowdown, and municipal sewage)



You have the option of substituting another method for those listed above or in Enclosure A, but only if that method has a level of quantification below the applicable criterion or below the lowest ML listed in Enclosure A.  For effluent monitoring, this alternate method must also be U.S. EPA approved (such as the 8000 or 1600 series) or one of those listed in Enclosure A.  For receiving water monitoring, you have more flexibility in selection of methods.  You may use these EPA methods, or you may use another method that has been scientifically peer reviewed, such as those methods employed in the Regional Monitoring Program�, provided that method has a level of quantification below the applicable criterion or the lowest ML listed in Enclosure A.



For some organic pollutants, the currently available analytical detection limit is not low enough for the purposes stated earlier.  These are marked with an asterisk in Enclosure A.  Concerning these pollutants, you have two options, either:



use the available EPA Method, or



participate in a study with other dischargers, through the RMP, to investigate the feasibility and reliability of different methods of increasing the sample volumes to lower the detection limits for a subset of these pollutants, and present the preferred method for approval by the U.S. EPA, Region 9.  The methodology to investigate for increasing sample volumes is a research method developed by the University of Utah and currently used for ambient bay water sampling in the RMP.  A similar methodology was developed by a contract laboratory, Axys Analytical Laboratories in Vancouver, Canada.



If you choose the first option and get non-detect results, these non-detects will not show conclusively that the pollutant is not in the effluent at levels of concern, because the detection limit is above of the criterion.  More monitoring will be required in this case.



The second option is more involved and will require coordination with many other parties.  However, if successful, it has good potential to allow measurements at the levels needed for regulatory purposes.  This could lead to a finding that the pollutants are not present at levels of concern and thus no need for future monitoring.



We appreciate that development of alternate test procedures may be an involved process.  In consideration of this, it will be acceptable to develop procedures for just a subset of pollutants as a pilot project.  We suggest the chlorinated pesticides in EPA 608 as this subset, because a few of them are on the list of pollutants impairing the Bay (chlordane, 4,4’DDT, and dieldrin).  Such an effort will also contribute to the development of Total Maximum Daily Loads for these impairing pollutants.



If you choose to participate in this pilot project, you will not have to run EPA Methods 625 and 608, but the other methods are required at this time.  We will also allow additional time beyond the final report submittal date of 180 days before permit expiration, for submittal of data on these pollutants.  However, dischargers with effluent limits for 4,4’-DDE and dieldrin should monitor their effluent with EPA 608 at the minimum frequency of once every five years.



Please note that this pilot project is an option only.  You may choose to not pursue it and simply run the standard EPA methods.  However, in the interest of furthering discharge characterization and TMDL development, we encourage that you re-direct some of your analytical resources towards pursuing the option of developing a lower detection limit study.



Effluent Monitoring



To fulfill the requirement of this letter for effluent monitoring, the data you submit must be sufficient to characterize the concentration of each toxic pollutant in the effluent at the point of discharge.  Please consider the following minimum requirements when preparing your sampling plans for effluent monitoring. These are summarized on Table 1 (attached).



Major Dischargers

Frequency of monitoring should be determined after considering the variability of the discharge.  Factors that can cause variability are influent composition, treatment plant design and operation, and rainfall.

For metals and cyanide, we believe the minimum frequency is once each month.  If your Permit specifies more frequent monitoring, then that should be the frequency.

For organics (including tributyltin), the minimum frequency is twice each year.  If your discharge may be influenced by wet weather, the samples should be timed for once in the dry season (May to September) and once in the wet season (October to April).

Additionally, we suggest including a provision for accelerating the frequency to collect more data for a pollutant if that pollutant is measured close to or above its applicable criterion (see Enclosure A).  The intent of this is to allow characterization of the effluent for the purpose of determining performance based interim limits should that be necessary.

Type of sample (i.e., grab verses composite), sample preservation and handling should follow U.S. EPA regulations (40 CFR 136.3�) and other practices as described in the Standard Methods for the Examination of Water and Wastewater.

In determining the type of sample---grab v. composite---you should consider the variability of the effluent during the day.

In general, a flow-weighted composite over a 24-hour period is preferable.

Grab samples instead of automatic compositors should be used for constituents that are somewhat volatile, chemically unstable, or are hydrophobic.  

This is to minimize loss of the constituent through volatilization during compositing, and/or losses through adsorption onto tubing and other compositor equipment.

These include mercury, hexavalent chromium, cyanide, volatile organics (EPA 601, 602), semi-volatile organics (EPA 603, 604, 606) and hydrophobic organics (EPA 610, 625, 608, 1631).

A grab sample for Total Solids analysis should be collected coincident with each grab sample for the hydrophobic organics.

24-hour composites may be made up of discrete grabs collected over the course of a day and volumetrically or mathematically flow-weighted.  Samples for inorganic pollutants maybe combined prior to analysis.  Samples for organic pollutants should be analyzed separately.  If only one grab sample will be collected, it should be collected during periods of maximum peak flows.



Minor Dischargers

Frequency of monitoring should be determined after considering the variability of the discharge.  Factors that can cause variability are influent composition, treatment plant design and operation, and weather.  

For metals, the minimum frequency is once each calendar quarter for the next two years.  If your Permit specifies more frequent monitoring, then that should be the frequency.

For organic pollutants from minor sewage treatment facilities, the minimum frequency is once in the dry season (May to September), and once in the wet season (October to April) for the next two years, except for dioxins and furans (EPA 1613).  For dioxins and furans, in consideration of cost, this wet and dry season sampling is required for only one out of the next two years.

For organic pollutants from other facility types, the minimum frequency is once in the dry season (May to September) and once in the wet season (October to April) for just one out of the next two years.  Dischargers with facilities of similar types and nature of discharge may coordinate in a group effort to characterize the effluent for that type of discharge (ex. rock quarry operations, same reclamation, reverse osmosis brine).

For all discharge types, we suggest including a provision for accelerating the frequency to collect more data for a pollutant if that pollutant is measured close to or above its applicable criterion (see Enclosure A).  The intent of this is to allow characterization of the effluent for the purpose of determining performance based interim limits should that be necessary.

Type of sample.  Please refer to the discussion above under Major Dischargers.



Receiving Water Monitoring



To fulfill this requirement, the data you submit must be sufficient to characterize the concentration of each toxic pollutant in the ambient receiving water.  The data on the conventional water quality parameters (pH, salinity, and hardness) should also be sufficient to characterize these parameters in the ambient receiving water at a point after the discharge has mixed with the receiving waters.



The frequency of monitoring should consider seasonal variability of the receiving water.  Please consider the following minimum requirements when preparing your sampling plan for receiving water monitoring:







Dischargers to Bays through Deep Water Diffusers

the concentration of each pollutant listed in Enclosure A in the receiving water that provides dilution for the discharge.  Because of the dominance of tidal flushing in San Francisco Bay, it would be acceptable to select stations representative of incoming ocean waters.



Dischargers to Estuarine/Tidal Areas of Rivers and Sloughs

the concentration of each constituent listed in Enclosure A in the receiving water that provides dilution for the discharge.  As for dischargers to the Bay, tidal flushing may also be considered in selection of sampling sites.  However, the site-specific relative significance of tidal flushing verses riverine outflow should be assess and provided to justify selection of the sampling sites.

the pH, hardness, and salinity in the receiving water downstream of the point of discharge after the discharge has mixed with the receiving water; 



Dischargers to Upland Freshwater Rivers and Streams

the concentration of each constituent listed in the Enclosure A in the receiving water upstream of the point of discharge. 

the flow rate of the river at the time of sampling upstream of the point of discharge.

the pH, hardness, and salinity in the receiving water downstream of the point of discharge; 



For receiving water monitoring in the Bay and its estuarine fringe, whenever feasible, we encourage the dischargers to participate in a group effort utilizing monitoring mechanisms that are already in place such as the Regional Monitoring Program.  For dischargers to upland creeks or streams, you may also coordinate with other dischargers in your area to collect the necessary receiving water data.  When a group effort is used, we will accept the sampling plan from the group in lieu of individual plans.  This group plan should list the dischargers in the group, and describe the justification for why the receiving water data gathered will be relevant and applicable to each of the listed dischargers.



Applicability of Historic Discharge Data



You may use priority pollutant data that you collected in the past to comply with, or to supplement, the requirements of this letter, provided all the following conditions are met:



The historic data were based on samples collected and analyzed using approved methodology;

The quantification limits (or MLs) for the historic data are as low as the lowest MLs in Enclosure B.

The historic data are representative of current discharge (i.e., treatment system has not changed, and influent sources have not substantially changed).



If you plan to use historic data, please state this intend in the Sampling Plan with a justification of the representativeness of the data.  In this case, the requirement for a concurrent total solids (SM 2540 B) analysis is waived for the historic data.  You should also present the historic data together with any new data in the final report due 180 days prior to permit expiration.



Reporting Requirements

 

Reporting requirements for the data are contained in Enclosure B of this letter.  These requirements are based on the State Implementation Policy and are summarized below:



Report the measured (or estimated) concentration for each pollutant.

Report the quantifiable limit (Minimum Level), and the Method Detection Limit for each pollutant.

Report the dioxin TEQ for each sample.

TEQ = sum of the measured or estimated concentration for each congener multiplied by its respective TEF (see Enclosure B).  Assume zero for congeners that are below the method detection limit (MDL), and use estimated and measured values in the calculation.

Report effluent monitoring data as part of the routine self-monitoring reports.

By May 18, 2003, compile the data collected to date into a report, and submit the report to the Regional Board.  If group efforts are used such as for receiving water monitoring, one report for the group is acceptable.

180 days prior to permit expiration (after May 18, 2003), submit a final report with the data to the Regional Board with the application for NPDES permit reissuance.  This includes any influent or historic data you used as justification for reducing the monitoring requirements.  If group efforts are used for receiving water monitoring, reference to that data is sufficient.



Sampling Plan



You must submit by October 1, 2001, a sampling plan for the above monitoring that is acceptable to the Executive Officer.  The sampling plan should specify sampling parameters, monitoring frequencies, locations, and analytical methods to be used.   Your cover letter should certify that the proposed sampling plan will yield data that adequately characterize the effluent and receiving water for the purposes stated above, and provide justification.



When a group effort is used, we will accept the sampling plan from the group in lieu of individual plans.  This group plan should list the dischargers in the group, and describe the justification for why the data gathered will be relevant and applicable to each of the dischargers on the list.



Interim and Final Reports



An interim report is due on May 18, 2003.  The report should summarize the data collected to date, and describe future monitoring to take place.  You should submit a final report that presents all the data 180 days prior to your facility’s permit expiration date.  This final report should be submitted with the application for permit reissuance.  For dischargers with permits that expire before May 18, 2003, the final report is due with the application that is due after May 18, 2003.



For questions regarding this letter, please refer to the contact information indicated on the first page of this letter.



								Sincerely,







								Loretta K. Barsamian

								Executive Officer

Enclosures

�Table 1.  Summary of Minimum Effluent Monitoring Requirements�



�Constituent�Suggested Analytical Method�Minimum Frequency��Sample Type��Major Dischargers�Metals (except mercury, and hexavalent chromium)�GFAA or ICP, and Gas hydride AA for As and Se�Once each month�24 hr composite���Hexavalent chromium��Standard Method 3500�Once each month�grab���Mercury�EPA 1631�Once each month�grab���Cyanide�Standard Method 4500-CN- C or I�Once each month�grab���Dioxins and Furans (with total solids)��EPA 1613�Once in summer, once in winter�grab���Volatile and semi-volatile organics�EPA 601, 602, 603, 604, 606, 610 (HPLC) or equivalent GC/MS method��Once in summer, once in winter�grab���Other organics, chlorinated pesticides and PCBs (w/ TS)4�EPA 625, 608�Once in summer, once in winter�grab��Major municipal sewage treatment plants only�Organophosphate pesticides�EPA 614�Once in summer, once in winter�24-hr composite��Cooling tower blowdown, and major municipal sewage treatment plants �Tributyltin�Batelle N-0959-2606 or EBMUD method for treated wastewater6�Once in summer, once in winter�grab��Minor Dischargers�Metals (except mercury and hexavalent chromium)�GFAA or ICP, and Gas hydride AA for As and Se�Once each calendar quarter�24-hr composite���Hexavalent chromium3�Standard Method 3500�Once each calendar quarter�grab���Mercury�EPA 1631�Once each calendar quarter�grab���Cyanide�Standard Method 4500-CN- C or I�Once each calendar quarter�grab���Dioxins and Furans (with total solids)4�EPA 1613�Once during the summer, once during the winter for one out of the next two years.�grab���Volatile and semi-volatile organics�EPA 601, 602, 603, 604, 606, 610 (HPLC) or equivalent GC/MS method5�Once during the summer, once during the winter �grab���Other organics, chlorinated pesticides and PCBs (w/ TS)4�EPA 625, 608�Once during the summer, once during the winter �grab��Dischargers to MUN� designated receiving waters�Asbestos�EPA 100.2 (EPA 600/R-94-134, June 1994)�Once during the term of this study�24-hr composite���Enclosure A

List of Monitoring Parameters and Analytical Methods



CTR No.�Pollutant/Parameter�Criterion Approx.�

(g/l�Analytical Method��Optional Lower DL Study��Minimum Levels�

(g/l�������GC�GCMS�LC�Color�FAA�GFAA�ICP�ICP

MS�SPGFAA�HYD

RIDE�CVAA�DCP��1.�Antimony�14�204.2������10�5�50�0.5�5�0.5��1000��2.�Arsenic�36�206.3�����20��2�10�2�2�1��1000��3.�Beryllium��������20�0.5�2�0.5�1���1000��4.�Cadmium�2.2�200 or 213�����10�0.5�10�0.25�0.5����1000��5a.�Chromium (III)�180�SM 3500���������������5b.�Chromium (VI)�11�SM 3500�����10�5�������1000��6.�Copper�3.1�200.9������25�5�10�0.5�2���1000��7.�Lead�2.5�200.9������20�5�5�0.5�2���10,000��8.�Mercury�0.025�1631 

(note �)���������0.5���0.2���9.�Nickel �7.1�249.2������50�5�20�1�5���1000��10.�Selenium �5�SM 3114B or C�������5�10�2�5�1��1000��11.�Silver �1.2�272.2������10�1�10�0.25�2���1000��12.�Thallium�1.7�279.2������10�2�10�1�5���1000��13.�Zinc�58�200 or 289������20��20�1�10�����14.�Cyanide �1�SM 4500 CN- C or I�*����5����������15.�Asbestos (only required for dischargers to MUN waters2)�7,000,000 fibers/L�0100.2 ����������������16.�2,3,7,8-TCDD, 17 congeners

(Dioxin)�0.13E-07�1613�*��������������17.�Acrolein�320�603��2.0�5������������18.�Acrylonitrile�0.059�603�*�2.0�2������������19.�Benzene �1.2�602��0.5�2������������33.�Ethylbenzene�3100�602��0.5�2������������39.�Toluene�6,800�602��0.5�2������������20.�Bromoform�4.3�601�*�0.5�2������������21.�Carbon Tetrachloride�0.25�601�*�0.5�2������������22.�Chlorobenzene�680�601��0.5�2������������23.�Chlorodibromomethane�34(0.401)�601�(*)�0.5�2������������24.�Chloroethane��601��0.5�2������������25.�2-Chloroethylvinyl Ether��601��1�1������������26.�Chloroform��601��0.5�2������������75.�1,2-Dichlorobenzene�2700�601��0.5�2������������76.�1,3-Dichlorobenzene�400�601��0.5�2������������77.�1,4-Dichlorobenzene�400�601��0.5�2������������27.�Dichlorobromomethane�0.56�601��0.5�2������������28.�1,1-Dichloroethane��601��0.5�1������������29.�1,2-Dichloroethane�0.38�601�*�0.5�2������������30.�1,1-Dichloroethylene or 

1,1-Dichloroethene�3.2(0.057) �601�(*)�0.5�2������������31.�1,2-Dichloropropane�0.52�601��0.5�1������������32.�1,3-Dichloropropylene or 

1,3-Dichloropropene�10�601��0.5�2������������34.�Methyl Bromide or Bromomethane�48�601��1.0�2������������35.�Methyl Chloride or Chloromethane��601��0.5�2������������36.�Methylene Chloride or Dichlorormethane�4.7�601��0.5�2������������37.�1,1,2,2-Tetrachloroethane�11(0.17)�601�(*)�0.5�1������������38.�Tetrachloroethylene�8.85(0.8)�601�(*)�0.5�2������������40.�1,2-Trans-Dichloroethylene�700�601��0.5�1������������41.�1,1,1-Trichloroethane��601��0.5�2������������42.�1,1,2-Trichloroethane�42(0.60)�601��0.5�2������������43.�Trichloroethene�2.7)�601��0.5�2������������44.�Vinyl Chloride�2(525)�601��0.5�2������������45.�2-Chlorophenol�120�604��2�5������������46.�2,4-Dichlorophenol �93�604��1�5������������47.�2,4-Dimethylphenol�540�604��1�2������������48.�2-Methyl-4,6-Dinitrophenol or Dinitro-2-methylphenol�13.4�604��10�5������������49.�2,4-Dinitrophenol�70�604��5�5������������50.�2-Nitrophenol��604���10������������51.�4-Nitrophenol��604��5�10������������52.�4-chloro-3-methylphenol��604��5�1������������53.�Pentachlorophenol �7.9(0.28)�604�(*)�1�5������������54.�Phenol�21,000�604��1�1��50����������55.�2,4,6-Trichlorophenol�2.1�604�*�10�10������������56.�Acenaphthene�1,200�610 HPLC��1�1�0.5�����������57.�Acenaphthylene��610 HPLC���10�0.2�����������58.�Anthracene�9,600�610 HPLC���10�2�����������60.�Benzo(a)Anthracene or 1,2 Benzanthracene�0.0044�610 HPLC�*�10�5������������61.�Benzo(a)Pyrene�0.0044�610 HPLC�*��10�2�����������62.�Benzo(b)Fluoranthene or 3,4 Benzofluoranthene�0.0044�610 HPLC�*��10�10�����������63.�Benzo(ghi)Perylene��610 HPLC���5�0.1�����������64.�Benzo(k)Fluoranthene�0.0044�610 HPLC�*��10�2�����������74.�Dibenzo(a,h) Anthracene�0.0044�610 HPLC�*��10�0.1�����������86.�Fluoranthene�300�610 HPLC��10�1�0.05�����������87.�Fluorene�1,300�610 HPLC���10�0.1�����������92.�Indeno(1,2,3-cd)Pyrene�0.0044�610 HPLC�*��10�0.05�����������100.�Pyrene�960�610 HPLC���10�0.05�����������68.�Bis(2-Ethylhexyl) Phthalate�1.8�606 or 625�*�10�5������������70.�Butylbenzyl Phthalate�3,000�606 or 625��10�10������������79.�Diethyl Phthalate�23,000�606 or 625��10�2������������80.�Dimethyl Phthalate�31,3000�606 or 625��10�2������������81.�Di-n-Butyl Phthalate�2,700�606 or 625���10������������84.�Di-n-Octyl Phthalate��606 or 625���10������������59.�Benzidine�0.00012�625�*��5������������65.�Bis(2-Chloroethoxy) Methane��625���5������������66.�Bis(2-Chloroethyl) Ether�1.4(0.031)�625�(*)�10�1������������67.�Bis(2-Chloroisopropyl) Ether�1,400�625��10�2������������69.�4-Bromophenyl Phenyl Ether��625��10�5������������71.�2-Chloronaphthalene�1,700�625�*��10������������72.�4-Chlorophenyl Phenyl Ether��625���5������������73.�Chrysene�0.0044�625�*��10�5�����������78.�3,3’-Dichlorobenzidine�0.04�625�*��5������������82.�2,4-Dinitrotoluene�9.1(0.11)�625�(*)�10�5������������83.�2,6-Dinitrotoluene��625���5������������85.�1,2-Diphenylhydrazine (note �)�0.04�625�*��1������������88.�Hexachlorobenzene�0.00075�625�*�5�1������������89.�Hexachlorobutadiene�50(0.44)�625�(*)�5�1������������90.�Hexachlorocyclopentadiene�240�625��5�5������������91.�Hexachloroethane�8.9(1.9)�625��5�1������������93.�Isophorone�8.4�625��10�1������������94.�Naphthalene��625��10�1�0.2�����������95.�Nitrobenzene�17�625��10�1������������96.�N-Nitrosodimethylamine�8.1(0.00069)

�625�(*)�10�5������������97.�N-Nitrosodi-n-Propylamine�0.005�625�*�10�5������������98.�N-Nitrosodiphenylamine�5�625��10�1������������99.�Phenanthrene��625���5�0.05�����������101.�1,2,4-Trichlorobenzene��625��1�5������������102.�Aldrin�0.00013�608�*�0.005�������������103.�(-BHC�0.0039�608�*�0.01�������������104.�(-BHC �0.014�608��0.005�������������105.�(-BHC (Lindane)�0.019�608�*�0.02�������������106.�δ-BHC��608��0.005�������������107.�Chlordane�0.00057�608�*�0.1�������������108.�4,4’-DDT�0.00059�608�*�0.01�������������109.�4,4’-DDE�0.00059�608�*�0.05�������������110.�4,4’-DDD�0.00083�608�*�0.05�������������111.�Dieldrin�0.00014�608�*�0.01�������������112.�Endosulfan (alpha)�0.0087�608�*�0.02�������������113.�Endosulfan (beta) �0.0087�608�*�0.01�������������114.�Endosulfan Sulfate�110�608��0.05�������������115.�Endrin �0.0023�608�*�0.01�������������116.�Endrin Aldehyde �0.76�608��0.01�������������117.�Heptachlor�0.00021�608�*�0.01�������������118.�Heptachlor Epoxide�0.0001�608�*�0.01�������������119-125�PCBs:  Aroclors 1016, 1221, 1232, 1242, 1248, 1254, 1260�0.00017�608�*�0.5�������������126.�Toxaphene�0.00073�608�*�0.5��������������Tributyltin�0.01�(see note �)�Tributyltin is only required for sewage treatment plant discharges, and cooling tower blowdown discharges.���Chlorpyrifos �0.0056�614�Chloropyrifos and Diazinon are only required for sewage treatment plant discharges���Diazinon�0.05�614�Chloropyrifos and Diazinon are only required for sewage treatment plant discharges���Total Solids��SM 2540B�Grab sample at the same time as samples for dioxins and furans, and PCBs���pH���Required only for discharges to estuarine or fresh water rivers or streams, at a location upstream of the point of discharge.���Stream Flow Rate, upstream���Required only for discharges to estuarine or fresh water rivers or streams, at a location upstream of the point of discharge.���Hardness���Required only for discharges to estuarine or fresh water rivers or streams, at a location downstream of the point of discharge.���Salinity���Required for all discharges at a location downstream of the point of discharge.��







��Enclosure B



Data Reporting Requirements



.

Sample results greater than or equal to the laboratories reported minimum levels (ML), shall be reported as measured by the laboratory.



Sample results less than the reported ML, but greater than or equal to the laboratory’s method detection limit (MDL), shall be reported as “detected, but not quantified” or DNQ.  The estimated concentration of the sample shall be reported and may be qualified by a notation as an estimated value measured below the lowest calibration standard.



Sample results less than the laboratory’s method detection limit (MDL) shall be reported as “not detected” or ND.  The MDL is determined by the procedure in 40CFR136.  This MDL value shall be reported.



For Chlorinated dibenzodioxin (CDD) and chlorinated dibenzofuran (CDF), report the TEQ for each sample.  TEQ = sum of the measured or estimated concentration for each congener multiplied by its respective TEF (shown below).  Assume zero for congeners that are below the method detection limit, and use estimated and measured values in the calculation.

 World Health Organization 1998

Congener	Toxicity Equivalence Factor (TEF)

2,3,7,8-tetra CDD	1

1,2,3,7,8-penta CDD	1

1,2,3,4,7,8-hexa CDDs	0.1

1,2,3,6,7,8-hexa CDDs	0.1

1,2,3,7,8,9-hexa CDDs	0.1

1,2,3,4,6,7,8-hepta CDD	0.01

octa CDD	0.0001

2,3,7,8-tetra CDF	0.1

1,2,3,7,8-penta CDF	0.05

2,3,4,7,8-penta CDF	0.5

1,2,3,4,7,8-hexa CDFs	0.1

1,2,3,6,7,8-hexa CDFs	0.1

2,3,4,6,7,8-hexa CDFs	0.1

1,2,3,4,6,7,8-hepta CDFs	0.01

1,2,3,4,7,8,9-hepta CDFs	0.01

octa CDF	0.0001



If you are submitting self-monitoring data electronically under the Electronic Reporting System, you may submit the effluent data as part of your routine self-monitoring reports.  In this case, we waive the requirement to submit a final report of the results on effluent monitoring.  However, you must still submit a report of the receiving water monitoring on May 18, 2003.

�Enclosure C



Dischargers with Permit Monitoring Requirements Amended by Letter



For dischargers with permit that the Board has reissued within the last year contain provisions for similar monitoring as required by this letter, please note that this letter does not change the deadlines specified in those Permits.  However, this letter does change some of the Self-Monitoring Program specifications specifically concerning the elements below:

addition of a grab for Total Solids (Standard Methods 2540B) concurrent with organics pollutant samples, 

addition of organophospate pesticides and tributyltin, 

type of sample (grab verse composite), 

minimum sampling frequency, and 

analytical methodology.



With respect to these specific sampling elements, this letter serves as amendment of the self-monitoring programs for the dischargers listed below:



Napa Sanitation District

Mountain View Sanitary District

East Bay Dischargers Authority, Cities of Hayward and San Leandro, Oro Loma/Castro Valley Sanitary Districts, Union Sanitary District, and Livermore-Amador Valley Water Management Agency

Dublin San Ramon Services District and Livermore-Amador Valley Water Management Agency

City of Livermore and Livermore-Amador Valley Water Management Agency

USS-PPSCO Industries

City of Calistoga, Wastewater Treatment Plant

South Bayside System Authority

Chevron U.S.A., Inc., Richmond Refinery

Sewage Agency of Southern Marin

East Bay Municipal Utilities District

City of San Mateo, Water Quality Control Plant

Central Contra Costa Sanitary District

�Enclosure D

Sampling Plan Outline



Introduction



The introduction section should include the information listed below:  



Facility Name

Discharge Volume

Description of discharge outfall location(s)

NPDES Permit Number

Board Order Number



Certification of Adequacy of Sampling Plan



Based on your assessment of the variability of the effluent, there should be a statement that sampling in accordance with the proposed plan should yield data that adequately characterize the effluent and receiving water for the purposes stated on page 2 of the letter.



Sampling Locations



Include a map of appropriate scale showing the locations of the discharge(s), and the locations of the receiving water sampling stations.



Sampling Logistics



Paragraph one should indicate the dates and times that sampling is expected to take place.  This information can be summarized in a table such as, Example Table 1 shown below.



Paragraph two should discuss sampling techniques that will be employed during this sampling effort.  Special attention should be given to the ultra clean techniques that will be employed for specific analytes.



Please Note: There are specific requirements for monitoring both effluent and receiving water.  Sampling logistics for both of these areas should be noted in this section.



Example Table 1.  Sampling Information



Constituent�

Sampling Frequency�

Sample Type��

Mercury (Hg)�

Once per month�

Grab��

Organophosphate pesticides�

Twice per year (summer & winter)�

24-hr composite��

Asbestos�

Summer 2002�

24-hr composite��

Sample Analysis



A brief description of the laboratories involved and their current certifications is sufficient.  Any special circumstances concerning specific analytes or laboratories should be noted.  An example of this type of circumstance would be the substitution of a similar method for one of the ones listed.  Example Table 2, shown below can be used to easily shown the laboratories completing the analyses.



Example Table 2. Laboratory Information



Constituent�

Laboratory�

Analysis Method��

Mercury (Hg)�

ABC Laboratories�

EPA 1631��

Organophosphate pesticides�

California Analysis Laboratories�

EPA 614��

Asbestos�

California Analysis Laboratories�

EPA 0100.2��

�Personnel and Contact Information



This section should discuss who is involved with this sampling and analysis effort and each person’s responsibilities.  An example of how the contact information for each person could be listed is shown below.



Facility ContactFacility ContactFacility Contact�tc  \l 2 "Facility Contact"�



Steve Jackoviac

Harrieta WWTP

6801 W 30 Road

Harrietta, CA 00638

(510) 389-2211

(510) 389-2910 (fax)

jackovis@harriettawwtp.com



Sampling Contact



Charles Moore

Harrieta WWTP

6801 W 30 Road

Harrietta, CA 00638

(510) 389-2212

(510) 389-2910 (fax)

moorec@harriettawwtp.com



Analytical Laboratory ContactsAnalytical Laboratory ContactsAnalytical Laboratory Contacts�tc  \l 2 "Analytical Laboratory Contacts"�



Metals

Chris Brown

ABC Laboratories

10306 Eaton Place, Suite 340

Fairfax, CA 00030

(510) 385-6000

(510) 385-6007 (fax)

chris.brown@abclabs.com



Organics

Jim Loving

California Analysis Laboratories

6101 Stevenson Avenue

Alexandria, CA 003304

(510) 461-2350

(510) 461-8156 (fax)

jloving@cal.org	





� National Pollutant Discharge Elimination System

� The State Implementation Policy can be viewed and downloaded from www.swrcb.ca.gov/water quality 

� The California Toxics Rule can be downloaded from www.epa.gov/region09/water

� The Basin Plan can be downloaded from www.swrcb.ca.gov/~rwqcb2

�  Please refer to our letters of August 19, 1999, and October 22, 1999, concerning use of ultra-clean techniques for monitoring of effluent and receiving waters.  Ultra-Clean techniques minimize contamination of samples from common sampling and analytical practices.  The letters are available on our website at www.swrcb.ca.gov/~rwqcb2 under Basin Plan, Current Issues.

�  San Francisco Estuary Regional Monitoring Program for Trace Substances is an ongoing monitoring program funded by major dischargers to San Francisco Bay to characterize contaminant concentration and distribution, determine general sources and loadings of contaminants, and assess contaminant effect of selected parts of the estuary.  This program is managed by the San Francisco Estuary Institute (www.sfei.org).

�  This can be viewed at http://www.access.gpo.gov/nara/cfr/cfrhtml_00/Title_40/40cfr136_00.html

�  The discharge flow should be measured during sampling for toxic pollutants.

�  We suggest increasing the frequency above this minimum for a pollutant if that pollutant is measured close to or above its criterion in Enclosure A.

�  Total Chromium may be substituted to for Hexavalent Chromium at the discharger’s discretion.

�  A grab sample for total solids analysis (SM 2540B) should be collected coincident with each grab sample for EPA 1613 (dioxins/furans), and 608.

�  The equivalent GC/MS method must be able to quantify to an equivalent level as the GC methods listed above.

�  MUN = Municipal and Domestic Supply.  This designation, if applicable, is in the Findings of the NPDES Permit.

�  The criterion serves only as a point of reference for the selection of the appropriate analytical method.

·	Some metals are hardness dependent and are expressed as dissolved values.  The above listed criteria have not been translated to total values and may be too low or too high depending on the actual hardness of your receiving water.

·	Two criteria are listed for some organics.  The value in parentheses are applicable only to those dischargers who discharge to MUN designated receiving waters (Municipal and Domestic Supply).

�  The suggested method is the U.S. EPA Method unless otherwise specified (SM = Standard Methods).  The discharger may use another U.S. EPA approved or recognized method if that method has a level of quantification below the applicable criterion.  Where no method is suggested, the discharger has the discretion to use any standard method.

�  Constituents where this column is asterisked “*” indicates that the currently available analytical technique is not low enough for the stated purpose of this letter requirement.  The discharger has the option of 1) going forth with the current U.S. EPA analytical method, or 2) participating in a regional study to investigate the feasibility and reliability of increasing sample volumes to lower the detection limits.

�  Minimum levels are from the State Implementation Policy.  They are the concentration of the lowest calibration standard for that technique based on a survey of contract laboratories.  Laboratory techniques are defined as follows:  GC = Gas Chromatography; GCMS = Gas Chromatography/Mass Spectrometry; LC = High Pressure Liquid Chromatography; Color = Colorimetric; FAA = Flame Atomic Absorption; GFAA = Graphite Furnace Atomic Absorption; Hydride = Gaseous Hydride Atomic Absorption; CVAA = Cold Vapor Atomic Absorption; ICP = Inductively Coupled Plasma; ICPMS = Inductively Coupled Plasma/Mass Spectrometry; SPGFAA = Stabilized Platform Graphite Furnace Atomic Absorption (i.e. U.S. EPA 200.9); DCP = Direct Current Plasma.

�  The Minimum level for mercury is 2 ng/l (or 0.002 ug/l) pursuant to Regional Board letters dated August 4, 1999, and October 22, 1999.

�  Determination of Asbestos Structures over 10 [micrometers] in Length in Drinking Water using MCE filters, U.S. EPA 600/R-94-134, June 1994.

�  Measurement for 1,2-Diphenylhydrazine may use azobenzene as a screen:  if azobenzene measured at >1 ug/l, then analyze for 1,2-Diphenylhydrazine.

�  Battelle technical article N-0959-2602, or East Bay Municipal Utilities District method for wastewaters



�







 



 



California Regional Water Quality Control Board

San Francisco Bay Region

�Internet Address:  http://www.swrcb.ca.gov

1515 Clay Street, Suite 1400, Oakland, California  94612

Phone (510) 622-2300 ( FAX (510) 622-2460



California Environmental Protection Agency

��

  Recycled Paper



Priority Pollutant Data Request		page � PAGE �8�		



		







Enclosure B, page � PAGE �1�	





Winston H. Hickox

Secretary for

Environmental

Protection

�seq User_Box  \* �Error! Switch argument not specified.�



�EMBED Word.Picture.8���



Gray Davis

Governor



�EMBED Word.Picture.8���





�








