CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

INSTRUCTION FOR NOTICE OF INTENT (NOI) to comply with the terms of the region wide General National Pollutant Discharge Elimination System (NPDES) Permit authorizing discharges from surface water treatment facilities to surface waters.

[image: image1.emf]        Types of Effluent 

         Flow Rate, gpd

      Type of Treatment System for Effluent

         Flow Rate, gpd

Separate Storm Drain System (If applicable)

         Flow Rate, gpd

       Name(s) of Receiving State Water(s)

I. 
OWNER/OPERATOR INFORMATION 

The owner is the organization or person who owns or leases the facility or land where the potable water treatment facility is located.  Provide the street address or a description of where the facility is located (i.e., 1234 15th Drive or northwest corner of 1st Street and X Avenue).  Please note that each facility must obtain separate coverage under this General Permit
II. 
BILLING ADDRESS

Provide this information only if the annual waste discharge fee should be billed to a different entity.  

III. 
DISCHARGE EFFLUENT INFORMATION

List all your possible discharges under item 2 of the table.  Discharges that are not listed here will not be covered by this general permit coverage, and additional NPDES permit may be needed for any other discharge of wastewater to any of the State waters.  

Annual waste discharge fee will be determined base on the total maximum discharge flow rate under this item (III.3).  The total maximum discharge flow is also the maximum permitted discharge flow rate.  For intermittent discharge, total discharge flow rate equals to the maximum discharge volume in a year divided by 365 days.  You may increase or decrease you total discharge flow rate after filing a revised NOI indicating the new total discharge flow rate and receive a NGPC with the revised maximum permitted flow rate.

If your facility only has non-routine (unplanned or emergency) discharges, the annual fee is $1,000 for the first year and the annual fee for the succeeding year will be based on the maximum flow rate discharged in the previous year.  

IV. 
DISCHARGE WATER QUALITY PARAMETERS 

For existing facilities, all of the parameters must be tested by a State certified laboratory and reported on this table.  Provide a copy of the laboratory data sheets and Chain of Custody documents, as applicable.  For new/proposed facility, enter estimated values to this table.  Where there is more than one outfall, you should submit a separate sheet for item IV for each outfall.  Test results shall be obtained from a representative sample, which represent your discharge effluent.

V.
RECEIVING WATER INFORMATION

The discharge point is generally the discharge's point of first contact with receiving State waters including storm drain systems.  Provide the coordinates of each discharge point.  You may use a U.S. Geographical Survey (USGS) or any other appropriate map to interpolate the coordinates.

If the discharge first enters a separate storm drainage system, provide the name of the watercourse or water body that the separate storm drainage system drains to.  Please contact the storm drain system owner about your proposed discharge.  

Attach a separate sheet if you have more than three discharge points.  Properly label the discharge points with numbers, which correspond to the discharge point label on the location map(s) and flow Chart(s) submitted.

VI.
LOCATION MAP

Provide the location map on 8-1/2 by 11 inches sized paper or folded to 8-1/2 by 11 inches.  Show at least one mile beyond the property boundaries of the facility on the map. 

Indicate the discharge point(s) on the location map, and include all of the required information.  The discharge point(s) may include where the discharge exits the facility and enters the roadway right-of-way and then flows into a separate storm drainage system and/or where the discharge directly enters the State receiving waters.

VII.
FLOW CHART 

An example of a line drawing is given below.  The flow chart shall indicate how the discharge effluent from where the wastewater is generated to where the flow enters the receiving State water, including all the treatment systems used to treat the effluent and the approximate amount of flow.  The quantity of discharge may be estimated if no data is available.







VIII.
SITE-SPECIFIC BEST MANAGEMENT PRACTICES (BMPs) PLAN 


Site-Specific BMPs Plan for Discharges from Surface Water Treatment Facilities  



Existing Dischargers shall submit the site-specific BMPs plans with this NOI.  A Discharger for a new or proposed facility has the option of submitting its BMPs plan with this NOI or 30 days before commencement of the operation.  The site-specific BMPs plan shall include, at a minimum, the following information:



1.
Facility operation:



(1)
Describe the source and characteristics of the raw water;



(1)
Briefly describe the water treatment processes used in your facility.  The description should include a flow diagram that includes all the treatment units at your facility and a brief description of each treatment unit; 




(2)
Water treatment capacity and normal operation rate;




(3)
Filter backwash frequency and flow rate;



(4)
Describe chemicals added at each treatment processes;  



(5)
Describe backwash water treatment method (e.g. settling basin).

2.
Potential pollutants - Describe potential pollutants that will be generated by the facility operation.  These pollutants may include, but are not limited to: 





(1)
Chemical used at the facility;



(2)
Discharge associated with operation and maintenance of equipment, such as oil and grease and hydraulic fluid leakage and spills; 




(3)
Any debris generated by the operation;



(4)
Storm water runoff from exposed oil, fuel or any hazardous material storage locations and containment structures; and



(5)
Evaluation of stream bank conditions at the locations where large amount of water spill may enter the stream; etc.

3.
Pollution control and effluent treatment methods – Describe the control and treatment measures for each of the potential pollutants identified under item VIII.2 above,


(1)
Describe the prevention measures to be implemented to prevent the pollutants from entering your effluent and State water;


(2)
Describe any measures that will be taken to reduce or eliminate the use of copper compound to the maximum extent practical;

(3)
Describe the effluent treatment methods to be implemented on-site to remove the pollutants in the effluent.  Indicate the treatment system locations on the location map; 

(4)
Describe the maintenance procedures and schedules to maintain the effluent treatment system; and


(5)
Describe methods to prevent stream bank erosion resulting from the discharge (e.g. bank stabilization, control discharge flow rate).  

4.
Chlorine Management 


a.
Chlorine storage and transportation.  The BMPs plan should indicate the form of chlorine, such as chlorine gas or sodium hypochlorite, used at the facility.  The BMPs plan should include chlorine storage method, storage tank location, size of the secondary containment and if there is any exposed pipes used to transport chlorine;



b.
Chlorine spill or leakage prevention.  The BMPs plan should specify the specific means of chlorine handling procedures so that spill can be eliminated, and the emergency response and clean up plan in case there is a spill or leakage.  The BMPs plan should also include the schedule for routine inspection of chlorine storage site and transportation piping to detect any potential leakage.



c.
Chlorinated water spill.  The Discharger, to the maximum extent possible, shall install an alarm system to provide warning signal for chlorinated water overflow or spill.  The BMPs plan shall describe procedures for dechlorination of the spill or overflow.



d.
Water release.  The BMPs plan shall include a set of standard procedures for chlorine residual monitoring and dechlorination for water release or discharge to the State waters.


e.
Responsibility and training.  The Plan shall identify the names and position of persons that are responsible for the tasks identified in the BMPs plan.  The Plan shall also include the schedule(s) for the training.

5.
Responsibility and training.  The BMPs plan shall identify the names and position of persons that are responsible for the tasks identified in the BMPs plan.  The BMPs plan shall also include the schedule(s) for BMPs training. 

BMPs Plan for Dewatering Effluent Discharge From Water Storage Facilities at Treatment Plant

A Discharger who plans to dewater its on-site water storage facilities and discharge the dewatering effluent should submit a BMPs plan at least 30 days before the planned discharge.  The Discharger may submit this BMP plan with its NOI if it is available at the time.  The BMPs plan shall contain, at a minimum, the following information:

1.
Effluent water monitoring.  The Discharger shall conduct monitoring of the effluent in accordance with the sampling and monitoring schedule specified under Table 4 of Self-Monitoring Program.  

2.
 Treatment method.  The BMPs plan should describe the specific treatment method(s) to be used to treat the dewatering effluent prior to discharge, in case that the initial analysis results show that the pollutant level(s) is above the permit limitation(s) in Section B.1 of the General Permit;

3.
Bottom sediment disposal method.  The Discharger shall identify the specific means of preventing the sediments from water storage facility from discharging to the State waters.  The BMPs plan should also identify where and how these sediments will be disposed.

4.
Discharge point location and stream bank protection.  The BMPs plan should also include a map indicating the location where the dewatering effluent is expected to enter the stream, the proposed flow rate to prevent stream bank erosion.  The calculation used to determine this flow rate should be included.  The BMPs Plan should also describe the stream bank stabilization method to be used at the point of discharge.

XI.
AUTHORIZATION OF REPRESENTATIVE

Authorization statements are provided for the owner to complete if he wishes to authorize a representative to process this NOI for him.  A standard authorization statement is provided under item X of NOI.  The owner may provide his own customized statement in a separate letter if the standard statement does not provide appropriate limit of authorization.  If you choose to enclose a separate authorization letter, this letter shall be signed by the qualified person (see item XI of this instruction below for the requirement of the qualified person). 

Provide the duly authorized representative's information in the applicable item(s).  There shall be only one duly authorized representative at any time.  The owner may change the designated duly authorized representative at any time during the processing of this NOI.  The duly authorized representative will no longer be authorized effective on the date of receipt of any new authorization statement from the owner.

X. 
CERTIFICATION

The person certifying this NOI Form must meet one of the following descriptions and be employed by the owner listed in item I (Refer to 40CFR 122.22 for more detailed requirements):

For a corporation: (1) A president, secretary treasurer, or vice president of the corporation in charge of the principal business function, or any other person who performs similar policy or decision making functions for the corporation, or (2) the manager of one or more manufacturing, production, or operating facilities employing more than 250 persons or having gross annual sales or expenditures exceeding $25 million (in second-quarter 1980 dollars), if authority to sign documents has been assigned or delegated to the manager in accordance with corporate procedures.

For a partnership or sole proprietorship, by a general partner or the proprietor, respectively.


For a municipality, State, Federal or other public agency, by either a principal executive officer or ranking elected official.  







PAGE  
4
Instruction-NOI for Surface Water Treatment Facilities

For Potable Supply

Permit No. CAG382001

Order No. R2-2003-0062

Date: June 18, 2003

