CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

ORDER NO. R2-2003-0062

SELF-MONITORING PROGRAM (SMP)
FOR

REGION WIDE GENERAL NATIONAL POLLUTANT DISCHARGE ELIMINATION SYSTEM (NPDES) PERMIT FOR DISCHARGES FROM SURFACE WATER TREAMENT FACILITIES FOR POTABLE SUPPLY

(GENERAL PERMIT)

NPDES PERMIT NO. CAG382001

ORDER NO. R2-2003 -0062
TABLE OF CONTENT

2I.
 BASIS AND PURPOSE


2II.
 SAMPLING AND ANALYTICAL METHODS


3III.
 SPECIFICATIONS FOR SAMPLING AND ANALYSES


31.
Effluent


32.
Receiving Waters


3IV
24-HOUR REPORTING


31.
Non-chlorinated water discharge


42.
Chlorinated water discharge


4IV.
 RECORDS TO BE MAINTAINED


5V.
WRITTEN REPORTS TO BE FILED WITH THE BOARD


51.
Self-Monitoring Report


72.
Reporting Data in Electronic Format


7VI.
 DEFINITION OF TERMS


71.
Grab Sample


72.
Composite Sample


83.
Flow Sample


85.
Average values


8VII.
DESCRIPTION OF SAMPLING AND OBSERVATION STATIONS


81.
Effluent


82.
Receiving Water


9VIII.
REQUIRED SAMPLING, ANALYSES AND OBSERVATIONS


14IX.
 SELF-MONITORING PROGRAM CERTIFICATION




I.

BASIS AND PURPOSE

Reporting responsibilities of waste dischargers are specified in Sections 13225(a), 13267(b), 13268, 13383 and 13387(b) of the California Water Code and this Board's Resolution No. 73-16.

The principal purposes of a monitoring program by a waste discharger, also referred to as self-monitoring program, are: (1) to document compliance with waste discharge requirements and prohibitions established by this Board, (2) to facilitate self-policing by the waste discharger in the prevention and abatement of pollution arising from waste discharge, (3) to develop or assist in the development of effluent or other limitations, discharge prohibitions, national standards of performance, toxicity and other standards, and (4) to prepare water and wastewater quality inventories.

II.

SAMPLING AND ANALYTICAL METHODS

Sample collection, storage, and analyses shall be performed in according with the 40 CFR 136 or other methods approved and specified by the Executive Officer of this Board.

Water and waste analyses shall be performed by a laboratory approved for these analyses by the State Department of Health Services (DOHS) or a laboratory waived by the Executive Officer from obtaining a certification for these analyses by the DOHS.  The director of the laboratory whose name appears on the certification or his/her laboratory supervisor who is directly responsible for analytical work performed shall supervise all analytical work including appropriate quality assurance/quality contro1procedures in his or her laboratory and shall sign all reports of such work submitted to the Board.

All monitoring instruments and equipment shall be properly calibrated and maintained to ensure accuracy of measurements.

III.

SPECIFICATIONS FOR SAMPLING AND ANALYSES

The Discharger is required to perform sampling and analyses, as scheduled in Tables 1, 2 and 3, section VIII of this monitoring program, in accordance with the following conditions:

1.
Effluent


a.
If two consecutive samples of a constituent monitored on a weekly or monthly basis in a 30 day period exceed the monthly or 30-day average effluent limit for any parameter, (or if the required sampling frequency is once per month and the monthly sample exceeds the monthly or 30-day average limit), the sampling frequency shall be increased to daily until the additional sampling shows that the most recent 30-day moving average is in compliance with the monthly or 30-day average limit.


b.
If any maximum daily limit is exceeded, the sampling frequency shall be increased to daily until two samples collected on consecutive days show compliance with the maximum daily limit.


c.
If the final or intermediate results of any single bioassay test indicate a threatened violation (i.e. the percentage of surviving test organisms is less than the required survival percentage), a new test will begin as soon as practical and the Discharge shall investigate the cause of the mortalities and report the finding in accordance with E.6.d. of Standard Provisions, and in the next Self-Monitoring Report.


2.
Receiving Waters 



If sample is collected to determine the compliance with receiving water limitations in this permit, 



a.
the receiving water samples shall be collected on days coincident with effluent sampling.



b.
the samples shall be collected within one foot below the surface of the receiving water body, unless otherwise stipulated. 

IV.
24-HOUR REPORTING

1.
Non-chlorinated water discharge

For non-routine discharge of non-chlorinated water (chlorine residual is 0.0 mg/L), the Discharger shall report to Regional Board staff by telephone within 24-hour that the Discharger becomes aware of the discharge, if the discharge volume is 50,000 gallons or more.  The Discharger shall provide Regional Board with a written report within 5 days after the 24-hour telephone report.  All discharges shall be summarized and reported in the annual self-monitoring report as required under item V of this program. 

2.
Chlorinated water discharge

The Discharger shall report any discharge, which has a total chlorine residual greater than 0.0 mg/L to Regional Board staff.  The Discharger shall report to Regional Board staff by telephone within 24-hours of the Discharger becoming aware of the discharge, if the discharge volume is 1,000 gallons or more or the discharge may endanger health or environment.  The Discharger shall provide Regional Board with a written report within 5 days after the 24-hour telephone report.  Dischargers shall summarize all other chlorinated water discharges and report to the Regional Board no later than 15 days after the last day of previous calendar month.  All discharges shall be summarized and reported in the annual self-monitoring report as required under item V of this program. 

V.

RECORDS TO BE MAINTAINED


1.
Written reports, strip charts, calibration and maintenance records, and other records shall be maintained by the Discharger and accessible at the facility’s field office, and retain for a minimum of three years.  This period of retention shall be extended during the course of any unresolved litigation regarding this discharge or when requested by the Board or Regional Administrator of the U.S. EPA, Region IX.  Such records shall show the following for each sample:


    
a.
Identity of sampling and observation stations by number.


    
b.
Date and time of sampling and/or observations.


    
c.
Date and duration of each discharge if the discharge is not a continuous discharge.



d.
Method of composite sampling (See Section VI -Definition of Terms)



e.
Type of fish bioassay test (96 hour static or flow-through bioassay)


f.
Date and time that analyses are started and completed, and name of personnel performing the analyses.


g.
Complete procedure used, including method of preserving sample and identity and volumes of reagents used.  A reference to specific section of Standard Methods is satisfactory.


    
h. 
Calculations of results.


    
i. 
Results of analyses are/or observations.

2.
A tabulation shall be maintained showing the following flow data for influent and effluent stations and discharge points:



a. 
Discharge flow or total discharge volume for all discharge occurred during the reporting year.



b.
Maximum and minimum daily flows for each month.

VI.
WRITTEN REPORTS TO BE FILED WITH THE BOARD

(Please refer to Standard Provision for additional reporting requirements on violations and spills)


1.
Self-Monitoring Report

Annual self-monitoring report:  The purpose of the self-monitoring report is to document treatment performance, effluent quality and compliance with the waste discharge requirements and monitoring requirements prescribed by this Order, as demonstrated by the monitoring program data and the Discharger’s operation practices.  

The self-monitoring report (SMR) shall be submitted annually.  If there is no discharge during the reporting period, it shall be stated on the SMR.  A SMR shall be submitted to the Board in accordance with the following:




a.
The SMR shall be submitted to the Board in accordance with the schedule provided below:

	Facilities in following Counties
	Reporting year
	Annual report submission date 

	Marin, Napa, Sonoma Counties
	January 1 to December 31
	February 15 

	Contra Costa, Solano Counties
	April 1 to March 31
	May 15 

	Alameda, San Francisco Counties
	July 1 to June 30
	August 15

	San Mateo, Santa Clara Counties
	October 1 to September 31
	November 15


b.
This report shall include the following:



(1)
Both tabular and graphical summaries of monitoring data collected during the year that characterize effluent qualities and compliance with waste discharge requirements.





(2)
A comprehensive discussion of compliance with waste discharge requirements.  This discussion should include any corrective actions taken or planned such as changes to facility equipment or operation practices which may be needed to achieve compliance, and any other actions taken or planned that are intended to improve performance and reliability of the Discharger's wastewater collection, treatment or disposal practices.   

(3)
A summary of all planned and unplanned discharges occurred during the reporting year.  The summary should include discharge dates, discharge volumes and flow rates, receiving water names, if monitoring was done to the discharge. 

c.
Letter of Transmittal:  Each report shall be submitted with a letter of transmittal.  This letter shall include the following:

(1)
Identification of all violations of effluent limits or other discharge requirements found during the monitoring period.  If there is no violation during the reporting year, it shall be stated on the transmittal letter, “there is no violation during this period”;





(2)
Details of the violations including parameters, magnitude, test results, frequency, and dates;




(3)
The cause of the violations;

(4)
Discussion of corrective actions taken or planned to resolve the violations and prevent the recurrence, and dates or time schedule of implementation action.  If previous reports have been submitted that address corrective actions, reference to such reports is satisfactory; 

(5)
Signature requirement.  The letter of transmittal shall be signed by the Discharger's principal executive officer or ranking elected official, or duly authorized representative, and shall include the following certification statement:

"I certify under penalty of law that this document and all attachments have been prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  The information submitted is, to the best of my knowledge and belief, true, accurate and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment." 

d.
Compliance Evaluation Summary:  Each report shall include a compliance evaluation summary in tabular form.  This summary shall include, for each parameter for which effluent limits are specified in the General Permit, the number of samples taken during the monitoring period, and the number of samples in violation of applicable effluent limits.




e.
Results of Analyses and Observations.

(1)
Tabulations of all required analyses and observations, including parameter, sample date and time, sample station, and test result;  

(2)
If any parameter specified in Table 1 and Table 2 of item VIII is monitored more frequently than required by this General Permit and SMP, the results of this additional monitoring shall be included in the SMR, and the data shall be included in data calculations and compliance evaluations for the monitoring period;

(3)
Calculations for all effluent limits that require averaging of measurements shall utilize an arithmetic mean, unless specified otherwise in this General Permit or SMP.

(4)
A sketch showing the locations of all sampling and observation stations shall be included in the Self-Monitoring Report.

f.
Effluent Data Summary – U.S. EPA NPDES Discharge Monitoring Reports:  Summary tabulations of monitoring data including maximum, minimum and average values for subject monitoring period shall be reported in accordance with the format given by the U.S. EPA NPDES Discharge Report(s) (DMRs; U.S. EPA Form 3320-1 or successor).  Copies of these DMRs shall be provided to U.S. EPA as required by U.S. EPA.

g.
Data Reporting for Results Not Yet Available:  The Discharger shall make all reasonable efforts to obtain analytical data for required parameter sampling in timely manner.  The  Board recognizes that certain analyses require additional time in order to complete analytical processes and result reporting.  For cases where required monitoring parameters require additional time to complete the analytical processes and reporting, and results are not available in time to be included in the SMR for the subject-monitoring period, such cases shall be described in the SMR.  Data for these parameters, and relevant discussions of any observed violations, shall be submitted to the Board data become available.




h.
Report Submittal:  The Discharger shall submit SMRs to:

Executive Officer

San Francisco Bay Regional Water Quality Control Board

1515 Clay Street, Suite 1400

Oakland, CA 94612

Attn: NPDES Division, General Permit No. CAG3820001


2.
Reporting Data in Electronic Format  



The Dischargers are encouraged to submit all monitoring results in electronic reporting format approved by the Executive Officer.  If the Discharger chooses to submit the SMRs electronically, the following shall apply:

The Discharger shall submit SMRs electronically via the process approved by the Executive Officer in a letter dated December 17, 1999, Official Implementation of Electronic Reporting System (ERS).  The electronic report shall be submitted to the Board no later than 30 days from the last day of the reporting year (see submitting date in item V.1 of this SMP).

After submitting SMR electronically, a paper copy of SMRs shall be submitted to the Board no later than 45 days from the last day of the reporting year (see report submitting date in item V.1).  The SMRs shall meet the requirements stated under items V.1.b through h of this SMP.

VII.
DEFINITION OF TERMS


1.
Grab Sample



A grab sample is defined as an individual sample collected in a short period of time not exceeding 15 minutes.  Grab samples shall be collected during normal peak loading conditions for the parameter of interest, which may or may not be during hydraulic peaks.  It is used primarily in determining compliance with daily maximum limits and instantaneous maximum limits.  Grab samples represent only the condition that exists at the time the wastewater is collected.


2.
Composite Sample



A composite sample is defined as a sample composed of individual grab samples mixed in proportions varying not more than plus or minus five percent from the instantaneous rate (or highest concentration) of waste flow corresponding to each grab sample collected at regular intervals not greater than one hour, or collected by the use of continuous automatic sampling devices capable of attaining the proportional accuracy stipulated above throughout the period of discharge for 8 consecutive or of 24 consecutive hours, whichever is specified in item VIII of this SMP.


3.
Flow Sample




A flow sample is defined as the accurate measurement of the average daily flow volume using a properly calibrated and maintained flow-measuring device.



For non-routine discharges, Discharger may estimate the flow rate or duration of the discharge to the best of his or her knowledge and explain how the flow was estimated in the self-monitoring report.


4.
Duly authorized representative is one whose:



a.
Authorization is made in writing by a principal executive officer or ranking elected official;



b.
Authorization specifies either an individual or a position having responsibility for the overall operation of the regulated facility or activity, such as general partner in a partnership, sole proprietor in a sole proprietorship, the position of plant manager, operator of a well or a well field, superintendent, position of equivalent responsibility, or an individual or position having overall responsibility for environmental matters for the company.  (A duly authorized representative may thus be either a named individual or any individual occupying a named position.)



5.
Average values




Average values for daily and monthly/30-day values is obtained by taking the sum of all daily values divided by the number of all daily values measured during the specified period.

VIII.
DESCRIPTION OF SAMPLING AND OBSERVATION STATIONS

1.
Effluent     


Station 



Description


E-xx


Effluent station.  At any point in the outfall between the point of discharge to the receiving State water(s) and the point at which all waste tributary to that outfall is present.






If the effluent first discharges into a separate storm drain system, the sampling point for compliance purpose shall be the point at which all waste tributaries to the outfall are present and before commingling with the water in the storm drain system. 


2.
Receiving Water


Station



Description


C



Receiving water station.  At a point in the receiving water where the effluent initially mixed with the receiving water. 

CB-up
Upstream receiving water station.  At a point in the center of receiving water and located upstream of the discharge point where impact from the discharge is not expected. 

CB-down
Down stream receiving water station.  At a point in the center of receiving water and located down stream of the discharge point where impact of the discharge is not expected.

IX.
REQUIRED SAMPLING, ANALYSES AND OBSERVATIONS

The schedule of sampling, analysis and observations shall be that given in Tables 1, 2, 3 and 4 below.  For analytical methods and data reporting requirements for metals and THMs, please refer to Table 1 and Enclosure B of the Board’s August 6, 2001 letter.  The data shall be reported annually before or on the annual report date specified in item VI.1 of this program.

TABLE 1 - SCHEDULE of EFFLUENT SAMPLING, ANALYSES and OBSERVATIONS for ROUTINE DISCHARGE [1] [3]

	Sampling Station
	Unit
	E-xx

Effluent Station(s)

	Sample Type               


	
	G

	Flow Rate [2]
	Gallons/day
	Continuous

	Total Suspended Solids
	mg/L
	M

	pH
	
	W

	Total Chlorine Residual [6]
	mg/L
	Continuous or hourly or once in every 2 hours [7]

	Copper 
	µg/L
	Q [5]

	Zinc
	µg/L
	Q [5]

	Arsenic
	µg/L
	Once in summer and

Once in winter [5]

	Cadmium
	µg/L
	Once in summer and

Once in winter [5]

	Chromium VI [10]
	µg/L
	Once in summer and

Once in winter

	Lead
	µg/L
	Once in summer and

Once in winter [5]

	Mercury
	µg/L
	Once in summer and

Once in winter

	Nickel
	µg/L
	Once in summer and

Once in winter [5]

	Selenium
	µg/L
	Once in summer and

Once in winter [5]

	Silver
	µg/L
	Once in summer and

Once in winter [5]

	Chloroform
	µg/L
	Once in summer and

Once in winter

	Bromodichloromethane
	µg/L
	Once in summer and

Once in winter

	Dibromochloromethane
	µg/L
	Once in summer and

Once in winter

	Bromoform
	µg/L
	Once in summer and

Once in winter

	Acute Toxicity [8] [12]
	% Survival
	Q


TABLE 2 - SCHEDULE of EFFLUENT SAMPLING, ANALYSES and OBSERVATIONS for NON-ROUTINE DISCHARGES [4]

	Sampling Station
	Units
	E-xx

Effluent Station(s)

	Sample Type               


	
	G

	Flow Rate [2]
	Gallons/day
	Once per occurrence

	Total volume discharged [2]
	Gallons
	Once per occurrence

	Total Suspended Solids
	mg/L
	Once per occurrence



	pH
	
	Once per occurrence

	Total Chlorine Residual [6]
	mg/L
	Once per occurrence


TABLE 3 - SCHEDULE of RECEIVING WATER SAMPLING and ANALYSES for BACKGROUND INFORMATION (See Findings 28, 29 & 30 in the Order for purpose of this monitoring) [1] 

	Sampling Station
	
	C-xx

Receiving Water Stations

	Sampling Location
	
	CB-up
	CB-down

	Sample Type 
	Unit
	G
	G

	Stream flow rate
	Gallons/day
	At time of upstream sampling event
	

	Hardness
	mg/L as CaCO3
	
	[9]

	Total Solids
	mg/L
	
	[9]

	pH
	Standard unit
	
	[9]

	Salinity
	ppt
	
	[9]

	Copper 
	µg/L
	[9]
	

	Zinc
	µg/L
	[9]
	

	Arsenic
	µg/L
	[9]
	

	Cadmium
	µg/L
	[9]
	

	Chromium VI [10]
	µg/L
	[9]
	

	Lead
	µg/L
	[9]
	

	Mercury
	µg/L
	[9]
	

	Nickel
	µg/L
	[9]
	

	Selenium
	µg/L
	[9]
	

	Silver
	µg/L
	[9]
	

	Chloroform
	µg/L
	[9]
	

	Bromodichloromethane
	µg/L
	[9]
	

	Dibromochloromethane
	µg/L
	[9]
	

	Bromoform
	µg/L
	[9]
	


TABLE 4 – SCHEDULE of DEWATERING EFFLUENT SAMPLING AND ANALYSIS FOR ON-SITE WATER STORAGE FACILITIES 

	Sampling Station
	Units
	E-xx

Effluent Station(s)

	Sample Type               


	
	G

	Flow Rate [2]
	Gallons/day
	Once per occurrence

	Duration of the discharge [2]
	Hours and minutes
	Once per occurrence

	Total volume discharged [2]
	Gallons
	Once per occurrence

	Total Suspended Solids [11]
	mg/L
	Three times per occurrence



	Settleable matter [11]
	ml/L-hr.
	Three times per occurrence

	pH
	
	Once per occurrence

	Total Chlorine Residual [6]
	mg/L
	Once per occurrence

	Total PCBs
	µg/L
	Once per occurrence only if you believe that the water storage facilities contain PCB material 


LEGEND FOR TABLE 1 through 4
Types of Samples:




C-24
= 24-hour composite sample for continuous discharge




G= grab sample

Frequency of Effluent Sampling:




M = once each month or once in 30 consecutive days

W = once each week or once in 7 consecutive days




Q = once each quarter or once in 3 consecutive months




Summer and Winter:




Summer is from May 1 to September 30 of each year.




Winter is from October 1 to April 30 of each year.




Parameter and Unit Abbreviations:




mg/L
= milligrams per liter




µg/L 
= microgram per liter

ppt = parts per thousand

ml/L-hr = milliliter of solids settled in 60 minutes per litter of sample

FOOTNOTES FOR TABLE 1
[1]
 
Composite sample:  24-hour composites may be made up of discrete grabs collected over the course of a day for continuous discharges, or over the duration of the discharge for intermittent discharges.  The sample should be volumetrically or mathematically flow-weighted.  Samples for inorganic pollutants may be combined prior to analysis.  If only one grab sample will be collected, it should be collected during periods of maximum peak flows.  Samples shall be taken on random days.

[2]

You may estimate the flow rate, volume or duration of the discharge to the best of your knowledge and explain how the flow was estimated in the self-monitoring report.

[3]

Routine discharges can be intermittent or continuous discharges.  Routine discharges are normally planned or scheduled discharges.  Examples of routine discharges are discharges of filter backwash water, treatment unit dewatering/drainage water, leakage water, treatment system flushing water during hydro testing with facility start-up after facility shut down; facility on-site water storage facility drainage; excess raw water release, etc.  

[4]
Non-routine discharges are normally unplanned or emergency discharges, and emergency in nature, such as discharges from treatment unit overflows and broken waterlines within the treatment facility, etc.

[5]

Composite samples are preferred for these constituents.  However, due to the relative consistent nature of the discharge, grab samples are permissible.  

[6]

It is a violation of this permit if the field test (Standard Methods 4500-Cl F and G) shows that the effluent chlorine residual is 0.08 mg/L or greater.   

[7]

The hourly monitoring frequency may be reduced to once in every two (2) hours if the first three samples show compliance with this permit requirement.



[8]

Acute Toxicity Monitoring (96-hour static renewal bioassay test):

The following parameters shall be monitored on the sample stream used for the acute toxicity bioassays, at the start of the bioassay test and daily for the duration of the bioassay test, and the results reported: water hardness, alkalinity, pH, temperature and dissolved oxygen.  Ammonia nitrogen shall be measured and un-ionized ammonia calculated whenever fish bioassay test results fall below 90% survival.  Furthermore, if the fish survival rate in the effluent is less than effluent acute toxicity limits specified in the Order, or the control fish survival rate is less than 90%, a bioassay test shall be restarted with new fish and tests shall continue back to back until compliance is demonstrated.  Back to back is intended to mean after immediate cleanup of the test system and restart in accordance with the testing protocols required by the Environmental Laboratory Accreditation Program certification process.  For intermittent discharges, the back-to-back test can be started when the discharge resumes.

[9]

For receiving water sampling, the Dischargers can determine the monitoring frequency based on the site-specific situations.  The data must be sufficient to characterize the concentration of each toxic pollutant in the ambient receiving water.  The data on the conventional water quality parameters (pH, salinity, and hardness) should also be sufficient to characterize these parameters in the ambient receiving water at the point after the discharge has mixed with the receiving waters.

[10]
Total Chromium may be substituted for Hexavalent Chromium at the Discharger’s discretion.  Total chromium sample may be collected as composite.

[11]
The first sample shall be taken before the discharge.  The second sample shall be taken at the beginning of the discharge and the third sample shall be taken just before the end of the discharge.  The samples shall be taken from the on-site water storage facility dewatering effluent and, to the maximum extent possible, be representative of the discharge effluent quality.  

[12]
Acute toxicity testing is not required for raw water discharges.
X.

SELF-MONITORING PROGRAM CERTIFICATION 




I, Loretta K. Barsamian, Executive Officer, hereby certify that the foregoing Self‑Monitoring Program

1.
has been developed in accordance with the procedure set forth in this Board's Resolution No. 73‑16 in order to obtain data and document in compliance with waste discharge requirements established in Board Order No. R2-2003-0062.

2.
may be reviewed at any time subsequent to the effective date upon written notice from the Executive Officer or request from the Discharger, and revisions will be ordered by the Executive Officer.




3.
is effective as of September 1, 2003. 









LORETTA K. BARSAMIAN


Executive Officer
PAGE  
14
General Permit for Surface Water Treatment Facilities for Potable Supply

Self-Monitoring Program

NPDES Permit No. CAG382001

Order No. R2-2003-0062 

Date: June 18, 2003



