MRP DRAFT Monitoring Section and Monitoring Work Group Minutes 1-23-06

Discussions from the 1-23-06 meeting are captured in the document below.  I didn’t get the changes recorded in “edit mode” this time, but will do that next time for ease of review.  On 1-23 the group went through much of this document, but the major effort is reflected in Table 3.1, where we now have the number of monitoring sites/year for Status & Trends Monitoring.  We also made some edits in Monitoring Projects.  -jbo
Water Quality Monitoring
DRAFT – DRAFT - DRAFT

Items highlighted in yellow are action items.
Contents  
1. Monitoring Program Objectives

2. Monitoring Responsibilities and Collaboration

3. Status and Trends Monitoring

4. Surveillance Monitoring

5. Monitoring Projects

6. Water Body Assessment

7. Citizen Monitoring

8. Data Analysis

9. Reporting

10. Monitoring Protocols
Attachment A3-1:  Matrix for applicability of individual indicators in water body types for Status & Trends monitoring

Attachment B:  Bioassessment Trigger Using TRIAD Approach Chris compiling from S. CA Table 5-4
Attachment C:  Standard Monitoring Requirements

1. 0
Monitoring Program Objectives

The objectives of the Monitoring Program include, but are not limited to:

· Assess compliance with this Order;

· Assess the chemical, physical, and biological impacts of urban runoff on receiving waters;

· Characterize stormwater discharges;

· Assess compliance with Total Maximum Daily Loads and Waste Load Allocations in impaired water bodies;

· Assess progress towards reducing receiving water concentrations of impairing pollutants;

· Assess compliance with numeric and narrative water quality objectives and standards;

· Identify sources of pollutants;

· Assess the overall health and evaluate long-term trends in receiving water quality; and

· Measure and improve the effectiveness of Urban Stormwater Programs and implemented Best Management Practices.

Ultimately, the results of the monitoring program must be used to reduce pollutant loadings and protect and enhance the beneficial uses of the receiving waters in the Dischargers’ jurisdictions and the San Francisco Bay.

2.0
Monitoring Responsibilities and Collaboration

Each Discharger is responsible for ensuring that the monitoring required by this provision is completed.  To meet a monitoring requirement other than Surveillance Monitoring, a Discharger may support (financially or otherwise) another entity that will conduct the monitoring in accordance with the requirements of this Provision.  Other entities may be Stormwater Programs or larger, regional entity(s), as appropriate for the type of monitoring conducted.  Regional collaboration is encouraged where appropriate, such as where monitoring results could be expected to be generally applicable to all Dischargers, or to build regional datasets with greater statistical power to support monitoring objectives.

3.0
Status and Trends Monitoring

Status and Trends monitoring is intended to answer the following management questions:

· Are conditions in receiving waters protective or likely to be protective of beneficial uses (e.g., meeting water quality standards)?

· Are conditions in receiving waters getting better or worse?

3.1
Each Discharger
 shall conduct Status and Trends Monitoring as described in Table 3.1.  Table 3.1 states the minimum number of sites at which each indicator must be sampled.  This number represents the minimum sampling per year; Dischargers shall augment the minimum sampling as needed to sample all their water bodies in a ten-year rotation.  Citizen monitoring or other partnerships with non-Discharger entities may be used to collect these data.  Applicability of individual indicators or data types for monitoring in local waterbodies is described in Appendix A3.1.  EXPLAIN IMPORTANCE/USE OF A3.1.

[[Use Basin Plan water body list as starting template for defining watersheds in Table below]]

Table 3.1   Status and Trends Monitoring Elements

	Monitoring Categories/Indicators (Type)
	Method

	Level of Implementation
	
	Trigger for “Monitoring Project” (or other option)

	
	
	Minimum Sampling Frequency

	Minimum Sampling Interval

	Minimum # Sample Sites/Year

	

	San Francisco Bay Estuary

	a. Chemical, Physiochemical, Biological
	Each Discharger shall ensure that the San Francisco Estuary is monitored for impacts from urban runoff to, at a minimum, a level of monitoring equivalent to that conducted in fiscal year 2005-2006.

Chris (and Arleen?) may reword this[[includes Status & Trends + Loading assessment pilots but not Episodic tox]]
	

	b. Mass Emissions (POC concentrations and loadings from watershed(s) to the Bay)
	
	

	Local Watersheds

	       1. Aquatic Life Use Indicators

	a. Biological Assessment – Fish

	EPA RBP

	1/yr 

(Fall Sampling)
	Grab sample
	5/3/1 (some discussion here)
	N/A (no IBI, for conditions only)

	b. Biological Assessment – BMIs

(Includes Qualitative Physical Habitat Measurements and General Water Quality Parameters)
	CSBP

	1/yr

(Spring Sampling)
	Grab sample
	25/15/5
	TRIAD: IBI score that indicates substantially degraded community

	c. General Water Quality
 
	Multi-Parameter Probe
	1 yr

(During the Most Relevant Time of Year)
	15 minute intervals for either: 

a) 1-year or 

b) 1-2 weeks
	3/2/1
	Water consistently or repeatedly
 exceeds one or more water quality standard or established threshold

	d. Temperature 
	Hobo Temperature Logger or equivalent
	1 yr

(During the Most Relevant Time of Year)
	15 minute intervals for either: 

a) 1-year or 

b) 1-2 weeks
	3/2/1
	Water consistently or repeatedly exceeds applicable temperature threshold
 

	e. Pollutants of Concern – Bedded Sediment

	Applicable SWAMP Comparable Method
	2/yr

(Beginning and End of Dry Season)
	Grab Sample
	6/4/1
	TRIAD
:  Exceedence of any? relevant fresh water sediment effects thresholds (PEL or TEL?) for  2 sampling events


	f. Toxicity – Water Column

	Applicable SWAMP Comparable Method
	2/yr

(1/Dry Season & 1 Storm Event)
	Grab or 

composite sample
	3/2/1 (subject to regional plan)
	Greater/= to 20% decrease in survival compared to control in at least one sampling event

	h. Toxicity – Bedded Sediment
	Applicable SWAMP Comparable Method
	2/yr

(Beginning and End of Dry Season)
	Grab sample
	3/2/1
	TRIAD:  Greater/= to 20% decrease in survival compared to control in at least one sampling event

	i. Chlorine (Free and Total)
	Field Test Strips or Equivalent
	In conjunction w/ other sampling events
	Grab sample
	25/15/5 w/BMIs
	After immediate re-sampling, concentrations remain > 0.1 mg/L 

	j. Geomorphology – Cross Section and/or Longitudinal Profile
	Method depends on site-specific conditions

	1/yr
	N/A
	3/3-2/1 w/ea site continuing for 5 yrs*  Add avg of 1 site ea yr
	Evidence of ongoing changes in cross section or longitudinal profile

	k. Substrate Characterization – particle size classes and embeddedness 
	Method depends on site-specific conditions

	1/yr
	N/A
	3/3-2/1 w/ea site continuing for 5 yrs*  Add avg of 1 site ea yr
	Evidence of ongoing causes of alteration of substrate that adversely affects beneficial uses

	l. Stream Flow
	FILL IN
	FILL IN
	FILL IN
	3/3-2/1 w/ea site continuing for 5 yrs*  Add avg of 1 site ea yr
	Episodic or anomalous changes in stream flow

	     2. Recreational and Multiple Use Indicators

	a. Pathogen Indicators

	Applicable SWAMP Comparable Method
	1 yr 

(During summer)
	Follow EPA protocol 
	5/5/* 

*Fairfield: 5 sites twice in permit period
	Exceedence of EPA/Basin Plan criteria 

	b. Trash Assessment – Baseline & Trends
	Most recent Water Board Protocol
	3/yr (after wet season, end of dry season, next wet season)

	N/A
	Option: 12/8/2 (correlate w/muni maintenance)
	Repeat trigger in muni maintenance – Should be: Take action on sites with high concentrations of trash

	c. Stream Survey (stream walk & mapping)
	USA
 or equivalent 
	1 watershed
/yr (see 2.2 & make consistent)
	N/A
	Stream miles/yr: 
9/6/3
	N/A


4.0       Surveillance Monitoring 


Dischargers shall conduct Surveillance Monitoring of water bodies in their jurisdictions to spot check for illicit discharges.  Surveillance Monitoring shall be conducted on (a) water bodies with a high likelihood for illicit discharges, based on historical incidents and/or land use, and (b) other water bodies so that most/all water bodies in the Discharger’s jurisdiction are spot-checked periodically.

4.1
Continuous Surveillance Monitoring

Dischargers shall employ continuous monitors, for periods of time determined by the Discharger, to check for such parameters as dissolved oxygen, temperature, and conductivity in water body reaches with a high likelihood for illicit discharges.  The number of times such Continuous Surveillance Monitoring is conducted yearly must be proportional to the Discharger’s amount of industrial and commercial land use.  Dischargers with solely residential, or predominantly residential with only a minor amount of commercial, land use need not conduct Continuous Surveillance Monitoring.  (Alter this to account for construction discharges?-Susan)
4.2
Unsystematic Surveillance Monitoring

Dischargers shall employ test kits to check for such parameters as chlorine, pH, temperature, and conductivity on a more or less random basis.  This monitoring shall include recording accumulation of trash also.  Dischargers with a significant proportion of industrial and/or commercial land use
 shall conduct Unsystematic Surveillance Monitoring approximately weekly.  Other Dischargers shall conduct Unsystematic Surveillance Monitoring approximately monthly.  The purpose of this monitoring is to check on the condition of the Discharger’s water bodies on a periodic basis.

4.3
Prioritize Trash Accumulation Sites

Dischargers shall evaluate information collected during Status and Trends Monitoring and Surveillance Monitoring and prioritize trash accumulation areas for potential management actions.

5.0
Monitoring Projects 

Monitoring projects include specific targeted intended to provide information on:

· Status and Trends monitoring results;

· Best Management Practice effectiveness, including hydromodification control practices;

· Appropriate management actions, or effectiveness of ongoing management actions;

· TMDL development and/or implementation; 

· Functional processes in water bodies that respond to human alterations; and/or

· Development of monitoring science and policy.

5.1       Types of Monitoring Projects and Alternatives

When Status & Trends results indicate a monitoring category/indicator has “triggered” a Monitoring Project, as indicated in Table 3.1, Dischargers
 shall conduct Monitoring Project(s) and/or take follow-up action(s).  Possible follow-up actions are listed in Table 5.1. 

Table 5.1  Possible Follow-up to Status & Trends Monitoring
	Monitoring Category
	Example follow up actions

	General Water Quality,

Temperature
	Evaluate the data and (a) conduct appropriate follow-up action, or (b) design and implement of a more refined spatial or temporal follow-up monitoring project, or (c) conduct a more integrative limiting factors analysis.  Re-evaluate all follow-up actions.

	Pollutants of Concern – Bedded Sediment,

Toxicity – Water Column, Toxicity – Bedded Sediment
	Follow up actions specified in Attachment _, Table __

	Chlorine (Free and Total)
	Resample, notify ___, and attempt to determine the source of chlorine discharge.  Refer discharger to illicit discharge program.

	Geomorphology – Cross Section and/or Longitudinal Profile
	Recommend management action for evidence of ongoing anthropogenic causes of erosion &/or sedimentation.

	Substrate Characterization – particle size classes and embeddedness 
	Recommend management action for evidence of ongoing anthropogenic causes of alteration of substrate that adversely affects beneficial uses.

	Stream flow
	Observe upstream source(s) or diversions.  Link to illicit discharge program.

	Pathogen Indicators
	Identify source and recommend management action;  

Resample using increased spatial intensity and at greater frequency during high-use periods;

Identify source using sanitary survey methodologies or microbial source tracking.

	Trash Assessment – Baseline & Trends
	Determine sources of trash and take management action regarding high priority sites.
  Evaluate effectiveness through follow up assessment.

	Stream Survey 
	Identify and select Status and Trends monitoring locations;

Identify sources of illicit discharges;

Identify sources/causes of diversions;

Identify sources of instability and other stream alterations;

Identify management actions and priorities for more intensive evaluation.


5.2
Dischargers shall maintain a list of potential Monitoring Projects that contains:

· Projects that follow up (e.g., with source identification) to each case in which Status and Trends Monitoring “triggered” a Monitoring Project, as indicated in Table 3.1, “Trigger” column;
· Projects that investigate Pollutants of Concern or otherwise support efforts regarding Total Maximum Daily Limits; 
· Projects that investigate the effectiveness of controls used in new/redevelopment for stormwater treatment and hydromodification control; and

· Other Monitoring Projects a Discharger identifies as a priority, including any trigger from Surveillance Monitoring or other elements of the permit.

5.3    Dischargers shall prioritize their potential Monitoring Projects and establish a multiyear
 Monitoring Projects Work Plan.  This Plan shall be submitted for Water Board approval six months before the planning term of the previous or existing Monitoring Project Work Plan.

5.4   During this permit term, Dischargers shall initiate the number of Monitoring Projects given below.  Because Monitoring Projects differ in length and complexity, Dischargers shall also conduct (i.e., be in the process of conducting) the minimum number of Monitoring Projects each year, as follows:
a. ACCWP and SCVURPPP each shall conduct a minimum of three Monitoring Projects each year, and shall initiate a minimum of six Monitoring Projects every five years.

b. CCCWP and SMSTOPPP each shall conduct a minimum of two Monitoring Projects each year, and shall initiate a minimum of four Monitoring Projects every five years.

c. Fairfield-Suisun and Vallejo shall conduct a minimum of one Monitoring Project each year, and shall initiate a minimum of two Monitoring Projects every five years.

d. Question:  can the initial Monitoring Projects be defined, so that they are approved by Board up front?

6.0   Water Body Assessment

Water body assessment (sometimes referred to as watershed assessment) is the collection and analysis of water body information to draw conclusions concerning the historical, current and potential condition and functions of water bodies to support decision-making and watershed management actions.

6.1    Dischargers shall complete the Water Body Assessments shown in Table 6.1 within the five-year Permit term.

Table 6.1   Required Water Body Assessments

	Program to Conduct the Water Body Assessment
	Water Body to be Assessed
	Watershed Area (mi2)

	Alameda County-wide Clean Water Program
	Martin Canyon tributary to Arroyo De La Laguna planning watershed
	

	
	Ward and Zeile Creek tributaries to the Lower Alameda planning watershed 
	

	
	Initiate Vallecitos & Crandall or Stony Brook
	

	Contra Costa Clean Water Program 
	Marsh Creek
	94

	
	Alhambra Creek
	17

	
	Mt. Diablo Creek
	38

	Fairfield-Suisun Urban Runoff Management Program
	Ledgewood or Laurel???
	

	San Mateo Stormwater Pollution Prevention Program
	[Jon Konan]
	

	
	
	

	
	
	

	Santa Clara Valley Urban Runoff Pollution Prevention Program
	[Chris S]
	

	
	
	

	
	
	


6.2
Water Body Assessment Elements

Water Body Assessments shall evaluate a suite of physical, chemical and biological information related to the following conditions and functions:

--include a sentence stating something like:  for each function and condition and, see definition above (past, present future…)
Water Body Assessments shall consist of the elements described in Table 6.2.MOVE TO APPENDIX – POSSIBLY IN FINDING.  OPTIONS; THE QUESTIONS ONLY.   ARLEEN WILL REWORK THE TABLE FOR APPENDIX AND/OR PERMIT TEXT

Table 6.2   Water Body Assessment Elements

	Questions to be answered:
	Methods to consider include:

	Hydrologic Processes and Channel Dynamics

	· To what extent are past and current changes in hydrology currently affecting this function? 

· Are the water body channel dimension, pattern and profile stable?

· What are the flood conditions of the water body?
	· Degree of channel modification

· Extent of watershed imperviousness

	Riparian Habitat Variation and Richness

	
	

	Aquatic Habitat Variation and Richness

	
	

	Landscape-Level Aquatic Habitat Connectivity

	
	

	Aquatic Vertebrate Community

	water quality, inc. temp, must be in here
	

	Aquatic Invertebrate Community

	water quality, inc. temp, must be in here
	

	Human Health Risks

	· Water contact (recreation, and incidental)

· Consumption of organisms

· Source of drinking water
	


· Historical and Existing Land Use, Channel and Habitat Conditions 

· Historical and Existing Conditions of Aquatic Biota

· Channel Habitat Type

· Geomorphic Condition

· Existing and Potential Beneficial Uses 

· Water Quality Conditions

· Hydrology and Water Use 

· Riparian and Wetland Conditions

· Sediment Sources and Types

· Pollutant Sources and Types

· Channel Type, Modifications and Trends

· Other Pertinent Water Body or Watershed/Landscape Level Data/Information

7.0
Citizen Monitoring & Participation

7.1
Dischargers shall encourage Citizen Monitoring.  

7.2
In assessing water bodies, developing Monitoring Projects, and evaluating Status and Trends data, Dischargers shall make reasonable efforts to seek out citizen and stakeholder information regarding water body function and quality.  

7.3       Dischargers shall demonstrate that they have encouraged citizen and stakeholder observations and reporting of water body conditions in their annual reports.
8.0
Data Analysis

8.1
Types of Data

Dischargers shall evaluate all monitoring data collected during the reporting period.  Data shall include all reasonably obtainable water and/or sediment quality data of good quality
 collected by any party since the last evaluation for the water body.  Such parties could include the Program as a whole; individual Dischargers; Publicly Owned Treatment Works; Flood Control Districts; Regional Water Quality Control Board; and Regional Monitoring Programs.  Citizen and non-governmental organization monitoring data, where they meet data quality objectives & are relevant to permit requirements, shall be considered, evaluated, and reported.

8.2      Types of Evaluations

Dischargers shall conduct data evaluation, including the following evaluations, as allowed by the type and completeness of the data collected:

· Calculate the metrics used in the CSBP and compare mean biological and habitat assessment metric values between stations and year-to-year trends;

· Evaluate the effectiveness of existing control measures;

· Develop hypotheses to investigate in subsequent years;

· Identify and prioritize water quality problems;

· Identify potential sources of the water quality problems;

· Recommend future monitoring; and

· Identify management measures to address water quality problems.  

9.0
Monitoring Protocols and Data Quality


Minimum data quality shall be consistent with the latest version of the SWAMP Quality Assurance Management Plan for applicable parameters, including data quality objectives, field and laboratory blanks, field duplicates, laboratory spikes, and clean techniques, using the most recent Standard Operating Procedures.

10.0   Reporting

10.1
Dischargers shall attempt to develop a standard monitoring report format for all Dischargers.  All monitoring reports shall include the following:

a.
An executive summary;

b. A description of monitoring station locations by latitude and longitude coordinates, frequency of sampling, quality assurance/quality control procedures and sampling and analysis protocols;

c. All data/results, with graphical summaries where appropriate;

d. A discussion of compliance with and deviations from the Data Quality Assurance / Quality Control Plan and Sampling and Analysis Plan;
e. Comprehensive interpretations and conclusions, including:

· Identification and analysis of any long-term trends in stormwater or receiving water quality;

· Estimation of total mass emissions of pollutants of concern from receiving waters;

· Assessment of compliance with applicable water quality standards; and

· Identification and prioritization of water quality problems where possible;

f. Based on the identification and prioritization of water quality problems, the report shall identify potential sources of the problems, and recommend future monitoring and future actions; and

g. The certified perjury statement described in Standard Reporting Requirements in Attachment C section B.10.d.  THIS SECTION IS MISSING
10.2 In cases of regional collaboration, a single report shall be submitted on behalf of all collaborating Dischargers.  Otherwise, the Dischargers’ stormwater Programs shall compile and submit monitoring reports for their respective Dischargers.  In either case, the monitoring reports shall be compiled and submitted as specified in Table 10.1.

10.3
Dischargers shall begin submitting Electronic Data Reports in a standard spreadsheet format in the second reporting cycle following adoption of this permit.  In the interim, any spreadsheet format will be acceptable for electronic data reporting.  Dischargers shall attempt to agree upon, with approval by the Executive Officer, a standard format for the Electronic Data Reports.  If agreement cannot be reached in a timely manner for the second reporting cycle, the Executive Officer will provide a standard format.  Dischargers shall make electronic reports available on a website and attempt to notify stakeholders and members of the general public about the availability of monitoring reports through a minimum of notices distributed through appropriate email listserves.

Table 10.1  Monitoring Reporting Requirements

	Monitoring Report
	Submittal Date
	Contents
	Follow up?  Other?

	Status and Trends Electronic Data Report
	
	Electronic data in formats consistent with SWAMP formats where such SWAMP formats have been established
	

	Status and Trends Report


	Submit 2 paper and 1 electronic copy.
	· All items required in subprovision 10.1; and

· Discussions of how reporting period results relate to previous years’ data, if any exist.
	

	Monitoring Project Report

	Submit 2 paper and 1 electronic copy.
	· All items required in subprovision 10.1; and

· Discussions of how reporting period results relate to previous years’ data, if any exist.
	

	Water Body Assessment Report
	Submit 2 paper and 1 electronic copy.
	· All items required in subprovision 10.1; and

· Discussions of how reporting period results relate to previous years’ data, if any exist.
	


· How to feed into the next multi-year plan with or w/o permit amendment—how will monitoring report lead to what is done next.

· Address the lag time—perhaps 2 cycles alternate.
Howabout a table format like:

Category/type of data 

collected in



reported by 




    (breakdown by quarters of FY) 
Annual Report with x lag time

Can include text regarding reporting of when something is referred for management action

Literature cited – to be placed in the administrative record

Diamond, J., A. Eaton, C. Annis, H. Brass, L. Keith, A. Strong, D. McChesney, and M. Shockey.  2001.  Towards a definition of performance-based laboratory methods.  A position paper developed by the Methods and Data Comparability Board (MDCB).  August 2001. Technical Report 01-02.

Puckett, M.  2002.  Quality Assurance Management Plan for the State of California's Surface Water Status and Trends Monitoring Program ("SWAMP").  California Department of Fish and Game, Monterey, CA.  Prepared for the State Water Resources Control Board, Sacramento, CA.  145 pages plus Appendices
.

U.S. Environmental Protection Agency.  2000.  Stressor identification guidance document.  EPA/822/B-00/025.  Office of Water, Washington, DC.

U.S. Environmental Protection Agency.  2000.  “Methods for Measuring the Toxicity and Bioaccumulation of Sediment-Associated Contaminants with Freshwater Invertebrates.” 2nd edition.  EPA/600/R-99/064.  U.S. EPA, ORD, Duluth, MN.

For Findings

· We considered stating the numbers and exact locations of sampling sites, and the degree of replication, but concluded that this was inappropriate given the amount of variation from program to program, as well as from place to place within each program.  For example, numbers of stations are generally specified for Status and Trends Monitoring, but not for Project Monitoring, where the number of stations will depend, among other things, on watershed size and complexity, amount and intensity of human use, severity and significance of potential impacts, known patterns of contamination, and hydrography of the study area.

ATTACHMENT ___

Standard Monitoring Requirements

Standard Monitoring Requirements

All monitoring activities shall meet the following requirements:
1. Monitoring and Records [40 CFR 122.41(j)(1)]

Samples and measurements taken for the purpose of monitoring shall be representative of the monitored activity.

2. Monitoring and Records [40 CFR 122.41(j)(2)] [California Water Code § 13383(a)]

The discharger shall retain records of all monitoring information, including all calibration and maintenance records and all original strip chart recordings for continuous monitoring instrumentation, copies of all reports required by this Order, and records of all data used to complete the application for this permit, for a period of at least three years from the date of the sample, measurement, report or application. This period may be extended by request of the Water Board at any time.

3.   Monitoring and Records [40 CFR 122.21(j)(3)]

Records of monitoring information shall include the information requested in Attachment B and the following:

a.
The date, exact place, and time of sampling or measurements;

b.
The individual(s) who performed the sampling or measurements;

c.
The date(s) analyses were performed;

d.
The individual(s) who performed the analyses;

e.
The analytical techniques or methods used; and

f.
The results of such analyses.

4.   Monitoring and Records [40 CFR 122.21(j)(4)]

Monitoring results must be conducted according to test procedures approved under 40 CFR part 136 unless other test procedures have been specified in this Order.

5.   Monitoring and Records [40 CFR 122.21(j)(5)]

The Clean Water Act provides that any person who falsifies, tampers with, or knowingly renders inaccurate any monitoring device or method required to be maintained under this Order shall, upon conviction, be punished by a fine of not more than $10,000, or by imprisonment for not more than two years, or both. If a conviction of a person is for a violation committed after a first conviction of such person under this paragraph, punishment is a fine of not more than $20,000 per day of violation, or by imprisonment of not more than four years, or both.

6.   Monitoring and Records [40 CFR 122.41(k)(2)]

The Clean Water Act provides that any person who knowingly makes any false statement, representation, or certification in any record or other document submitted or required to be maintained under this permit, including monitoring reports or reports of compliance or noncompliance shall, upon conviction, be punished by a fine of not more than $10,000 per violation, or by imprisonment for not more than six months per violation, or by both.

7.   Monitoring Reports [40 CFR 122.41(l)(4)

Monitoring results shall be reported at the intervals specified elsewhere in this Order.

8.   Monitoring Reports [40 CFR 122.41(l)(4)(ii)]

If the discharger monitors any pollutant more frequently than required by the permit using test procedures approved under 40 CFR part 136, unless otherwise specified in the Order, the results of this monitoring shall be included in the calculation and reporting of the data submitted in the reports requested by the Water Board.

11. Monitoring Reports [40 CFR 122.41(l)(4)(iii)]

Calculations for all limitations which require averaging of measurements shall utilize an arithmetic mean unless otherwise specified by the Water Board in the Order.

Table A3.1  Matrix for applicability of individual indicators in water body types for Status & Trends monitoring.
Note:  Proposed effort level is per Program on an annual basis, but over [10] year timeframe all water bodies will be monitored in rotation.  Programs may need to augment minimum sampling to meet the 10-year rotation.   ARLEEN – HOW DO YOU DELETE THE PAGE BREAKS ABOVE AND BELOW THIS TABLE??
	
	Natural stream
	Urban stream
	Concrete channel/pipe 
	Min. # of sites annual SC-AL/CC-SM/V-FS
	Lake or reservoir

	Category/Indicator
	
	
	
	
	

	1.  Aquatic Life Use Indicators 
	
	
	
	
	

	a. Biological Assessment – Fish
	Yes
	Potential
	N/A
	5/3/1 (some discussion here)
	potential

	b. Biological Assessment – BMIs   MANY SITES
	Yes 
(also triad)
	Yes 
(also triad)
	Yes 
(also triad?)
	25/15/5
	Potential 
(as triad?)

	c. General Water Quality (fixed)
	Yes
	Yes
	Yes
	3/2/1
	Yes

	d. Temperature (fixed)
	Yes
	Yes
	Yes
	3/2/1
	Yes

	e. Pollutants of Concern – Bedded Sediment
	Yes 
(also triad)
	Yes 
(also triad)
	Potential 
(also triad?)
	6/4/1
	Potential 
(as triad?)

	f. Toxicity – Water Column
	Yes
	Yes
	Yes?
	3/2/1 (subject to regional plan)
	Yes

	h. Toxicity – Bedded Sediment
	Yes 
(also triad)
	Yes 
(also triad)
	Potential 
(as triad)
	3/2/1
	Potential 
(as triad?)

	i. Chlorine (Free and Total)
	Yes
	Yes
	Yes
	25/15/5 w/BMIs
	Potential

	j. Geomorphology – Cross Section and/or Longitudinal Profile
	Yes, where…?
	Yes, where…?
	N/A
	3/3-2/1 w/ea site continuing for 5 yrs*  Add avg of 1 site ea yr
	N/A

	k. Substrate Characterization – particle size classes and embeddedness 
	Yes
	Yes
	N/A
	3/3-2/1 w/ea site continuing for 5 yrs*  Add avg of 1 site ea yr
	N/A

	l. Stream Flow
	Yes
	Yes
	Potential
	3/3-2/1 w/ea site continuing for 5 yrs*  Add avg of 1 site ea yr
	N/A

	2.  Recreational and Multiple Use Indicators
	
	
	
	
	

	a. Pathogen Indicators
	Yes
	Yes
	If accessible
	5/5/* 

*FF 5 sites twice in permit period
	

	b. Trash Assessment – Baseline & Trends
	Yes, for mgmt evaluation
	Yes, for mgmt evaluation
	Yes, for mgmt evaluation
	Option: 12/8/2 (correlate w/muni maintenance)
	Yes, for mgmt evaluation

	c. Stream Survey (stream walk & mapping)
	Yes
	Yes
	Partial/If accessible
	Stream miles/yr: 
9/6/3
	N/A


Natural:  predominantly natural bed and bank materials, vegetated banks

Urban:  predominantly open channel with some alteration of bank, bed or alignment

Concrete:  artificial, hardened bed & bank, straightened channel
REMOVED – SAVING IN CASE IT’S STILL NEEDED:

3.2
Option A - Dischargers shall ensure that Status and Trends Monitoring is conducted annually on their large water bodies
.  Large water bodies for which Status and Trends Monitoring is required, are listed below for each existing Stormwater Program:

· Alameda Countywide Clean Water Program:  Alameda Creek, San Leandro Creek, and San Lorenzo Creek.

· Contra Costa Clean Water Program:  San Pablo Creek, Alhambra Creek, and Walnut Creek.

· Fairfield-Suisun:  Alternate between Laurel Creek and Ledgewood Creek

· Santa Clara Urban Runoff Pollution Prevention Program:  Coyote Creek, Guadalupe River, and San Francisquito Creek (shared with San Mateo, below).

· San Mateo Stormwater Pollution Prevention Program:  San Mateo Creek, San Pedro Creek, and San Francisquito Creek (shared with Santa Clara, above).

· Vallejo:  none.

Status and Trends monitoring sites shall be at least one integrator site near the base of watershed.  Also large tributaries and base of non-urban upper watershed?

3.3
At least once every five years, Dischargers shall ensure that Status and Trends Monitoring is conducted on all their other creeks, rivers, and other water bodies that Dischargers own or operate.
Still need to work on section above, and state how many locations/samples are needed.
Note:  BASMAA representatives note that this draft is not prepared per the original Steering Committee instructions:  the tables are based on proposed future monitoring design, with annotations to indicate the extent of existing efforts under the current permits.





Note:  BASMAA reps need to add notations for existing effort level.





This is a new section proposed by Water Board staff.  BASMAA reps want this section in IIDC section of permit-forward to CEB.  NGO reps say either way is ok.








� It is acceptable and standard practice for Stormwater Programs to conduct Status and Trends Monitoring on behalf of all the Dischargers within their Programs.


� Refers to field protocol, instrumentation and/or laboratory protocol.


� Refers to the number of sampling events at a specific site in a given year.


� Refers to the duration of sampling event (e.g., grab sample or every 15 mins. for 1 hr/24hrs/1 week).


� Numbering system:  Santa Clara Valley &Alameda Countywide / Contra Costa & San Mateo / Vallejo & Fairfield-Suisun Programs


� Only conducted in creeks that are not known to contain threatened or endangered species.


� EPA Rapid Bioassessment Method for Fish, Macroinvertebrates and Periphyton (Barbour et al. 1999).


� California Stream Bioassessment Procedure (California Department of Fish and Game, 2003).


� Includes Dissolved Oxygen, Temperature, Conductivity, pH and Stream Flow.


� i.e.,  give examples [DO see Basin Plan]


� i.e.,  give examples  [temp MWAT…]


� Could include : Cu, Ni, Hg, PCBs, DDT, Chlordane, Dieldrin and other contaminants of interest (e.g., pyrethriods)—coordinate with plans described in Pollutants of Concern provisions


� See Attachment __ for description of the TRIAD trigger.  Chris will reformat S.CA’s Table 5-4 for use as this attachment


� McDonald?  JBO will track down this reference (Karen, Steve, do you have it?)


� 3-species chronic bioassay with acute and chronic endpoints.


� Method must be sufficient to measure changes over a multi-year period.


� Method must be sufficient to measure changes over a multi-year period.


� Includes Fecal Coliform and E. Coli.


� Implement before & after management actions have been implemented.


� Center for Watershed Protection’s Unified Stream Assessment Protocol JBO: Get full reference


� We need to define watersheds


� For example, 20% of total developed land area is in commercial and/or industrial use.


� It is acceptable and encouraged for Regional collaborative partnerships and/or Stormwater Programs to conduct Monitoring Projects on behalf of all participating Dischargers.


� Discharger personnel familiar with trash sites through the Discharger’s jurisdiction, such as municipal maintenance personnel, shall prioritize trash sites for management action.  See sub-provision 3.3.  JBO - Compare w/what Habte/muni maintenance writes.


� The term of the multi-year Monitoring Projects Work Plan shall be determined by the Dischargers with the goals of optimizing monitoring and minimizing the frequency of Water Board approvals.


� Data will be accepted as adequate for water body evaluations if they are demonstrated to meet established measurement quality objectives (MQO) for precision, accuracy, bias, representativeness, and completeness; MQO are quantitative and qualitative statements of method and protocol performance.  Data unaccompanied by statements on their quality, and whether they are acceptable, will be included in evaluations only with acknowledgement of unknown uncertainty.  Data quality should be documented for each step of the sampling and analysis for all analytes, whether physical, chemical, or biological.  Guidance for this process can be found in documentation from a number of sources, including that of the National Methods Board (Diamond et al. 2001), and the Surface Waters Status and Trends Monitoring Program (SWAMP) quality assurance project plan of the California Water Resources Control Board (Pucket 2002, or most recent).


� May be combined with Status and Trends annual report.


� http://www.waterboards.ca.gov/swamp/docs/swamp_qapp.pdf


� Adapted from Model Monitoring Program for Municipal Separate Storm Sewer Systems in Southern California, Tech. Rept. 419, August 2004.


� In general, the large water bodies include creeks and rivers with an average annual flow of greater than 30 cubic feet per second at the downstream location.





1

