MRP DRAFT Monitoring Provision
JBO-1/10/06


Water Quality Monitoring Provision
DRAFT – DRAFT - DRAFT

Contents

1. Monitoring Program objectives

2. Monitoring Responsibilities and Collaboration

3. Status and Trends Monitoring

4. Surveillance Monitoring

5. Monitoring Projects

6. Water Body Assessment

7. Citizen Monitoring

8. Data Analysis

9. Reporting

10. Monitoring Protocols
Attachment ___:  Bioassessment Trigger Using TRIAD Approach Chris compiling from S. CA Table 5-4
Attachment ___:  Standard Monitoring Requirements

1. 0
Monitoring Program Objectives

The primary objectives of the Monitoring Program include, but are not limited to:

· Assess compliance with this Order;

· Assess the chemical, physical, and biological impacts of urban runoff on receiving waters;

· Characterize stormwater discharges;

· Assess compliance with Total Maximum Daily Loads and Waste Load Allocations in impaired water bodies;

· Assess progress towards reducing receiving water concentrations of impairing pollutants;

· Assess compliance with numeric and narrative water quality objectives and standards;

· Identify sources of pollutants;

· Assess the overall health and evaluate long-term trends in receiving water quality; and

· Measure and improve the effectiveness of Urban Stormwater Programs and implemented Best Management Practices.

Ultimately, the results of the monitoring program must be used to reduce pollutant loadings and protect and enhance the beneficial uses of the receiving waters in the Dischargers’ jurisdictions and the San Francisco Bay.

2.0
Monitoring Responsibilities and Collaboration

Each Discharger is responsible for ensuring that the monitoring required by this subprovision is completed.  To meet a monitoring requirement other than Surveillance Monitoring, a Discharger may support (financially or otherwise) another entity that will conduct the monitoring in accordance with the requirements of this Provision.  Other entities may be Stormwater Programs or larger, regional entity(s), as appropriate for the type of monitoring conducted.  Regional collaboration would be appropriate where monitoring results could be expected to be generally applicable to all Dischargers.

3.0
Status and Trends Monitoring

Status and Trends monitoring includes long-term monitoring, intended to track compliance with regulatory limits or requirements, to conduct ongoing assessments, and to track trends in certain important conditions over time.  This monitoring also provides a basis for conducting additional monitoring to investigate the extent and magnitude of an identified problem.  Status and Trends monitoring is intended to answer the following management questions:

· Are conditions in receiving waters protective or likely to be protective of beneficial uses (e.g., meeting water quality standards)?

· Are conditions in receiving waters getting better or worse?

3.1
Status and Trends Monitoring shall consist of the elements described in Table 3.1.

Citizen monitoring may be used to collect these data.

Table 3.1   Status and Trends Monitoring Elements

	Monitoring Categories/Indicators (Type)
	Method

	Level of Implementation
	Trigger for “Monitoring Project” (or other option)

	
	
	Minimum Sampling Frequency

	Minimum Sampling Interval

	

	A.  San Francisco Bay Estuary 

	a. Chemical, Physiochemical, Biological
	Each Permittee shall ensure that the San Francisco Estuary is monitored for impacts from urban runoff to, at a minimum, a level of monitoring equivalent to that conducted in fiscal year 2005-2006.

Chris (and Arleen?) may reword this

	b. Mass Emissions (POC concentrations and loadings from watershed(s) to the Bay)
	

	B.  Local Watersheds 

	1.  Aquatic Life Use Indicators 

	a. Biological Assessment – Fish

	EPA RBP

	1/yr 

(Fall Sampling)
	Grab sample
	N/A (no IBI, for conditions only)

	b. Biological Assessment – BMIs

(Includes Qualitative Physical Habitat Measurements and General Water Quality Parameters)
	CSBP

	1/yr

(Spring Sampling)
	Grab sample
	TRIAD: IBI score that indicates substantially degraded community

	c. General Water Quality
 
	Multi-Parameter Probe
	1 yr

(During the Most Relevant Time of Year)
	15 minute intervals for either: 

a) 1-year or 

b) 1-2 weeks
	Water consistently or repeatedly
 exceeds one or more water quality standard or established threshold

	d. Temperature 
	Hobo Temperature Logger or equivalent
	1 yr

(During the Most Relevant Time of Year)
	15 minute intervals for either: 

a) 1-year or 

b) 1-2 weeks
	Water consistently or repeatedly exceeds applicable temperature threshold
 

	e. Pollutants of Concern – Bedded Sediment

	Applicable SWAMP Comparable Method
	2/yr

(Beginning and End of Dry Season)
	Grab Sample
	TRIAD
:  Exceedence of any? relevant fresh water sediment effects thresholds (PEL or TEL?) for  2 sampling events


	f. Toxicity – Water Column

	Applicable SWAMP Comparable Method
	2/yr

(1/Dry Season & 1 Storm Event)
	Grab or 

composite sample
	Greater/= to 20% decrease in survival compared to control in at least one sampling event

	h. Toxicity – Bedded Sediment
	Applicable SWAMP Comparable Method
	2/yr

(Beginning and End of Dry Season)
	Grab sample
	TRIAD:  Greater/= to 20% decrease in survival compared to control in at least one sampling event

	i. Chlorine (Free and Total)
	Field Test Strips or Equivalent
	In conjunction w/ other sampling events
	Grab sample
	After immediate re-sampling, concentrations remain > 0.1 mg/L 

	j. Geomorphology – Cross Section and/or Longitudinal Profile
	Method depends on site-specific conditions

	1/yr
	N/A
	Evidence of ongoing changes in cross section or longitudinal profile

	k. Substrate Characterization – particle size classes and embeddedness 
	Method depends on site-specific conditions

	1/yr
	N/A
	Evidence of ongoing causes of alteration of substrate that adversely affects beneficial uses

	l. Stream Flow
	?
	
	
	Episodic or anomalous changes in stream flow

	
	
	
	
	

	2.  Recreational and Multiple Use Indicators

	a. Pathogen Indicators

	Applicable SWAMP Comparable Method
	1 yr 

(During summer)
	Follow EPA protocol 
	Exceedence of EPA/Basin Plan criteria 

	b. Trash Assessment – Baseline & Trends
	Most recent Water Board Protocol
	3/yr (following wet season, end of dry season, next wet season)

	N/A
	Repeat trigger in muni maintenance – Should be:Take action on sites with high concentrations of trash

	c. Stream Survey (stream walk & mapping)
	USA
 or equivalent 
	1 watershed
/yr (see 2.2 & make consistent)
	N/A
	N/A


3.2
Dischargers shall ensure that Status and Trends Monitoring is conducted annually on their large water bodies
.  Each Program’s large water bodies, for which Status and Trends Monitoring is required, are listed below:

· Alameda Countywide Clean Water Program:  Alameda Creek, San Leandro Creek, and San Lorenzo Creek.

· Contra Costa Clean Water Program:  San Pablo Creek, Alhambra Creek, and Walnut Creek.

· Fairfield-Suisun:  Laurel Creek and Ledgewood Creek Inequitable compared to larger programs – how about 3 years for each creek??
· Santa Clara Urban Runoff Pollution Prevention Program:  Coyote Creek, Guadalupe River, and San Francisquito Creek (shared with San Mateo, below).

· San Mateo Stormwater Pollution Prevention Program:  San Mateo Creek, San Pedro Creek, and San Francisquito Creek (shared with Santa Clara, above).

· Vallejo:  none.

Still need to work on section above, and state how many locations/samples are needed.
3.3
At least once every five years, Dischargers shall ensure that Status and Trends Monitoring is conducted on all their other creeks, rivers, and other water bodies that Dischargers own or operate.
Still need to work on section above, and state how many locations/samples are needed.
4.0       Surveillance Monitoring

Dischargers shall conduct Surveillance Monitoring of water bodies in their jurisdictions to spot check for illicit discharges.  Surveillance Monitoring shall be conducted on (a) water bodies with a high likelihood for illicit discharges, based on historical incidents and/or land use, and (b) other water bodies so that most/all water bodies in the Discharger’s jurisdiction are spot-checked periodically.

4.1
Continuous Surveillance Monitoring

Dischargers shall employ continuous monitors, for periods of time determined by the Discharger, to check for such parameters as dissolved oxygen, temperature, and conductivity in water body reaches with a high likelihood for illicit discharges.  The number of times such Continuous Surveillance Monitoring is conducted yearly must be proportional to the Discharger’s amount of industrial and commercial land use.  Dischargers with solely residential, or predominantly residential with only a minor amount of commercial, land use need not conduct Continuous Surveillance Monitoring.

4.2
Unsystematic Surveillance Monitoring

Dischargers shall employ test kits to check for such parameters as chlorine, pH, and conductivity OTHERS? on a more or less random basis.  This monitoring shall include recording accumulation of trash also.  Dischargers with a significant proportion of industrial and/or commercial land use
 shall conduct Unsystematic Surveillance Monitoring approximately weekly.  Other Dischargers shall conduct Unsystematic Surveillance Monitoring approximately monthly.  The purpose of this monitoring is to check on the condition of the Discharger’s water bodies on a periodic basis.

4.3
Prioritize Trash Accumulation Sites

Dischargers shall evaluate information collected during Status and Trends Monitoring and Surveillance Monitoring and prioritize trash accumulation areas for potential management actions.

5.0
Monitoring Projects 

Monitoring projects include specific targeted studies that are shorter-term efforts intended to provide information on:

· Status and Trends monitoring results;

· Best Management Practice effectiveness, including hydromodification control practices;

· Appropriate management actions, or effectiveness of ongoing management actions;

· TMDL development and/or implementation; and/or

· Development of monitoring science and policy.

5.1       Types of Monitoring Projects and Alternatives

When Status & Trends results indicate a monitoring category/indicator has “triggered” a Monitoring Project, as indicated in Table 3.1, Dischargers shall take follow-up action(s).  Possible follow-up actions are listed in Table 5.1. 

Table 5.1  Possible Follow-up to Status & Trends Monitoring
	Monitoring Category
	Example follow up actions

	General Water Quality,

Temperature
	Evaluate the data and (a) conduct appropriate follow-up action, or (b) design and implement of a more refined spatial or temporal follow-up monitoring project, or (c) conduct a more integrative limiting factors analysis.  Re-evaluate all follow-up actions.

	Pollutants of Concern – Bedded Sediment,

Toxicity – Water Column, Toxicity – Bedded Sediment
	Follow up actions specified in Attachment _, Table __

	Chlorine (Free and Total)
	Resample, notify ___, and attempt to determine the source of chlorine discharge.  Refer discharger to illicit discharge program.

	Geomorphology – Cross Section and/or Longitudinal Profile
	Recommend management action for evidence of ongoing anthropogenic causes of erosion &/or sedimentation.

	Substrate Characterization – particle size classes and embeddedness 
	Recommend management action for evidence of ongoing anthropogenic causes of alteration of substrate that adversely affects beneficial uses.

	Stream flow
	Observe upstream source(s) or diversions.  Link to illicit discharge program.

	Pathogen Indicators
	Identify source and recommend management action;  

Resample using increased spatial intensity and at greater frequency during high-use periods;

Identify source using sanitary survey methodologies or microbial source tracking.

	Trash Assessment – Baseline & Trends
	Determine sources of trash and take management action at high priority sites.
  Evaluate effectiveness through follow up assessment.

	Stream Survey 
	Identify and select Status and Trends monitoring locations;

Identify sources of illicit discharges;

Identify sources/causes of diversions;

Identify sources of instability and other stream alterations;

Identify management actions and priorities for more intensive evaluation.


5.2
Monitoring projects shall consist of the elements described in Table 5.2. 

Need descriptions (or something) for the other types of Monitoring Projects, besides Source ID/Extent & Magnitude
Placeholder: how/should we address future monitoring needs, adaptive monitoring?
Table 5.2.  Monitoring Projects Elements

A. EXTENT AND MAGNITUDE MONITORING

Intended to answer the following core management question:

Management Question:  What is the extent and magnitude of current or potential receiving water problem(s)?

	Monitoring Categories/Indicators (Type)
	Method

	Level of Implementation
	Trigger for Management Action


	1.  San Francisco Bay Estuary 

	a. Human Consumptive and Aquatic Life Use Indicators

	Chemical, Physiochemical and Biological
	Each Permittee shall ensure that Monitoring Projects are conducted in the San Francisco Estuary to, at a minimum, a level of effort equivalent to that conducted in fiscal year 2005-2006.

Chris (and Arleen?) may reword this

	2.  Local Watersheds 

	a.  Aquatic Life Use Indicators
	
	
	
	

	Biological Assessment – Fish
	
	
	
	

	Biological Assessment – BMIs
	
	
	
	

	Physical Habitat Assessment
	
	
	
	

	Geomorphic Assessment
	
	
	
	

	General Water Quality 
	
	
	
	

	Conventional Water Quality 
	
	
	
	

	e. Pollutants of Concern – Water Column

	Applicable SWAMP Compatible Method
	2/yr

(1/Dry Season & 1/Wet Season)
	Grab or 

time-based composite sample
	Water exceeds water quality standard for both sampling events

	Pollutants of Concern – Sediment
	
	
	
	

	Toxicity – Water Column
	
	
	
	

	Toxicity – Sediment
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	2.  Recreational Use Indicators

	Pathogen Indicators 
	
	
	
	

	Trash
	
	
	
	


B. SOURCE IDENTIFICATION 

Intended to answer the following core management questions related to non-TMDL pollutants. (Source Investigations associated current TMDL pollutants will be described in specific POC elements in the MRP)

Management Questions:  
 What is the relative urban runoff contribution to the receiving water problem(s)? 

  
What are the sources to urban runoff that contribute to receiving water problem(s)?

	1.  San Francisco Bay Estuary 

	a. Human Consumptive and Aquatic Life Use Indicators

	Source Investigations 

(TMDL Pollutants)
	See Specific POC Elements in MRP

	2.  Local Watersheds 

	a.  Aquatic Life Uses
	
	
	
	

	Source Investigations

(Non-TMDL Pollutants)
	
	
	
	

	b.  Recreational Uses

	Source Investigations 
	
	
	
	


5.3
Dischargers shall ensure that Monitoring Projects are conducted with the following frequency:

· When triggered, as set forth in Table 3.1, “Trigger” column.  Once triggered, the Monitoring Project planning shall be initiated the following fiscal year and the sampling shall begin by the second fiscal year.

· When the Discharger (or Program, as applicable) defines a Monitoring Project as a priority.

· Vallejo shall conduct a minimum of one Monitoring Project each year, and shall initiate a minimum of three Monitoring Projects every five years.

· Fairfield-Suisun shall conduct a minimum of one Monitoring Project each year, and shall initiate a minimum of two Monitoring Projects every five years.

· ACCWP, CCCWP, SCVURPPP, and SMSTOPPP each shall conduct a minimum of two Monitoring Projects each year, and shall initiate a minimum of four Monitoring Projects every five years.

· Nothing in this Provision prevents any Discharger or Program from joining with other Dischargers and/or Programs to conduct Monitoring Projects(s) as a group.  In this case each Discharger or Program, as applicable, shall contribute the equivalent of the mean annual cost of its Monitoring Projects (or equivalent) averaged over the previous five years.  Such group effort shall be designed to have meaningful results to, and potentially trigger management action(s) by, the entire group.

Possible placeholder for TMDL projects:
· Develop and implement a monitoring system to quantify either mercury loads or loads avoided through treatment, source control, and other management efforts; 

· Conduct studies aimed at better understanding mercury fate, transport, and biological uptake in San Francisco Bay and tidal areas;

· other???  Do we need to add methyl mercury sampling?

6.0   Water Body Assessment

Water body assessment (sometimes referred to as watershed assessment) is the collection and analysis of water body information to draw conclusions concerning the historical, current and potential condition and functions of water bodies to support decision-making and watershed management actions.

6.1    Dischargers shall complete the Water Body Assessments shown in Table 6.1 within the five-year Permit term.

Table 6.1   Required Water Body Assessments

	Program to Conduct the Water Body Assessment
	Water Body to be Assessed
	Watershed Area (mi2)

	Alameda County-wide Clean Water Program
	Adll-Martin Canyon (possibly Vallecitos)
	

	
	Lower Alameda-Ward/Zeile (possibly Crandel, or Sinbad or Stonybrook)
	

	
	
	

	Contra Costa Clean Water Program 
	Marsh Creek
	94

	
	Alhambra Creek
	17

	
	Mt. Diablo Creek
	38.2

	Fairfield-Suisun Urban Runoff Management Program
	Ledgewood or Laurel???
	

	San Mateo Stormwater Pollution Prevention Program
	[Jon Konan]
	

	
	
	

	
	
	

	Santa Clara Valley Urban Runoff Pollution Prevention Program
	[Chris S]
	

	
	
	

	
	
	


6.2
Water Body Assessment Elements

Water Body Assessments shall evaluate a suite of physical, chemical and biological information related to the following conditions and functions:

--include a sentence stating something like:  for each function and condition and, see definition above (past, present future…)
Water Body Assessments shall consist of the elements described in Table 6.2.

Table 6.2   Water Body Assessment Elements

	Questions to be answered:
	Methods to consider include:

	Hydrologic Processes and Channel Dynamics

	· To what extent are past and current changes in hydrology currently affecting this function? 

· Are the water body channel dimension, pattern and profile stable?

· What are the flood conditions of the water body?
	· Degree of channel modification

· Extent of watershed imperviousness

	Riparian Habitat Variation and Richness

	
	

	Aquatic Habitat Variation and Richness

	
	

	Landscape-Level Aquatic Habitat Connectivity

	
	

	Aquatic Vertebrate Community

	water quality, inc. temp, must be in here
	

	Aquatic Invertebrate Community

	water quality, inc. temp, must be in here
	

	Human Health Risks

	· Water contact (recreation, and incidental)

· Consumption of organisms

· Source of drinking water
	


[The following items will be placed in the “Methods” column above.  They will be briefly described below.  More detailed descriptions, as necessary, will be placed in a supporting technical document]
· Historical and Existing Land Use, Channel and Habitat Conditions 

· Historical and Existing Conditions of Aquatic Biota

· Channel Habitat Type

· Geomorphic Condition

· Existing and Potential Beneficial Uses 

· Water Quality Conditions

· Hydrology and Water Use 

· Riparian and Wetland Conditions

· Sediment Sources and Types

· Pollutant Sources and Types

· Channel Type, Modifications and Trends

· Other Pertinent Water Body or Watershed/Landscape Level Data/Information

7.0
Citizen Monitoring

7.1
Dischargers shall encourage Citizen Monitoring.

7.2
Citizen monitoring data, where they meet data quality objectives & is conducted to meet permit requirements –JBO disagrees w/this phrase, shall be considered, evaluated, and reported.

7.3
In assessing water bodies, developing Monitoring Projects, and evaluating Status and Trends data, Dischargers shall make reasonable efforts to seek out citizen and stakeholder information regarding water body function and quality.  Cross reference to water body assessment section  - is cross ref needed?
7.4      Dischargers shall demonstrate that they have encouraged citizen and stakeholder observations and reporting of water body conditions – cross to PIP, annual report.  Need to determine where/how to demonstrate compliance
8.0
Data Analysis

8.1
Types of Data

Dischargers shall evaluate all monitoring data collected during the reporting period.  Data shall include all reasonably obtainable water and/or sediment quality data of good quality
 collected by any party since the last evaluation for the water body.  Such parties could include the Program as a whole; individual Dischargers; volunteers; Publicly Owned Treatment Works; Flood Control Districts; Regional Water Quality Control Board; and Regional Monitoring Programs.
8.2      Types of Evaluations

Dischargers shall conduct data evaluation, including the following evaluations, as allowed by the type and completeness of the data collected:

· Calculate the metrics used in the CSBP and compare mean biological and habitat assessment metric values between stations and year-to-year trends;

· Evaluate the effectiveness of existing control measures;

· Develop hypotheses to investigate in subsequent years;

· Identify and prioritize water quality problems;

· Identify potential sources of the water quality problems;

· Recommend future monitoring; and

· Identify management measures to address water quality problems.  

9.0
Monitoring Protocols and Data Quality

9.1
Data quality shall be consistent with the latest version of the SWAMP Quality Assurance Management Plan, including data quality objectives, field and laboratory blanks, field duplicates, laboratory spikes, and clean techniques, using the most recent Standard Operating Procedures.

9.2
Permittees shall collect flow data at the time of sampling for all chemical sampling.  This should go away once we have flow measurement pinned down in Status & Trends.  Receiving water or urban discharge flow may be estimated using U.S. Environmental Protection Agency methods
 at sites where flow measurement devices are not in place.
10.0   Reporting

10.1
Dischargers shall attempt to develop a standard monitoring report format.  All monitoring reports shall include the following:

a.
An executive summary;

b. A description of monitoring station locations by latitude and longitude coordinates, frequency of sampling, quality assurance/quality control procedures and sampling and analysis protocols;

c. All data/results, with graphical summaries where appropriate;

d. A discussion of compliance with and deviations from the Data Quality Assurance / Quality Control Plan and Sampling and Analysis Plan;
e. Comprehensive interpretations and conclusions, including:

· Identification and analysis of any long-term trends in stormwater or receiving water quality;

· Estimation of total mass emissions of pollutants of concern from receiving waters;

· Assessment of compliance with applicable water quality standards; and

· Identification and prioritization of water quality problems where possible;

f. Based on the identification and prioritization of water quality problems, the report shall identify potential sources of the problems, and recommend future monitoring and future actions; and

g. The certified perjury statement described in Standard Reporting Requirements in Attachment C section B.10.d.

10.2 In cases of regional collaboration, a single report shall be submitted on behalf of all collaborating Dischargers.  Otherwise, the Dischargers’ stormwater programs
 shall compile and submit monitoring reports for their respective Dischargers.  In either case, the monitoring reports shall be compiled and submitted as specified in Table 10.1.

10.3
Dischargers shall begin submitting Electronic Data Reports in a standard spreadsheet format in the second reporting cycle following adoption of this permit.  In the interim, any spreadsheet format will be acceptable for electronic data reporting.  Dischargers shall attempt to agree upon, with approval by the Executive Officer, a standard format for the Electronic Data Reports.  If agreement cannot be reached in a timely manner for the second reporting cycle, the Executive Officer will provide a standard format.  

Table 10.1  Monitoring Reporting Requirements

	Monitoring Report
	Submittal Date
	Contents
	Follow up?  Other?

	Status and Trends Electronic Data Report
	
	Electronic data in formats consistent with SWAMP formats where such SWAMP formats have been established
	

	Status and Trends Report


	Submit 2 paper and 1 electronic copy.
	· All items required in subprovision 10.1; and

· Discussions of how reporting period results relate to previous years’ data, if any exist.
	

	Monitoring Project Report

	Submit 2 paper and 1 electronic copy.
	· All items required in subprovision 10.1; and

· Discussions of how reporting period results relate to previous years’ data, if any exist.
	

	Water Body Assessment Report
	Submit 2 paper and 1 electronic copy.
	· All items required in subprovision 10.1; and

· Discussions of how reporting period results relate to previous years’ data, if any exist.
	


· How to feed into the next multi-year plan with or w/o permit amendment—how will monitoring report lead to what is done next.

· Address the lag time—perhaps 2 cycles alternate.
Literature cited – to be placed in the administrative record

Diamond, J., A. Eaton, C. Annis, H. Brass, L. Keith, A. Strong, D. McChesney, and M. Shockey.  2001.  Towards a definition of performance-based laboratory methods.  A position paper developed by the Methods and Data Comparability Board (MDCB).  August 2001. Technical Report 01-02.

Puckett, M.  2002.  Quality Assurance Management Plan for the State of California's Surface Water Status and Trends Monitoring Program ("SWAMP").  California Department of Fish and Game, Monterey, CA.  Prepared for the State Water Resources Control Board, Sacramento, CA.  145 pages plus Appendices
.

U.S. Environmental Protection Agency.  2000.  Stressor identification guidance document.  EPA/822/B-00/025.  Office of Water, Washington, DC.

U.S. Environmental Protection Agency.  2000.  “Methods for Measuring the Toxicity and Bioaccumulation of Sediment-Associated Contaminants with Freshwater Invertebrates.” 2nd edition.  EPA/600/R-99/064.  U.S. EPA, ORD, Duluth, MN.

For Findings

· We considered stating the numbers and exact locations of sampling sites, and the degree of replication, but concluded that this was inappropriate given the amount of variation from program to program, as well as from place to place within each program.  For example, numbers of stations are generally specified for Status and Trends Monitoring, but not for Project Monitoring, where the number of stations will depend, among other things, on watershed size and complexity, amount and intensity of human use, severity and significance of potential impacts, known patterns of contamination, and hydrography of the study area.

ATTACHMENT ___

Standard Monitoring Requirements

Standard Monitoring Requirements

All monitoring activities shall meet the following requirements:
1. Monitoring and Records [40 CFR 122.41(j)(1)]

Samples and measurements taken for the purpose of monitoring shall be representative of the monitored activity.

2. Monitoring and Records [40 CFR 122.41(j)(2)] [California Water Code § 13383(a)]

The discharger shall retain records of all monitoring information, including all calibration and maintenance records and all original strip chart recordings for continuous monitoring instrumentation, copies of all reports required by this Order, and records of all data used to complete the application for this permit, for a period of at least three years from the date of the sample, measurement, report or application. This period may be extended by request of the Water Board at any time.

3.   Monitoring and Records [40 CFR 122.21(j)(3)]

Records of monitoring information shall include the information requested in Attachment B and the following:

a.
The date, exact place, and time of sampling or measurements;

b.
The individual(s) who performed the sampling or measurements;

c.
The date(s) analyses were performed;

d.
The individual(s) who performed the analyses;

e.
The analytical techniques or methods used; and

f.
The results of such analyses.

4.   Monitoring and Records [40 CFR 122.21(j)(4)]

Monitoring results must be conducted according to test procedures approved under 40 CFR part 136 unless other test procedures have been specified in this Order.

5.   Monitoring and Records [40 CFR 122.21(j)(5)]

The Clean Water Act provides that any person who falsifies, tampers with, or knowingly renders inaccurate any monitoring device or method required to be maintained under this Order shall, upon conviction, be punished by a fine of not more than $10,000, or by imprisonment for not more than two years, or both. If a conviction of a person is for a violation committed after a first conviction of such person under this paragraph, punishment is a fine of not more than $20,000 per day of violation, or by imprisonment of not more than four years, or both.

6.   Monitoring and Records [40 CFR 122.41(k)(2)]

The Clean Water Act provides that any person who knowingly makes any false statement, representation, or certification in any record or other document submitted or required to be maintained under this permit, including monitoring reports or reports of compliance or noncompliance shall, upon conviction, be punished by a fine of not more than $10,000 per violation, or by imprisonment for not more than six months per violation, or by both.

7.   Monitoring Reports [40 CFR 122.41(l)(4)

Monitoring results shall be reported at the intervals specified elsewhere in this Order.

8.   Monitoring Reports [40 CFR 122.41(l)(4)(ii)]

If the discharger monitors any pollutant more frequently than required by the permit using test procedures approved under 40 CFR part 136, unless otherwise specified in the Order, the results of this monitoring shall be included in the calculation and reporting of the data submitted in the reports requested by the Water Board.

11. Monitoring Reports [40 CFR 122.41(l)(4)(iii)]

Calculations for all limitations which require averaging of measurements shall utilize an arithmetic mean unless otherwise specified by the Water Board in the Order.







� Refers to field protocol, instrumentation and/or laboratory protocol.


� Refers to the number of sampling events at a specific site in a given year.


� Refers to the duration of sampling event (e.g., grab sample or every 15 mins. for 1 hr/24hrs/1 week).


� Only conducted in creeks that are not known to contain threatened or endangered species.


� EPA Rapid Bioassessment Method for Fish, Macroinvertebrates and Periphyton (Barbour et al. 1999).


� California Stream Bioassessment Procedure (California Department of Fish and Game, 2003).


� Includes Dissolved Oxygen, Temperature, Conductivity, pH and Stream Flow.


� i.e.,  give examples [DO see Basin Plan]


� i.e.,  give examples  [temp MWAT…]


� Could include all or a subset ??of the following: Cu, Ni, Hg, PCBs, DDT, Chlordane, Dieldrin and other contaminants of interest (e.g., pyrethriods)


� See Attachment __ for description of the TRIAD trigger.  Chris will reformat S.CA’s Table 5-4 for use as this attachment


� McDonald?  JBO will track down this reference (Karen, Steve, do you have it?)


� 3-species chronic bioassay with acute and chronic endpoints.


� Method must be sufficient to measure changes over a multi-year period.


� Method must be sufficient to measure changes over a multi-year period.


� Includes Fecal Coliform and E. Coli.


� Implement before & after management actions have been implemented.


� Center for Watershed Protection’s Unified Stream Assessment Protocol JBO: Get full reference


� We need to define watersheds


� In general, the large water bodies include creeks and rivers with an average annual flow of greater than 30 cubic feet per second at the downstream location.


� For example, 20% of total developed land area is in commercial and/or industrial use.


� Discharger personnel familiar with trash sites through the Discharger’s jurisdiction, such as municipal maintenance personnel, shall prioritize trash sites for management action.  See sub-provision 3.3.  JBO - Compare w/what Habte/muni maintenance writes.


� Refers to either field protocol, instrumentation and/or laboratory protocol


� Could include all or a subset of the following: Cu, Ni, Hg, PCBs, DDT, Chlordane, Dieldrin and other contaminants of interest (e.g., pyrethriods), and should also include hardness


� Data will be accepted as adequate for water body evaluations if they are demonstrated to meet established measurement quality objectives (MQO) for precision, accuracy, bias, representativeness, and completeness; MQO are quantitative and qualitative statements of method and protocol performance.  Data unaccompanied by statements on their quality, and whether they are acceptable, will be included in evaluations only with acknowledgement of unknown uncertainty.  Data quality should be documented for each step of the sampling and analysis for all analytes, whether physical, chemical, or biological.  Guidance for this process can be found in documentation from a number of sources, including that of the National Methods Board (Diamond et al. 2001), and the Surface Waters Status and Trends Monitoring Program (SWAMP) quality assurance project plan of the California Water Resources Control Board (Pucket 2002, or most recent).


� NPDES Storm Water Sampling Guidance Document, USEPA 833-B-92-001, July 1992.


� The stormwater programs are Alameda Countywide Clean Water Program, Contra Costa Clean Water Program, Fairfield-Suisun Sanitary ___ District, San Mateo ___, Santa Clara Valley Urban Runoff Pollution Prevention Program, and Vallejo ___.


� May be combined with Status and Trends annual report.


� http://www.waterboards.ca.gov/swamp/docs/swamp_qapp.pdf


� Adapted from Model Monitoring Program for Municipal Separate Storm Sewer Systems in Southern California, Tech. Rept. 419, August 2004.





18

