New Development Work Group Meeting Minutes

Municipal Regional Permit

January 18, 2006

Attendees:  Susan Schwartz, Friends of 5 Creeks; Jill Bicknell, EOA; Tom Dalziel, CCCWP

Sue Ma, RWQCB; Roger James (observer)

The attached Draft Options Table shows revisions to the Table discussed at the meeting in color and regular font.  Comments given by attendees  are included in the Table and shown in color and italics.  These revisions and comments constitute the minutes for this meeting.    

DRAFT

New and Redevelopment Performance Standard Table

Options for Municipal Regional Permit

	Best Management Practices


	Level of Implementation
	Options for MRP

	C.3.a: Performance Standard Implementation.


	Programs’ guidance and education outreach materials are completed and updated as needed.  

Co-permittees are implementing performance standards (PS). Some PS have been replaced with C.3. specific provisions and guidance manuals. Co-permittees have revised ordinances and policies as needed to meet C.3. requirements.


	1. Omit this provision; not needed.

2. Keep pertinent language about construction erosion/sedimentation; training; and legal authority, but combine with b, j, k, l, m.



	C.3.b: Development Project Approval Process


	Co-permittees have modified their project review processes to incorporate C.3. requirements, and will soon incorporate limitations on increases in runoff flows and volume into their project review processes prior to the implementation deadline. 
	1. Combine this provision with C.3.l. and C.3.m. and include general language about required legal authority, CEQA review, an appropriate development review process, and the concept of removing impediments (all agree).

	C.3.c:  Applicable Projects – New and Redevelopment Project Categories


	Group 1:  Co-permittees are implementing the C.3 Provisions for Group 1 Projects, including permitted exemptions.
  

Group 2:  Santa Clara Co-permittees began implementing the C.3 Provisions for Group 2A projects on October 20, 2005.
  Santa Clara Co-permittees will begin implementing Group 2B projects and most other Co-permittees will begin implementing Group 2 projects on August 15, 2006.  Fairfield Suisun will begin implementing Group 2 projects on October 16, 2006.

	1. Update language to reflect the 10,000 SF threshold; maintain current size thresholds; include provision to collect and analyze impervious surface data over the term of the permit to evaluate future size thresholds. (BASMAA)

2. Permittees have the alternative of lowering the threshold to 5000 square feet or adopting one or more measures
 that will substantially increase treatment and infiltration. Permittees that have already adopted such measures during the current/previous  permit period do not need to take further steps. (NOG)

3. Lower the threshold at the beginning of the permit to 500 SF. (NGO)

4. Evaluate existing impervious surface data, determine during MRP permit development whether a threshold change is warranted, and if so, phase-in (time schedule) the change as part of the permit provisions. Have all dischargers collect impervious data and evaluate.  (WB) 
5. 
6. Keep the threshold at 10,000 SF, and conduct a study of impervious surface area added by different types of new development/redevelopment projects (e.g., all new projects greater than 500 SF), and consider whether a mid-term adjustment is warranted.  In lieu of lowering the threshold at the outset of the permit, provide about one year for impervious surface data collection, followed by data analysis and reporting for about 6 months, and bring a proposal on threshold size to the Board within 2 years. 

	C.3.c. – Single family home requirements
	Single family homes above a certain size threshold, which are not part of a larger common plan, must incorporate appropriate pollutant source controls and site design measures, as well as landscaping to treat runoff from roofs and other house-associated impervious surfaces.  Threshold for full exemption from C.3. varies by permit.

	1. Keep current single family home requirements (source control, site design, and treatment in landscaping) for projects with 10,000 SF or more of impervious surface (SCVURPPP current permit).

2. Keep current single-family home requirements (source control, site design, and treatment in landscaping) for projects with 1 acre or more of impervious surface (other programs’ current permits).

3. Current single-family home requirements (source control, site design, and treatment in landscaping) for projects at and above the threshold defined in C.3.c.
4. Require full implementation of C.3.d. for single-family homes above size threshold (defined in C.3.c) except that City inspections would not be required. (NGO)

5. 

	C.3.d: Numeric Sizing Criteria for Pollutant Removal Treatment Systems


	Co-permittees have completed guidance and are requiring treatment BMPs to be constructed according to numeric sizing criteria.  


	1. No change from current language, except to add that applicant can “demonstrate that a combination of flow and volume criteria provides equivalent treatment” ; provide guidance on implementation in separate document.

2. Require that either the flow or the volume criterion be met, even when a BMP can be a combined flow/volume unit.

3. Minor changes to be proposed by BASMAA representatives to further clarify link between treatment and site design/hydrologic source control measures.
Susan said NGO agreed that WB staff and BASMAA can work out details offline (no NGO involvement).

	C.3.e: Operation and Maintenance of Treatment Measures


	Programs have developed BMP O&M and verification program guidance materials, which includes design guidance for treatment measures to prevent the production of vectors.

Co-permittees are implementing operation and maintenance verification programs. Inspections are just beginning as Group 1 projects complete construction. Co-permittees have begun reporting on Treatment BMP O&M Verification Program activities as of Fall 2005.

Individual Program Details or Variations
Permits vary on vector control plan requirements but all programs are working with vector control agencies and incorporating vector controls into BMP designs and maintenance requirements.   

	1. No change from current language, other than making language consistent (there are currently small differences in language) and specifying continuing coordination with vector control agencies. (BASMAA)

2. No change from current language, other than making language consistent and specifying continuing coordination with vector control agencies, plus minor change to define reporting requirements (here or in C.3.n.) (WB)
3. Change current language to specify contents of BMP O&M program, priorities for inspection and frequency of inspection, reporting requirements, and vector control agency coordination. (WB)
Address resolution of BMP maintenance/endangered species issue (all agree).

	C.3.f: Limitations on Increase of Peak Stormwater Runoff Discharge Rates


	Programs have submitted HMP Work Plans and draft and final HMPs.

Individual Program Details or Variations
HMPs and implementation dates vary.


	JBO to draft
HMP will be discussed at next meeting

Everyone will review Susan’s suggestions (attached).


	C.3.g: Alternative Compliance Based on Impracticability of Requiring Compensatory Mitigation


	To be implemented at Co-permittees’ option.

Santa Clara

Milpitas, San Jose and Sunnyvale have created alternative compliance programs.  Water Board staff have made comments, and cities have responded.  Programs have not been brought to the Water Board for approval. 
Jill:  If WB is more prescriptive in this section than current permit, then WB is basically specifying an alternative compliance program.  So programs should not have to submit alternative compliance programs for WB approval.

Susan:  Regarding separation of treatment and HMP measures for alternative compliance, we should revisit this issue after discussing HMP (highlighted in yellow in next column)

	WB Option

Individual dischargers (municipalities) or County Programs may establish a program under which a project proponent may request alternative compliance with the onsite treatment requirements in Provisions C.3.c. and C.3.d.  All alternative compliance programs must be approved by the Water Board prior to implementation.  Any dischargers with approved alternative compliance programs under Board Order Nos. (list current stormwater permits for Santa Clara, Contra Costa, Alameda, San Mateo, Fairfield-Suisun, and Vallejo) must re-submit them, with appropriate revisions to comply with C.3.g., for Board approval.

If onsite treatment is impracticable:  (Tom suggests removing requirement to demonstrate impracticability for providing equivalent treatment offsite, similar to regional solutions.)
· Maximize onsite hydrologic source control and provide alternative compliance by providing equivalent treatment at a Regional Project discharging to the same watershed; 

· Provide alternative compliance by treating equivalent surface area, pollutant load, or quantity of runoff offsite; or

· Provide alternative compliance by providing equivalent water quality benefit (e.g., stream restoration, mitigate stream erosion or sedimentation) – This option is really for HMP and not treatment, so need to discuss removing or keeping it with some kind of criteria for determining amount of monetary contribution to such projects and oversight.
If onsite treatment is impracticable and project is redevelopment and a Brownfield; Low- or Moderate-Income or Senior Housing; or Transit Village: 

· Maximize onsite hydrologic source control and provide alternative compliance by providing equivalent treatment at a Regional Project discharging to the same watershed;

· Provide alternative compliance by treating equivalent surface area, pollutant load, or quantity of runoff offsite; 

· Provide alternative compliance by providing equivalent water quality benefit (e.g., stream restoration, mitigate stream erosion or sedimentation) – This opt ion is really for HMP and not treatment, so need to discuss removing or keeping it with some kind of criteria for determining amount of monetary contribution to such projects and oversight; or 

· Delineate requirements based on size of project so that all projects are not automatically exempt. (Matt)  Discuss with Matt at next meeting.
BASMAA Option:

Keep exemption language C.3.g.v. in current Contra Costa permit.  Projects are still required to do site design and source control per C.3.k. and b.
Items shown in Bold require definitions in permit and/or further discussion by group.

Impracticable:  Implementation of onsite treatment is considered impracticable under any of following criteria:

· There are inadequate space or soil conditions for numerically sized treatment controls.

· Projected cost of treatment measures (labor and materials) exceeds 2% of total project costs.

· Installation of treatment measures would result in inability of project sponsor to comply with other regulatory requirements at the federal state, and local levels (e.g., seismic building code requirements). project contributes a monetary amount equivalent to the cost of onsite treatment. 

Regional Project:  A regional or municipal stormwater treatment facility that discharges into the same watershed that the project does.  

Equivalent treatment at a Regional Project means the project proponent contributes a monetary amount equivalent to the cost of the providing onsite treatment.

Brownfield – use EPA definition but project must receive subsidy or similar benefits under a program designed to redevelop such sites (Susan)
Low- or moderate-income and senior housing – Use Government Code Section 65589.5(h)(3) or (4) or 65915(b) but allow only the “actual” low-income or senior housing portion of the project to be allowed alternative compliance. 

Transit Village – Developments within ¼ mile of transit stations and/or intermodal facilities.

We all agreed that we need to clarify what intermodal means (Tom)
No special treatment for brownfields, low-income etc. and transit villages. (NGO position)


	C.3.h: Alternative Certification of Adherence to Design Criteria for Stormwater Treatment Measures


	To be implemented at Co-permittees’ option.  Co-permittees are beginning to use or are considering this option.  BASMAA has developed a list of qualified engineering firms.


	Leave as is.

	C.3.j: Site Design Measures Guidance and Standards Development
	Programs have developed materials and guidance related to site design standards.

Co-permittees have reviewed their local design standards and guidance, identified revision opportunities, determined which revisions to make, and reported these activities and implementation work plans to the Water Board.

Individual Program Details or Variations

Implementation dates vary, but all dates have passed (i.e., Co-permittees should be implementing appropriate changes now.)
	· Combine C.3.a,b,j,k,l, and m as appropriate.

· A report shall be produced on what changes permittees have actually made to ordinances, regulations, or procedures to facilitate treatment of nonpoint runoff and lessening of hydromodification. (NGO)

	C.3.k: Source Control Measures Guidance Development


	Programs have completed guidance on and lists of recommended source control measures.

Co-permittees have developed and are implementing source control requirements for new and redevelopments projects.


	

	C.3.l: Update General Plans
	Programs have provided guidance on example language for General Plan updates.

Co-permittees are implementing as needed during regularly scheduled General Plan updates


	

	C.3.m: Water Quality Review Process


	Programs’ guidance is complete.

Co-permittees are evaluating water quality effects and identifying appropriate mitigation measures when conducting environmental reviews of new development and redevelopment projects.


	· Combine C.3.a,b,j,k,l, and m as appropriate.

· A report shall be produced on what changes permittees have actually made to ordinances, regulations, or procedures to facilitate treatment of nonpoint runoff and lessening of hydromodification. (NGO)

	C.3.n: Reporting


	Programs’ guidance is complete and updated annually.

Co-permittees are annually reporting project specific data in accordance with Provision C.3n. 

Data required under C.3.n. for each project under C.3.c.:

--Project name, project type, site size, quantity of new impervious surface

--Site design, source control, treatment (and flow control) BMPs used, numeric sizing criteria used, O&M mechanism, responsible party

--Summary of types of pesticide reduction measures required, and percent of projects for which pesticide reduction measures required.


	Require the following be reported:  (WB)

C.3.a,b,j,k,l,m:  

A report shall be produced on what changes permittees have actually made to ordinances, regulations, or procedures to facilitate treatment of nonpoint runoff and lessening of hydromodification. (NGO)
C.3.c:

Tabular for with the following headings:

· Project Name, Number, Street Address, and Location (cross street).

· Name of Developer, Phase No. (if project is being constructed in Phases, each Phase should have a separate entry), Project Type (e.g., commercial, industrial, residential multi-unit, single-family residential), and description.

· Project watershed.

· Site Acreage (or square footage of land disturbance).

· New or replaced impervious surface area.

· Status of Project (e.g., application date, application deemed complete date, project approval date).

· Source control measures BMPs.

· Site design measures BMPs.

· Post construction treatment BMPs onsite.

· Hydraulic Sizing Criteria used.

· Alternative Compliance

· Basis of impracticability

· Alternative Compliance Measures (if Regional Project, provide summary of Project (goals, duration, total estimated costs)

· HMP – If not required, state why not.  If required, state control method used and attach pre- and post-project hydrographs.

· Operation & maintenance responsibility mechanism mechanism.

	
	
	· Pesticide Reduction Measures included in Project.

C.3.e:

Tabular Form with the following Headings:

· Facility/site inspected and Responsible Party for O&M.

· Date(s) of inspection.

· Type of inspection (e.g., annual, follow-up, spot).

· Type(s) of BMP inspected.

· Compliance status (e.g., compliance, non-compliance/violation).

· Enforcement action(s) taken (e.g., verbal warning, notice of violation, administrative citation, administrative order).

· Comments.

General Requirement

· Discussion of effectiveness of program – measures of effectiveness to be discussed by Group.

· Proposed changes to improve program (e.g., changes in prioritization scheme for frequency of O&M inspections, changes to improve effectiveness of program ).



	C.3.o: Implementation Schedule


	Co-permittees are following the implementation schedule, although implementation timeline for HMP requirements is dependent on Water Board review schedule.

Individual Program Details or Variations
Implementation dates vary, but all provisions (with possible exception of HMP) will likely be into implementation phase by adoption date of MRP.
	Not needed ?


� This table was prepared in accordance with the process agreed to by BASMAA and Water Board staff for Municipal Regional Permit Work Groups.  However, because the new and redevelopment requirements (Provision C.3.) are more prescriptive than other Program elements, it made sense to relate level of implementation to specific sections of C.3. rather than performance standards.





� See Order R2-2003-0022 amending the Contra Costa Countywide NPDES Stormwater Permit for a complete description of each provision or best management practice listed in this column.  The Alameda, San Mateo, and Fairfield-Suisun C.3 provisions are almost identical to Contra Costa’s (Fairfield-Suisun has different implementation dates).  Minor differences in the Santa Clara C.3 Provision are noted in the table and endnotes. This table does not yet reflect the BMPs or implementation levels for the Vallejo Sanitation and Flood Control District.





� Examples of possible alternatives to lowering the threshold (not exhaustive or final):


Adopt an ordinance requiring minimum pervious surfaces for all or most categories of land use. These may vary by type (e.g. hillside, single- or multi-family, commercial) and may allow treatment of runoff as an alternative (e.g. in downtown areas or for business or areas where infiltration is undesirable).


Require, or create strong positive incentives for, disconnection of residential roof leaders so that they drain onto landscaped areas or other permeable surfaces, including dry wells and French or Dutch drains, or into cisterns or similar storage. This could include exceptions for slide areas, drainage too close to foundations, etc. 


Ban impermeable surfacing of parking strips and medians. Create strong positive incentives for such things as rain gardens, depressed planting strips and medians (esplanades), or curb extensions with permeable surfacing. 


Require, or create strong positive incentives for, permeability or adequate treatment for all new and replacement parking areas and driveways, commercial and residential. This may include reductions in widths of driveways or size of parking spaces, and/or requirements that all parking spaces above minimum requirements be permeable.


Require, or create strong positive incentives for, permeable decks, patios, part of driveways, and sidewalks (public and private), including replacements.


Ban direct roof, yard, and sump drains to creeks, or storm drains that flow to creeks AND enforce the ban on existing drains as well as proposed new ones; 


In built-out areas, retrofit some significant number of storm drains (volume of storm water) emptying to creeks, lakes, or the Bay, and/or restore or create buffers for some appropriate length of shoreline.


Require that all projects follow a hierarchy for stormwater treatment design that puts a premium on on-site surface infiltration (with appropriate exceptions) and requires alternative pollution control for high-use streets and parking lots, etc., AND for flow to pipes or streams. Require that projects too small for controls, or where controls are impractical, pay into a fund for combined controls.


Set up a fund for combined controls, or begin specific projects, that developers of smart-growth, transit-village, brownfields, infill, or low-income projects, and/or projects too small for controls, can pay into if expected costs of treatment BMPS exceed 1% or 2% of construction costs. 


Create significant multi-purpose treatment areas, e.g. treatment marshes used for recreation or wildlife. 








� Group 1 Project exemptions include:


Construction of one single-family home that is not part of a larger common plan of development, with the incorporation of appropriate pollutant source control and design measures, and using landscaping to appropriately treat runoff from roof and house-associated impervious surfaces (e.g., runoff from roofs, patios, driveways, sidewalks, and similar surfaces).


Sidewalks, bicycle lanes, trails, bridge accessories, guardrails, and landscape features that are part of a street, road, highway or freeway project.


Interior remodels and routine maintenance or repair, such as roof or exterior surface replacement, pavement resurfacing, repaving and road pavement structural section rehabilitation within the existing footprint, and any other reconstruction work within a public street or road right-of-way where both sides of that right-of-way are developed.





� Santa Clara Group 2A Projects meet the minimum threshold requirement of creating or replacing > 10,000 sq ft of impervious surface and can be classified as one of four industrial/commercial land use activities where potential pollutant loading cannot be satisfactorily mitigated by post-construction source control and site design practices.





FINAL 01-19-06


