State of California�PRIVATE ��

	State Water Resources Control Board

	No Exposure Certification



Submission of this No Exposure Certification (NEC) constitutes notification by the facility operator identified on this form that there is no exposure of the facility’s industrial activities, equipment, and materials to storm water in accordance with the requirements in Section B.12.a.i. of the Industrial Activities Storm Water General Permit  No. 97-03-DWQ (General Permit). Facility operators who are not in compliance with the General Permit are not eligible to file a NEC.  This NEC and supporting documentation must be submitted to the appropriate Regional Water Board (Attachment 3) prior to the wet season (October 1).  Unless otherwise notified by the Regional Water Board, the facility operator is exempt from sampling and analysis requirements.  Facility operators are required to re-evaluate their facilities annually and certify in their annual reports that the NEC eligibility requirements are continously being met. If the Regional Water Board denies the NEC,  or if the facility operator determines that NEC eligibility requirements are no longer being met, the facility operator must collect and analyze samples from two storm events during each wet season.  Please type or print when completing this form and attach any required documents.





I.  WDID NO.                                             





II.  FACILITY OPERATOR INFORMATION



Name                                                                                       Contact Person                                                                



Mailing Address                                                                       Title                                                                                  



City                                                                   State                Zip                         Phone                                               



 

III.  FACILITY SITE INFORMATION



Facility Name                                                                           Contact Person                                                                

 

Location                                                                                    Title                                                                                 



City                                                                      CA                 Zip                       Phone                                       



SIC Code(s)  1.     /     /     /        2.     /     /     /       Type of Business:                                                             





IV.  DOCUMENT CHECKLIST  (Please check each item to verify that the documents are attached)



��		Copy of Facility’s Storm  Water 			Copy of Facility’s Monitoring Program

		Pollution Prevention Plan



��		Checklist to Evaluate Potential Storm		SWPPP and Monitoring Program 

		Water Pollutant Sources (Attachment 1)		Checklist (Attachment 2) 

�

�		Copy of the Last Annual Report			A Report Explaining each Question 	

									Answered “Yes” in Attachment 1



�V.	CERTIFICATION



	I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to ensure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted, is to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.  Additionally, I certify that:

	

	(1)	All prohibited non-storm water discharges have been eliminated or otherwise permitted.



	(2)	All authorized non-storm water discharges have been identified and addressed in the SWPPP.



	(3)	All areas of past exposure have been inspected and cleaned, as appropriate.



	(4)	All significant materials related to industrial activity (including waste materials) are not exposed to storm water or authorized non-storm water discharges.



	(5)	All industrial activities and industrial equipment are not exposed to storm water or authorized non-storm water discharges.



	(6)	There is no exposure of storm water to significant materials associated with industrial activity through other direct or indirect pathways such as from industrial activities that generate dust and particulates.



	(7)	The facility will be re-evaluated at least once a year to establish that conditions (1), (2), (4), (5), and (6) above are continuously met.  (Certification in future annual reports is required.) 







	                                                                            		                                                                 

	Printed Name				     		Title





	           _______________________________		        ____________________________

	Signature				     			Date

	

This No Exposure Certification must be signed by, (a) For a Corporation:  a responsible corporate officer (or authorized official), (b) For a Partnership or Sole Proprietorship:  a general partner or proprietor, respectively, (c) For a Municipality, State, or other Non-Federal Public Agency:  either a principal executive officer or ranking elected official, (d) For a Federal Agency:  either the chief or senior executive officer of the agency.



REGIONAL WATER BOARD USE ONLY   

 

��							Retained at Regional Board Office

�� 	Approved	Denied	   		

�							Returned to Applicant		

�	







                                                                        	                                                                      	         /        /          

      Printed Name	                                       	Signature					Date 

				



�

�CHECKLIST TO EVALUATE POTENTIAL STORM WATER POLLUTANT SOURCES



The purpose of this checklist is to 1) help you determine whether the exposure of industrial activities, materials, and equipment to storm water has been eliminated at the facility, and 2) help Regional Water Board staff evaluate the adequacy of your compliance activities and No Exposure Certification (NEC). Please answer all questions.  Answering "YES" to a question does not negate your NEC.  For each “yes” answer, explain what you are doing to eliminate or prevent exposure from the potential source.  For example, if there are liquid storage tanks outdoors but all the storm water is collected behind secondary containment structures and discharged to the sanitary sewer, then the potential source for storm water exposure may be satisfactorily eliminated.  For the purpose of this questionnaire, “outdoors” are areas of the facility that are not beneath permanent roofed structures.



	1.	All prohibited non-storm water discharges have been eliminated or otherwise permitted.

												Yes	 No	

	

		a.	Are materials or equipment cleaned outdoors?				          	        	

											        

	b.  	Are wash or rinse waters generated on-site?      				         	             													                         		



		c.  	Are there any discharges (other than storm     

		    water) entering the storm drain system?					           	        		

     												  

		d. 	Do any drains under roofed areas discharge 

			to the storm drain system? 						        	         			    		



		e.  	Have there been any accidental spills into the  

			storm drain system in the last year?					         	        			

				           						      

		f.  	Are any process waste waters disposed of 

			outdoors?					   			          	         

 	   		

	2.	All significant materials related to industrial activity (including waste materials) are not exposed to storm water or authorized non-storm water discharges.

												Yes	 No

		

		a.  	Are there any materials stored outdoors?				        	            		

	

		b.  	Are there any materials handled outdoors?				         	        		



	   	c.	Are there any outdoor loading docks?					        	        								    	    		

	

	  d.   Are there any above ground liquid or non-liquid 

		   storage tanks outdoors?							        	        				



		e.  	Are there any outdoor loading/unloading 		

			operations?								         	        					



		f.  	Are there any products or by-products 

			manufactured or used outdoors?					         	        				

		 																				

	g.	Are there any waste products manufactured or		

		    used outdoors?								          	        			



		h.  	Are there any outdoor waste disposal areas?				         	        		

	

�													Yes	 No

		i.  	Is any process wastewater disposed 				 

			of outdoors?								         	         



	j.  	Are there any drums, pallets, or containers 

			outdoors?								         	        				



	k. 	Are materials handled/stored on immediate

		    access roads/railways?							         	        					

												

�	l.  	Are vehicles maintained or fueled outdoors?				         	        		



		m.  	Are any materials stored or disposed of in   

		   	outdoor ponds or impoundments?					        	        						

												

		n.  	Are materials stored outdoors temporarily?				        	         



       		o.	Does any manufacturing take place outdoors?				        	         

												

 		p. 	Have there been any spills or leaks outdoors				

		    in the last year?							         	         				       		



	  q.  	Are there areas where materials remain exposed

			to storm water from past industrial activity?				         	         				



	3.	All industrial activities and industrial equipment are not exposed to storm water or authorized non-storm water discharges.

												Yes	 No	

		a.  	Are any material handling vehicles 

			(such as forklifts) parked outdoors?					         	        										

		 

	 	b.    Is permanent industrial equipment located	

		    outdoors?								         	        		 



	 	c. 	Is portable industrial equipment 

			used outdoors?								         	        	



		d. 	Do any material handling vehicles (such as 

		forklifts and trucks) or outdoor industrial 

			equipment come into contact with materials?				        	        						     	    			

	  

		e. 	Is there any unhoused rooftop equipment (such 		

 			as air conditioners, scrubbers, etc.)?					         	        		

			

	4.	There is no exposure of storm water to significant materials associated with industrial activities through direct or indirect pathways such as from industrial activities that generate dust and particulates.

												Yes	 No										

		a.  	Are there any emissions of dust or particles          

    			from stacks or air exhaust systems?					         	        			

		

	b.    Are there any emissions of dust or particles 	

			from other outlets such as windows, loading 

			docks, etc.?								         	        								



�	c.  	Have there been any spills or leaks associated 

			with maintenace of stacks or air exhaust systems?			         	        	



�SWPPP AND MONITORING PROGRAM CHECKLIST



Your SWPPP and monitoring program must incorporate all the major elements required by the General Permit.  Indicate the page numbers of the following elements of your SWPPP and monitoring program.

	

										 

											 	Page(s)

	A.	SWPPP



1.		Pollution Prevention Team						          



	2.	Site Map							        	          

	

		3.	List of Significant Materials					       	          

	

	4.	    Description of Potential Pollutant Sources			        	         					

	5.	    Description of all authorized non-storm water discharges		        	         							

	6.		Assessment of Potential Pollutant Sources			        	          



	7.		Storm Water Best Managment Practices				        	          

	

	8.		Summary Table of Pollutant Sources and 

		Corresponding BMPs					                     	          

	

	9.		Procedures to conduct an Annual Comprehensive

			Site Compliance Evaluation					        	          







	B.	MONITORING PROGRAM					       	      	Page(s)



	1.		Procedures for conducting quarterly visual observations 

			of authorized non-storm water discharge.			       	_____



	2.	Procedures for conducting quarterly visual observations to 

			detect the presence of unauthorized non-storm water discharges.	       	_____



	     3.		Procedures for conducting monthly wet season visual 

			observations of storm water discharges.				       	_____



	4.	Procedures for re-evaluating the facility to determine 

			whether the NEC eligibility requirements are continually met.              	           





















�STATE AND REGIONAL BOARD

CONTACT LIST



Contact List is located at 

www.swrcb.ca.gov/html/stormwtr.html

under Contacts



�







 



 



		



e:\permits.996\no_exp.doc

�



		Attachment 1



		



		





e:\permits.996\no_exp.frm

�



		 Attachment 2	



			





e:\permits.996\no_exp.doc

�







	



	�page \* arabic�3�



	








