State of California


State Water Resources Control Board





SAMPLING AND ANALYSIS REDUCTION


CERTIFICATION








Submission of this Sampling and Analysis Reduction Certification (SARC) constitutes notification that the operator of the facility identified on this form satisfies the sampling and analysis reduction requirements in Section B.12.b. of the Industrial Activities Storm Water General Permit (General Permit) No. 97-03-DWQ.  This SARC and supporting documentation must be submitted to the appropriate Regional Water Board office (see Attachment 4) prior to the wet season (October 1).  After submitting this SARC, the facility operator is required to collect and analyze samples from two additional storm events in accordance with the schedule provided in Table C (page 34) of the General Permit.  If this SARC is denied by the Regional Water Board, the facility operator must collect and analyze samples from two storm events during each wet season.  Please print or type when completing this form and attach any required documents.





I.	WDID NO. ___________________








II.	FACILITY OPERATOR INFORMATION





Name___        _______________         ____________Contact Person    ___________________________





Mailing Address_________________________        _ Title_                                _____________________





City_______________________________State______Zip__           ______Phone                    _________








III.	FACILITY SITE INFORMATION





Facility Name________________      _____________Contact Person_       _______________________ _





Location_________________________________    _Title        __________________________________





City________________________________CA_____Zip___   ________Phone_         ______   ________





SIC Code(s)	1.       /      /      /    _  2.      /      /      /     _  Type of Business                                                  _





IV.	DOCUMENT CHECKLIST





	The following documents must be submitted with this form to be eligible for sampling and analysis 	reduction.  Please check each item to verify that the documents are attached.





�		1.	Sampling Event Reporting Form (see Attachment 1)





�		2.	Copy of laboratory analytical results





�		3.	Storm Water Pollution Prevention Plan and Monitoring Program Checklist (see 				Attachment 2) and written explanation for any questions answered “NO” or “N/A”.





�		4.	Copy of Facility’s Storm Water Pollution Prevention Plan 





�		5.	Copy of Facility’s Monitoring Program





�			6.	Proof of group monitoring participation (only required if you are claiming group 					monitoring sampling credits)








V.	CERTIFICATION





I certify that my facility qualifies for Sampling and Analysis Reduction in accordance with Section B.12.b. of the Industrial Activities Storm Water General Permit 97-03-DWQ.  Additionally, I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to ensure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering information, the information submitted, is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.











____________________________ __				_____________________________


	Signature										Title








_______________________________   			_____________________________


Printed Name									Date








The SARC must be signed by, (a) For a Corporation:  a responsible corporate officer (or authorized official), (b)  For a Partnership or Sole Proprietorship: a general partner or proprietor, respectively, (c) For a Municipality, State, or other Non-Federal Public Agency:  either a principal executive officer or ranking elected official, (d)  For a Federal Agency:  either the chief or senior executive officer of the agency.





	FOR REGIONAL WATER BOARD USE ONLY:   








��		DENIED		   					 APPROVED		








                                                                                   _                                                                                    /       /     _


Printed Name							Signature								       Date		


																				


��


		Retained at Regional Board Office		   				  Returned to Applicant


�






�



�
SAMPLING EVENT REPORTING FORM





�Eligibility for sampling and analysis reduction requires that you report the analytical results from the last six (6) sampling events that samples were collected.  Section A provides instructions and a recommended table to report these analytical results.  If you participated in a group monitoring plan (GMP) and are substituting GMP credits for any of the sampling events, check this box         and complete Section C.





A.	Instructions to Report Sampling and Analysis Results





1)	Use Table A or an equivalent table to provide your analytical results for each storm water discharge location where sampling was required.  Make copies of Table A if your facility has multiple storm water discharge locations.





2)	Fill out columns 1-6, including each sampling event date and the analytical results for each parameter.  If you analyzed storm water samples for parameters other than those in the table, list each additional parameter, reporting units, and the analytical results.  When a parameter is not detected, report as less than the detection limit.





3)	Compute the average for each parameter and report the result in the “parameter average” column.  The average is the sum of all values for a parameter, divided by the number of samples.  If any of your results are reported as less than the detection limit, use one-half of the detection limit for your computation.  (Example: If the laboratory reports oil and grease as <5 mg/l, use 2.5 mg/l in your computation of the average.)  





TABLE A: SUMMARY OF ANALYTICAL RESULTS





������


���������


���������				d


���


���			         


��


���


���


�


��


���


�


�


�


�











B.	Instructions For Applying Benchmarks to Analytical Results


	


Parameter Benchmark Values (PBVs) are listed in Table A and Table B (see attachment 3). Analytical results above the PBVs may indicate that the facility’s SWPPP is not fully effective in reducing or preventing pollutants in storm water discharges.  Your analytical results as well as all other information submitted with this SARC will be reviewed by the Regional Water Board when determining compliance with the SARC eligibility requirements.





	


	PBVs are not numeric effluent limitations and do not supercede effluent limitations guidelines established in Federal Regulations (40 CFR Subchapter N) for storm water discharges from ten (10) categories of facilities listed on Attachment 1, item 1, of the General Permit.  If your facility is in one of these categories and any of the analytical results reported in Table A exceed the applicable numeric effluent limitations guidelines, contact your Regional Water Board for additional SARC eligibility guidance.





For each parameter average reported in Table A exceeding the corresponding PBV, attach an explanation that satisfies one of the following conditions:





1.	There are no facility pollutant sources related to the parameter, or





	2.		BMPs that address the facility pollutant sources related to the parameter are being 	fully implemented and represent compliance with Best Available Technology 	Economically Achievable and Best Conventional Pollutant Technology requirements of 	the General Permit.








C.	Group Monitoring Plan (GMP) Sampling Credits Instructions


	(Complete if you are substituting one (1) or more sampling events with GMP credits)





Section B.15.k of the General Permit allows the substitution of up to four (4) of the six (6) required sampling events with credit earned through participation in approved GMPs.  At a minimum you may substitute one (1) GMP credit for each year of GMP participation.  You may substitute two (2) GMP credits for each year that the group collected more than 75% of the required samples.  Proof of group participants and, if applicable, proof that the group collected more than 75% of the required samples must be attached.  You do not earn GMP credits in years where you collected and analyzed samples (those results must be reported in Table A).





In the GMP Credit Worksheet below, indicate the number of GMP credits earned for each year of GMP participation, provide your total GMP credits, and calculate your total sampling event credits.








GMP CREDIT WORKSHEET





Group Monitoring 					   Group Leader


Plan Name                                                            _ Name		                                            _                                                





	


Year of


GMP


Participation�






1992-93�






1993-94�






1994-95�






1995-96�






1996-97�
Total


GMP


Credits�
�
����������


GMP


Credits�
           1


       ���    2�
      �    1


       ���   2�
           1


       ���    2�
           1


       ���    2�
           1


       ���    2�
�
�



��		# of sampling events reported in Table A      +		  	Total GMP credits				(minimum of two (2) must be reported)					(from right hand column 																above)


			


�			=			TOTAL SAMPLING EVENT CREDITS  


									   (must add to six (6) or more to be eligible) 


�
STORM WATER POLLUTION PREVENTION PLAN (SWPPP) AND MONITORING PROGRAM (MP) CHECKLIST





In order to evaluate your SARC request, the following items must be addressed.  Include the page number of your SWPPP and MP where such information is located.  If the SWPPP and/or MP is incomplete your SARC may not be approved.  When an item is not applicable you can write “N/A” in the check box.  For items answered “NO” or “N/A”, attach an explanation.





A. Storm Water Pollution Prevention Plan





The SWPPP contains:





�1.		A current identification of the pollution prevention team or individual(s) responsible for 


		implementation of the SWPPP [See Section A.3.a of the General Permit.......................................................Page(s)           _





�2.  		A current reference to existing elements of other applicable regulatory requirements 


		[See Section A.3.b]..........................................................................................................................................Page(s)           _





�3.   		A current site map that addresses all applicable items of Section A.4............................................................Page(s)           _





�4.   		A current list of significant materials [See Section A.5]...................................................................................Page(s)           _





�5.   		A current description of potential pollutant sources [See Section A.6]............................................................Page(s)           _





�6.   		A current description of spills and leaks in significant quantities since April 17, 1994 


		[See Section A.6.iv].........................................................................................................................................Page(s)           _





�7.   		A current description of all non-storm water discharges [See Section A.6.v.].................................................Page(s)           _





�8.   		A current assessment of potential pollutant sources [See Section A.7]..........................................................Page(s)           _





�9.   		A current narrative description of the storm water Best Management Practices (BMP) 


		[See Section A.8.]............................................................................................................................................Page(s)           _





�10. 		A current table summarizing all potential pollutant sources and corresponding BMPs 


		[See Section A.6.b]..........................................................................................................................................Page(s)           _





�11. 		A current description of the employee training and a schedule for training sessions 


		[See Section A.8.a.v].......................................................................................................................................Page(s)           _





�12. 		A current description of recordkeeping and internal reporting procedures 


		[See Section A.8.a.vii.].....................................................................................................................................Page(s)           _





�13. 		A current schedule to periodically inspect all potential pollutant sources 


		[See Section A.8.a.ix.]......................................................................................................................................Page(s)           _





�14. 		Current quality assurance procedures [See Section A.8.a.x]...........................................................................Page(s)           _





Can you certify that:																YES			  NO


��


15.	The SWPPP is specific to your facility?																 





��16.	All non-storm water discharges are identified? [See Section A.6.v.]					   			 





��17.	All unauthorized non-storm water discharges were eliminated prior to the last


	two reporting periods?  [See Section A.6.v.]																 					  		 


��18.	Complete Annual Reports were submitted to the Regional Water Quality Control Board


	for the last two reporting periods? [See Section B.14.]	


								  


��19.	An Annual Site Inspection/Comprehensive Site Compliance Evaluation was performed


	for each of the last two reporting periods? [See Section A.9]					  





��20.	The facility was in compliance with the permit requirements for the last two reporting periods?	                                     						


�
B. Monitoring and Reporting Program (MP)





The MP contains:





�21 .		A current procedure to visually observe all non-storm water discharges [See Section B.3]...............................Page(s)          _





�22 .		A current procedure to conduct quarterly visual observation for the presence of unauthorized 


		non-storm water discharge [See Section B.3.a. and B.3.b.] ..............................................................................Page(s)           _





�23 .		A current procedure for conducting monthly visual observations of all storm water discharges


		[See Section B.4].................................................................................................................................................Page(s)          _





�24 .		A current description of sampling and handling procedures [See Section B.10.]................................................Page(s)          _








Can you certify that:																YES			   NO


��


25.	The MP is specific to your facility?									


��


26.	You inspected the facility for non-storm water discharges in the last two reporting periods?	





�27.	Samples were collected from all  storm water discharge locations required to be sampled for the 


	last two� reporting periods?													 































































































�









TABLE B





U.S. EPA Multi-Sector Permit





Parameter Benchmark Values��


���


				    Parameter Name					                                Benchmark Value	


���


	        Biochemical Oxygen Demand(5).................................................................................    30 mg/L					


                Chemical Oxygen Demand..........................................................................................   120 mg/L	


	        Total Suspended Solids...............................................................................................	100 mg/L				


	        Oil and Grease............................................................................................................	15 mg/L				


	        Nitrate + Nitrite Nitrogen..............................................................................................	0.68 mg/L				


	        Total Phosphorus..........................................................................................................	2.0 mg/L				


	        pH................................................................................................................................	6.0-9.0 s.u.			


	        Acrylonitrile (c).............................................................................................................	7.55 mg/L				


	        Aluminum, Total (pH 6.5-9)..........................................................................................	0.75 mg/L				


	        Ammonia.....................................................................................................................	19 mg/L				


	        Antimony, Total............................................................................................................	0.636 mg/L			


	        Arsenic, Total (c)..........................................................................................................	0.16854 mg/L			


		 Benzene........................................................................................................................	0.01 mg/L			              


		 Beryllium, Total (c).........................................................................................................	0.13 mg/L				


		 Butylbenzyl Phthalate...................................................................................................	3 mg/L				


		 Cadium, Total (H)......................................................................................... ................	0.0159 mg/L			


		 Chloride........................................................................................................ ................	860 mg/L				


		 Copper, Total (H)...........................................................................................................	0.0636 mg/L			


		 Dimethyl Phthalate.........................................................................................................	1.0 mg/L			              


		 Ethylbenzene.................................................................................................................	3.1 mg/L				


		 Fluoranthene..................................................................................................................	0.042 mg/L			


		 Fluoride..........................................................................................................................	1.8 mg/L				


		 Iron, Total......................................................................................................................	1.0 mg/L			              


		 Lead, Total (H)...............................................................................................................	0.0816 mg/L			


		 Manganese....................................................................................................................	1.0 mg/L			              


		 Mercury, Total................................................................................................................	0.0024 mg/L			


		 Nickel, Total (H).............................................................................................................	1.417 mg/L			


		 PCB-1016 (c).................................................................................................................	0.000127 mg/L			


		 PCB-1221 (c).................................................................................................................	0.10 mg/L			              


		 PCB-1232 (c).................................................................................................................	0.000318 mg/L			


		 PCB-1242 (c).................................................................................................................	0.00020 mg/L		              


		 PCB-1248 (c).................................................................................................................	0.002544	mg/L			


		 PCB-1254 (c).................................................................................................................	0.10 mg/L			              


		 PCB-1260 (c).................................................................................................................	0.000477 mg/L			


		 Phenols, Total................................................................................................................	1.0 mg/L			              


		 Pyrene (PAH,c)..............................................................................................................	0.01 mg/L			              


		 Selenium, Total (*).........................................................................................................	0.2385 mg/L			


		 Silver, Total (H)..............................................................................................................	0.0318 mg/L			


		 Toluene..........................................................................................................................	10.0 mg/L				


		 Trichloroethylene (c)......................................................................................................	0.0027 mg/L			


		 Zinc, Total (H)................................................................................................................	0.117 mg/L			


�














�



�
STATE AND REGIONAL BOARD


CONTACT LIST








Contact List is located at 


www.swrcb.ca.gov/html/stormwtr.html


under Contacts





� If storm water samples have been analyzed for parameters without Parameter Benchmark Values, contact your Regional Water                                                                                                                                                                        Board.


� Regional Water Boards may adopt Parameter Benchmark Values that are different than those listed in this Table.





					                  							





		Attachment 1					                  							





	                  								





		Attachment 3			





											





		 Attachment 3	





		Attachment 4		








Discharge Location:





__________________  





Analytical Results





 Benchmark


     Value





Parameter  


Average





   6





   5





   4





   2





   3





   1





Sampling 


  Event





Analytical Parameters





   Date





6.0-9.0





pH		(pH units)





100





Total Suspended Solids 	(mg/l)





 200





Specific Conductance	(umho/cm)





 15





Oil & Grease	(mg/l)





 110





Total Organic Carbon	 (mg/l)	





Other Parameters:











