## Summary
Reporting Required Pursuant to Order WR-2023-0042
December 2023 Reporting Period Summary (please review summary notes provided below)
Date | Souce: Upper Springs (gallons) | Source: Lower Springs (gallons) | Sources Total (gallons) | SMBMI Delivery (gallons) | BTB Hygiene Delivery (gallons) | BTB Tankers Delivery (gallons) | Strawberry Creek Discharge (gallons) | Other Delivery (gallons) | Other Diversion (gallons) | Total Deliveries and Discharges (gallons) | Variance (gallons) | Summary Notes
2023-12-01 | 125116 | 36740 | 161856 | 172859 | 11490 | 0 | 0 | 0 | 0 | 184349 | -22493 | 1,2,3,4,8,9
2023-12-02 | 124890 | 36597 | 161487 | 205437 | 0 | 0 | 0 | 0 | 0 | 205437 | -43950 | 1,2,3,4,8,9
2023-12-03 | 124478 | 36573 | 161051 | 191749 | 0 | 0 | 0 | 0 | 0 | 191749 | -30698 | 1,2,3,4,8,9
2023-12-04 | 123732 | 36507 | 160239 | 195537 | 0 | 0 | 0 | 0 | 0 | 195537 | -35298 | 1,2,3,4,8,9
2023-12-05 | 123487 | 36419 | 159906 | 190610 | 11055 | 0 | 0 | 0 | 0 | 201665 | -41759 | 1,2,3,4,8,9
2023-12-06 | 123090 | 36381 | 159471 | 205063 | 0 | 0 | 0 | 0 | 0 | 205063 | -45592 | 1,2,3,4,8,9
2023-12-07 | 124464 | 36311 | 160775 | 191716 | 9855 | 0 | 0 | 0 | 0 | 201571 | -40796 | 1,2,3,4,8,9
2023-12-08 | 123595 | 36245 | 159840 | 210018 | 0 | 0 | 0 | 0 | 0 | 210018 | -50178 | 1,2,3,4,8,9
2023-12-09 | 123487 | 36125 | 159612 | 185106 | 8565 | 0 | 0 | 0 | 0 | 193671 | -34059 | 1,2,3,4,8,9
2023-12-10 | 122740 | 36060 | 158800 | 209160 | 0 | 0 | 0 | 0 | 0 | 209160 | -50360 | 1,2,3,4,8,9
2023-12-11 | 122821 | 25462 | 148283 | 145081 | 8955 | 0 | 0 | 0 | 0 | 154036 | -5753 | 1,2,3,4,8,9
2023-12-12 | 121789 | 111 | 121900 | 47007 | 0 | 0 | 0 | 0 | 0 | 47007 | 74893 | 1,2,3,4,5,8,9
2023-12-13 | 122644 | 0 | 122644 | 38669 | 0 | 0 | 0 | 0 | 0 | 38669 | 83975 | 1,2,3,4,5,8,9
2023-12-14 | 122131 | 834 | 122965 | 26817 | 0 | 0 | 0 | 0 | 0 | 26817 | 96148 | 1,2,3,4,5,8,9
2023-12-15 | 120681 | 12553 | 133234 | 22729 | 225 | 0 | 0 | 0 | 0 | 22954 | 110280 | 1,2,3,4,5,8,9
2023-12-16 | 120623 | 23179 | 143802 | 26722 | 0 | 0 | 0 | 0 | 0 | 26722 | 117080 | 1,2,3,4,5,8,9
2023-12-17 | 121561 | 25118 | 146679 | 26624 | 0 | 0 | 0 | 0 | 0 | 26624 | 120055 | 1,2,3,4,5,8,9
2023-12-18 | 119928 | 40653 | 160581 | 104330 | 0 | 0 | 0 | 0 | 0 | 104330 | 56251 | 1,2,3,4,5,8,9
2023-12-19 | 120617 | 51911 | 172528 | 177519 | 10620 | 0 | 0 | 0 | 0 | 188139 | -15611 | 1,2,3,4,8,9
2023-12-20 | 120786 | 46270 | 167056 | 190268 | 0 | 0 | 0 | 0 | 0 | 190268 | -23212 | 1,2,3,4,8,9
2023-12-21 | 120608 | 44737 | 165345 | 178417 | 10470 | 0 | 0 | 0 | 0 | 188887 | -23542 | 1,2,3,4,8,9
2023-12-22 | 120563 | 43237 | 163800 | 185548 | 0 | 0 | 0 | 0 | 0 | 185548 | -21748 | 1,2,3,4,6,8,9
2023-12-23 | 119936 | 42408 | 162344 | 164855 | 8940 | 0 | 0 | 0 | 0 | 173795 | -11451 | 1,2,3,4,6,8,9
2023-12-24 | 119587 | 37860 | 157447 | 175503 | 0 | 0 | 0 | 0 | 0 | 175503 | -18056 | 1,2,3,4,6,8,9
2023-12-25 | 119829 | 38197 | 158026 | 162777 | 10650 | 0 | 0 | 0 | 0 | 173427 | -15401 | 1,2,3,4,6,8,9
2023-12-26 | 119959 | 38075 | 158034 | 174968 | 0 | 0 | 0 | 0 | 0 | 174968 | -16934 | 1,2,3,4,6,8,9
2023-12-27 | 119383 | 38059 | 157442 | 157241 | 9840 | 0 | 0 | 0 | 0 | 167081 | -9639 | 1,2,3,4,7,8,9
2023-12-28 | 119015 | 37989 | 157004 | 162754 | 0 | 0 | 0 | 0 | 0 | 162754 | -5750 | 1,2,3,4,7,8,9
2023-12-29 | 121332 | 38044 | 159376 | 151013 | 9615 | 0 | 0 | 0 | 0 | 160628 | -1252 | 1,2,3,4,7,8,9
2023-12-30 | 118866 | 37992 | 156858 | 161360 | 0 | 0 | 0 | 0 | 0 | 161360 | -4502 | 1,2,3,4,7,8,9
2023-12-31 | 118516 | 37915 | 156431 | 150431 | 9735 | 0 | 0 | 0 | 0 | 160166 | -3735 | 1,2,3,4,7,8,9
TOTALS | 3770254 | 1024562 | 4794816 | 4587888 | 120015 | 0 | 0 | 0 | 0 | 4707903 | 86913
The negative variance at the beginning of the month indicates thecontinued high bias from partial pipe flow metering conditions at the SMBMI flow meter. A temporary orifice plate was installed downstream of SMBMI meter on 12/22/2023 to alleviate partial pipe conditions. That orifice plate was replaced by a second temporary orifice plate (with a smaller opening) on 12/27/23 that further improved conditions. BTB is awaiting fittings and parts to complete the CLA-VAL installation. We will update the installation schedule once the parts have been received.
Source Total (acre-feet) |  |  | 14.7147
Source Total (gallons per minute) |  |  | 107.4108
Calculated SMBMI Delivery (gallons) |  |  | 4674801
BTB Total Receipts (gallons) |  |  | 120015
Source Total (gallons) |  |  | 4794816
Summary Notes (also provided on their respective worksheet)
1: Tunnel 2 - The Tunnel 2 reported volume includes water discharged at the “drinker” pipe at the Tunnel 2 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.88 gallons per minute.
2: Tunnel 3 - The Tunnel 3 reported volume includes water discharged at the “drinker” pipe at the Tunnel 3 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.21 gallons per minute.
3: Boreholes 7 / 7A / 7B / 7C - The valves for Boreholes 7/7A/7B/7C are closed. Uncapped piping from the historic complex above terminates inside the 7/7A/7B/7C enclosure. The uncapped piping is not connected to the pipeline at the portal and has always discharged to to the enclosure drain and outlet piping. BTB has maintained this discharge at the request of the United States Forest Service for the benefit flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report on November 8, 2023, no flow estimate could be provided. BTB will schedule maintenance to cap/plug this piping (flow shut-in).
4: SMBMI Deliveries - New and unprecedented hydraulic conditions are being established in Strawberry Canyon with the complete closure of various sources, closure of the Strawberry Creek Station, and removal of the Transect 6 discharge. The reduced volume in the pipeline created partial flow conditions resulting in high turbulence and inaccurate measurement at the SMBMI flow meter. The plan to address this issue was communicated in the November 2023 report and noted below.
5: BTB noticed decreased flow going to SMBMI flow meter on 12/11/2023 and sent BTB contractors up the mountain to investigate. On 12/12/2023, our team found 3 separate ball valves on 3 separate CLA-VAL valves that were in the "closed" position. These valves are normally in the "open" position. Since the pipeline was rebuilt 20 years ago, we have never had a situation in which these ball valves have closed on their own. BTB highly suspects tampering of our operations and we are working on ways to improve and harden our security. CLA-VAL valves were adjusted on the pipeline over the next few days and contractors were able to get the pipeline flowing normally the night of 12/18/2023.
6: BTB conducted maintenance of the pipeline facilities to install an orifice plate with a 1.375" opening downstream of the SMBMI flow meter on 12/22/2023. This orifice plate decreased turbulence in the pipeline and increased the accuracy of the SMBMI flow meter readings.
7: This orifice plate was replaced by one with a smaller 1.125" opening that further increased the accuracy of the SMBMI flow meter readings on 12/27/2023. BTB is awaiting fittings and parts to complete the CLA-VAL installation. We will update the installation schedule once the parts have been received.
8: BTB Hygiene - This represents the volume to maintain hygienic conditions at the BTB tank trailer loading station and throughout the pipeline from the Strawberry Canyon sources. Hygiene volume is discharged at an existing discharge line from the BTB tank trailer loading station towards Indian Creek.
9: Strawberry Creek Station / Transect 6 Discharge - BTB closed the Strawberry Creek Station and removed the Transect 6 discharge facilities on October 17, 2023, and notified the USFS of the same on November 6, 2023. To our knowledge there are no other discharges or deliveries from the Strawberry Canyon pipeline other than those described in this report.

## Upper Springs
Reporting Required Pursuant to Order WR-2023-0042
Daily Diversions at Upper Springs Facilities
Year: | 2023
Month: | 2023-12-12
Date | Tunnel 2 (gallons) | Tunnel 3 (gallons) | Borehole 1 (gallons) | Borehole 1A (gallons) | Borehole 7 (gallons) | Borehole 7A (gallons) | Borehole 7B (gallons) | Borehole 7C (gallons) | Borehole 8 (gallons) | Total (gallons) | Notes
2023-12-01 | 56172 | 26216 | 0 | 0 | 0 | 0 | 0 | 0 | 42728 | 125116 | 1,2,3
2023-12-02 | 56051 | 26165 | 0 | 0 | 0 | 0 | 0 | 0 | 42674 | 124890 | 1,2,3
2023-12-03 | 55783 | 25986 | 0 | 0 | 0 | 0 | 0 | 0 | 42709 | 124478 | 1,2,3
2023-12-04 | 55632 | 25343 | 0 | 0 | 0 | 0 | 0 | 0 | 42757 | 123732 | 1,2,3
2023-12-05 | 55619 | 25241 | 0 | 0 | 0 | 0 | 0 | 0 | 42627 | 123487 | 1,2,3
2023-12-06 | 55142 | 25356 | 0 | 0 | 0 | 0 | 0 | 0 | 42592 | 123090 | 1,2,3
2023-12-07 | 56014 | 25899 | 0 | 0 | 0 | 0 | 0 | 0 | 42551 | 124464 | 1,2,3
2023-12-08 | 55285 | 25765 | 0 | 0 | 0 | 0 | 0 | 0 | 42545 | 123595 | 1,2,3
2023-12-09 | 55507 | 25474 | 0 | 0 | 0 | 0 | 0 | 0 | 42506 | 123487 | 1,2,3
2023-12-10 | 55216 | 25051 | 0 | 0 | 0 | 0 | 0 | 0 | 42473 | 122740 | 1,2,3
2023-12-11 | 55636 | 24712 | 0 | 0 | 0 | 0 | 0 | 0 | 42473 | 122821 | 1,2,3
2023-12-12 | 54400 | 24942 | 0 | 0 | 0 | 0 | 0 | 0 | 42447 | 121789 | 1,2,3
2023-12-13 | 55040 | 25198 | 0 | 0 | 0 | 0 | 0 | 0 | 42406 | 122644 | 1,2,3
2023-12-14 | 54854 | 24915 | 0 | 0 | 0 | 0 | 0 | 0 | 42362 | 122131 | 1,2,3
2023-12-15 | 54091 | 24243 | 0 | 0 | 0 | 0 | 0 | 0 | 42347 | 120681 | 1,2,3
2023-12-16 | 53842 | 24345 | 0 | 0 | 0 | 0 | 0 | 0 | 42436 | 120623 | 1,2,3
2023-12-17 | 54946 | 24303 | 0 | 0 | 0 | 0 | 0 | 0 | 42312 | 121561 | 1,2,3
2023-12-18 | 53288 | 24330 | 0 | 0 | 0 | 0 | 0 | 0 | 42310 | 119928 | 1,2,3
2023-12-19 | 53369 | 24971 | 0 | 0 | 0 | 0 | 0 | 0 | 42277 | 120617 | 1,2,3
2023-12-20 | 53373 | 25150 | 0 | 0 | 0 | 0 | 0 | 0 | 42263 | 120786 | 1,2,3
2023-12-21 | 53525 | 24864 | 0 | 0 | 0 | 0 | 0 | 0 | 42219 | 120608 | 1,2,3
2023-12-22 | 53334 | 25005 | 0 | 0 | 0 | 0 | 0 | 0 | 42224 | 120563 | 1,2,3
2023-12-23 | 52877 | 24883 | 0 | 0 | 0 | 0 | 0 | 0 | 42176 | 119936 | 1,2,3
2023-12-24 | 52762 | 24666 | 0 | 0 | 0 | 0 | 0 | 0 | 42159 | 119587 | 1,2,3
2023-12-25 | 53124 | 24562 | 0 | 0 | 0 | 0 | 0 | 0 | 42143 | 119829 | 1,2,3
2023-12-26 | 53251 | 24606 | 0 | 0 | 0 | 0 | 0 | 0 | 42102 | 119959 | 1,2,3
2023-12-27 | 52978 | 24305 | 0 | 0 | 0 | 0 | 0 | 0 | 42100 | 119383 | 1,2,3
2023-12-28 | 52626 | 24319 | 0 | 0 | 0 | 0 | 0 | 0 | 42070 | 119015 | 1,2,3
2023-12-29 | 55082 | 24222 | 0 | 0 | 0 | 0 | 0 | 0 | 42028 | 121332 | 1,2,3
2023-12-30 | 51963 | 24878 | 0 | 0 | 0 | 0 | 0 | 0 | 42025 | 118866 | 1,2,3
2023-12-31 | 51863 | 24657 | 0 | 0 | 0 | 0 | 0 | 0 | 41996 | 118516 | 1,2,3
Notes
1: Tunnel 2 - The Tunnel 2 reported volume includes water discharged at the “drinker” pipe at the Tunnel 2 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.88 gallons per minute.
2: Tunnel 3 - The Tunnel 3 reported volume includes water discharged at the “drinker” pipe at the Tunnel 3 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.21 gallons per minute.
3: Boreholes 7 / 7A / 7B / 7C - The valves for Boreholes 7/7A/7B/7C are closed. Uncapped piping from the historic complex above terminates inside the 7/7A/7B/7C enclosure. The uncapped piping is not connected to the pipeline at the portal and has always discharged to to the enclosure drain and outlet piping. BTB has maintained this discharge at the request of the United States Forest Service for the benefit flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report on November 8, 2023, no flow estimate could be provided. BTB will schedule maintenance to cap/plug this piping (flow shut-in).

## Lower Springs
Reporting Required Pursuant to Order WR-2023-0042
Daily Diversions at Lower Springs Facilities
Year: | 2023
Month: | 2023-12-12
Date | Borehole 10 (gallons) | Borehole 11 (gallons) | Borehole 12 (gallons) | Daily Total (gallons) | Notes
2023-12-01 | 28120 | 0 | 8620 | 36740
2023-12-02 | 28032 | 0 | 8565 | 36597
2023-12-03 | 27975 | 0 | 8598 | 36573
2023-12-04 | 27947 | 0 | 8560 | 36507
2023-12-05 | 27898 | 0 | 8521 | 36419
2023-12-06 | 27888 | 0 | 8493 | 36381
2023-12-07 | 27831 | 0 | 8480 | 36311
2023-12-08 | 27796 | 0 | 8449 | 36245
2023-12-09 | 27734 | 0 | 8391 | 36125
2023-12-10 | 27696 | 0 | 8364 | 36060
2023-12-11 | 18928 | 0 | 6534 | 25462
2023-12-12 | 0 | 0 | 111 | 111
2023-12-13 | 0 | 0 | 0 | 0
2023-12-14 | 180 | 0 | 654 | 834
2023-12-15 | 5988 | 0 | 6565 | 12553
2023-12-16 | 12877 | 0 | 10302 | 23179
2023-12-17 | 14387 | 0 | 10731 | 25118
2023-12-18 | 23066 | 0 | 17587 | 40653
2023-12-19 | 30683 | 0 | 21228 | 51911
2023-12-20 | 29853 | 0 | 16417 | 46270
2023-12-21 | 29320 | 0 | 15417 | 44737
2023-12-22 | 28934 | 0 | 14303 | 43237
2023-12-23 | 28652 | 0 | 13756 | 42408
2023-12-24 | 28507 | 0 | 9353 | 37860
2023-12-25 | 28409 | 0 | 9788 | 38197
2023-12-26 | 28355 | 0 | 9720 | 38075
2023-12-27 | 28321 | 0 | 9738 | 38059
2023-12-28 | 28298 | 0 | 9691 | 37989
2023-12-29 | 28278 | 0 | 9766 | 38044
2023-12-30 | 28251 | 0 | 9741 | 37992
2023-12-31 | 28212 | 0 | 9703 | 37915

## SMBMI
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries to San Manuel Band of Mission Indians (SMBMI)
Year: | 2023
Month: | 2023-12-12
Date | Deliveries (gallons) | Notes
2023-12-01 | 172859 | 4
2023-12-02 | 205437 | 4
2023-12-03 | 191749 | 4
2023-12-04 | 195537 | 4
2023-12-05 | 190610 | 4
2023-12-06 | 205063 | 4
2023-12-07 | 191716 | 4
2023-12-08 | 210018 | 4
2023-12-09 | 185106 | 4
2023-12-10 | 209160 | 4
2023-12-11 | 145081 | 4
2023-12-12 | 47007 | 4
2023-12-13 | 38669 | 4,5
2023-12-14 | 26817 | 4,5
2023-12-15 | 22729 | 4,5
2023-12-16 | 26722 | 4,5
2023-12-17 | 26624 | 4,5
2023-12-18 | 104330 | 4,5
2023-12-19 | 177519 | 4
2023-12-20 | 190268 | 4
2023-12-21 | 178417 | 4
2023-12-22 | 185548 | 4,6
2023-12-23 | 164855 | 4,6
2023-12-24 | 175503 | 4,6
2023-12-25 | 162777 | 4,6
2023-12-26 | 174968 | 4,6
2023-12-27 | 157241 | 4,7
2023-12-28 | 162754 | 4,7
2023-12-29 | 151013 | 4,7
2023-12-30 | 161360 | 4,7
2023-12-31 | 150431 | 4,7
Notes
4: SMBMI Deliveries - New and unprecedented hydraulic conditions are being established in Strawberry Canyon with the complete closure of various sources, closure of the Strawberry Creek Station, and removal of the Transect 6 discharge. The reduced volume in the pipeline created partial flow conditions resulting in high turbulence and inaccurate measurement at the SMBMI flow meter. The plan to address this issue was communicated in the November 2023 report and noted below.
5: BTB noticed decreased flow going to SMBMI flow meter on 12/11/2023 and sent BTB contractors up the mountain to investigate. On 12/12/2023, our team found 3 separate ball valves on 3 separate CLA-VAL valves that were in the "closed" position. These valves are normally in the "open" position. Since the pipeline was rebuilt 20 years ago, we have never had a situation in which these ball valves have closed on their own. BTB highly suspects tampering of our operations and we are working on ways to improve and harden our security. CLA-VAL valves were adjusted on the pipeline over the next few days and contractors were able to get the pipeline flowing normally the night of 12/18/2023.
6: BTB conducted maintenance of the pipeline facilities to install an orifice plate with a 1.375" opening downstream of the SMBMI flow meter on 12/22/2023. This orifice plate decreased turbulence in the pipeline and increased the accuracy of the SMBMI flow meter readings.
7: This orifice plate was replaced by one with a smaller 1.125" opening that further increased the accuracy of the SMBMI flow meter readings on 12/27/2023. BTB is awaiting fittings and parts to complete the CLA-VAL installation. We will update the installation schedule once the parts have been received.

## BTB Hygiene
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries to BTB Water Tank to Maintain Hygienic Conditions
Year: | 2023
Month: | 2023-12-12
Date | Deliveries (gallons) | Notes
2023-12-01 | 11490 | 8
2023-12-02 | 0 | 8
2023-12-03 | 0 | 8
2023-12-04 | 0 | 8
2023-12-05 | 11055 | 8
2023-12-06 | 0 | 8
2023-12-07 | 9855 | 8
2023-12-08 | 0 | 8
2023-12-09 | 8565 | 8
2023-12-10 | 0 | 8
2023-12-11 | 8955 | 8
2023-12-12 | 0 | 8
2023-12-13 | 0 | 8
2023-12-14 | 0 | 8
2023-12-15 | 225 | 8
2023-12-16 | 0 | 8
2023-12-17 | 0 | 8
2023-12-18 | 0 | 8
2023-12-19 | 10620 | 8
2023-12-20 | 0 | 8
2023-12-21 | 10470 | 8
2023-12-22 | 0 | 8
2023-12-23 | 8940 | 8
2023-12-24 | 0 | 8
2023-12-25 | 10650 | 8
2023-12-26 | 0 | 8
2023-12-27 | 9840 | 8
2023-12-28 | 0 | 8
2023-12-29 | 9615 | 8
2023-12-30 | 0 | 8
2023-12-31 | 9735 | 8
Notes
8: BTB Hygiene - This represents the volume to maintain hygienic conditions (prevention of stagnant volume) at the BTB tank trailer loading station and throughout the pipeline from the Strawberry Canyon sources. Hygiene volume is discharged at an existing discharge line from the BTB tank trailer loading station towards Indian Creek and percolates into ground surface. This volume is within the total of 10/11/12 not affected by Order WR-2023-0042 and is reported for clarity.

## BTB Tank Trucks
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries to BTB Water Tank Trucks
Year: | 2023
Month: | 2023-12-12
Date | Deliveries (gallons) | Notes
2023-12-01 | 0
2023-12-02 | 0
2023-12-03 | 0
2023-12-04 | 0
2023-12-05 | 0
2023-12-06 | 0
2023-12-07 | 0
2023-12-08 | 0
2023-12-09 | 0
2023-12-10 | 0
2023-12-11 | 0
2023-12-12 | 0
2023-12-13 | 0
2023-12-14 | 0
2023-12-15 | 0
2023-12-16 | 0
2023-12-17 | 0
2023-12-18 | 0
2023-12-19 | 0
2023-12-20 | 0
2023-12-21 | 0
2023-12-22 | 0
2023-12-23 | 0
2023-12-24 | 0
2023-12-25 | 0
2023-12-26 | 0
2023-12-27 | 0
2023-12-28 | 0
2023-12-29 | 0
2023-12-30 | 0
2023-12-31 | 0

## Strawberry Creek
Reporting Required Pursuant to Order WR-2023-0042
Daily Discharge to Strawberry Creek near Boreholes 10/11/12
Year: | 2023
Month: | 2023-12-12
Date | Discharge (gallons) | Notes
2023-12-01 | 0 | 9
2023-12-02 | 0 | 9
2023-12-03 | 0 | 9
2023-12-04 | 0 | 9
2023-12-05 | 0 | 9
2023-12-06 | 0 | 9
2023-12-07 | 0 | 9
2023-12-08 | 0 | 9
2023-12-09 | 0 | 9
2023-12-10 | 0 | 9
2023-12-11 | 0 | 9
2023-12-12 | 0 | 9
2023-12-13 | 0 | 9
2023-12-14 | 0 | 9
2023-12-15 | 0 | 9
2023-12-16 | 0 | 9
2023-12-17 | 0 | 9
2023-12-18 | 0 | 9
2023-12-19 | 0 | 9
2023-12-20 | 0 | 9
2023-12-21 | 0 | 9
2023-12-22 | 0 | 9
2023-12-23 | 0 | 9
2023-12-24 | 0 | 9
2023-12-25 | 0 | 9
2023-12-26 | 0 | 9
2023-12-27 | 0 | 9
2023-12-28 | 0 | 9
2023-12-29 | 0 | 9
2023-12-30 | 0 | 9
2023-12-31 | 0 | 9
Notes
9: Strawberry Creek Station / Transect 6 Discharge - BTB closed the Strawberry Creek Station and removed the Transect 6 discharge facilities on October 17, 2023, and notified the USFS of the same on November 6, 2023. To our knowledge there are no other discharges or deliveries from the Strawberry Canyon pipeline other than those described in this report.

## Other Deliveries
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries at Other Locations
Year: | 2023
Month: | 2023-12-12
Date | Location 1 (gallons) | Location 2 (gallons) | Location 3 (gallons) | Location 4 (gallons) | Location 5 (gallons) | Location 6 (gallons) | Location 7 (gallons) | Location 8 (gallons) | Location 9 (gallons) | Location 10 (gallons) | Notes
2023-12-01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-02 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-03 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-04 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-11 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-13 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-14 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-15 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-16 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-17 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-18 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-19 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-20 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-21 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-22 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-23 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-24 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-25 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-26 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-27 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-28 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-29 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-12-31 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Other Discharges
Reporting Required Pursuant to Order WR-2023-0042
Daily Discharges at Other Locations
Year: | 2023
Month: | 2023-12-12
Date | Site Name: N/A (gallons) | Notes
2023-12-01 | N/A
2023-12-02 | N/A
2023-12-03 | N/A
2023-12-04 | N/A
2023-12-05 | N/A
2023-12-06 | N/A
2023-12-07 | N/A
2023-12-08 | N/A
2023-12-09 | N/A
2023-12-10 | N/A
2023-12-11 | N/A
2023-12-12 | N/A
2023-12-13 | N/A
2023-12-14 | N/A
2023-12-15 | N/A
2023-12-16 | N/A
2023-12-17 | N/A
2023-12-18 | N/A
2023-12-19 | N/A
2023-12-20 | N/A
2023-12-21 | N/A
2023-12-22 | N/A
2023-12-23 | N/A
2023-12-24 | N/A
2023-12-25 | N/A
2023-12-26 | N/A
2023-12-27 | N/A
2023-12-28 | N/A
2023-12-29 | N/A
2023-12-30 | N/A
2023-12-31 | N/A