# License Term 44b

# RESERVOIR TERMS

## Term 44B Outlet Pipe New Version – Reservoir(s) w/o Outlet Pipe (Noncritical Areas Only)

Licensee shall, when required by the State Water Board, install and maintain an outlet pipes of adequate capacity in the dams as near as practicable to the bottom of the natural stream channels, or provide other means satisfactory to the Deputy Director for Water Rights, in order that water entering the reservoirs which is not authorized for appropriation under this license may be released. Licensee shall submit plans and specifications of the outlet pipes or other alternatives to the Deputy Director for Water Rights for approval within 6 months of the date upon which the State Water Board issues notice that an outlet is/outlets are is required. Licensee shall furnish evidence which substantiates that an outlet/outlets or alternatives have/has been installed in the dam. Evidence shall include photographs showing completed works or certification by a registered Civil or Agricultural Engineer.

 (0050044)