**Multiple (046, 052, 117, R)** *Last Updated: 02/01/2018*

*Categories:*

Reservoirs, Miscellaneous, Special Situation

*Title:*

Measuring, General

*When Used:*

For all rights.

*Background/Justification:*

Wat. Code, § 1058; Cal. Code Regs., tit. 23, §§ 846, 847, 907 et seq.

TERM

Right holder shall comply with the measuring and monitoring requirements as specified in the terms of this right or any reporting requirements by statute, order, policy, regulation, decision, judgment or probationary designation. The more stringent requirement shall control in each instance where there is a conflict or inconsistency between the requirements. Right holder shall comply with the measuring and monitoring requirements of chapter 2.8, title 23, California Code of Regulations. *For water rights subject to the North Coast Instream Flow Policy, include this sentence:* Right holder shall comply with the measuring and monitoring requirements of the State Water Board’s Policy for Maintaining Instream Flows in Northern California Coastal Streams as adopted October 22, 2013\*, including but not limited to monitoring of diversions at time intervals of one hour or less\*\*.

(term code\*\*\*)

\*The Policy versioning should be updated as needed to reflect the applicable North Coast Instream Flow Policy version.

\*\*The Policy requires monitoring of diversions at time intervals of one hour or less unless an exception is granted, in which case this portion should be updated accordingly.

\*\*\*This term replaces five separate terms that address general measurement and monitoring requirements. Therefore, for the purpose of maintaining continuity with previously used term coding, this term may include more than one code depending on the methods of diversion and storage associated with the right. Select all term codes (listed below) for this term that are relevant to the right:

* For direct diversion, insert code 000000R
* For diversion to onstream storage, insert code 0000052
* For diversion to offstream storage, not including underground storage, insert code 0060046
* For diversion to offstream storage, underground storage only, insert code 0080117
* Do not use term code 0100047