# Amendments

# to the

# Water Quality Control Plan – Los Angeles Region

# for the

Ballona Creek Trash TMDL

Amendments:

### Table of Contents

Add:

Chapter 7. Total Maximum Daily Loads (TMDLs) Summaries

Ballona Creek Trash TMDL*

List of Figures, Tables and Inserts

Add:

Chapter 7. Total Maximum Daily Loads (TMDLs)

Tables

7-3 	Ballona Creek Trash TMDL

7-3.1.  Ballona Creek Trash TMDL Elements

7-3.2.  Ballona Creek Trash TMDL Implementation Schedule

7-3.3.  Ballona Creek Trash TMDL Significant Dates

Chapter 3. Water Quality Objectives

Regional Objectives for Inland Surface Waters

Floating Material								3-9

A fifth paragraph will be added under Floating Material referencing specific guidelines for Ballona Creek. Additional narrative to read: "See additional regulatory guidelines described under the Ballona Creek Trash Total Maximum Daily Load (Chapter 7)."

Solid, Suspended, or Settleable Materials				3-16

A fifth paragraph will be added under Solid, Suspended, or Settleable Materials referencing specific guidelines for the Ballona Creek. Additional narrative to read: "See additional regulatory guidelines described under the Ballona Creek Trash Total Maximum Daily Load (Chapter 7)."

Chapter 7. Total Maximum Daily Loads (TMDLs) Summaries

Ballona Creek Trash TMDL*

This TMDL was adopted by:

The Regional Water Quality Control Board on September 19, 2001.

The State Water Resources Control Board on [Insert Date].

The Office of Administrative Law on [Insert Date].

The U.S. Environmental Protection Agency on [Insert Date].

The following table summarizes the key elements of this TMDL.

Table 7-3.1	Ballona Creek: Trash TMDL Elements

| Element | Derivation of Numbers |
| --- | --- |
| Problem Statement | Trash in Ballona Creek is causing impairment of beneficial uses. The following designated beneficial uses are impacted by trash: water contact recreation (REC1); non-contact water recreation (REC2); warm freshwater habitat (WARM); wildlife habitat (WILD), estuarine habitat (EST); marine habitat (MAR); rare and threatened or endangered species (RARE); migration of aquatic organisms (MIGR); spawning, reproduction and early development of fish (SPWN); commercial and sport fishing (COMM); shellfish harvesting (SHELL); wetland habitat (WET); and cold freshwater habitat (COLD). |
| # Numeric Target # (interpretation of the narrative water quality objective, used to calculate the load allocations) | Zero trash in the creek and wetland. |
| Source Analysis | Stormwater discharge is the major source of trash in the creek. |
| Loading Capacity | Zero. |
| # Waste Load, Allocations | Phased reduction for a period of 10 years, from existing baseline load to zero. |
| # Implementation | This TMDL will be implemented through stormwater permits and via the authority vested in the Executive Officer by section13267 of the Porter-Cologne Water Quality Control Act: Water Code section 13000 et seq.). |
| # Margin of Safety | “Zero discharge” is a conservative standard which contains an implicit margin of safety. |
| # Seasonal Variations and Critical Conditions | Discharge of trash from the storm drain occurs primarily during or shortly after a rain event of greater than 0.25 inches. |

*The complete administrative record for the TMDL is available for review upon request.

Table 7-3.2 Ballona Creek Trash TMDL: Implementation Schedule.

(Default waste load allocations expressed as cubic feet of uncompressed trash and % reduction.)

| Year | Baseline Monitoring/ Implementation | Waste Load Allocation | Compliance Point |
| --- | --- | --- | --- |
| 1 10/1/01--9/30/02 | Baseline Monitoring | No allocation specified. Trash will be reduced by levels collected during the baseline monitoring program. | Achieved through timely compliance with baseline monitoring program. |
| 2 10/1/02--9/30/03 | Baseline Monitoring | No allocation specified. Trash will be reduced by levels collected during the baseline monitoring program. | Achieved through timely compliance with baseline monitoring program. |
| 3 10/1/03--9/30/04 | Baseline Monitoring (optional)/ Implementation: Year 1 | 90% (9,985 for the Municipal permittees, 1,472 for Caltrans) | No compliance point (target of 90%) |
| 4 10/1/04--9/30/05 | Baseline Monitoring (optional)/ Implementation: Year 2 | 80% (8,875 for the Municipal permittees, 1,308 for Caltrans) | No compliance point (target of 80%) |
| 5 10/1/05--9/30/06 | Implementation: Year 3 | 70% (7,776 for the Municipal permittees; 1,146 for Caltrans) | Compliance is 80% of the baseline load calculated as a rolling 3-year annual average (8,875 for the Municipal permittees; 1,308 for Caltrans). |
| 6 10/1/06--9/30/07 | Implementation: Year 4 | 60% (6,656 for the Municipal permittees; 981 for Caltrans) | 70% of the baseline load the baseline load calculated as a rolling 3-year annual average (7,776 for the Municipal permittees; 1,146 for Caltrans). |
| 7 10/1/07--9/30/08 | Implementation: Year 5 | 50% (5,547 for the Municipal permittees; 818 for Caltrans) | 60% of the baseline load calculated as a rolling 3-year annual average (6,656 for the Municipal permittees; 981 for Caltrans) |
| 8 10/1/08--9/30/09 | Implementation: Year 6 | 40% (4,438 for the Municipal permittees; 654 for Caltrans) | 50% of the baseline load calculated as a rolling 3-year annual average (5,547 for the Municipal permittees; 818 for Caltrans). |
| 9 10/1/09--9/30/10 | Implementation: Year 7 | 30% (3,328 for the Municipal permittees; 491 for Caltrans) | 40% of the baseline load calculated as a rolling 3-year annual average (4,438 for the Municipal permittees; 654 for Caltrans). |
| 10 10/1/10--9/30/11 | Implementation: Year 8 | 20% (2,218 for the Municipal permittees; 327 for Caltrans). | 30% of the baseline load calculated as a rolling 3-year annual average (3,328 for the Municipal permittees; 491 for Caltrans). |
| 11 10/1/11--9/30/12 | Implementation: Year 9 | 10% (1,110 for the Municipal permittees; 164 for Caltrans). | 20% of the baseline load calculated as a rolling 3-year annual average (2,220 for the Municipal permittees; 327 for Caltrans). |
| 12 10/1/12--9/30/13 | Implementation: Year 10 | 0 or 0 % of the baseline load. | 10% of the baseline load calculated as a rolling 3-year annual average (1,110 for the Municipal permittees; 164 for Caltrans. |
| 13 10/1/13--9/30/14 | Implementation: Year 11 | 0 or 0 % of the baseline load. | 3.3 % of the baseline load calculated as a rolling 3-year annual average (366 for the Municipal permittees, 54 for Caltrans). |
| 14 10/1/14--9/30/15 | Implementation: Year 12 | 0 or 0 % of the baseline. | 0 or 0 % of the baseline load. |

Table7-3.3. Ballona Creek Trash TMDL: Significant Dates.

| 30 days after receipt of the Executive Officer's request as authorized by Section 13267 of the Water Code. | Submit baseline monitoring plan(s). |
| --- | --- |
| 120 days after receipt of the Executive Officer's request as authorized by Section 13267 of the Water Code. | List of facilities that are outside of the permittee's jurisdiction but drain to a portion of the permittee's storm drain system, which discharges to Ballona Creek. |
| Within the first 2 years after approval of this basin plan amendment; to be extended to 4 years at the option of the permittees | Collection of baseline data. |
| 72 hours after each rain event | Clean out of and measurement of trash retained. |
| Every 3 months during dry weather | Clean out of and measurement of trash retained. |

A review of the current target will be allowed once a reduction of  50% has been achieved and sustained.