STATE WATER RESOURCES CONTROL BOARD

WORKSHOP SESSION--DIVISION OF WATER QUALITY

FEBRUARY 3, 2004

#### ITEM 2

##### SUBJECT

CONSIDERATION OF A RESOLUTION APPROVING AN AMENDMENT TO THE WATER QUALITY CONTROL PLAN FOR THE LOS ANGELES REGION TO REVISE THE WATER QUALITY OBJECTIVE FOR CHLORIDE IN THE LOWER SANTA CLARA RIVER

DISCUSSION

The Los Angeles Regional Water Quality Control Board (Regional Board) adopted an updated Water Quality Control Plan (Basin Plan) on June 13, 1994.  The Basin Plan was approved by the State Water Resources Control Board (SWRCB) on November 17, 1994 and by the Office of Administrative Law (OAL) on February 23, 1995.

On December 7, 2000, the Regional Board revised the water quality objective for chloride in the lower Santa Clara River (Reach 3 near Santa Paula) from 80 to 100 mg/L (Resolution No. 00-20).  The resolution was not forwarded to SWRCB due to a problem with the adequacy of the public notice requirement, and Regional Board staff determined that the item needed to be reconsidered at a future date by the Regional Board. On November 6, 2003, the Regional Board adopted Resolution No. 03-015 to complete the update of the water quality objective for chloride in the lower Santa Clara River from 80 mg/L to 100 mg/L.  The objective would be included in Chapter 3, “Water Quality Objectives” of the Basin Plan.

In June 2003, the U.S. Environmental Protection Agency (USEPA) promulgated a chloride Total Maximum Daily Load (TMDL) for the lower Santa Clara River supporting a change of the water quality objective for chloride to 100 mg/L.  Raising the objective to this level will obviate the need for the TMDL and will enable the Regional Board to delist the lower Santa Clara River from the Clean Water Act section 303(d) list.

The existing chloride objective of 80 mg/L was established based on data collected between 1951 and 1975 in the lower Santa Clara River.  However, data collected since 1975 indicate that a water quality objective of 100 mg/L has been achieved 95 percent of the time since 1951.  The data also contain measurements collected at high flow conditions that indicate a strong inverse relationship between flow and chloride concentration.  In reinterpreting this larger data set along with assessment of the beneficial uses of the water, Regional Board staff concluded that a higher objective is representative of the water quality in the lower Santa Clara River and protective of the primary agricultural beneficial use.

In setting the proposed chloride objective of 100 mg/L, the Regional Board considered water quality conditions that could reasonably be achieved, recognizing potentially increasing chloride loads and efforts to control and abate sources of chloride loading. The Regional Board considered the costs of implementing the amendment and found them to be a reasonable burden relative to the environmental benefits.  Because the amendment would relax the existing objective to a level consistent with historical data, the cost of implementing the revised objective is potentially less than the costs of implementing the existing objective.

POLICY ISSUE

Should SWRCB approve the amendment to the Basin Plan in accordance with the Staff Recommendation below?

# FISCAL IMPACT

Regional Board and SWRCB staff work associated with or resulting from this action can be accomplished within budgeted resources.

RWQCB IMPACT

Yes, Los Angeles Regional Board.

STAFF RECOMMENDATION

That SWRCB:

- Approves the amendment to the Regional Board Basin Plan to revise the water quality objective for chloride in the lower Santa Clara River as approved in Regional Board Resolution No. 03-015.

- Authorizes the Executive Director or designee to transmit the amendment and administrative record for this action to OAL and to USEPA for approval.

### STATE WATER RESOURCES CONTROL BOARD

### RESOLUTION NO. 2004-

APPROVING AN AMENDMENT TO THE WATER QUALITY

CONTROL PLAN FOR THE LOS ANGELES REGION TO REVISE THE WATER QUALITY OBJECTIVE FOR CHLORIDE IN THE LOWER SANTA CLARA RIVER

WHEREAS:

- The Los Angeles Regional Water Quality Control Board (Regional Board) adopted an updated Water Quality Control Plan for the Los Angeles region (Basin Plan) on June 13, 1994 which was approved by the State Water Resources Control Board (SWRCB) on November 17, 1994 and by the Office of Administrative Law (OAL) on February 23, 1995.

- On November 6, 2003, the Regional Board adopted Resolution No. 03-015 (Attachment) to update the water quality objective for chloride in the lower Santa Clara River.

- Regional Board staff prepared documents and followed procedures satisfying environmental documentation requirements in accordance with the California Environmental Quality Act and other State laws and regulations.

- The Regional Board found that the additions of this amendment would result in no adverse effect on wildlife, and the amendment would be consistent with the State Antidegradation Policy (SWRCB Resolution No. 68-16) and federal antidegradation requirements.

- A Basin Plan amendment does not become effective until approved by SWRCB and until the regulatory provisions are approved by OAL and the U.S. Environmental Protection Agency (USEPA).

THEREFORE BE IT RESOLVED THAT:

SWRCB:

- Approves the amendment to the Regional Board Basin Plan to revise the water quality objective for chloride in the lower Santa Clara River as approved in Regional Board Resolution No. 03-015.

- Authorizes the Executive Director or designee to transmit the amendment and administrative record for this action to OAL and to USEPA for approval.

### CERTIFICATION

The undersigned, Clerk to the Board, does hereby certify that the foregoing is a full, true, and correct copy of a resolution duly and regularly adopted at a meeting of the State Water Resources Control Board held on February 19, 2004.

_____________________________________

Debbie Irvin

## Clerk to the Board