STATE WATER RESOURCES CONTROL BOARD

BOARD MEETING SESSION -- DIVISION OF FINANCIAL ASSISTANCE

JANUARY 20, 2005

ITEM 18

# SUBJECT

APPROVAL OF LOAN RECOMMITMENT AND INCREASE FOR THE LOS OSOS COMMUNITY SERVICES DISTRICT (DISTRICT); WASTEWATER COLLECTION, TREATMENT AND DISPOSAL PROJECT (PROJECT); STATE REVOLVING FUND (SRF) LOAN PROJECT NO. C-06-4014-110

# DISCUSSION

In accordance with the State Water Resources Control Board's (SWRCB) Policy for Implementing the State Revolving Fund for Construction of Wastewater Treatment Facilities (Policy), adopted on February 16, 1995, and amended on January 22, 2003, projects on the adopted priority list need SWRCB approval to receive a SRF loan.  A SRF loan commitment can be approved by the SWRCB after the Division of Financial Assistance (Division) has approved the facilities plan, including (1) the project report; (2) environmental documents; (3) draft revenue program; and (4) water conservation plan or schedule for the local adoption of a water conservation plan.  The Division approved all documents above by issuing an amended Facilities Plan Approval (FPA) for the District’s Project.  The District agreed with the Division’s FPA.

The District’s proposed project has evolved from a long history of design changes and legal delays since the initial SRF loan commitment of $47 million approved by the SWRCB on February 15, 1990.  The latest SRF loan recommitment of $65.4 million was approved by the Division on July 11, 2003 (Item No. DFA-2003-20), and required the District to issue a Notice-to-Proceed with project construction by June 28, 2004.  However, the District experienced delays in securing the Coastal Development Permit from the California Coastal Commission and did not meet this date.  The permit was issued on August 11, 2004, with specific conditions for the District to implement with project construction.  Therefore the District, on November 12, 2004, requested an increase of the SRF loan commitment in order to comply with the conditions of the Coastal Development Permit and inflation of costs resulting from the delay.  The District requests a total of $93 million from the SRF loan program to finance construction of the proposed project.

The community of Los Osos is located along the central coast of California on the southern edge of the Morro Bay estuary in San Luis Obispo County.  Los Osos is predominantly a residential community with 14,606 residents.  The community’s drinking water system is composed of a series of groundwater wells in the Los Osos area.

The purpose of the Project is to restore and protect water quality in the Los Osos area in a manner consistent with waste discharge requirements (WDRs), resolutions, and enforcement orders of the Central Coast Regional Water Quality Control Board (CCRWQCB).  Water quality data collected by the CCRWQCB showed elevated levels of nitrate present in the upper aquifers, within the boundaries of the District, that threaten drinking groundwater quality.  To protect public health, the CCRWQCB amended its Basin Plan and adopted Resolution No. 83-13, which included a request to the SWRCB to prioritize funding for this Project.

The District’s proposed Project involves the construction of a wastewater collection system including pump stations with standby power facilities, a wastewater treatment plant, and effluent disposal facilities and harvesting wells.

The collection system is a conventional gravity sewer system, with pump stations and standby power facilities, that includes approximately 200,000 linear feet of sewer mains, predominantly eight-inch diameter pipeline.  The collection system will be divided into four geographic areas based on drainage characteristics, which will maximize gravity connections and minimize pumped connections for customers.  The proposed eight submersible pump stations, seven standby power facilities, and 12 pocket pump stations will be designed with communication to the Supervisory Control and Data Acquisition system from the wastewater treatment facility.

The wastewater treatment facility will be located in the center of the Los Osos community, and will be designed with consideration of the adjoining park setting in close proximity to community facilities.  All wastewater treatment processes are enclosed and/or buried, with containment and control facilities for potential odor problems.

The treatment facility will be composed of the following major components:

Headworks, septage handling facility, extended aeration basins, denitrification basins, submerged membrane reactors (MBR), Ultra-violet disinfection, solids processing, odor control, operations building, standby power, and aesthetic mitigation as required by approved environmental permit conditions.  Off-site reuse/recycling will be used to dispose of the community’s biosolids.

The effluent disposal system will be composed of the following major components:

Constructed leach fields to dispose of the treated effluent, via pipelines, with an average hydraulic capacity of 1.4 mgd, to convey effluent flows to subsurface percolation fields.  (This concept consists of using subsurface percolation fields within the District’s boundary that have at least 20 feet of groundwater separation, which is in excess of the minimum allowed by the Department of Health Services.)

The District’s Board adopted Resolution No. 2001-04 certifying that the final Environmental Impact Report  (EIR) for the Project was prepared in compliance with the California Environmental Quality Act, which included an analysis for the proposed project.  The EIR has been reviewed and considered, and it has been determined that changes or alterations have been required in, or incorporated into the proposed project, which avoid or reduce to less than significant levels potentially significant environmental effects identified in the EIR.  These changes or alterations are not within the responsibility and jurisdiction of the SWRCB and have been adopted or should be adopted by other agencies.

# POLICY ISSUE

Should the SWRCB approve a SRF loan recommitment and increase the loan amount to $93 million for the proposed project, including a 20-year repayment period, with the first repayment due one year after completion of construction?  Should the SWRCB, in accordance with Section IX (I) of the SRF Policy, condition this approval by requiring expiration of the preliminary loan commitment if construction of the project is not initiated by September 20, 2005?

# FISCAL IMPACT

The SWRCB adopted Resolution No. 99-40 on May 20, 1999, which changed the method for determining the amount of funding available for new SRF loans.  The adopted system is based on the availability of federal capitalization grants, cash from SRF loan repayments and miscellaneous SRF investment earnings and takes into consideration actual and forecast cash disbursements for approved SRF loans.  A minimum cash balance of $25,000,000 will be maintained.  The SRF account balances, anticipated repayment amounts, and project approvals under consideration by the SWRCB in January 2005 are as follows:

| (as of 12/6/04) | SFY | SFY | SFY | SFY | SFY |
| --- | --- | --- | --- | --- | --- |
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 |
| Beginning Balance: | $372,632,926 | $220,737,525 | $257,760,729 | $364,690,101 | $445,676,632 |
| Estimated Repayments | $157,938,976 | $163,131,854 | $163,699,526 | $160,938,284 | $162,112,547 |
| Debt Service on Revenue Bonds | ($33,427,779) | ($33,474,879) | ($33,439,354) | ($33,357,579) | ($31,893,104) |
| Estimated Capitalization Grants | $91,544,384 | $74,000,000 | $46,000,000 | $0 | $0 |
| State G.O. Bond proceeds (less state admin. match) | ($606,678) |  |  |  |  |
| Local Match Credits | $20,161,076 | $7,832,091 | $5,604,875 | $5,772,357 | $4,166,750 |
| Est. SMIF Interest: | $2,000,000 | $2,000,000 | $2,000,000 | $2,000,000 | $2,000,000 |
| Estimated Disbursements | ($379,505,381) | ($176,465,863) | ($66,935,675) | ($46,766,532) | ($25,000,000) |
| Subtotal | $230,737,525 | $257,760,729 | $374,690,101 | $453,276,632 | $557,062,825 |
| 4014-110 Los Osos CSD previous commitment of $65.4M | $15,000,000 | $25,000,000 | $15,000,000 | $10,400,000 |  |
| 4014-110 Los Osos CSD recommitment plus additional funds for $93M total | ($25,000,000) | ($25,000,000) | ($25,000,000) | ($18,000,000) |  |
| Balance | $220,737,525 | $257,760,729 | $364,690,101 | $445,676,632 | $557,062,825 |

Notes:

- Estimated Repayments include repayments from existing loans.

- The EPA Capitalization Grant for SFY 2005-06 is estimated at $74,000,0000.  A conservative estimate for      EPA Capitalization Grant of $46,000,000 is forecast for SFY 2006-07.

- Local match credits consist of G. O. Bond funds used as state match with previous Capitalization Grants but     not disbursed due to previous local agency expenditures for local match loans funded with federal funds          from those previous Capitalization Grants.

- Estimated disbursements include disbursements remaining on existing loans as well as disbursements               anticipated on loans executed for projects with existing commitments (including SFY 2002-03                         commitments).  Each month the Division will revise the estimated disbursements total as cash draw                  forecasts are updated.

# RWQCB IMPACT

The CCRWQCB has prescribed WDRs for the discharge of treated wastewater from the proposed project.  The proposed project will ensure continued compliance with the discharge requirements.

# STAFF RECOMMENDATION

That the SWRCB adopt a resolution approving a SRF loan of $93 million for the District’s project from the SFY 2005 account, with a repayment period of 20 years, and with the first repayment due one year after completion of construction.  In accordance with the January 22, 2003, revisions to the SRF Policy, the proposed resolution includes an expiration date for this preliminary loan commitment if the District does not issue the Notice-to-Proceed with construction of the project by September 20, 2005.  Failure to meet the expiration date will result in the funds being returned to the SRF account for commitment to other projects.

STATE WATER RESOURCES CONTROL BOARD

RESOLUTION NO. 2005-

APPROVAL OF LOAN RECOMMITMENT AND INCREASE FOR THE LOS OSOS COMMUNITY SERVICES DISTRICT (DISTRICT)

WASTEWATER COLLECTION, TREATMENT AND DISPOSAL PROJECT (PROJECT)

STATE REVOLVING FUND LOAN PROJECT NO. C-06-4014-110

WHEREAS:

- The State Water Resources Control Board (SWRCB), on February 16, 1995, adopted the Policy for Implementing the State Revolving Fund for Construction of Wastewater Treatment Facilities (Policy), and amended it on January 22, 2003;

- The SWRCB, on June 17, 2004, adopted the state fiscal year 2004/2005 SRF Loan Program Priority List which included the District’s Project in Priority Class A;

- On November 12, 2004, the District requested a SRF loan commitment increase from $65.4 million to $93 million for construction of the District’s project to comply with conditions of the Coastal Development Permit issued by the California Coastal Commission and inflation of costs resulting from the delay;

- The Division has approved the Facilities Plan amendment for the District’s; and

- The District’s Board adopted Resolution No. 2001-04 certifying that the final Environmental Impact Report  (EIR) for the Project was prepared in compliance with the California Environmental Quality Act, which included an analysis for the proposed project.  The EIR has been reviewed and considered, and it has been determined that changes or alterations have been required in, or incorporated into the proposed project, which avoid or reduce to less than significant levels potentially significant environmental effects identified in the EIR. These changes or alterations are not within the responsibility and jurisdiction of the SWRCB and have been adopted or should be adopted by other agencies.

THEREFORE BE IT RESOLVED THAT:

The State Water Resources Control Board:

- Approves a State Revolving Fund (SRF) loan of $93 million from the state fiscal year 2004-2005 account for the Los Osos Community Services District’s (District) Project, with a repayment period of 20 years, and the first repayment due one year after completion of construction;

- Will withdraw this preliminary SRF loan commitment and return the funds to the SRF account for commitment to other projects if the District does not issue the Notice-to-Proceed with construction of the project by September 20, 2005.  The Division may approve up to a 90 day extension for good cause; and

- Will base the Performance Standards for this Project on the District's Waste Discharge Requirements issued by the Central Coast Regional Water Quality Control Board.

CERTIFICATION

The undersigned, Clerk to the Board, does hereby certify that the foregoing is a full, true, and correct copy of a resolution duly and regularly adopted at a meeting of the State Water Resources Control Board held on January 20, 2005.

_________________________

Debbie Irvin

Clerk to the Board