# LATE REVISIONS

## AGENDA ITEM 10

18 October 2024 Board Meeting

LATE REVISIONS – 11 October 2024

### City of Rio Vista, Beach Wastewater Treatment Facility

Consideration of Tentative Waste Discharge Requirements Order No. R5-2024-XXXX.

The proposed Order for the City of Rio Vista (Discharger) Beach Wastewater Treatment Facility has late revisions to clarify the Special Provision requirement for an “Approved Industrial Pretreatment Program or Regionalization Progress” in the following sections of the proposed Order.

1. Make corrections to the language in Waste Discharge Requirements (WDRs) 
Section VI.C.2.b. as follows:

b.	Industrial Pretreatment Program or Regionalization Progress

The Discharger is required to develop and implement pretreatment program measures for the Facility, consistent with the State Water Resource Control Board’s Pretreatment Compliance Inspection Summary Report, dated 22 March 2024, which cites applicable sections in 40 C.F.R. Part 403. The Discharger shall submit the status of the pretreatment program implementation with the next ROWD.  A pretreatment program is required to prevent the introduction of pollutants, which will interfere with treatment plant operations or sludge disposal and prevent pass through of pollutants that exceed water quality objectives, standards or permit limitations. Alternatively, if the Discharger pursues regionalization with the City of Rio Vista Northwest Wastewater Treatment Facility and secures funding over the next permit term, the Discharger shall submit proof of progress on regionalization efforts with the next ROWD.

2. Make corrections to report #22 in Attachment E, Table E-7, Technical Reports, as follows:

| 22 | Status of Regionalization Plan and Schedule or Industrial Pretreatment Program | 30 November 2028 | WDR VI.C.2.b |
| --- | --- | --- | --- |

3.	Make corrections to the language in Attachment F, Section VI.B.2.b as follows:

b.	Industrial Pretreatment Program or Regionalization Progress

Due in part to operational upsets experienced at the Facility over the last permit term, State Water Resources Control Board and U.S. EPA staff conducted a pretreatment needs assessment in December 2023 and a Pretreatment Compliance Inspection Summary Report (Report) was issued to the Discharger in March 2024. The Report recommended the Discharger characterize the Facility’s service area, influent, effluent, and sludge to quantify the extent of pollutant pass-through, interference, inhibition, and sludge contamination and to provide a basis for establishing local industrial discharge limitations.

The Discharger is required to develop and implement pretreatment program measures for the Facility, consistent with the State Water Resource Control Board’s Pretreatment Compliance Inspection Summary Report, dated 22 March 2024, which cites applicable sections in 40 C.F.R. Part 403. The Discharger shall submit the status of the pretreatment program implementation with the next ROWD.  A pretreatment program is required to prevent the introduction of pollutants, which will interfere with treatment plant operations or sludge disposal and prevent pass through of pollutants that exceed water quality objectives, standards or permit limitations. Alternatively, if the Discharger pursues regionalization with the City of Rio Vista Northwest Wastewater Treatment Facility and secures funding over the next permit term, the Discharger shall submit proof of progress on regionalization efforts with the next ROWD.