## Instructions
Distribution System Fluoride Fluoride Monitoring Forms
Reporting Instructions
The Distribution System Fluoride Monitoring forms must be used by water systems to record and report fluoride distribution system monitoring. It is recommended that the electronic version of the forms be used which are available at: http://www.cdph.ca.gov/certlic/drinkingwater/Pages/Fluoridation.aspx
These particular forms are only to be used by water systems which add fluoride or treat their water to reduce fluoride levels in their distributed water.
MONTHLY MONITORING FORM
1) Begin by completing the heading. If monitoring is for a specific service area within the distribution system, please provide it's name or ID. If separate service areas are being monitored within a distribution system, please use a separate form for reporting the monitoring in each service area.
2) As you complete the Distribution System Monitoring table, the Minimum, Maximum, and Average values are calculated in the electronic version of the form. These cells are locked in the electronic version to prevent erroneous reporting. The CDPH recommends that at least one sample be collected each month.
3) At the top of the right side of the form are a list of questions and spaces for data entry. Please complete this information to the best of your ability.
4) The Calculated Fluoride Concentration table lists the information to determine the average fluoride concentration in the distribution system or service area being reported. List the water source(s), the most current fluoride concentration of the source(s), and the monthly production of the source(s) serving the distribution system or specific service area. The electronic version of this form calculates the average fluoride concentration in the distribution system or service area being reported (a mass balance calculation) at the bottom of the table. Again, the cell is locked in the electronic version to prevent erroneous reporting. The monthly values can be averaged for the year to determine the Annual Average Fluoride Concentration (AAFC).
5) After dating and signing the form, you may add comments or additional information which you feel may assist the CDPH in the review of the data.
6) Please forward the form to your CDPH District Office, along with your other monthly reporting forms by the 10th day of the following month in which you are reporting. Also please email this form along with the Year-To-Date Distribution form to Headquarters at: FLUORIDATION@cdph.ca.gov by the 10th day of the following month.
7) Should you have further questions about using the reporting form, please contract your CDPH District office for further assistance.

## Dist System 2-10 SPD (Example)
State of California -- Health and Human Services Agency | [10 empty] | California Department of Public Health
Drinking Water Program
MONTHLY FLUORIDATION OPERATIONS REPORT
DISTRIBUTION SYSTEM MONITORING
(2 -10 samples per day)
| System Name: |  | ABC WD | [5 empty] | System Number: | 1910345
| Contact Person: |  | John Doe | [5 empty] | Telephone No: | 916-555-1212
[9 empty] | Month/Year: | 2011-01-01
Day | Date | Sample Site ID / Location (a) |  | Fluoride Field Sample Result (mg/L) (a)(b)
Sat | 1 | See attached worksheet |  |  |  | Monitoring Location (check one):
Sun | 2 | [5 empty] | Distribution System Monitoring (per monitoring plan)
Mon | 3 | [5 empty] | Entry Point monitoring (must have a single fluoridation system)
Tue | 4 | [8 empty] | (Section 64433.3(a),T22,CCR)
Wed | 5
Thu | 6 |  |  |  |  | Testing and Monitoring
Fri | 7 |  |  |  |  | Instrument (Make/model) |  |  | Hach Pocket Colorimeter
Sat | 8 |  |  |  |  | Analytical test method |  |  | SPADNS
Sun | 9 |  |  |  |  | Instrument Calibration
Mon | 10 | [5 empty] | Date | Instrument ID
Tue | 11
Wed | 12 | [5 empty] | 2011-01-02 | Hach Pocket Colorimeter-Jim G's
Thu | 13
Fri | 14
Sat | 15
Sun | 16
Mon | 17 |  |  |  |  | Optimal Fluoride Level (mg/L) (c) |  |  |  | 0.8
Tue | 18 |  |  |  |  | Fluoride Control Range (mg/L) (c) |  |  | Low | 0.7
Wed | 19 |  |  |  |  | Fluoride Control Range (mg/L) (c) |  |  | High | 1.3
Thu | 20 |  |  |  |  | (c)…..Level and range must be determined from annual average maximum air temperatures of past five years, and submit temperature value to the CDPH annually. (Section 64433.2,T22,CCR)
Fri | 21
Sat | 22
Sun | 23 |  |  |  |  | Split Fluoride sample collection date |  |  |  | See worksheet
Mon | 24 |  |  |  |  | Split Fluoride sample laboratory result (mg/L) |  |  |  | See worksheet
Tue | 25 |  |  |  |  | [Add any additional lab results to right of field result, if needed]
Wed | 26 | [8 empty] | (Section 64433.3(c),T22,CCR)
Thu | 27
Fri | 28
Sat | 29
Sun | 30
Mon | 31
Minimum |  |  |  | 0.2 | Was CDPH notified of second fluoride sample
Max |  |  |  | 1.31 |  | level below the control range? |  |  | (Y/N/NA) | Y
Ave |  |  |  | 0.89381 |  |  |  |  | (Section 64433.7(e),T22,CCR)
Count-Total |  |  |  | 155 | Was CDPH notified of any fluoride sample level
Count below control range |  |  |  | 2 |  | 0.1 mg/L above the control range? |  |  | (Y/N/NA) | NA
Count 0.1 mg/L above control range |  |  |  | 0 | 1 |  |  |  | (Section 64433.7(e),T22,CCR)
Count outside range |  |  |  | 3 | Were more than 20% of fluoride daily sample levels
Outside range % |  |  |  | 1.935% |  | outside the control range? |  |  | (Y/N) | N
(a)…..If more than one sample is collected per day, leave blank, and attach worksheet. | [8 empty] | (Section 64433.5(c),T22,CCR)
(b)…..Leave blank when not fluoridating
NA…..Not applicable
Certified Treatment Operator signature |  |  |  | John Doe |  |  |  | Date | 2011-02-02
(Section 64415(b),T22,CCR)
To be received by CDPH District Office by 10th day of following month
In addition, we request that you email this form to CDPH Headquarters at: FLUORIDATION@cdph.ca.gov Rev 7/11
Note on H24: Type in using the following format: MM/DD/YY
Note on K11: Type in the following format: MM/01/YY
Note on K37: Type in using the following format: MM/DD/YY

## Dist Syst Worksheet2-10(Expl)
State of California -- Health and Human Services Agency | [22 empty] | California Department of Public Health
| MONTHLY FLUORIDATION OPERATIONS REPORT | [21 empty] | Drinking Water Program
DISTRIBUTION SYSTEM MONITORING WORKSHEET
| System Name: |  |  | ABC WD | [8 empty] | System Number: | 1910345 | [5 empty] | Month/Year: | 2011-01-01
|  | # 1 |  | # 2 |  | # 3 |  | # 4 |  | # 5 |  | # 6 |  | # 7 |  | # 8 |  | # 9 |  | # 10 |  | Lab Split Sample
Day | Date | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Field Sample Site ID | Lab Sample Result (mg/L)
Sat | 1 | A | 0.85 | B | 0.78 | C | 0.95 | D | 0.72 | E | 0.88
Sun | 2 | F | 0.71 | G | 0.75 | H | 0.81 | I | 0.9 | J | 0.85
Mon | 3 | K | 0.77 | L | 0.86 | M | 0.84 | N | 0.83 | O | 0.79
Tue | 4 | P | 0.87 | Q | 0.91 | R | 0.78 | S | 0.73 | T | 0.85 | [10 empty] | R | 0.82
Wed | 5 | U | 0.99 | V | 1.11 | W | 1.22 | X | 1.31 | Y | 1.15
Thu | 6 | Z | 1.22 | AA | 0.99 | BB | 0.86 | CC | 0.89 | DD | 0.91
Fri | 7 | EE | 0.72 | FF | 0.85 | GG | 0.79 | HH | 0.86 | II | 0.81
Sat | 8 | A | 0.75 | B | 0.99 | C | 0.71 | D | 0.75 | E | 0.77
Sun | 9 | F | 0.86 | G | 1.22 | H | 0.77 | I | 0.86 | J | 0.87
Mon | 10 | K | 0.91 | L | 0.77 | M | 0.87 | N | 0.91 | O | 0.99
Tue | 11 | P | 1.11 | Q | 0.75 | R | 0.99 | S | 1.11 | T | 1.22 | [10 empty] | N | 0.96
Wed | 12 | U | 0.99 | V | 0.86 | W | 1.22 | X | 0.99 | Y | 0.72
Thu | 13 | Z | 0.85 | AA | 0.91 | BB | 0.75 | CC | 0.85 | DD | 0.75
Fri | 14 | EE | 0.84 | FF | 1.11 | GG | 0.75 | HH | 0.99 | II | 0.86
Sat | 15 | A | 0.78 | B | 0.83 | C | 0.86 | D | 0.71 | E | 0.91
Sun | 16 | F | 1.22 | G | 0.73 | H | 0.87 | I | 0.77 | J | 0.99
Mon | 17 | K | 0.86 | L | 1.23 | M | 0.99 | N | 0.87 | O | 1.22
Tue | 18 | P | 0.79 | Q | 0.89 | R | 1.22 | S | 0.99 | T | 0.88 | [10 empty] | T | 0.92
Wed | 19 | U | 0.71 | V | 0.86 | W | 0.97 | X | 1.22 | Y | 0.75
Thu | 20 | Z | 0.77 | AA | 0.75 | BB | 0.75 | CC | 0.2 | DD | 0.86
Fri | 21 | EE | 0.87 | FF | 0.86 | GG | 0.86 | HH | 0.75 | II | 0.91
Sat | 22 | A | 0.99 | B | 0.91 | C | 0.91 | D | 0.86 | E | 1.11
Sun | 23 | F | 1.22 | G | 0.68 | H | 1.11 | I | 0.91 | J | 0.83
Mon | 24 | K | 0.78 | L | 0.99 | M | 0.99 | N | 1.11 | O | 0.73
Tue | 25 | P | 0.75 | Q | 0.85 | R | 0.85 | S | 0.99 | T | 1.23 | [10 empty] | P | 0.77
Wed | 26 | U | 0.86 | V | 0.99 | W | 0.84 | X | 0.85 | Y | 0.89
Thu | 27 | Z | 0.89 | AA | 1.22 | BB | 0.78 | CC | 0.84 | DD | 0.86
Fri | 28 | EE | 0.86 | FF | 0.86 | GG | 1.22 | HH | 0.78 | II | 0.75
Sat | 29 | A | 0.75 | B | 0.75 | C | 0.86 | D | 1.22 | E | 0.86
Sun | 30 | F | 0.86 | G | 0.86 | H | 0.79 | I | 0.86 | J | 0.75
Mon | 31 | K | 0.91 | L | 0.91 | M | 0.88 | N | 0.79 | O | 0.77
(a)…..Sample site must be in accordance with the CDPH approved Monitoring Plan. Plan must contain current list of Sample Site ID location.
(b)…..Leave blank when not fluoridating
Certified Treatment Operator signature: | [5 empty] | John Doe | [6 empty] | Date: | 2011-02-02 | [8 empty] | Rev 7/11
Note on V5: Type in the following format: MM/01/YY

## Dist System 2-10 SPD (blank)
State of California -- Health and Human Services Agency | [9 empty] | California Department of Public Health
Drinking Water Program
MONTHLY FLUORIDATION OPERATIONS REPORT
DISTRIBUTION SYSTEM MONITORING
(2 -10 samples per day)
| System Name: | [6 empty] | System Number:
| Contact Person: | [6 empty] | Telephone No:
Month/Year:
Day | Date | Sample Site ID / Location (a) | Fluoride Field Sample Result (mg/L) (a)(b)
| 1 | See attached worksheet |  |  | Monitoring Location (check one):
| 2 |  |  |  |  | Distribution System Monitoring (per monitoring plan)
| 3 |  |  |  |  | Entry Point monitoring (must have a single fluoridation system)
| 4 | [7 empty] | (Section 64433.3(a),T22,CCR)
5
| 6 |  |  |  | Testing and Monitoring
| 7 |  |  |  | Instrument (Make/model)
| 8 |  |  |  | Analytical test method
| 9 |  |  |  | Instrument Calibration
| 10 |  |  |  |  | Date | Instrument ID
11
12
13
14
15
16
| 17 |  |  |  | Optimal Fluoride Level (mg/L) (c)
| 18 |  |  |  | Fluoride Control Range (mg/L) (c) |  |  | Low
| 19 |  |  |  | Fluoride Control Range (mg/L) (c) |  |  | High
| 20 |  |  |  | (c)…..Level and range must be determined from annual average maximum air temperatures of past five years, and submit temperature value to the CDPH annually. (Section 64433.2,T22,CCR)
21
22
| 23 |  |  |  | Split Fluoride sample collection date |  |  |  | See worksheet
| 24 |  |  |  | Split Fluoride sample laboratory result (mg/L) |  |  |  | See worksheet
| 25 |  |  |  | [Add any additional lab results to right of field result, if needed]
| 26 | [7 empty] | (Section 64433.3(c),T22,CCR)
27
28
29
30
31
Minimum |  |  |  | Was CDPH notified of second fluoride sample
Max |  |  |  |  | level below the control range? |  |  | (Y/N/NA)
Ave | [7 empty] | (Section 64433.7(e),T22,CCR)
Count-Total |  |  |  | Was CDPH notified of any fluoride sample level
Count below control range |  |  |  |  | 0.1 mg/L above the control range? |  |  | (Y/N/NA)
Count 0.1 mg/L above control range | [7 empty] | (Section 64433.7(e),T22,CCR)
Count outside range |  |  |  | Were more than 20% of fluoride daily sample levels
Outside range % |  |  |  |  | outside the control range? |  |  | (Y/N)
(a)…..If more than one sample is collected per day, leave blank, and attach worksheet. | [7 empty] | (Section 64433.5(c),T22,CCR)
(b)…..Leave blank when not fluoridating
NA…..Not applicable
Certified Treatment Operator signature | [6 empty] | Date
(Section 64415(b),T22,CCR)
To be received by CDPH District Office by 10th day of following month
In addition, we request that you email this form to CDPH Headquarters at: FLUORIDATION@cdph.ca.gov Rev 7/11
Note on A12: Column is frozen. Column auto fills when "Month/Year" is filled in
Note on B12: Column is frozen
Note on E46: Cell is frozen.
Note on E47: Cell is frozen.
Note on E48: Cell is frozen.
Note on E49: Cell is frozen.
Note on E50: Cell is frozen.
Note on E51: Cell is frozen.
Note on E52: Cell is frozen.
Note on E53: Cell is frozen.
Note on H24: Type in using the following format: MM/DD/YY
Note on K11: Type in the following format: MM/01/YY
Note on K37: Type in using the following format: MM/DD/YY

## Dist Syst Worksheet2-10(blank)
State of California -- Health and Human Services Agency | [22 empty] | California Department of Public Health
| MONTHLY FLUORIDATION OPERATIONS REPORT | [21 empty] | Drinking Water Program
DISTRIBUTION SYSTEM MONITORING WORKSHEET
| System Name: | [11 empty] | System Number: | [6 empty] | Month/Year:
|  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | Lab Split Sample
Day | Date | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Sample Site ID (a) | Sample Result (mg/L) (b) | Field Sample Site ID | Lab Sample Result (mg/L)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
(a)…..Sample site must be in accordance with the CDPH approved Monitoring Plan. Plan must contain current list of Sample Site ID location.
(b)…..Leave blank when not fluoridating
Certified Treatment Operator signature: | [12 empty] | Date: | [9 empty] | Rev 7/11
Note on A8: Column is frozen. Column auto fills when "Month/Year" is filled in
Note on B8: Column is frozen
Note on V5: Type in the following format: MM/01/YY