# Public Notice Instructions for Manganese over the Notification Level (>0.05 mg/L, <0.20 mg/L) for Community Water Systems

(Template Attached)

Manganese is regulated by a 0.05 milligram per liter (mg/L) secondary maximum contaminant level (SMCL) established to address issues of aesthetics (discoloration) and not health concerns. In California, SMCLs are enforceable for community water systems. [Title 22, Chapter 15, Section 64449(a)]

In June 2026, the Division of Drinking Water set a non-regulatory health-based notification level of 0.05 mg/L and response level of 0.20 mg/L for manganese. When concentrations of manganese above the response level occur, there may be potential for neurological impacts in formula-fed infants, and additional action is required to reduce public exposure.

When the manganese secondary maximum contaminant level (MCL) is exceeded (based on a running annual average), community water systems must provide public notice to people served as soon as practical, but within 30 days after you learn of the violation as required in sections 64463, 64463.4, and 64465 of Article 18 of title 22, division 4, chapter 15 of the California Code of Regulations.

In accordance with Health and Safety Code (HSC) section 116455 the public water system must inform its governing body, and the governing body of any local agency whose jurisdiction includes the areas supplied with drinking water by the public water system, of concentrations exceeding the secondary MCL, notification level or response level for manganese (see Governing Body Notification and Response Level Template). If the retail water system is a regulated by the California Public Utilities Commission, then the retail water system shall also notify the commission.

If the notification level has been exceeded a public water system will not be allowed a waiver and should be in the process of mitigating any related secondary MCL exceedance. Please inform your customers that this is occurring in the required public notice (instructions and template provided herein).

Unless otherwise directed by the State Water Board, submit a draft public notice to the State Water Board for review prior to distribution or posting.

# Public Notification Requirements

Public water systems must use the methods summarized below as set forth in sections 64463, 64463.4, and 64465 of Article 18 of title 22, division 4, chapter 15 of the California Code of Regulations. Use the primary method below and one or more secondary methods to reach people not likely to be reached by the primary method. If you mail, post, or hand deliver, print your notice on letterhead, if available.

### Primary Method

Mail or direct delivery. Notice must be distributed to each customer receiving a bill, including those that provide their drinking water to others (for example schools or school systems, apartment building owners, or large private employers), and other service connections to which water is delivered by the water system.

### Secondary Methods

### Use one or more of the following methods to reach people who are not likely to be reached by the primary method (water consumers in schools, apartments, buildings, large businesses, dormitories, nursing homes, etc.). Notice must be posted in place for as long as the violation or occurrence continues, but in no case less than seven days.

- Publication in a local newspaper.

- Posting:

  - in conspicuous public places served by the water system, or

  - on an internet website and/or social media

- Delivery to community organizations.

The public notice template attached is appropriate for the methods described above. You should include the required elements listed below and include the language in italics that address aesthetic and potential health concerns.

## Multilingual Requirement

Spanish. In addition to English, each public notice must contain information in Spanish regarding (1) the importance of the notice or (2) contain a telephone number or address where Spanish-speaking residents may contact the water system to obtain a translated copy of the public notice or assistance in Spanish.

Non-English-Speaking Groups Other than Spanish-Speaking. For each group that exceeds either 1,000 residents or 10% of the residents in the community served, the public notice must (1) contain information in the appropriate language(s) regarding the importance of the notice or (2) contain a telephone number or address where such residents may contact the water system to obtain a translated copy of the notice or assistance in the appropriate language.

## Public Notice Considerations

Consider the following as they apply to this notice:

- Make sure it is clear who is served by your water system -- you may need to list the areas you serve that are impacted.

- The notice must be displayed so that it catches people’s attention when printed or posted.

- The message in the notice should not contain technical language or print smaller than 12-point type.

- The notice should use language that provides clear and non-contradictory information.

## Corrective Action

In your notice, describe corrective actions you are taking. Do not use overly technical terminology when describing treatment methods. Listed below are some steps commonly taken by water systems with chemical violations. Use one or more of the following actions, if appropriate, or develop your own:

- “We are working with [local/state agency] to evaluate the water supply and researching options to correct the problem. These options may include treating the water to remove manganese or connecting to [system]’s water supply.”

- “We have stopped using the contaminated well. We have increased pumping from other wells, and we are investigating drilling a new well.”

- “We will increase the frequency at which we test the water for manganese.”

- “We have since taken additional samples at this location and had them tested. They show that we meet the secondary MCL and notification level.”

## After Issuing the Notice

Send a copy of each type of notice and a certificate that you have met all the public notice requirements to the Division of Drinking Water (DDW) within ten days after you issue the notice(§64469(d)). You must issue any required follow-up noticing (§64463.4) in addition to meeting any repeat notice requirements the DDW sets.

The State Water Board also recommends that you notify your customers when the violation is resolved in a similar method and manner to the original public notice.

Manganese in Drinking Water Website:
https://www.waterboards.ca.gov/drinking_water/certlic/drinkingwater/Manganese.html

Drinking Water Notification Levels Website:
https://www.waterboards.ca.gov/drinking_water/certlic/drinkingwater/NotificationLevels.html

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Este aviso contiene información muy importante sobre su agua potable, por favor lea el aviso en español si va aquí incluido. Si el aviso en español no va incluido aquí, contacte al sistema de agua para pedir una copia.

本通知包含有關您飲用水的非常重要資訊。如果此處附有繁體中文通知，請閱讀該通知。如果此處未附有繁體中文通知，請聯絡供水系統索取一份副本。

本通知包含有关您饮用水的非常重要的信息。如本通知附有简体中文通知，请仔细阅读。如未附简体中文通知，请联系供水机构索取副本。

Thông báo này có chứa thông tin rất quan trọng về nước uống của quý vị. Vui lòng đọc thông báo bằng tiếng Việt nếu được đính kèm tại đây. Nếu thông báo bằng tiếng Việt không được đính kèm tại đây, vui lòng liên hệ với đơn vị cung cấp nước để yêu cầu một bản sao.

ਇਸ ਨੋਟਿਸ ਵਿੱਚ ਤੁਹਾਡੇ ਪੀਣ ਵਾਲੇ ਪਾਣੀ ਬਾਰੇ ਬਹੁਤ ਮਹੱਤਵਪੂਰਨ ਜਾਣਕਾਰੀ ਹੈ। ਕਿਰਪਾ ਕਰਕੇ ਇਸ ਨੋਟਿਸ ਨੂੰ ਪੰਜਾਬੀ ਵਿੱਚ ਪੜ੍ਹੋ ਜੇਕਰ ਇਹ ਭਾਸ਼ਾ ਇੱਥੇ ਸ਼ਾਮਲ ਹੈ। ਜੇਕਰ ਪੰਜਾਬੀ ਨੋਟਿਸ ਇੱਥੇ ਸ਼ਾਮਲ ਨਹੀਂ ਹੈ, ਤਾਂ ਕਿਰਪਾ ਕਰਕੇ ਇੱਕ ਕਾਪੀ ਦੀ ਬੇਨਤੀ ਕਰਨ ਲਈ ਵਾਟਰ ਸਿਸਟਮ ਨਾਲ ਸੰਪਰਕ ਕਰੋ।

[System] Has Levels of Manganese

Above the Secondary Maximum Contaminant Level and Notification Level

Our water system recently violated the manganese secondary maximum contaminant level (MCL) and notification level of 0.05 milligrams per liter (mg/L). Manganese levels in excess of 0.05 mg/L affect the color of water delivered to customers. The notification level is a non-regulatory, health-based advisory level established as a precautionary measure which based on available scientific information, does not pose a significant health risk but warrants notification.

Although this is not an emergency, as our customers, you have a right to know what you should do, what happened, and what we are doing to correct this situation.

We routinely monitor for the presence of drinking water contaminants. Based on a water sample result received on [date] showing manganese levels of [level and units] the average level of manganese over the last year was [Insert the running annual average result for manganese in mg/L if applicable or table listing quarterly sampling results].The annual average is above the State Water Board’s established notification level and secondary MCL of 0.05 mg/L, but less than the health-based response level of 0.20 mg/L, established to protect formula-fed infants.

The State Water Resources Control Board (State Water Board), Division of Drinking Water (DDW) information and frequently asked questions for manganese can be found at: https://www.waterboards.ca.gov/drinking_water/certlic/drinkingwater/Manganese.html

While we develop a corrective action plan, we recommend that consumers do the following:

What should I do?

- You do not need to use an alternative water supply (for example, bottled water).

- This is not an emergency. If it had been, you would have been notified immediately.

  - However, some people may notice water discoloration issues with their drinking water.

- If you have health issues concerning the consumption of this water, you may wish to consult your doctor.

What happened? What is being done?

[Describe what happened. Describe corrective action].  We anticipate resolving the problem within [estimated time frame].

For more information, please contact [name of contact] at [phone number] or [mailing address].

Please share this information with the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this public notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].

State Water System Number: [Insert water system number].

Date distributed: [Insert date the notice is distributed].

Copy to:

Division of Drinking Water District Office

Local Health Department