# BACTERIOLOGICAL SAMPLE SITING PLAN-BSSP (Groundwater Systems)

## Water System Information

Water System Name System Number: CA

Water System Classification:

Community Nontransient-Noncommunity Transient Non-community

Seasonal Water System: Yes\* No \*Refer to Start-up/Shut-down Procedure Document

Operational Period:

Physical Address: Mailing Address:

Phone Number: Fax: Email Address:

Number of Service Connections: Population Served:

Person responsible for reporting coliform-positive samples to the DDW District Office / LPA:

Day/Evening Phone Number:

## Sample Collection Information

Name of Trained Sampler(s):

Sampler Phone Number:

Name of Analyzing Laboratory: State Lab Code:

Mailing Address:

Phone Number: Fax:

Email Address:

Laboratory was sent a copy of BSSP: Yes No

## Distribution System Sampling Frequency

The water system is required to collect a minimum of routine bacteriological sample(s) at a frequency of once every Quarter\* Month.

*\*Quarterly monitoring is allowed only for transient non-community water systems using groundwater (not GWUDI) and serving 1,000 or fewer persons a month.*

## Raw Water Sampling

Does the water system provide continuous disinfection treatment (i.e. chlorine, UV)? Yes No

Water systems that provide continuous disinfection treatment are required to take bacteriological samples prior to disinfection (raw water samples) for all sources on a **quarterly** or **monthly** frequency and analyzed. Please list below the source(s) with disinfection treatment and the months when raw water samples will be taken.

1. Source:

Months sampled:

January February March April May June

July August September October November December

1. Source:

Months sampled:

January February March April May June

July August September October November December

1. Source:

Months sampled:

January February March April May June

July August September October November December

## Map of System

A map of the distribution system is required to show all routine sample locations, follow-up (repeat) sample locations, source location (well, spring, etc.), storage tanks, treatment facilities, and distribution piping (pressure zones, booster stations, pressure reducing stations, and dead ends).

A distribution map is attached: Yes No

## Consecutive Water System (if applicable under the Ground Water Rule)

Does the water system provide groundwater to another water system? Yes No

If yes, contact the wholesaler within 24 hours of notification of a total coliform positive Distribution Sample.

Wholesaler Name: Contact: Phone Number:

## Wholesaler Water System (if applicable under the Ground Water Rule)

Does the water system obtain groundwater from another water system? Yes No

If yes, collect a raw water source sample(s) within 24 hours upon being notified by a retailer who received a total coliform positive sample. If source sample is *E. coli* positive, contact all consecutive systems within 24 hours\*.

Retailer Name: Contact: Phone Number:

Retailer Name: Contact: Phone Number:

Retailer Name: Contact: Phone Number:

*\*A Tier 1 notice is required for all E. coli positive source samples.*

## Sample Locations:

The following describes each routine sample location, what months the location will be sampled, and where follow-up (repeat) samples will be taken in the event of a “positive” routine sample. A routine sample site must be designated for each pressure zone or separate area served by the water system. The routine samples sites must be rotated such that they are all sampled on a regular basis. If this water system must designate more than one routine sample site, please do so below:

A system using ground water must collect the triggered source sample(s) for Ground Water Rule compliance (in accordance with the approved Representative Monitoring Plan or sample all sources in use if there is no approved Representative Monitoring Plan). A system using a single groundwater (not GWUDI) well, serving 1,000 or fewer persons may use the triggered source sample as one of the repeat samples, if approved by the State Board.

**Routine Number 1 Sample Location:** (name/address)

Water samples will be collected from this location during the months of:

January February March April May June

July August September October November December

Sample Site Description: (hose bib, sink faucet, etc.)

**Follow-up (repeat) Sample Location:** (name/address)

**Upstream** (upstream within 5 connections: location, name, address):

**Downstream** (downstream within 5 connections-location name/address):

Triggered Source Sample(s) – Ground Water Rule:

**Routine Number 2 (if required) Sample Location:** (name/address)

Water samples will be collected from this location during the months of:

January February March April May June

July August September October November December

Sample Site Description: (hose bib, sink faucet, etc.)

**Follow-up (repeat) Sample Location:** (name/address)

**Upstream** (upstream within 5 connections: location, name, address):

**Downstream** (downstream within 5 connections-location name/address):

Triggered Source Sample(s) – Ground Water Rule:

**Routine Number 3 (if required) Sample Location:**  (name/address)

Water samples will be collected from this location during the months of:

January February March April May June

July August September October November December

Sample Site Description: (hose bib, sink faucet, etc.)

**Follow-up (repeat) Sample Location:** (name/address)

**Upstream** (upstream within 5 connections: location, name, address):

**Downstream** (downstream within 5 connections-location name/address):

Triggered Source Sample(s) – Ground Water Rule:

**Routine Sample Locations for the month following a Positive Total Coliform Sample *(Transient, Non-Community Water Systems on Quarterly Monitoring Only)***

1.

2.

3.

## Prepared By:

Water System Representative Name:

Title:

Signature: Date:

## BSSP Approval:

The SWRCB-Division of Drinking Water or Local Primacy Agency has reviewed and approved this Bacteriological Sample Siting Plan (BSSP). Any plans on file dated prior to are void. The water system must sample their distribution system and raw water special purpose source samples (quarterly/monthly) for bacteriological quality in accordance with the approved BSSP beginning . Per the California Code of Regulations-Title 22 §64422, a water system is required to submit an updated plan to the State Board at least once every ten years and at any time the plan no longer ensures representative monitoring of the system.

District Engineer or LPA Representative Name:

Title: District Name/No or LPA Name:

Signature: Date: