CDPH FLUORIDATION REPORTING REQUIREMENTS

Please submit via email this completed form and attachments by October 1, 2011 to:

Fluoridation@cdph.ca.gov

Water System Name: ______________________________________________

Water System Number:_____________________________________________

Current number of Service Connections:________________________________

Population Served:_________________________________________________

- Year Fluoridation Began _________________________________________

- Type(s) of fluoride used __________________________________________

- What were the actual Operation and Maintenance Costs for FY 2010/2011 (7/1/2010 thru 6/20/2011)? (Please attach Calculations)_____________________________________

- What are your anticipated Operation and Maintenance costs for the next fiscal year (7/1/2012 thru 6/30/2013)?(Please attach Calculations)_________________________________________

{Note: This information can be submitted later (by January 1, 2012) if not yet available.  This information is not required if system size is less than 10,000 connections}

- What is your Optimal Fluoridation Range? ________________________________

- On what date was the Optimal Fluoridation Range last calculated?_____________

- What is the date of your Fluoride Monitoring Plan? _________________________

- What is the date of your Operations Contingency Plan? _____________________

- What is the Result and Date of your last raw water Fluoride Analysis?

____________________________________________________

Name of person submitting this report ________________________________________

Email__________________________________ Phone_______________________

Signature ____________________________Title____________________________

Date _______________________________

Please contact Lynda Dyane (Lynda.Dyane@cdph.ca.gov or (916) 449-5617) if you have any questions or if you are unable to submit this report by email.

SUMMARY OF FLUORIDATION REPORTING REQUIREMENTS

Each public water system that provides fluoridation treatment is required to conduct certain monitoring and reporting on a routine basis and submit the results to the CDPH District Office and to the CDPH Fluoridation Unit (by email to: Fluoridation@cdph.ca.gov, in Sacramento) on a monthly basis by the 10th of the following month.  These reports are to be submitted on the required forms available at http://cdph.ca.gov/certlic/drinkingwater/Pages/Fluoridation.aspx.  Please contact CDPH if you have any questions on which form to use.

| Required Reporting | Where there are two, choose the correct report form to use |
| --- | --- |
| Monthly Distribution Monitoring | Monthly Distribution Monitoring – Single Fluoridation Treatment System OR Monthly Distribution Monitoring – Two or more Fluoridation Treatment Systems |
| Year-to-Date Distribution Summary | Year-to-Date Distribution– All Fluoridation Treatment Systems |
| Monthly Treatment Summary | Monthly Treatment Monitoring OR Monthly Treatment Monitoring – SATURATOR Systems only |
| Yearly Treatment Summary | Yearly Treatment Summary Report – All Fluoridation Treatment Systems |
| Optimal Fluoride Control Range Calculation (Done Annually) | Optimal Fluoride Control Range Worksheet (PDF) |
| Annual Cost Summary | Annual Cost Summary Report – All Fluoridation Treatment Systems |
| Voluntary Fluoridation (Only for systems that purchase fluoridated water but do not supplement with additional fluoride) | Voluntary Distribution Monthly Monitoring Report AND Voluntary Year-To-Date Distribution Monitoring Report |

Note: Always follow any additional fluoridation monitoring and reporting requirements that have been required by your local CDPH District Office including any water supply permit requirements.

REGULATORY BASIS FOR FLUORIDATION REPORTING REQUIREMENTS

- Past Operation and Maintenance Costs (Question 3 on first page)

For water systems that fluoridated the previous fiscal year (July 1 through June 30), the water supplier shall report the operations and maintenance costs for that year to the Department by August 1.  (Section 64433.7(b), T22, CCR)

- Anticipated Operation and Maintenance Costs (Question 4 on first page)

Any public water system required to install a fluoridation system pursuant to subsection (a) or required to fluoridate pursuant to subsection (b) shall annually submit an estimate of anticipated fluoridation operations and maintenance costs for the next fiscal year (July 1 through June 30) to the Department by the January 1 preceding that fiscal year. (Section 64433(c), T22, CCR)

- Anticipated Optimal Fluoridation Range:

Any public water system that is fluoridating shall comply with the temperature-appropriate fluoride levels in Table 64433.2-A. The system shall determine, and submit to the Department, its annual average of maximum daily air temperatures based on the five calendar years immediately preceding the current calendar year.  (Section 64433.2, T22, CCR)

- Monitoring Plan:   (Question 7 on first page)

If a water system has a single fluoridation system which treats all the water distributed to consumers, the supplier shall collect a daily sample for fluoride analysis, pursuant to §64415(b), either in the distribution system or at the entry point. If a water system does not fluoridate all its water and/or has more than one fluoridation system, the supplier shall collect one sample daily in the distribution system and rotate the sample sites in order to be representative of the water throughout the distribution system according to a monitoring plan the Department has determined to be representative.

(Section 64433.3(a), T22, CCR)

- Operations Contingency Plan:    (Question 8 on first page)

Water systems fluoridating as of July 1, 1996 shall submit a fluoridation system operations contingency plan by July 1, 1998. All other water systems shall submit the plan at least three months before initiating fluoridation treatment. All fluoridating water systems shall operate in accordance with a fluoridation system operations contingency plan determined by the Department to include the elements in subsection (b).

(Section 64433.8(a), T22, CCR)

- Annual Raw Source Water Analysis for fluoride:   (Question 9 on first page)

Any water system with an operating fluoridation system shall sample the raw source waters annually and analyze for fluoride pursuant to §64415(a); samples collected pursuant to §64432(b)(1) may be used toward satisfying this requirement. All raw source water samples collected under this subsection are subject to compliance with the fluoride MCL in Table 64431-A.  (Section 64433.3(d), T22, CCR)