## Instructions for Tier 2 Chemical or Radiological MCLs Notice Template

Template Attached

Since exceeding chemical or radiological maximum contaminant levels (MCLs) is a Tier 2 violation, you must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [California Code of Regulations Title 22, Chapter 15, Section 64463.4(b)].  Each water system required to give public notice must submit the notice to the Department for approval prior to distribution or posting, unless otherwise directed by the Department [64463(b)].

### Notification Methods

You must use the methods summarized in the table below to deliver the notice to consumers.  If you mail, post, or hand deliver, print your notice on letterhead, if available.

| ##### If You Are a… | You Must Notify Consumers by… | …and By One or More of the Following Methods to Reach Persons Not Likely to be Reached by the Previous Method… |
| --- | --- | --- |
| Community Water System [64463.4(c)(1)] | Mail or direct delivery (a) | Publication in a local newspaper |
|  |  | Posting in public places served by the water system or on the Internet (b) |
|  |  | Delivery to community organizations |
| Non-Community Water System [64463.4(c)(2)] | Posting in conspicuous locations throughout the area served by the water system (b) | Publication in a local newspaper or newsletter distributed to customers |
|  |  | Email message to employees or students |
|  |  | Posting on the Internet or intranet (b) |
|  |  | Direct delivery to each customer |

(a)	Notice must be distributed to each customer receiving a bill including those that provide their drinking water to others (e.g., schools or school systems, apartment building owners, or large private employers), and other service connections to which water is delivered by the water system.

(b)	Notice must be posted in place for as long as the violation or occurrence continues, but in no case less than seven days.

The notice attached is appropriate for the methods described above.  However, you may wish to modify it before using it for posting.  If you do, you must still include all the required elements and leave the health effects and notification language in italics unchanged.  This language is mandatory [64465].

#### Multilingual Requirement

Spanish.  Each public notice must contain information in Spanish regarding (1) the importance of the notice or (2) contain a telephone number or address where Spanish-speaking residents may contact the water system to obtain a translated copy of the public notice or assistance in Spanish.

Non-English Speaking Groups Other than Spanish-Speaking.  For each group that exceeds 1,000 residents or 10% of the residents in the community served, whichever is less, the public notice must (1) contain information in the appropriate language(s) regarding the importance of the notice or (2) contain a telephone number or address where such residents may contact the water system to obtain a translated copy of the notice or assistance in the appropriate language.

### Population Served

Make sure it is clear who is served by your water system -- you may need to list the areas you serve.

Corrective Action

In your notice, describe corrective actions you are taking.  Do not use overly technical terminology when describing treatment methods.  Listed below are some steps commonly taken by water systems with chemical or radiological violations.  Use one or more of the following actions, if appropriate, or develop your own:

- “We are working with [local/state agency] to evaluate the water supply and researching options to correct the problem. These options may include treating the water to remove [contaminant] or connecting to [system]’s water supply.”

- “We have stopped using the contaminated well. We have increased pumping from other wells, and we are investigating drilling a new well.”

- “We will increase the frequency at which we test the water for [contaminant].”

- “We have since taken samples at this location and had them tested. They show that we meet the standards.”

# After Issuing the Notice

Send a copy of each type of notice and a certification that you have met all the public notice requirements to the Department within ten days after you issue the notice [64469(d)].  You should also issue a follow-up notice in addition to meeting any repeat notice requirements the Department sets.

It is recommended that you notify health professionals in the area of the violation.  People may call their doctors with questions about how the violation may affect their health, and the doctors should have the information they need to respond appropriately.

It is a good idea to issue a “problem corrected” notice when the violation is resolved.

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Este informe contiene información muy importante sobre su agua potable.

Tradúzcalo o hable con alguien que lo entienda bien.

[System] Has Levels of [Contaminant] Above the Drinking Water Standard

Our water system recently violated a drinking water standard. Although this is not an emergency, as our customers, you have a right to know what you should do, what happened, and what we are doing to correct this situation.

We routinely monitor for the presence of drinking water contaminants.  Water sample results received on [date] showed [name of contaminant] levels of [level and units].  This is above the standard, or maximum contaminant level (MCL) of [standard and units].

What should I do?

- You do not need to use an alternative water supply (e.g., bottled water).

- This is not an immediate risk.  If it had been, you would have been notified immediately. However, [Insert relevant health effects language from section 64465 appendix].

- If you have other health issues concerning the consumption of this water, you may wish to consult your doctor.

What happened? What is being done?

[Describe corrective action].  We anticipate resolving the problem within [estimated time frame].

For more information, please contact [name of contact] at [phone number] or [mailing address].

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this public notice in a public place or distributing copies by hand or mail.

Secondary Notification Requirements

Upon receipt of notification from a person operating a public water system, the following notification must be given within 10 days [Health and Safety Code Section 116450(g)]:

- SCHOOLS: Must notify school employees, students, and parents (if the students are minors).

- RESIDENTIAL RENTAL PROPERTY OWNERS OR MANAGERS (including nursing homes and care facilities):  Must notify tenants.

- BUSINESS PROPERTY OWNERS, MANAGERS, OR OPERATORS:  Must notify employees of businesses located on the property.

This notice is being sent to you by [system].

State Water System ID#: ___________.  Date distributed: ___________.