Instructions for Tier 2 Unresolved Total Coliform Notice Template

Template Attached

Since exceeding the total coliform bacteria maximum contaminant level is a Tier 2 violation, you must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [California Code of Regulations, Title 22, Chapter 15, Section 64463.4(b)].  Persistent total coliform problems can be serious.  Each water system required to give public notice must submit the notice to the Department for approval prior to distribution or posting, unless otherwise directed by the Department [64463(b)].

### Notification Methods

You must use the methods summarized in the table below to deliver the notice to consumers.  If you mail, post, or hand deliver, print your notice on letterhead, if available.

| ## If You Are a… | You Must Notify Consumers by… | …and By One or More of the Following Methods to Reach Persons Not Likely to be Reached by the Previous Method… |
| --- | --- | --- |
| Community Water System [64463.4(c)(1)] | Mail or direct delivery (a) | Publication in a local newspaper |
|  |  | Posting (b) in public places served by the water system or on the Internet |
|  |  | Delivery to community organizations |
| Non-Community Water System [64463.4(c)(2)] | Posting in conspicuous locations throughout the area served by the water system (b) | Publication in a local newspaper or newsletter distributed to customers |
|  |  | Email message to employees or students |
|  |  | Posting (b) on the Internet or intranet |
|  |  | Direct delivery to each customer |

(a)	Notice must be distributed to each customer receiving a bill including those that provide their drinking water to others (e.g., schools or school systems, apartment building owners, or large private employers), and other service connections to which water is delivered by the water system.

(b)	Notice must be posted in place for as long as the violation or occurrence continues, but in no case less than seven days.

The notice attached is appropriate for the methods described above.  However, you may wish to modify it before using it for posting.  If you do, you must still include all the required elements and leave the health effects and notification language in italics unchanged.  This language is mandatory [64465].

#### Multilingual Requirement

Spanish.  Each public notice must contain information in Spanish regarding (1) the importance of the notice or (2) contain a telephone number or address where Spanish-speaking residents may contact the water system to obtain a translated copy of the public notice or assistance in Spanish.

Non-English Speaking Groups Other than Spanish-Speaking.  For each group that exceeds 1,000 residents or 10% of the residents in the community served, whichever is less, the public notice must (1) contain information in the appropriate language(s) regarding the importance of the notice or (2) contain a telephone number or address where such residents may contact the water system to obtain a translated copy of the notice or assistance in the appropriate language.

### Population Served

Make sure it is clear who is served by your water system -- you may need to list the areas you serve.

### Description of the Violation

The description of the violation and the MCL vary depending on the number of samples you take.  The following table should help you complete the second paragraph of the template.

| If You Take Fewer Than 40 Samples a Month State the number of samples testing positive for coliform. The standard is that no more than one sample per month may be positive. | If You Take 40 or More Samples a Month State the percentage of samples testing positive for coliform. The standard is that no more than 5.0 percent of samples may test positive each month. |
| --- | --- |

Corrective Action

In your notice, describe corrective actions you are taking.  If you know what is causing the coliform problem, explain this in the notice.  Listed below are some steps commonly taken by water systems with a total coliform violation.  Use one or more of the following actions, if appropriate, or develop your own:

- “We are chlorinating and flushing the water system.”

- “We are increasing sampling for coliform bacteria.”

- “We are investigating the source of contamination.”

- “We are repairing the wellhead seal.”

- “We are repairing the storage tank.”

- “We will inform you when additional samples show no coliform bacteria.”

# After Issuing the Notice

Send a copy of each type of notice and a certification that you have met all the public notice requirements to the Department within ten days after you issue the notice [64469(d)].  You should also issue a follow-up notice in addition to meeting any repeat notice requirements the Department sets.

It is recommended that you notify health professionals in the area of the violation.  People may call their doctors with questions about how the violation may affect their health, and the doctors should have the information they need to respond appropriately.

It is a good idea to issue a “problem corrected” notice when the violation is resolved.

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Este informe contiene información muy importante sobre su agua potable.

Tradúzcalo o hable con alguien que lo entienda bien.

[System] Has Levels of Coliform Bacteria Above the Drinking Water Standard

Our water system recently violated a drinking water standard.  Although this is not an emergency, as our customers, you have a right to know what you should do, what happened, and what we are doing to correct this situation.

We routinely monitor for the presence of drinking water contaminants.  We took [number] samples for coliform bacteria during [month year].  [Number/percentage] of those samples showed the presence of coliform bacteria.  The standard is that no more than [1 sample per month/5.0 percent of our samples] may do so.

What should I do?

- You do not need to boil your water or take other corrective actions.

- This is not an emergency. If it had been, you would have been notified immediately. Total coliform bacteria are generally not harmful themselves.  Coliforms are bacteria which are naturally present in the environment and are used as an indicator that other, potentially-harmful, bacteria may be present.  Coliforms were found in more samples than allowed and this was a warning of potential problems.

- Usually, coliforms are a sign that there could be a problem with the treatment or distribution system (pipes).  Whenever we detect coliform bacteria in any sample, we do follow-up testing to see if other bacteria of greater concern, such as fecal coliform or E. coli, are present.  We did not find any of these bacteria in our subsequent testing.  If we had, we would have notified you immediately.  However, we are still finding coliforms in the drinking water.

- People with severely compromised immune systems, infants, and some elderly may be at increased risk.  These people should seek advice about drinking water from their health care providers.  General guidelines on ways to lessen the risk of infection by microbes are available from U.S. EPA’s Safe Drinking Water Hotline at 1(800) 426-4791.

- If you have other health issues concerning the consumption of this water, you may wish to consult your doctor.

What happened? What is being done?

[Describe corrective action].  We will inform you when our sampling shows that no bacteria are present.  We anticipate resolving the problem within [estimated time frame].

For more information, please contact [name of contact] at [phone number] or [mailing address].

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this public notice in a public place or distributing copies by hand or mail.

Secondary Notification Requirements

Upon receipt of notification from a person operating a public water system, the following notification must be given within 10 days [Health and Safety Code Section 116450(g)]:

- SCHOOLS: Must notify school employees, students, and parents (if the students are minors).

- RESIDENTIAL RENTAL PROPERTY OWNERS OR MANAGERS (including nursing homes and care facilities):  Must notify tenants.

- BUSINESS PROPERTY OWNERS, MANAGERS, OR OPERATORS:  Must notify employees of businesses located on the property.

This notice is being sent to you by [system].

State Water System ID#: ___________.  Date distributed: ___________.