Instructions for Tier 1 GWR Source Sample Fecal Indicator Positive Notice Template

Template Attached

Because detection of a fecal indicator (E. coli, enterococci, or coliphage) in a ground water source sample is a Tier 1 violation, you must provide public notice to persons served as soon as practical but no more than 24 hours from learning of the violation [40 CFR 141.202(b)].  During this time, you must also contact the Department.  Each water system required to give public notice is requested to submit the notice to the Department for review prior to distribution or posting.  You should also coordinate with your local health department.

## Notification Methods

You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Radio or television

- Posting in conspicuous locations throughout the area served by the water system

- Hand delivery to persons served by the water system

You may need to use additional methods (e.g., newspaper, delivery of multiple copies to hospitals, clinics, or apartment buildings), since notice must be provided in a manner reasonably calculated to reach all persons served.  If you post or hand-deliver, print your notice on letterhead, if you have it.

The notice attached is appropriate for hand delivery or a newspaper notice.  However, you may wish to modify it before using it for radio, TV, or posting.  If you do, you must still include all required Public Notification elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

#### Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q of Part 141) must be included as written (with blanks filled in) and is presented in this notice in italics and with an asterisk on each end.

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)].  This language is also presented in this notice in italics and with an asterisk on each end.

#### Multilingual Requirement

Spanish.  Each public notice should contain information in Spanish regarding (1) the importance of the notice or (2) contain a telephone number or address where Spanish-speaking residents may contact the water system to obtain a translated copy of the public notice or assistance in Spanish.

Non-English Speaking Groups Other than Spanish-Speaking.  For each group that exceeds 1,000 residents or 10% of the residents in the community served, whichever is less, the public notice should (1) contain information in the appropriate language(s) regarding the importance of the notice or (2) contain a telephone number or address where such residents may contact the water system to obtain a translated copy of the notice or assistance in the appropriate language.

### Population Served

Make sure it is clear who is served by your water system -- you may need to list the areas you serve.

# Alternative Sources of Water

If you are providing alternative sources of water, your notice should say where to obtain it.  If you choose to provide bottled water, remember that bottled water can also be contaminated or high in coliform bacteria if the bottler uses water from your system.  Make sure the bottled water meets standards by contacting the bottler and asking for the most recent test results.

### Corrective Action

In your notice, describe the corrective actions you are taking.  Listed below are some steps commonly taken by water systems that have detected a fecal indicator in their ground water source.  Depending on the corrective action you are taking, you can use one or more of the following statements, if appropriate, or develop your own text:

- “We have discontinued use of the contaminated well and will rely on our other sources to meet water demands.”

- “We are increasing sampling at our source(s) to determine the source of contamination.”

- “We are working with state officials to implement corrective actions to ensure water supplies are protected against contamination.”

- “We are providing water from an alternative source until the problem is resolved.”

- “We are abandoning the contaminated well and will replace it with a well constructed to standards.”

- “We are moving forward with treatment options for continued use of the water from this source.”

- “We have installed temporary disinfection while we pursue long-term treatment or other options to eliminate contamination from this source.”

## After Issuing the Notice

Send a copy of each type of notice, along with certification that you have met all the public notice requirements, to the Department within ten days after you issue the notice [40 CFR 141.31(d)].

It is recommended that you notify health professionals in the area of the situation.  People may call their doctors with questions about how the situation may affect their health, and the doctors should have the information they need to respond appropriately. In addition, health professionals, including dentists, use tap water during their procedures and need to know of potential microbiological contamination so they can use bottled water.

It is also a good idea to issue a “problem corrected” notice when the situation is resolved.

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Este informe contiene información muy importante sobre su agua potable.

Tradúzcalo o hable con alguien que lo entienda bien.

# DRINKING WATER WARNING [System] Water Tested Positive for a Fecal Indicator BOIL YOUR WATER BEFORE USING

Our water system recently detected the fecal indicator [insert contaminant e.g., E. coli, enterococci, or coliphage] (see definition below) in [source].  As our customers, you have a right to know what happened and what we are doing to correct this situation.  On [date], we collected a sample from [source].  The sample tested positive for [insert contaminant, e.g., E. coli, enterococci, or coliphage].

What should I do?

- DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST.  Bring all water to a boil, let it boil for one minute, and let it cool before using, or use bottled water.  Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice.  Boiling kills bacteria and other organisms in the water.

- *Fecal indicators are microbes whose presence indicates that the water may be contaminated with human or animal wastes.  Microbes in these wastes can cause short-term health effects, such as diarrhea, cramps, nausea, headaches, or other symptoms.  They may pose a special health risk for infants, young children, some of the elderly, and people with severely compromised immune systems.*  The symptoms above are not caused only by organisms in drinking water.  If you experience any of these symptoms and they persist, you may want to seek medical advice.

- People with severely compromised immune systems, infants, and some elderly may be at increased risk.  These people should seek advice about drinking water from their health care providers.  General guidelines on ways to lessen the risk of infection by microbes are available from U.S. EPA’s Safe Drinking water Hotline at 1(800) 426-4791.

What happened?  What is being done?

[Describe problem and corrective action].  We will inform you when tests show no [insert contaminant e.g., E. coli, enterococci, or coliphage] and you no longer need to boil your water.  We anticipate resolving the problem within [estimated time frame].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this public notice in a public place or distributing copies by hand or mail.*

Secondary Notification Requirements

Upon receipt of notification from a person operating a public water system, the following notification must be given within 10 days [Health and Safety Code Section 116450(g)]:

- SCHOOLS: Must notify school employees, students, and parents (if the students are minors).

- RESIDENTIAL RENTAL PROPERTY OWNERS OR MANAGERS (including nursing homes and care facilities):  Must notify tenants.

- BUSINESS PROPERTY OWNERS, MANAGERS, OR OPERATORS:  Must notify employees of businesses located on the property.

This notice is being sent to you by [system].

State Water System ID#: ___________.  Date distributed: ___________.