## Slide 1: Dpr advisory group meeting
Feb. 21 2014

## Slide 2: Todays Agenda
Bagley-Keene Open Meeting Act
Briefing on DPR
Statutory Mandate and Tasks of Group
Lunch
Discussions on Expert Panel
Public Comments
Future Meetings
Final Discussion

## Slide 3: Bagley-keene open meeting act

## Slide 4: Purpose of the Act
Enacted by Legislature, the Bagley-Keene Act imposes requirements for open meetings
  some efficiency may be sacrificed for the benefits of public contribution to the decision-making process.

## Slide 5: Covered Bodies
Advisory Bodies
Delegated Bodies
Commissions
Other Bodies
The Bagley-Keene Act will influence the conduction of the Advisory Group’s open meetings.

## Slide 6: What is a Meeting?
Needs a quorum
Serially or together
In one place
To address issues within the jurisdiction
Includes
  Receiving information
  Informal gatherings
Briefing papers

## Slide 7: Serial Meetings
Series of communications
Less than a quorum
Involves majority of the members
Examples
5-Person Body
Member A communicates with Member B, then
Member B communicates with Member C
  A -> B -> C = Serial meeting
5-Person Body
Member A communicates with Member B, then
Member A communicates with Member C
  A -> B and A -> C = Serial meeting

## Slide 8: Contacts to Public
The public has rights to contact individual members.
  The public communicating an issue with others does not violate the Bagley-Keene Act. (§ 11122.5(c)(1).)
  The body that does not solicit or orchestrate such contacts does not violate the Act.

## Slide 9: Social Gatherings
Social situations do not violate the Bagley-Keene Open Meeting Act.
  But avoid “shop talk” at those social events.

## Slide 10: Access to Records
Public is entitled access to records
  Includes:
    Writings
    Materials provided to a majority of the body
    Must be available to persons with disabilities

## Slide 11: Briefing on direct potable reuse background

## Slide 12: Topics We Will Cover
Permitting and Impaired Sources
Permitting IPR Projects
Treatment Technologies
Permitting DPR
DPR Treatment Goals/Concerns

## Slide 13: Permitting and Impaired Sources

## Slide 14: Water supply permits
Health and Safety Code
  Right to “pure and safe drinking water”
  Requires CDPH evaluation
Permit is the permission to operate
  Legal document
  States operating conditions
  Determination: pure,
    wholesome, and potable

## Slide 15: Assessment OF A NEW Source
Drinking Water Source Assessment Program (DWSAP)
Evaluate existing and potential contamination and pollution sources
Does the new source meet DW standards?
  Surface water sources require treatment to meet primary and secondary DW standards
  Some wells may need treatment for specific contaminants
  Best Available Technology (BAT) for contaminants

## Slide 16: Impaired sources
Extremely Impaired Sources
  Source assessment - vulnerability
  Raw water quality - full characterization
  Source protection
  Effective monitoring and optimum treatment
  Health risks of failure
  Identify source
    alternatives

## Slide 17: Technical report
Technical report required
  Source water information
  Treatment information
    Unit processes
    Parameters
    Reliability
    Disinfection
  Monitoring plan
  Operations plan
  Operator certification

## Slide 18: Water quality
Water Quality Monitoring Plan
  All sources
  Test for:
    General mineral
    General physical
    Inorganics
    Organics
    Radioactivity
  Sample frequency
  Special monitoring

## Slide 19: Operations
Operations Plan
  Overall operations
  Treatment methods
  Treatment optimization
  Staff certification
  Operator responsibilities
  Monitoring water quality
  Equipment calibration
  Alarms and responses

## Slide 20: certification
Operator Certification
  Required by Title 22
  Described in permit
  Certification levels set by treatment type

## Slide 21: Issuance of the permit
Applicant submits a technical report
CDPH performs technical evaluation
CDPH prepares a permit report
  PE stamped
  Meets all drinking water standards
  Adequate treatment
  A pure, wholesome, potable water
CDPH issues a Water Supply Permit

## Slide 22: permitting IPR Projects

## Slide 23: Porter-Cologne Act CDPH SWRCB RWQCB
State Board has ultimate authority over water rights and water quality.
Established nine Regional Boards.
Boards permit discharges that affect ground and surface waters.

## Slide 24: Regulatory Structure CDPH SWRCB RWQCB
Memorandum of Agreement (MOA) in 1996
MOA delineates responsibilities
RWQCBs have the permitting and ongoing oversight authority
CDPH reviews reports when requested by RWQCB

## Slide 25: Current Regulations
Statutes
  Health & Safety Code
  Water Code
Regulations
  Title 17
  Title 22
  Groundwater Recharge (new draft)
  Surface Water Augmentation (under development)

## Slide 26: Using Municipal Wastewater as a Source

## Slide 27: Pathogens

## Slide 28: Regulated Chemicals
Inorganics
  Nitrogen compounds
  Lead
Organics
  Benzene
Radionuclides
  Radium
DPBs
  TTHMs
  HAA5

## Slide 29: Unregulated Chemicals
CECs
Pharmaceuticals
Endocrine Disrupting compounds
Personal Care Products
Industrial chemicals
Caffeine
Triclosan
DEET

## Slide 30: Treatment Technologies

## Slide 31: Full Advanced Treatment
Reverse Osmoses - Advanced Oxidation Process
Common AOP
  Ozone/H2O2 or UV/H2O2

## Slide 32: RO Basics
Best Available Technology for contaminants
Effective on large / ionic / hydrophobic CECs
Most MW > 200 are removed
Less effective on:
  NDMA
  1,4-dioxane

## Slide 33: AOP Basics
Process of generating chemical radials used to oxidize organic material
Very fast reaction (seconds)
Produced via UV/H2O2 or Ozone/H2O2
•OH

## Slide 34: Ozone Basics
Composed of O3
Very strong oxidant
Short life, goes back to O2
H2O2 + H2O → HO2− + H3O+
HO2− + O3 → ·OH + O2− + O2

## Slide 35: Uv basics
Effective disinfectant
Short contact time (~30 sec)
No residual
Must be validated
H2O2 + UV → 2OH·
UV Energy
DNA Nucleic Acid
Cell Wall

## Slide 36: How to regulate dpr

## Slide 37: California safe drinking water act
Pure, wholesome, potable, and healthy water
Chemical Standards (MCLs)
Surface Water Treatment Rule (SWTR)
  A water system “using an approved surface water shall provide multi-barrier treatment necessary to reliably protect users from the adverse health effects of microbiological contaminants …”
  Organism log reductions determined as part of source approval process

## Slide 38: Transition: Water Code to SDWA when “Approved Source”
Raw sewage
Secondary/tertiary effluent
Advanced treated water
Treated water storage outlet
Drinking Water

## Slide 39: Source quality
SOURCE QUALITY
Pathogen Contamination
Chemical
Contamination
Extremely Impaired
Impaired
DPR

## Slide 40: a regulatory scheme for DPR
Clean Water Act regulators could regulate what they have the authority, expertise, and operator certification program for:
  Source control for the collection system
  Treatment through secondary or tertiary
  Disposition of inadequately treated wastewater

## Slide 41: a regulatory scheme for DPR
Drinking Water Regulators could:
  Approve secondary or tertiary effluent meeting the State Water Boards permit as the “approved” surface water source
  Specify advanced treatment and monitoring in the water system permit as it would for any impaired or extremely impaired source

## Slide 42: DPR Principles
Make a “safe” drinking water
Low tolerable risk
  10-4 annual risk of infection
  Drinking water standards
  Unregulated chemical controlled to match good existing supplies
Low risk of failure
  Multiple barriers for contaminants

## Slide 43: Threats in the Source water
Pathogens
Nitrate, Nitrite, …
Trace Organic
Chemicals?

## Slide 44: TRACE ORGANIC CHEMICALS
Chronic risk
  Have time to react to a treatment problem
  Not unlike indirect potable reuse
FAT is effective at 100% RWC
  FAT of the entire flow
  Treatment alternatives may be allowed if they assure the same level of health protection

## Slide 45: Pathogenic Microorganisms
Acute risk
Set a log reduction treatment requirement (as in draft IPR regulations)
  Raw sewage to finished drinking water
  12-log Virus
  10-log Giardia
  10-log Cryptosporidium
  Based on high sewage levels and USEPA drinking levels for a 10-4 risk

## Slide 46: California potable Reuse Committee (1996)
DPR is “unacceptable … because of the lack of reliable real-time water quality monitoring methods and lack of time to react to accidental emergencies or system upsets.
Monitoring and control technologies have improved since 1996, but …

## Slide 47: pathogen control approaches
We could assure safe water by providing:
  Real-time monitoring of organism reduction for the required barriers,
  or, possibly
  Best available monitoring and redundant barriers to provide extra log reduction capacity to compensate for monitoring limitations

## Slide 48: Pathogens control questions
Is the monitoring sensitive enough?
How do we measure the overall reliability?
  How consistent?
  Multiple redundant barriers
    But how do we determine the necessary number and capability of the redundant barriers?

## Slide 49: Conclusion A possible DPR Scheme
Regulate the critical treatment under the SDWA
Focus on acute risks (pathogens)
Continuously verify treatment performance

## Slide 50: Conclusion A possible DPR Scheme
Provide sufficient barriers with:
  Real-time organism reduction verification monitoring
  or
  Best available monitoring with redundant barriers to strictly restrict the chance of inadequately treated water
Provide a failsafe response to a system problem

## Slide 51: Any questions?

## Slide 52: Statutory Mandates and tasks of advisory group

## Slide 53: Statutory Mandate
Water Code, Section 13565
  Feasibility of DPR criteria
  Convene an Expert Panel
  December 31, 2016
Senate Bill 322
  Convene an Advisory Group
  Consult on selection of Expert Panel
  Advise Expert Panel on DPR feasibility issues

## Slide 54: tasks of Advisory Group
Department to consult with Advisory Group and the State Board on selection of Expert Panel.
Advise the Expert Panel on DPR criteria and draft report issues.
Subject to the Bagley-Keene Open Meeting Act.

## Slide 55: Anticipated expert panel schedule

## Slide 56: LUNCH and short briefings

## Slide 57: Initial task of advisory group

## Slide 58: Expert Panel
Overview of process by NWRI
Panel qualifications

## Slide 59: Discussion
Advisory Group input on Expert Panel

## Slide 60: Chairperson
Selection of Advisory Group Chairperson

## Slide 61: Public Comments

## Slide 62: Future meetings

## Slide 63: Future meetings
Preparation of future efforts
Schedule
Communications

## Slide 64: Final discussion and review

## Slide 65: Thank you