| Month | Calibrate NTU Raw water | Calibrate NTU Filtered water | Calibrate Chlorine Analyzer | Calibrate HACH 2100P | Compare HACH 2100P to 1720C | Blow-out lines to NTU meters | Exercise valves | General clean-up | Calibrate pH & Temperature Weekly |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| January |  |  |  |  |  |  |  |  |  |
| February |  |  |  |  |  |  |  |  |  |
| March |  |  |  |  |  |  |  |  |  |
| April |  |  |  |  |  |  |  |  |  |
| May |  |  |  |  |  |  |  |  |  |
| June |  |  |  |  |  |  |  |  |  |
| July |  |  |  |  |  |  |  |  |  |
| August |  |  |  |  |  |  |  |  |  |
| September |  |  |  |  |  |  |  |  |  |
| October |  |  |  |  |  |  |  |  |  |
| November |  |  |  |  |  |  |  |  |  |
| December |  |  |  |  |  |  |  |  |  |