## Table 115
Table 115: Leaching/Extraction Tests and Physical Characteristics of Hazardous Waste
Fields of Accreditation 115:
Leaching/Extraction Tests and Physical Characteristics of Soils, Solids, and Hazardous Wastes
Laboratory Name:
Certificate #:
Please refer to footnotes at the end of this Table
Subgroup Code | Analyte Code | Method | Analyte | Technology | Enter Y for Selection
LEACHING/EXTRACTION TESTS MATRIX SOLID
115.055 | 001 | CCR Chapter 11, Article 5, Appendix II | Waste Extraction Test (WET)
115.065 | 001 | EPA 1310A | Extraction Procedure Toxicity (EPTOX)
115.075 | 001 | EPA 1310B | Extraction Procedure Toxicity (EPTOX)
115.085 | 001 | EPA 1311 | Toxicity Characteristic Leaching Procedure (TCLP)
115.095 | 001 | EPA 1312 | Synthetic Precipitation Leaching Procedure (SPLP)
PHYSICAL CHARACTERISTICS MATRIX SOLID
115.105 | 001 | EPA 1030 | Ignitability | Flash Point
115.115 | 001 | EPA 1110 | Corrosivity toward Steel
115.125 | 001 | EPA 1110 A | Corrosivity toward Steel
115.135 | 001 | EPA 9045C | Corrosivity - pH Determination | Electrometric
115.145 | 001 | EPA 9045D | Corrosivity - pH Determination | Electrometric
Footnotes:
Laboratories are required to check with all of the CA ELAP approved PT providers to find a PT study.
Where PTs are available, laboratories are required to participate in PT studies for the matrix selected.
Soil PT studies are required for solid matrices.
There is no PT requirement for Leaching & Extraction tests. Laboratories must hold accreditation for the
method used to analyze extracts.