## Table 102
Table 102: Inorganic Chemistry in Drinking Water
Fields of Accreditation in Drinking Water
Laboratory Name:
Certificate #:
Please refer to footnotes at the end of this Table
Subgroup Code | Analyte Code | Method | Analyte | Technology | Enter Y for Selection
102.015 | 001 | EPA 150.1 | Hydrogen Ion (pH) | Electrometric
102.016 | 001 | EPA 150.2 | Hydrogen Ion (pH) | Electrometric (Continous)
102.020 | 001 | EPA 180.1 | Turbidity | Nephelometric
102.025 | 001 | EPA 200.5 | Calcium | ICP-AES
102.025 | 002 | EPA 200.5 | Magnesium | ICP-AES
102.025 | 003 | EPA 200.5 | Silica | ICP-AES
102.025 | 004 | EPA 200.5 | Sodium | ICP-AES
102.026 | 001 | EPA 200.7 | Calcium | ICP-AES
102.026 | 002 | EPA 200.7 | Magnesium | ICP-AES
102.026 | 003 | EPA 200.7 | Potassium | ICP-AES
102.026 | 004 | EPA 200.7 | Silica | ICP-AES
102.026 | 005 | EPA 200.7 | Sodium | ICP-AES
102.026 | 006 | EPA 200.7 | Hardness (Calculation) | ICP-AES
102.030 | 001 | EPA 300.0 | Bromide | Ion Chromatography
102.030 | 002 | EPA 300.0 | Chlorate | Ion Chromatography
102.030 | 003 | EPA 300.0 | Chloride | Ion Chromatography
102.030 | 004 | EPA 300.0 | Chlorite | Ion Chromatography
102.030 | 005 | EPA 300.0 | Fluoride | Ion Chromatography
102.030 | 006 | EPA 300.0 | Nitrate | Ion Chromatography
102.030 | 007 | EPA 300.0 | Nitrite | Ion Chromatography
102.030 | 008 | EPA 300.0 | Phosphate, Ortho | Ion Chromatography
102.030 | 009 | EPA 300.0 | Sulfate | Ion Chromatography
102.040 | 001 | EPA 300.1 | Bromide | Ion Chromatography
102.040 | 002 | EPA 300.1 | Chlorite | Ion Chromatography
102.040 | 003 | EPA 300.1 | Chlorate | Ion Chromatography
102.040 | 004 | EPA 300.1 | Bromate | Ion Chromatography
102.040 | 005 | EPA 300.1 | Chloride | Ion Chromatography
102.040 | 006 | EPA 300.1 | Fluoride | Ion Chromatography
102.040 | 007 | EPA 300.1 | Nitrate | Ion Chromatography
102.040 | 008 | EPA 300.1 | Nitrite | Ion Chromatography
102.040 | 009 | EPA 300.1 | Phosphate, Ortho | Ion Chromatography
102.040 | 010 | EPA 300.1 | Sulfate | Ion Chromatography
102.041 | 001 | EPA 302.0 | Bromate | Ion Chromatography
102.044 | 001 | EPA 317.0 | Bromate | Ion Chromatography
102.044 | 002 | EPA 317.0 | Bromide | Ion Chromatography
102.044 | 003 | EPA 317.0 | Chlorite | Ion Chromatography
102.045 | 001 | EPA 314.0 | Perchlorate | Ion Chromatography
102.046 | 001 | EPA 314.1 | Perchlorate | Ion Chromatography
102.049 | 001 | EPA 314.2 | Perchlorate | Ion Chromatography
102.047 | 001 | EPA 331.0 | Perchlorate | LC-MS
102.048 | 001 | EPA 332.0 | Perchlorate | IC-MS
102.05 | 001 | EPA 335.4 | Cyanide | Semi Auto Colorimetric
102.051 | 001 | EPA 321.8 | Bromate | Ion Chromatography
102.052 | 001 | EPA 326.0 | Bromate | Ion Chromatography
102.052 | 002 | EPA 326.0 | Bromide | Ion Chromatography
102.052 | 003 | EPA 326.0 | Chlorite | Ion Chromatography
102.053 | 001 | EPA 327.0 | Chlorite | Spectrophotometric
102.053 | 002 | EPA 327.0 | Chlorine Dioxide | Spectrophotometric
102.056 | 001 | EPA 334.0 | Chlorine, Free Available | Chlorine Analyzer
102.056 | 002 | EPA 334.0 | Chlorine, Combined | Chlorine Analyzer
102.056 | 003 | EPA 334.0 | Chlorine, Total Residual | Chlorine Analyzer
102.060 | 001 | EPA 353.2 | Nitrate (Calculation) | Automated Colorimetric
102.061 | 001 | EPA 353.2 | Nitrite | Automated Colorimetric
102.070 | 001 | EPA 365.1 | Phosphate, Ortho | Semi Auto Colorimetric
102.080 | 001 | EPA 375.2 | Sulfate | Automated Colorimetric
102.085 | 001 | EPA 415.3 Rev. 1.1 | Dissolved Organic Carbon DOC | Spectrophotometric
102.085 | 002 | EPA 415.3 Rev. 1.1 | Specific UV Absorbance SUVA | Spectrophotometric
102.085 | 003 | EPA 415.3 Rev. 1.1 | Total Organic Carbon TOC | Spectrophotometric
102.085 | 004 | EPA 415.3 Rev. 1.1 | UV254 | Spectrophotometric
102.086 | 001 | EPA 415.3 Rev. 1.2 | Dissolved Organic Carbon DOC | Spectrophotometric
102.086 | 002 | EPA 415.3 Rev. 1.2 | Specific UV Absorbance SUVA | Spectrophotometric
102.086 | 003 | EPA 415.3 Rev. 1.2 | Total Organic Carbon TOC | Spectrophotometric
102.086 | 004 | EPA 415.3 Rev. 1.2 | UV254 | Spectrophotometric
102.09 | 001 | EPA 557.0 | Bromate | IC-ESI-MS/MS
102.095 | 001 | SM 2130B-2001 | Turbidity | Nephelometric
102.100 | 001 | SM 2320 B-1997 | Alkalinity | Titrimeteric
102.120 | 001 | SM 2340 B-1997 | Hardness (Calculation) | AA or ICP
102.121 | 001 | SM 2340 C-1997 | Hardness | Titrimeteric
102.130 | 001 | SM 2510 B-1997 | Conductivity | Conductivity Meter
102.140 | 001 | SM 2540 C-1997 | Residue, Filterable TDS | Gravimetric
102.146 | 001 | SM 3111 B-1999 | Calcium | AA Direct Aspiration
102.146 | 002 | SM 3111 B-1999 | Magnesium | AA Direct Aspiration
102.146 | 003 | SM 3111 B-1999 | Potassium | AA Direct Aspiration
102.146 | 004 | SM 3111 B-1999 | Sodium | AA Direct Aspiration
102.146 | 005 | SM 3111 B-1999 | Hardness (Calculation) | AA Direct Aspiration
102.147 | 001 | SM 3120 B-1999 | Calcium | ICP-AES
102.147 | 002 | SM 3120 B-1999 | Magnesium | ICP-AES
102.147 | 003 | SM 3120 B-1999 | Potassium | ICP-AES
102.147 | 004 | SM 3120 B-1999 | Silica | ICP-AES
102.147 | 006 | SM 3120 B-1999 | Hardness (Calculation) | ICP-AES
102.148 | 001 | SM 3500-Ca B-1997 | Calcium | Titrimetric
102.149 | 001 | SM 3500-Mg B-1997 | Magnesium | Calculation
102.150 | 001 | SM 4110B-2000 | Chloride | Ion Chromatography
102.150 | 002 | SM 4110B-2000 | Fluoride | Ion Chromatography
102.150 | 003 | SM 4110B-2000 | Nitrate | Ion Chromatography
102.150 | 004 | SM 4110B-2000 | Nitrite | Ion Chromatography
102.150 | 005 | SM 4110B-2000 | Phosphate, Ortho | Ion Chromatography
102.150 | 006 | SM 4110B-2000 | Sulfate | Ion Chromatography
102.170 | 001 | SM 4500-Cl- B-1997 | Chloride | Titrimeteric
102.171 | 001 | SM 4500-Cl- D-1997 | Chloride | Potentiometric
102.172 | 001 | SM 4500-Cl D-2000 | Chlorine, Combined | Titrimetric
102.172 | 002 | SM 4500-Cl D-2000 | Chlorine, Free Available | Titrimetric
102.172 | 003 | SM 4500-Cl D-2000 | Chlorine, Total Residual | Titrimetric
102.173 | 001 | SM 4500-Cl E-2000 | Chlorine, Free Available | Amperometeric
102.173 | 002 | SM 4500-Cl E-2000 | Chlorine, Total Residual | Amperometeric
102.174 | 001 | SM 4500-Cl F-2000 | Chlorine, Free Available | DPD-FAS
102.174 | 002 | SM 4500-Cl F-2000 | Chlorine, Total Residual | DPD-FAS
102.175 | 001 | SM 4500-Cl G-2000 | Chlorine, Free Available | Spectrophotometric
102.175 | 002 | SM 4500-Cl G-2000 | Chlorine, Total Residual | Spectrophotometric
102.180 | 001 | SM 4500-ClO2 D-2000 | Chlorine Dioxide | DPD
102.182 | 001 | SM 4500-ClO2 E-2000 | Chlorite | Amperometeric
102.182 | 002 | SM 4500-ClO2 E-2000 | Chlorine Dioxide | Potentiometric
102.190 | 001 | SM 4500-CN E-1999 | Cyanide, Total | Spectrophotometric
102.191 | 001 | SM 4500-CN F-1999 | Cyanide, Total | Electrode
102.192 | 001 | SM 4500-CN G-1999 | Cyanide, amenable | Spectrophotometric
102.200 | 001 | SM 4500-F C-1997 | Fluoride | Electrode
102.201 | 001 | SM 4500-F B,D-1997 | Fluoride | Colorimetric
102.202 | 001 | SM 4500-F E-1997 | Fluoride | Colorimetric
102.203 | 001 | SM 4500-H\+\ B-2000 | Hydrogen Ion (pH) | Electrometric
102.220 | 001 | SM 4500-NO2 B-2000 | Nitrite | Spectrophotometric
102.230 | 001 | SM 4500-NO3-D-2000 | Nitrate | Electrode
102.232 | 001 | SM 4500-NO3 E-2000 | Nitrite | Cd Reduction Manual
102.232 | 002 | SM 4500-NO3 E-2000 | Nitrate | Cd Reduction Manual
102.234 | 001 | SM 4500-NO3 F-2000 | Nitrite | Cd Reduction Auto
102.234 | 002 | SM 4500-NO3 F-2000 | Nitrate | Cd Reduction Auto
102.240 | 001 | SM 4500-P E-1999 | Phosphate, Ortho | Colorimetric
102.241 | 001 | SM 4500-P F -1999 | Phosphate, Ortho | Colorimetric
102.242 | 001 | SM 4500-SiO2 C-1997 | Silica | Colorimetric
102.243 | 001 | SM 4500-SiO2 D-1997 | Silica | Colorimetric
102.244 | 001 | SM 4500-SiO2 E-1997 | Silica | Auto Colorimetric
102.250 | 001 | SM 4500-SO4 C,D-1997 | Sulfate | Gravimetric
102.251 | 001 | SM 4500-SO4 E-1997 | Sulfate | Turbidimetric
102.252 | 001 | SM 4500-SO4 F -1997 | Sulfate | Auto Colorimetric
102.260 | 001 | SM 5310 B-2000 | Organic carbon-Total (TOC) | Combustion
102.261 | 001 | SM 5310 B-2000 | Organic carbon-Dissolved (DOC) | Combustion
102.262 | 001 | SM 5310C-2000 | Organic carbon-Total (TOC) | Oxidation
102.263 | 001 | SM 5310C-2000 | Organic carbon-Dissolved (DOC) | Oxidation
102.264 | 001 | SM 5310D-2000 | Organic carbon-Total (TOC) | Oxidation
102.265 | 001 | SM 5310D-2000 | Organic carbon-Dissolved (DOC) | Oxidation
102.270 | 001 | SM 5540C-2000 | Surfactants | Colorimetric
102.280 | 001 | SM 5910B-2011 | UV254 | Spectrophotometric
102.3 | 001 | Hach 10206 | Nitrate | Hach
102.4 | 001 | Hach 10258 Rev. 2.0 | Turbidity | Nephelometric
102.564 | 001 | Kelada-01 Revision 1.2 | Cyanide | Auto Colorimetric
102.565 | 001 | Quickchem 10-204-00-1-X | Cyanide | Auto Colorimetric
102.570 | 001 | OIA-1677, DW | Cyanide | FIA
Footnotes:
Laboratories are required to check with all of the CA ELAP approved PT providers to find a PT study.
Where PTs are available, laboratories are required to participate in PT studies for the matrix selected.
Water Supply PT studies are required for drinking water matrices.