## Table 107
Table 107: Microbiological Methods for Non-Potable Water and Sewage Sludge
Fields of Accreditation in Non-Potable Water and Sludge
Lab Name:
Certificate #:
Please refer to footnotes at the end of this Table
Subgroup Code | Analyte Code | Method | Analyte | Technology | Enter Y for Selection
107.019 | 001 | EPA 1600 | Enterococci | MF
107.021 | 001 | EPA 1603 | E. Coli, Enumeration | MF
107.023 | 001 | EPA 1680 | Fecal Coliform, Enumeration | MTF
107.025 | 001 | EPA 1681 | Fecal Coliform, Enumeration | MTF
107.027 | 001 | mColiBlue-24 | E. Coli, Enumeration | MF
107.050 | 001 | SM 9221 B-2014 | Total Coliform, Enumeration | MTF
107.052 | 001 | SM 9221 E-2014 | Fecal Coliform, Enumeration | MTF
107.054 | 001 | SM 9221 F-2014 | E. Coli, Enumeration | MTF
107.054 | 002 | SM 9221 F-2014 | Fecal Coliform, Enumeration | MTF
107.056 | 001 | SM 9222 B-2015 | Total Coliform, Enumeration | MF
107.058 | 001 | SM 9222 D-2015 | Fecal Coliform, Enumeration | MF
107.060 | 001 | SM 9222 I-2015 | E. Coli, Enumeration | MF
107.062 | 001 | SM 9230 B-2013 | Enterococci | MTF
107.062 | 002 | SM 9230 B-2013 | Fecal Streptococci | MTF
107.064 | 001 | SM 9230 C-2013 | Enterococci | MF
107.064 | 002 | SM 9230 C-2013 | Fecal Streptococci | MF
107.066 | 001 | SM 9230 D-2013 Enterolert | Enterococci | Enzyme Substrate
107.068 | 001 | SM 9223 B-2016 Colilert | E. Coli, Enumeration | Enzyme Substrate
107.070 | 001 | SM 9223 B-2016 Colilert 18 | E. Coli, Enumeration | Enzyme Substrate
107.070 | 002 | SM 9223 B-2016 Colilert 18 | Fecal Coliform, Enumeration | Enzyme Substrate
Footnotes:
Laboratories are required to check with all of the CA ELAP approved PT providers to find a PT study.
Where PTs are available, laboratories are required to participate in PT studies for the matrix selected.
Water Pollution PT studies are required for aqueous matrices.
Please refer to 40 CFR Part 136.3 Table IB for applicable footnotes.