Water Distribution Exams

Expected Range of Knowledge

| Exam Content | number of questions |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Grade | D1 | D2 | D3 | D4 | D5 |
| DISINFECTION | 15 | 20 | 20 | 15 | 10 |
| DISTRIBUTION SYSTEM DESIGN / HYDRAULICS | 20 | 20 | 15 | 10 | 10 |
| EQUIPMENT OPERATION / MAINTENANCE / INSPECTIONS | 20 | 20 | 25 | 20 | 15 |
| WATER REGULATIONS / MANAGEMENT / SAFETY | 15 | 10 | 15 | 35 | 45 |
| WATER MAINS AND PIPING | 20 | 20 | 15 | 5 | 5 |
| WATER QUALITY/WATER SOURCE | 10 | 10 | 10 | 15 | 15 |
|  | 100 | 100 | 100 | 100 | 100 |

Disinfection

Water Main Disinfection, Well Disinfection, Disinfectant By-Products, Chloramination, Chlorine Curve Chemistry, Storage Reservoir Disinfection, Types of Disinfectants

Distribution System Design / Hydraulics

System Layout, Storage Facilities, Cross-Connection and Backflow Devices, Service Connections, Systems Map, Assess System Demand, Flow Rates and Velocity, Head Loss, Cavitation, Water Hammer, Water Pressure and Volume, Static and Dynamic Pressure

Drinking Water Regulations/Management / Safety

Disinfection-By-Product Rule, Lead and Copper Rule, MCLs, Monitoring and Sampling Requirements, Public Notification, Safe Drinking Water Act, Total Coliform Rule, Operator Certification Regulations, Administer Compliance, Budgets, Emergency Response Planning, Future Planning, Maintenance Plan, Safety Plan, Water Conservation Planning, Water Rates

Equipment Operation / Maintenance / Inspections

Valves, Water Meters, Hydrants, Chemical Feeders, Corrosion, In-Line Sensors, Power Generators, SCADA, Pump Types, Uses, and Sizes, Troubleshoot and Repair Pumps and Motors, Water Horsepower, Inspection of

Water Mains, Piping, Storage Tanks, and Equipment Installation and Repair, Wells (new and abandoned)

Water Mains and Piping

Cleaning and Maintenance, Excavation, Installation, and Repair, Joints and Fittings, Leak Detection and Repair, Pipe Selection, Service Line Installation

Water Quality / Water Sources

Coliform Group, Corrosivity, Heterotrophic Bacteria, Organic and Inorganic Contaminants, pH, Conductivity, Hardness, and Turbidity, Unidirectional Flushing, Waterborne Diseases, Groundwater, Wells, Sanitary Survey

(Items marked “D1-D5” may be on the D1 – D5 exams)

(Items marked “D2-D5” may be on the D2 – D5 exams but not on the D1 exam)

Disinfection

Water Main Disinfection

D1-D5		Knowledge of water main disinfectant techniques

D1-D5		Knowledge of de-chlorination techniques

D1-D5		Ability to apply disinfectant

D1-D5		Knowledge of AWWA disinfection standards for water mains

Well Disinfection

D1-D5		Knowledge of contamination sources in a well

D1-D5		Ability to calculate a disinfectant dosage

D1-D5		Knowledge of well disinfection techniques

D1-D5		Knowledge of water depth measurement techniques

D1-D5		Knowledge of AWWA disinfection standards for wells

D1-D5		Ability to measure the water depth in a well

D1-D5		Ability to calculate the volume of a well

Storage Reservoir Disinfection

D1-D5		Knowledge of water storage contamination sources

D1-D5		Ability to calculate the volume of a storage reservoir

D1-D5		Knowledge of storage reservoir disinfection techniques

D1-D5		Knowledge of AWWA disinfection standards for storage facilities

D1-D5		Ability to calculate a disinfectant dosage

D2-D5		Ability to choose the proper disinfectant technique

D2-D5		Ability to calculate the surface area of the interior walls of a storage reservoir

D3-D5		Ability to calculate CT

Disinfectant By-Products

D2-D5		Knowledge of the causes of DBPs

D3-D5		Knowledge of DBP reduction methods

D3-D5		Knowledge of DBP formation

D3-D5		Knowledge of DBP compounds

D3-D5		Ability to recognize abnormal levels DBPs in the water distribution system

Chloramination

D1-D5		Ability to measure total chlorine

D2-D5		Knowledge of the chlorine curve

D2-D5		Knowledge of advantages/disadvantages of chloramination

D2-D5		Knowledge of chloramine compounds

D2-D5		Ability to calculate chlorine/ammonia ratio for chloramination

Chlorine Curve Chemistry

D2-D5		Knowledge of the definition of breakpoint chlorination

D2-D5		Knowledge of the chlorine curve

D2-D5		Ability to recognize when breakpoint has been met

Types of Disinfectants

D1-D5		Knowledge of the purpose of disinfection

D1-D5		Knowledge of contact time

D1-D5		Knowledge of causes of chlorine demand

D1-D5		Ability to monitor and interpret chlorine residual

D1-D5		Ability to calculate a dosage

D2-D5		Knowledge of disinfectant types and characteristics

D2-D5		Knowledge of factors affecting chlorine disinfection

D2-D5		Knowledge of chlorine analysis techniques

D3-D5		Knowledge of chlorine chemistry

- Distribution System Design / Hydraulics

Assess System Demand

D1-D5		Knowledge of unit conversions

D2-D5	Knowledge of the terms “peak demand,” “peak hour demand,” “maximum daily demand,” and “per-capita demand”

Cross-Connection and Backflow Devices

D1-D5		Knowledge of conditions that cause backflow

D1-D5		Knowledge of available backflow prevention methods

D1-D5		Knowledge of “back-pressure” and back-siphonage” conditions

D1-D5		Ability to recognize a potential backflow hazard

D1-D5		Ability to recognize a cross-connection

Service Connections

D1-D5		Knowledge of service connection materials and fittings

D1-D5		Ability to tap a water main

D2-D5		Knowledge of record keeping requirements

Storage Facilities

D1-D5		Ability to calculate the volume of a storage facility

D1-D5		Ability to calculate flow rates for a storage facility

D2-D5		Knowledge of the types of storage facilities and their applications

D2-D5		Knowledge of storage facility corrosion control methods

D2-D5		Knowledge of storage facility components

D2-D5		Ability to drain, clean and disinfect a storage facility

System Layout

D1-D5		Knowledge of “grid,” “tree,” “arterial,” and “dead end” water systems

D2-D5		Ability to differentiate between a “trunk” line and a “transmission” line

D4-D5		Ability to calculate the hydraulic gradient

System Maps

D1-D5		Knowledge of pressure / elevation relationships

D2-D5		Knowledge of map types

D2-D5		Ability to interpret map symbols

D2-D5		Ability to convert a scale to actual distance

Flow Rates and Velocity

D1-D5		Ability to convert units of volume, area, and time

D1-D5		Ability to calculate the volume of a pipe

D1-D5		Ability to calculate the area of a pipe cross-section

D1-D5		Ability to calculate a flow rate

D2-D5		Ability to calculate water velocity

Head Loss

D2-D5		Knowledge of the relationship between head loss and friction

D3-D5		Knowledge of the effect of corrosion on head loss

Cavitation

D2-D5		Knowledge of the causes of cavitation

D2-D5		Ability to recognize the signs of cavitation

Water Hammer

D1-D5		Knowledge of water hammer reduction techniques

D1-D5		Knowledge of the definition of water hammer

D1-D5		Knowledge of the causes of water hammer

D1-D5		Ability to calculate the surface area of a valve face

D2-D5		Ability to calculate total force on a valve

Water Pressure and Volume

D1-D5		Ability to convert units of volume, pressure, and area

D1-D5		Ability to calculate the volume of a cylinder, rectangle and square

Static and Dynamic Pressure

D1-D5		Knowledge of the relationship between water velocity and water pressure

D1-D5		Ability to recognize abnormal pressure readings, (too high or too low)

D1-D5		Ability to read and interpret a pressure gauge

D1-D5		Ability to convert pressure to feet of head

- Drinking Water Regulations / Management / Safety

Disinfection-By-Product Rule

D2-D5		Knowledge of the Disinfectant By-Product Rule sampling requirements

D3-D5		Knowledge of Disinfectant By-Product Rule reporting requirements

D3-D5		Knowledge of Disinfectant By-Product Rule MCL requirements

Lead and Copper Rule

D1-D5		Ability to take a lead and copper sample

D3-D5		Knowledge of lead and copper sampling requirements

D3-D5		Knowledge of lead and copper rule reporting requirements

D4-D5		Ability to recognize a lead and copper rule violation

Maximum Contaminant Levels (MCL)

D1-D5		Knowledge of the definition of MCL

D2-D5		Knowledge of maximum disinfectant residual level for chlorine

D2-D5		Ability to differentiate between a primary and secondary MCL

D2-D5		Ability to recognize MCL violations

Monitoring and Sampling Requirements

D1-D5		Ability to read a sample siting plan

D1-D5	Knowledge of water sampling techniques for bacteriological, organic, and inorganic constituents

D1-D5		Knowledge of holding times (e.g., preservatives)

Operator Certification Regulations

D1-D5		Knowledge of certification requirements

Public Notification

D1-D5		Knowledge of acute violations

D1-D5		Knowledge of when public notification is required

D4-D5		Knowledge of required language to use

D4-D5		Knowledge of notification paths (e.g., newspaper, electronic)

Safe Drinking Water Act

D1-D5		Knowledge of the purpose of the SDWA

D1-D5		Knowledge of the major components of the SDWA

D2-D5		Knowledge of reporting and recordkeeping requirements

D3-D5		Knowledge of non-compliance penalties

Total Coliform Rule

D1-D5		Knowledge of Total Coliform Rule sampling requirements

D1-D5		Knowledge of Total Coliform Rule reporting requirements

Administer Compliance, Budgets

D1-D5		Knowledge of OSHA / Cal-OSHA safety regulations

D1-D5		Knowledge of CDPH Water Quality regulations

D3-D5		Ability to calculate the cost of water production

D5		Knowledge of RWQCB discharge requirements

D5		Knowledge of Air Quality Management regulations

D5	Knowledge of the components of a budget (e.g., revenues, expenditures, risk management, insurance costs, depreciation)

D5	Knowledge of O & M budget components (e.g., labor, professional services, supplies, energy, water, capital improvement)

Emergency Response Planning

D1-D5		Knowledge of the components of the Emergency Response Plan

D1-D5		Knowledge of system pressure zones

D2-D5		Knowledge of AWWA disinfection standards

D3-D5		Knowledge of the vulnerability assessment

D3-D5		Knowledge of public notification requirements

D3-D5		Ability to train personnel on emergency response procedures

D3-D5		Ability to perform damage assessment and recovery planning

Future Planning

D4-D5		Knowledge of long-term water availability

D4-D5		Knowledge of capital improvement / capital replacement requirements

D4-D5		Ability to estimate future water needs

Maintenance Plan

D1-D5		Knowledge of predictive, preventive, and corrective maintenance

D1-D5		Knowledge of maintenance record keeping

D2-D5		Knowledge of fire hydrant testing program

D2-D5		Knowledge of valve exercise program

Safety Plan

D1-D5	Knowledge of the elements of a safety program (e.g., policy statement, training, promotion, accident investigation, reporting)

D1-D5		Knowledge of safety regulation requirements (e.g., IIPP)

D3-D5		Knowledge of record keeping / reporting requirements to OSHA

D4-D5		Ability to develop and implement a safety plan

Water Conservation Planning

D3-D5		Knowledge of energy conservation methods

D4-D5		Ability to conduct a water audit

D4-D5		Ability to calculate water production costs

D4-D5		Ability to calculate a water loss rate

Water Rates

D5		Knowledge of water use projection methods

D5		Knowledge of water rate structures, water rate setting methods

D5		Knowledge of local water usage patterns

D5		Ability to calculate annual expenditures

Safety

D1-D5		Knowledge of trenching safety equipment and procedures

D1-D5		Knowledge of traffic control procedures

D1-D5		Knowledge of personal safety equipment and procedures

D1-D5		Knowledge of hazardous material safety equipment and handling

D1-D5		Knowledge of fire safety equipment and procedures

D1-D5		Knowledge of electrical safety equipment and procedures

D1-D5		Knowledge of confined space safety equipment and procedure

D1-D5		Knowledge of chemical handling safety equipment and procedures

D1-D5		Knowledge of AC pipe handling procedures

D1-D5		Knowledge of the relapse cycle

D1-D5		Ability to recognize a confined space

Equipment Operation / Maintenance / Inspections

Valves

D1-D5		Knowledge of proper valve installation

D1-D5		Knowledge of valve types and applications

D1-D5		Knowledge of the principles of operation of valves

D1-D5		Knowledge of pressure regulating valve maintenance

D1-D5		Ability to recognize a malfunctioning valve

D2-D5		Knowledge of pressure ratings

Water Meters

D1-D5		Knowledge of water meter types and purposes

D1-D5		Ability to convert water units

D1-D5		Ability to choose the correct meter size

D2-D5		Knowledge of mechanical parts of water meter

Hydrants

D1-D5		Knowledge of thrust blocks

D1-D5		Knowledge of pressure requirements

D1-D5		Knowledge of mechanical parts of hydrants

D1-D5		Knowledge of hydrant types

D1-D5		Ability to flush using a hydrant

Chemical Feeders

D1-D5		Ability to read a graduated cylinder

D1-D5		Ability to calculate a dosage

D2-D5		Knowledge of chemical feeder types

D2-D5		Knowledge of chemical feeder components

D2-D5		Ability to troubleshoot a chemical feeder

Corrosion

D2-D5		Knowledge of type and applications of cathodic protection devices

D3-D5		Knowledge of the galvanic series

D3-D5		Knowledge of principles of operation of cathodic protection devices

In-Line Sensors

D2-D5		Knowledge of required reagents and standards

D2-D5		Knowledge of analysis methods

D2-D5		Ability to recognize normal operation of in-line sensors

Power Generators

D1-D5		Knowledge of start-up procedures

D1-D5		Knowledge of basic operation

D4-D5		Knowledge of power requirements (e.g., efficiency)

SCADA

D2-D5		Knowledge of the components of a SCADA system

D2-D5		Knowledge of communication techniques

D2-D5		Ability to interpret SCADA information

Pump Types, Uses, and Sizes

D1-D5		Knowledge of pump types

D2-D5		Knowledge of operational principles of a water pump

D3-D5		Ability to match pump type to application

D3-D5		Ability to interpret a pump curve

Troubleshoot and Repair Pumps and Motors

D1-D5		Ability to recognize abnormal pump operating conditions

D2-D5		Knowledge of the mechanical components of pumps and motors

D2-D5		Knowledge of pump maintenance procedures

D2-D5		Ability to repair and replace pump and motor system components

D3-D5		Knowledge of record keeping requirements

D3-D5		Knowledge of when to “MEG” a motor

Water Horsepower

D3-D5		Ability to calculate pump efficiency

D3-D5		Ability to calculate brake-horsepower

D4-D5		Ability to calculate the cost of pumping water

Inspection of Water Mains and Piping

D1-D5		Knowledge or proper backfill procedures and compaction

D1-D5		Knowledge of proper bedding techniques

D1-D5		Knowledge of pipe connectors and applications

D1-D5		Knowledge of compatible materials

D1-D5		Ability to recognize faulty or damaged pipe

D1-D5		Ability to recognize abnormal operating conditions

D2-D5		Knowledge of proper thrust restraint

D2-D5		Knowledge of proper disinfection techniques

D2-D5		Knowledge of allowable leak loss

Inspection of Storage Tanks

D1-D5		Knowledge of security procedures / measures

D1-D5		Knowledge of safety equipment requirements

D3-D5		Knowledge of storage tank corrosion control measures

Inspection of Equipment Installation and Repair

D1-D5		Knowledge of proper valve installation

D1-D5		Knowledge of proper hydrant installation

D1-D5		Knowledge of hydrant valve operation/testing

D2-D5		Knowledge of thrust restraint requirements

D2-D5		Knowledge of packing gland settings

D3-D5		Knowledge of proper pump alignment

D3-D5		Knowledge of proper phase balance

Inspection of Wells (New and Abandoned)

D1-D5		Ability to calculate draw down

D2-D5		Knowledge of proper installation of a sanitary seal on a well

D3-D5		Ability to calculate specific yield

D4-D5		Knowledge of well abandonment procedures and permit requirements

D4-D5		Knowledge of proper gravel packing and screen depth

D5		Knowledge of permit requirements

- Water Mains and Piping

Cleaning and Maintenance

D1-D5		Knowledge of proper flushing procedures

D1-D5		Knowledge of notification requirements

D1-D5		Ability to set up a temporary service line

D2-D5		Knowledge of the causes and affects of tuberculation

D2-D5		Knowledge of pipe cleaning procedures

D3-D5		Ability to recognize tuberculation

D3-D5		Ability to choose the proper cleaning technique

Excavation, Installation, and Repair

D1-D5		Knowledge of bedding techniques

D1-D5		Knowledge of proper backfill procedures

D1-D5		Knowledge of notification requirements

D1-D5		Knowledge of excavating techniques

D1-D5		Knowledge of compaction tools and methods

D1-D5		Knowledge of Cal-OSHA trenching and shoring requirements

D1-D5		Ability to operate a dewatering pump

D1-D5		Ability to connect water pipe

D1-D5		Ability to calculate the volume of a trench

D2-D5		Knowledge of dewatering techniques

D2-D5		Ability to identify different soil types

Joints and Fittings

D1-D5		Knowledge of proper joints and fitting applications

D1-D5		Knowledge of pipe fitting and joining methods

D2-D5		Knowledge of proper thrust block uses

D2-D5		Ability to choose the correct type of joint

D2-D5		Ability to calculate thrust block size

Leak Detection and Repair

D1-D5		Knowledge of pipe locating methods

D2-D5		Knowledge of leak detection methods

D2-D5		Knowledge of factors affecting leak detection

Pipe Selection

D1-D5		Knowledge of pipe material and applications

D1-D5		Knowledge of pipe material compatibility

D2-D5		Knowledge of advantages / disadvantages of pipe material

D2-D5		Knowledge of “C-Factor”

D2-D5		Ability to calculate the velocity of water

D2-D5		Ability to calculate pipe capacity

D3-D5		Knowledge of flow demand requirements

Service Line Installation

D1-D5		Knowledge of material compatibility

D1-D5		Ability to flush a service line

D1-D5		Ability to differentiate pipe tap size

D1-D5		Ability to differentiate meter size

D1-D5		Ability to calculate pipe volumes

D2-D5		Knowledge of tapping tools / equipment

D2-D5		Knowledge of tapping methods

- Water Quality / Water Sources

Coliform Group

D1-D5		Knowledge of the definition of pathogenic organisms

D1-D5		Knowledge of coliform bacteria types

D1-D5		Knowledge of coliform analysis methods

D1-D5		Ability to interpret coliform test results

D2-D5		Knowledge of the use of coliform as a surrogate

Determination of Corrosivity

D2-D5		Ability to recognize corrosive conditions in the distribution systems

D2-D5		Knowledge of the effect of corrosion in a distribution system

D2-D5		Knowledge of the causes of corrosion in a water distribution system

D3-D5		Knowledge of the relationship between corrosion and lead/copper concentrations

D3-D5		Knowledge of the Langelier index

D3-D5		Knowledge of corrosion control techniques

D4-D5		Ability to interpret a Langelier Index

Heterotrophic Bacteria

D2-D5		Knowledge of the effects of heterotrophic bacteria in a distribution system

D2-D5		Knowledge of heterotrophic bacteria

Organic and Inorganic Contaminants

D1-D5		Knowledge of the impacts of high nitrate concentrations in the distribution system

D2-D5		Knowledge of nitrate formation in the distribution system

D3-D5		Knowledge of sources of organic contaminants in a distribution system

D3-D5		Knowledge of sources of inorganic contaminants in a distribution system

D3-D5		Knowledge of common organic contaminant compounds

D3-D5		Knowledge common inorganic contaminant compounds

pH, Conductivity, Hardness, and Turbidity

D1-D5		Knowledge of the meaning of high levels of turbidity in a distribution system

D1-D5		Knowledge of normal pH range in drinking water

D1-D5		Ability to recognize abnormal turbidity levels in a distribution system

D1-D5		Ability to recognize abnormal pH levels of water in a distribution system

D2-D5		Knowledge of the effects of hardness in a distribution system

D2-D5		Knowledge of the effect of abnormal pH levels in the distribution system

Unidirectional Flushing

D1-D5		Knowledge of the impacts of flushing on a water distribution system

D1-D5		Knowledge of proper flushing velocities

D1-D5		Knowledge of equipment used for flushing

D2-D5		Knowledge of flushing techniques

D2-D5		Ability to recognize when flushing is required

D2-D5		Ability to calculate a water velocity

D3-D5		Knowledge of permit requirements for flushing

Waterborne Diseases

D2-D5		Knowledge of potential waterborne diseases

D2-D5		Ability to distinguish between presumptive and confirmed results

Groundwater/ Wells

D1-D5		Knowledge of the hydrologic cycle

D1-D5		Ability to measure well depth

D2-D5		Knowledge of zone of influence

D2-D5		Knowledge of well protection

D2-D5		Knowledge of well components and terms

D2-D5		Knowledge of water table fluctuations

D2-D5		Knowledge of static and pumping water level

D2-D5		Knowledge of recovery time

D2-D5		Knowledge of cone of depression

D2-D5		Ability to recognize potential sources of contamination

D2-D5		Ability to convert a pressure reading to depth of water

D3-D5		Knowledge of well location requirements

D3-D5		Knowledge of the chemical components of groundwater

D4-D5		Knowledge of the characteristics of aquifers

Sanitary Survey

D1-D5		Ability to recognize potential sources of contamination

D4-D5		Knowledge of sanitary survey requirements

Water Math

D1-D5		Ability to convert water units

D1-D5		Ability to convert units of volume, area, pressure and time

D1-D5		Ability to convert pressure to feet of head

D1-D5		Ability to calculate a disinfectant dosage

D1-D5		Ability to measure the water depth in a well

D1-D5		Ability to calculate well draw down

D1-D5		Ability to calculate the volume of a cylinder, rectangle and square

D1-D5		Ability to calculate the volume of a well, storage reservoir, pipe, trench

D1-D5		Ability to calculate flow rates

D1-D5		Ability to calculate the area of a pipe cross-section

D1-D5		Ability to calculate the surface area of a valve face

D2-D5		Ability to calculate total force on a valve

D2-D5		Ability to calculate water velocity

D2-D5		Ability to calculate pipe capacity

D2-D5		Ability to calculate the surface area of the interior walls of a storage reservoir

D2-D5		Ability to convert a scale to actual distance

D2-D5		Ability to convert a pressure reading to depth of water

D2-D5		Ability to calculate chlorine/ammonia ratio for chloramination

D2-D5		Ability to calculate thrust block size

D3-D5		Ability to calculate specific yield of a well

D3-D5		Ability to calculate CT

D3-D5		Ability to calculate pump efficiency

D3-D5		Ability to calculate brake-horsepower

D3-D5		Ability to calculate the cost of water production

D4-D5		Ability to calculate the cost of pumping water

D4-D5		Ability to estimate future water needs

D4-D5		Ability to calculate the hydraulic gradient

D4-D5		Ability to calculate water production costs

D4-D5		Ability to calculate a water loss rate

D5		Ability to calculate annual expenditures