Drinking Water Treatment Exams

Expected Range of Knowledge

| Exam Content | Number of questions |  |  |  |
| --- | --- | --- | --- | --- |
| Grade | T1 | T2 | T3 | T4 |
| Source Water | 25 | 25 | 20 | 15 |
| Water Treatment Processes | 25 | 25 | 35 | 20 |
| Operation/Maintenance | 20 | 20 | 15 | 15 |
| Laboratory Procedures | 15 | 15 | 15 | 15 |
| Regulations/Administrative Duties | 15 | 15 | 15 | 35 |

Source Water

Watershed Protection, Wells / Groundwater, Surface Water / Reservoirs, Raw Water Storage, Clear Well Storage

Water Treatment Processes

Coagulation/Flocculation/ Sedimentation,  Filtration, Disinfection, Demineralization, Corrosion Control, Iron and Manganese removal, Fluoridation, Water Softening, BAT, (Best Available Technology)

Operation / Maintenance

Chemical feeders, Pumps and Motors, Blowers and Compressors, Water meters, Pressure gauges, Electrical generators, Safety, SCADA systems

Laboratory Procedures

Sampling, General Lab Practices, Disinfectant analysis, Alkalinity analysis, pH analysis, Turbidity analysis, Specific conductance, Hardness, Fluoride analysis, Color analysis, Taste and Odor analysis, Dissolved Oxygen analysis, Algae Count, Bacteriological analysis

Regulations/Administrative Duties

Planning, Organizing, Directing, Controlling, Staffing, Implementing Regulations, Record keeping, Safe Drinking Water Act and amendments, Surface Water Treatment Rule and amendments, Primary Contaminants, Secondary Contaminants, Lead and Copper Rule, Fluoride Regulations, Operator Certification Regulations

EXPECTED RANGE OF KNOWLEDGE

WATER TREATMENT EXAMS

(Items marked “T1-T4” may be on the T1 – T4 exams)

(Items marked “T2-T4” may be on the T2 – T4 exams but not on the T1 exam)

Source Water

Wells/Groundwater

T1-T4		Knowledge of the characteristics of aquifers

T1-T4		Knowledge of the chemical components of groundwater

T1-T4		Knowledge of potential contamination in groundwater

T1-T4		Knowledge of well sampling techniques

T1-T4		Knowledge of groundwater characteristics

T1-T4		Ability to analyze water quality characteristics

T1-T4		Ability to calculate well drawdown

T2-T4		Ability to recognize hydrological changes

T2-T4		Ability to calculate a disinfectant dosage in a well

T2-T4	Ability to recognize the influence of surface water on a groundwater source

T2-T4		Ability to calculate well specific capacity

T3-T4		Knowledge of the source water assessment process

T3-T4		Ability to recognize abnormal chemical characteristics of water

T3-T4		Ability to calculate well head pressure

Surface Water/Reservoirs

T1-T4		Knowledge of microbial contamination

T1-T4		Knowledge of flow measurement devices

T1-T4		Ability to recognize potential sources of contamination in surface water

T1-T4		Ability to calculate flow rates

T1-T4		Ability to discriminate between normal and abnormal conditions

T1-T4		Ability to collect a water sample from a surface water source

T1-T4		Ability to calculate the volume of water contained in a storage facility

T1-T4		Ability to recognize abnormal odors or colors

T2-T4		Knowledge of the characteristics of surface waters

T2-T4		Knowledge of the chemical characteristics of surface water

T2-T4		Knowledge of the physical characteristics of surface water

T2-T4		Knowledge of reservoir stratification

T2-T4		Knowledge of the effects of seasonal changes

T2-T4		Knowledge of proper surface water sampling procedures

T3-T4		Ability to interpret water quality reports

Raw Water Storage

T1-T4		Knowledge of water quality characteristics

T1-T4		Knowledge of bacterial contaminants

T1-T4		Knowledge of potential contamination sources

T1-T4		Ability to discriminate between normal and abnormal conditions

T1-T4		Ability to calculate a chemical dosage

T1-T4		Ability to collect a water sample

T2-T4		Knowledge of proper sampling procedures

T2-T4		Ability to measure temperature

T2-T4		Ability to determine water level

T2-T4		Ability to measure turbidity

T2-T4		Ability to calculate detention time

Clear Well Storage

T1-T4		Knowledge of water quality characteristics

T1-T4		Knowledge of bacterial contaminants

T1-T4		Knowledge of proper sampling procedures

T1-T4		Ability to calculate a chemical dosage

T1-T4		Ability to measure temperature

T1-T4		Ability to measure pH

T1-T4		Ability to determine water level

T1-T4		Ability to measure turbidity

T2-T4		Knowledge of potential contamination sources

T2-T4		Ability to discriminate between normal and abnormal conditions

T4		Ability to calculate a CT value

- Water Treatment Processes

Coagulation/Flocculation/Sedimentation

T2-T4		Knowledge of safe chemical handling

T2-T4		Knowledge of chemical compatibilities

T2-T4		Knowledge of maximum dose levels

T2-T4		Ability to calculate chemical solution concentration

T2-T4		Ability to analyze a water sample for turbidity

T2-T4		Ability to analyze a water sample for pH

T2-T4		Ability to analyze a water sample for temperature

T2-T4		Ability to measure sludge depth

T3-T4		Knowledge of the coagulation/flocculation process

T3-T4		Knowledge of chemical coagulants and coagulant aids

T3-T4		Knowledge of coagulation/flocculation start-up/shut-down procedures

T3-T4		Knowledge of coagulation/flocculation adjustment procedures

T3-T4		Knowledge of chemical feeder calibration and adjustment

T3-T4		Knowledge of the mixing process

T3-T4		Knowledge of zeta potential

T3-T4		Knowledge of TOC/Disinfection by-product correlation

T3-T4		Knowledge of enhanced coagulation

T3-T4		Ability to recognize normal and abnormal floc formation

T3-T4		Ability to measure turbidity

T3-T4		Ability to analyze a water sample for alkalinity

T3-T4		Knowledge of the sedimentation process

T3-T4		Knowledge of sedimentation basins

T3-T4		Ability to recognize and correct abnormal conditions in the sedimentation basin

T3-T4		Ability to operate a sedimentation basin

T3-T4		Ability to calculate the correct coagulant dosage

T3-T4		Ability to perform a jar test

T4		Ability to determine sludge-depth in solids-contact unit

T4		Ability to operate a solids-contact unit

T4		Ability to operate an up flow clarifier

Filtration

T1-T4		Ability to interpret turbidity information

T1-T4		Knowledge of turbidity causing matter

T2-T4		Knowledge of filtration mechanisms (absorption, adsorption

T2-T4		Knowledge of head loss effects on filters

T2-T4		Ability to calculate filter-aid dosage

T2-T4		Ability to calculate filtration rate ratio

T2-T4		Ability to calculate filter backwash rate

T3-T4		Knowledge of filter porosity

T3-T4		Knowledge of filter media types and uses

T3-T4		Ability to recognize and correct problems in gravity filters

T3-T4		Knowledge of the diatomaceous earth process

T3-T4		Knowledge of filtration rates

T3-T4		Ability to recognize and correct problems in granular activated carbon filters

T3-T4		Ability to recognize and correct problems in multimedia filters

T3-T4		Ability to calculate filter media volume and capacity

T3-T4		Ability to calculate a filtration rate

T3-T4		Ability to calculate daily filter production

T3-T4		Ability to measure turbidity

T4	Knowledge of filter media replacement considerations, requirements, and techniques

Disinfection

T1-T4		Knowledge of chlorine chemistry

T1-T4		Knowledge of breakpoint chlorination chemistry

T1-T4		Knowledge of proper sampling techniques

T1-T4		Knowledge of safe chemical handling practices

T1-T4		Knowledge of chlorine analysis procedures

T1-T4	Ability to calculate flow rates, volumes, dilution factors, feed rates, and chemical concentrations

T1-T4		Ability to calculate a de-chlorination dosage

T1-T4		Ability to analyze a water sample for free and total chlorine

T1-T4		Knowledge of de-chlorination practices

T2-T4		Knowledge of chloramines chemistry

T2-T4		Knowledge of ammonia feed systems

T2-T4		Ability to calibrate and adjust a chemical feeder pump

T2-T4		Ability to calculate a disinfectant dosage

T2-T4		Ability to calculate an ammonia/chlorine ratio

T3-T4	Knowledge of disinfectant properties and uses (chlorine, chlorine dioxide, chlorine gas, chloramines, ozone)

T3-T4		Knowledge of ozonation system operation

T4		Ability to choose an appropriate disinfectant for a particular bacterial problem

T4		Ability to calculate a CT value

Demineralization

T3-T4		Knowledge of dissolved minerals in water

T3-T4		Ability to analyze a sample for specific conductance

T4		Knowledge of ion exchange processes

T4		Ability to regenerate ion exchange system

T4		Knowledge of specific conductance/TDS ratio

T4		Ability to calculate a TDS value from a specific conductance 	reading

Corrosion Control

T1-T4		Knowledge of health effects of Pb and Cu

T2-T4		Knowledge of pH adjustment

T2-T4		Knowledge of corrosion causes

T2-T4		Knowledge of C-factor

T2-T4		Ability to recognize corrosion problems

T2-T4		Ability to calculate a chemical feed rate (dose)

T2-T4		Ability to set the proper chemical feed rate

T3-T4		Knowledge of corrosion control inhibitors

T3-T4		Knowledge of corrosion control chemical reactions

T3-T4		Knowledge of the cathodic protection process

T3-T4		Ability to calculate chemical solution concentration

T3-T4		Ability to analyze a water sample for pH

T4		Ability to choose the proper corrosion control chemical for a specific problem

Iron and Manganese

T2-T4		Knowledge of iron and manganese removal processes

T2-T4		Knowledge of proper sampling and preservation techniques

T2-T4		Ability to recognize an iron and manganese problem

T2-T4		Ability to calculate a chemical dosage

T3-T4		Knowledge of iron and manganese oxidation chemistry

T3-T4		Knowledge of oxidation techniques

T3-T4		Ability to calculate chemical solution concentration

T4		Knowledge of ion exchange chemistry

Fluoridation

T1-T4		Knowledge of the health effects of fluoride

T2-T4		Knowledge of back siphoning prevention measures

T2-T4		Knowledge of incompatible chemicals

T2-T4		Ability to calculate a chemical dosage

T3-T4		Knowledge of fluoridation chemicals

T3-T4		Ability to calculate chemical solution concentration

T3-T4		Ability to operate a chemical feeder system

T4		Knowledge of fluoride chemistry

Water Softening

T1-T4		Knowledge of hard water causing chemicals

T2-T4		Knowledge of the water softening processes

T2-T4		Knowledge of acceptable water hardness range

T2-T4		Ability to convert units

T2-T4		Ability to calculate a chemical dosage

T3-T4		Knowledge of hardness removal chemicals

T3-T4		Ability to analyze a sample for water hardness

T3-T4		Ability to calculate blended water concentrations

T4		Ability to calculate a the hardness removal capacity of resin

Best Available Technology

T1-T4		Knowledge of waterborne pathogens

T4		Knowledge of BAT (Best Available Technology) for each contaminant

T4		Knowledge of effective removal techniques other than BAT

T4		Knowledge of adverse health effects caused by contaminants

T4		Knowledge of contaminant source or formation chemistry

T4		Knowledge of pharmaceutical contaminants

- Operation / Maintenance

Chemical Feeders

T1-T4		Ability to discriminate between normal and abnormal operation

T2-T4		Knowledge of the operation of chemical feeder systems

T2-T4		Knowledge of the components of chemical feeder systems

T2-T4		Knowledge of backpressure retention valves

T2-T4		Ability to calculate a dosage

T2-T4		Ability to replace components of a chemical feeder system

T2-T4		Ability to set speed and stroke

Pumps and Motors

T1-T4		Knowledge of the operation of a water pump

T1-T4		Knowledge of the components of a water pump

T1-T4		Knowledge of pump types

T1-T4		Ability to calculate a flow rate

T3-T4		Ability to discriminate between normal and abnormal operation

Blowers and Compressors

T2-T4		Knowledge of the operation of blowers and compressors

T2-T4		Ability to discriminate between normal and abnormal operation

T4		Knowledge of the components of blowers and compressors

Water Meters

T1-T4		Knowledge of the operation of water meters

T1-T4		Knowledge of water meter types

T1-T4		Ability to discriminate between normal and abnormal operation

T2-T4		Knowledge of the components of water meters

Pressure Gauges

T1-T4		Knowledge of the operation of pressure gauges

T1-T4		Knowledge of head pressure

T1-T4		Ability to discriminate between normal and abnormal operation

T1-T4		Ability to replace pressure gauges

Electrical Generators

T1-T4		Ability to discriminate between normal and abnormal operation

T2-T4		Knowledge of the operation of an electrical generator

T2-T4		Knowledge of basic SCADA system components

T2-T4		Knowledge of SCADA system capabilities

T2-T4		Ability to determine normal operation of a SCADA system

T2-T4		Knowledge of the operation of on-line analyzers

T2-T4		Knowledge of the components of on-line analyzers

T2-T4	Ability to discriminate between normal and abnormal operation of on-line analyzers

T2-T4		Ability to repair or replace EXPENDABLE parts of on-line analyzers

T2-T4		Knowledge of the various types of water flow meters

T2-T4	Knowledge of required reagents for free or total chlorine analysis, and preparation of KI solution

T3-T4		Knowledge of flow rates for low range and high range turbidimeters

T3-T4		Knowledge of cleaning and adjusting the flow of a particle counter

T4		Ability to prepare and calibrate turbidimeters with Primary 							standard (Formazin)

T4	Ability to adjust STREAMING CURRENT DETECTOR to “zero” using gain knob and knowledge of what this “zero” represents

T4		Ability to prepare and calibrate turbidimeters with Primary standard (Formazin)

T4	Knowledge of what a STREAMING CURRENT DETECTOR readings with regard to coagulation dosage and raw water condition

T4		Ability to standardize a dissolved ozone residual analyzer

T4	Knowledge of the transfer efficiency derived from the relationship between gas phase ozone product gas and off gas analyzers

T4		Ability to calculate U.V. dosages

Laboratory Procedures

Sampling

T1-T4 		Knowledge of proper sampling and preservation techniques

T1-T4		Knowledge of appropriate sample containers and required sample sizes

T1-T4		Ability to follow chain-of-custody

T2-T4		Knowledge of maximum holding times

T3-T4		Ability to determine a proper sampling site

T4		Knowledge of giardia and cryptosporidium sampling techniques

T4		Ability to write a sampling plan

General Laboratory Practices

T1-T4		Knowledge of proper chemical handling techniques

T2-T4		Knowledge of quality control procedures

T3-T4		Knowledge of approved analytical procedures

T3-T4		Ability to follow chain-of-custody

T3-T4		Ability to perform dilutions

T3-T4		Ability to calculate a dilution factor

Disinfectant Analysis

T1-T4		Knowledge of abnormal chlorine levels

T1-T4		Knowledge of chlorine analysis techniques (DPD, amperometric)

T3-T4		Knowledge of chlorine chemistry

T3-T4		Knowledge of ozone chemistry

T3-T4		Knowledge of de-chlorination chemistry

Alkalinity Analysis

T1-T4		Knowledge of chemicals that contribute alkalinity to water

T2-T4		Ability to read a pH meter

T3-T4		Knowledge of abnormal alkalinity levels

T3-T4		Ability to use a titrator

T3-T4		Ability to recognize a titration end-point

pH

T1-T4		Knowledge of the pH scale

T1-T4		Knowledge of acids and bases

T1-T4		Ability to read a pH meter

T2-T4		Knowledge of temperature effects on pH

T2-T4		Ability to calibrate a turbidimeter

Specific Conductance

T4		Knowledge of EC/TDS

T4		Ability to read a specific conductance meter

Hardness

T1-T4		Knowledge of chemicals that contribute hardness to water

T2-T4		Knowledge of abnormal hardness levels

T3-T4		Ability to use a titrator

T3-T4		Ability to read a pH meter

T3-T4		Ability to recognize a titration end-point

Fluoride

T2-T4		Knowledge of abnormal levels of fluoride

T3-T4		Knowledge of optimal fluoride level control range

Color Analysis

T3-T4		Knowledge of color analysis scale

T3-T4		Knowledge of abnormal color levels

T3-T4		Knowledge of true and apparent color

T4		Ability to determine small variations in color

Taste and Odor

T2-T4		Knowledge of chemicals that contribute taste and odor

T2-T4		Knowledge of abnormal taste and odors

T3-T4		Knowledge of odor analysis protocol

T3-T4		Ability to identify an objectionable taste or odor

Dissolved Oxygen

T3-T4		Knowledge of normal and abnormal dissolved oxygen levels

T3-T4		Knowledge of the adverse effects of abnormal dissolved oxygen levels

T3-T4		Knowledge of dissolved oxygen measuring devices

Algae Count

T3-T4		Knowledge of algae treatment techniques

T4		Ability to identify algal organisms that impact the water treatment process

Bacteriological Analysis

T2-T4		Knowledge of bacteriological analysis methods

T2-T4		Knowledge of the presence/absence test method

T2-T4		Knowledge of the multiple tube fermentation method

T2-T4		Knowledge of Heterotrophic Plate Count (HPC)

T2-T4		Knowledge of the membrane filtration method

T2-T4		Knowledge of bacteriological testing controls

T2-T4		Ability to distinguish between presumptive and confirmed results

- Safety

T1-T4		Knowledge of safe working practices

T1-T4		Knowledge of the use of safety equipment

T1-T4		Knowledge of compressed gas safety procedures

T1-T4		Knowledge of hazardous chemical handling

T1-T4		Knowledge of personal protective equipment (PPE)

T1-T4		Knowledge of lock-out/tag-out procedures

T1-T4		Ability to demonstrate safe work habits

T1-T4		Ability to recognize unsafe working conditions

T2-T4		Knowledge of electrical safety

T2-T4		Ability to select and operate safety equipment

T3-T4		Knowledge of HAZWOPER guidelines

T3-T4		Ability to administer first aid

T3-T4		Ability to administer CPR

- Administrative Duties

T1-T4		Knowledge of drinking water regulations

T1-T4		Ability to communicate verbally and in writing

T1-T4		Ability to demonstrate safe work habits

T1-T4		Ability to identify potential safety hazards

T1-T4		Ability to organize information and follow written procedures

T1-T4		Ability to recognize unsafe work conditions

T2-T4		Knowledge of facility operation and maintenance

T2-T4		Knowledge of monitoring and reporting requirements

T2-T4		Ability to determine what information needs to be recorded

T2-T4		Ability to interpret and transcribe data

T3-T4		Knowledge of record keeping requirements

T3-T4		Knowledge of NSF Standards

T3-T4		Ability to evaluate facility performance

T3-T4		Ability to review reports

T3-T4		Ability to translate technical language into common terminology

T4		Ability to calculate the cost of operations

T4		Knowledge of management principles

T4		Knowledge of public relations principles

T4		Knowledge of principles of supervision

- Regulations

T1-T4		Knowledge of sampling requirements

T1-T4		Knowledge of turbidity level requirements

T1-T4		Knowledge of disinfection residual requirements

T1-T4		Knowledge of MCLs and MRDLs of disinfectants

T1-T4		Ability to research and interpret MCLs

T2-T4		Knowledge of notification protocol and procedures

T2-T4		Knowledge of public notification procedures

T2-T4		Knowledge of record keeping requirements

T2-T4		Knowledge of corrective actions to take when regulations are violated

T3-T4		Knowledge of reporting procedures

T3-T4		Knowledge of the Consumer Confidence Report (CCR)

T3-T4		Knowledge of regulatory primacy issues

T3-T4	Knowledge of performance standards and removal requirements for the SWTR and IESWTR

T4 		Knowledge of the sanitary survey process

T4 		Knowledge of the watershed survey process

T4		Knowledge of pending regulations

T4		Knowledge of cryptosporidium action plan

T4		Ability to develop an operations plan

T4		Ability to develop an operational site sampling plan

T4		Ability to conduct a Sanitary Survey

T4		Ability to conduct a Watershed Survey

T4		Ability to perform a filter profile analysis

T4		Ability to perform a filter assessment surveillance program

T4		Ability to conduct a comprehensive performance evaluation

Water Treatment Exam Math

T1-T4		Ability to calculate well drawdown

T1-T4		Ability to calculate flow rates, water velocity

T1-T4		Ability to calculate the volume of water contained in a storage facility

T1-T4		Ability to calculate a chemical, disinfectant dosage

T1-T4		Ability to determine water level

T1-T4	Ability to calculate volumes, dilution factors, feed rates, and chemical concentrations

T1-T4		Ability to calculate a de-chlorination dosage

T1-T4		Ability to calculate chlorine residual

T1-T4		Ability to convert a head pressure to water elevation

T2-T4		Ability to calculate well specific capacity

T2-T4		Ability to calculate detention time

T2-T4		Ability to calculate chemical solution concentration

T2-T4		Ability to calculate filter-aid dosage

T2-T4		Ability to calculate filter backwash rate

T2-T4		Ability to calculate an ammonia/chlorine ratio

T2-T4		Ability to calculate a chemical feed rate (dose) for corrosion control

T2-T4		Ability to calculate a chemical dosage for Fe/Mn removal, fluoridation

T2-T4		Ability to calculate a dosage on a chemical feeder

T3-T4		Ability to calculate well head pressure

T3-T4		Ability to calculate a coagulant dosage

T3-T4		Ability to perform a jar test

T3-T4		Ability to calculate filter media volume and capacity

T3-T4		Ability to calculate a filtration rate

T3-T4		Ability to calculate filter loading rate

T3-T4		Ability to calculate daily filter production

T3-T4		Ability to calculate a chemical solution concentration for Fe/Mn, fluoridation

T3-T4		Ability to calculate blended water chemical concentrations

T3-T4		Ability to calculate % removal of chemical contaminants

T4		Ability to calculate a CT value

T4		Ability to calculate a TDS value from a specific conductance reading

T4		Ability to calculate the hardness removal capacity of resin

T4		Ability to calculate the cost of operations