52X

State Water Resources Control Board

Division of Drinking Water

50 D Street, Suite 200

Santa Rosa, CA  95404-3752

(707) 576-2145   Fax: (707) 576-2722

LEAD AND COPPER RESULTS WORKSHEET

System Name:

System ID Number:

Sample Date(s):

Determine the 90th percentile Lead and Copper Levels:

1.	List all of the samples in Table 1 below.

2.	Circle the highest three values for both lead and copper.

3.	Determine the 90th percentile lead level by following the instructions given in Table 2.

Write down the 90th percentile level for Lead = 		 ug/L (AL = 0.015 mg/L or 15 ug/L)

4.	Determine the 90th percentile copper level by following the instructions given in Table 2.

Write down the 90th percentile level for Copper = 		 ug/L (AL = 1.3 mg/L or 1,300 ug/L)

## Table 1 - Sample Results

|  | Sample Address | Lead Level (ug/L) | Copper Level (ug/L) | Tier1 | Used in last sample round (Yes or No) |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |
| 11 |  |  |  |  |  |
| 12 |  |  |  |  |  |
| 13 |  |  |  |  |  |
| 14 |  |  |  |  |  |
| 15 |  |  |  |  |  |
| 16 |  |  |  |  |  |
| 17 |  |  |  |  |  |
| 18 |  |  |  |  |  |
| 19 |  |  |  |  |  |
| 20 |  |  |  |  |  |

## Table 2 - Determining the 90th Percentile Lead or Copper Level

| # Number of Tap |  |
| --- | --- |
| Samples Collected | How to Determine the 90th Percentile Lead or Copper Level |
| 5 - 7 | Average the two highest sample results to get the 90th percentile level. |
| 8 - 12 | The 90th percentile level is the second highest sample result. |
| 13 - 17 | Average the second and third highest sample results to get the 90th percentile level. |
| 18 - 22 | The 90th percentile level is the third highest sample result. |

- CERTIFICATION OF COLLECTION METHODS

I certify or have documentation from customers that:

Each first draw tap sample for lead and copper is one liter in volume and has stood motionless in plumbing system of each sampling site for at least six hours and no more than 12 hours.

Each first draw sample collected from a single-family residence has been collected from the cold-water kitchen tap or bathroom sink tap.

Each first draw sample collected from a non-residential building has been collected at an interior tap from which water is typically drawn for consumption.

Each first draw sample collected during an annual or triennial monitoring period has been collected in months of June, July, August, or September.

Each resident who volunteered to collect tap water samples from his or her home has been properly instructed in the proper methods for collecting lead and copper samples.  I do not challenge the accuracy of those sampling results.

- NOTIFICATION OF RESULTS TO PARTICIPANTS

Within 30 days of learning of the lead sampling results, I notified the participants, by mailing or posting of the notice, of the lead and copper sample results from their individual taps as required by the System’s Lead and Copper Sampling Plan

I mailed or posted notifications to customers of the lead and copper results from their taps.

I provided lead education for sites with lead detections.

SIGNATURE:							  	DATE:

/

Print Name						Title