State Water Resources Control Board

36a

Division of Drinking Water

Small Water System Bacteriological Sampling Plan and Groundwater Rule Sampling Plan

# I.  System Information:

| System Name and Number: |  |
| --- | --- |
| Service connections: |  |
|  | (Number of residences and/or buildings served by the system) |
| Population: |  |
|  | (Number of individuals served each day by system during busiest month) |
| Source(s): |  |
|  | (List all water supply sources – wells and/or springs) |

# II.  Routine Sampling Frequency

The water system must collect _____ routine sample at a frequency of once every ____________

III.  Routine and Repeat Sampling Sites

*Routine sample site No. 1:  ______________________

*This site must be representative of the distribution system and shall not be designated as a water source (i.e. well, etc.).

If this routine sample contains coliform bacteria, the water system must collect a set of repeat samples within 24 hours of being notified of the result. (If your routine sampling frequency is equal to or less than one sample per month, the repeat sample set must consist of 4 samples. If your routine sampling frequency is greater than one sample per month, the repeat sample set need only consist of 3 samples.)

Repeat Sample Set (No. 1)

#### Repeat sample site No. 1: _______________________________ ### (Collect one sample at the original routine sample site)

Repeat sample site No. 2: ________________________________ (Collect one sample within five connections upstream)

Repeat sample site No. 3: ________________________________ (Collect one sample within five connections downstream)

Repeat sample site No. 4: _________________________________ (Collect one additional sample in the distribution system)

Ground water Triggered Source Sample(s)4:  _________________________________ (Identify Sources)

(Collect one sample for E. coli from each ground water source on line at the time of the routine total coliform-positive sample result)

If you purchase water from another water system, you must contact the water system from which you purchase water within 24 hours of being notified of a routine total coliform positive sample result.

Name of wholesaler contact: ________________________________

Phone number of wholesaler contact:

* A routine sample site must be designated for each pressure zone or separate area served by the water system.  The routine sample sites must be rotated such that they are all sampled on a regular basis.  If this water system must designate more than one routine sample site, please do so on the following page.

Check one of the following:

Only one routine sample site is necessary to adequately represent the system.  Additional routine and repeat sample sites are not attached.

This water system contains more than one pressure zone or separate area.  Additional routine and repeat sample sites are attached.

Complete this page only if your water system must designate more than one routine sample site.

Routine Sample Site No. 2:  ________________________________________________

This site must be representative of the distribution system and shall not be designated as a water source (i.e. well, etc.).

If this routine sample contains coliform bacteria, the water system must collect a set of repeat samples within 24 hours of being notified of the result. (If your routine sampling frequency is equal to or less than one sample per month, the repeat sample set must consist of 4 samples. If your routine sampling frequency is greater than one sample per month, the repeat sample set need only consist of 3 samples.)

Repeat Sample Set No. 2:

| Repeat sample site No. 1: |  |  |  |
| --- | --- | --- | --- |
|  | (Collect one sample at the original routine sample site) |  |  |
| Repeat sample site No. 2: |  |  |  |
|  | (Collect one sample within five connections upstream) |  |  |
| Repeat sample site No. 3: |  |  |  |
|  | (Collect one sample within five connections downstream) |  |  |
| Repeat sample site No. 4: |  |  |  |
|  | (Collect one additional sample in the distribution system) |  |  |

Groundwater Triggered Source Sample(s):  _________________________________    (Identify Sources)

(Collect one sample for E. coli from each ground water source on line at the time of the routine total coliform-positive sample result)

If you purchase water from another water system, you must contact the water system from which you purchase water within 24 hours of being notified of a routine total coliform positive.

Routine Sample Site No. 3: _______________________________________________

This site must be representative of the distribution system and shall not be designated as a water source (i.e. well, etc.).

If this routine sample contains coliform bacteria, the water system must collect a set of repeat samples within 24 hours of being notified of the result. (If your routine sampling frequency is equal to or less than one sample per month, the repeat sample set must consist of 4 samples. If your routine sampling frequency is greater than one sample per month, the repeat sample set need only consist of 3 samples.)

Repeat Sample Set No. 3:

| Repeat sample site No. 1: |  |  |  |
| --- | --- | --- | --- |
|  | (Collect one sample at the original routine sample site) |  |  |
| Repeat sample site No. 2: |  |  |  |
|  | (Collect one sample within five connections upstream) |  |  |
| Repeat sample site No. 3: |  |  |  |
|  | (Collect one sample within five connections downstream) |  |  |
| Repeat sample site No. 4: |  |  |  |
|  | (Collect one additional sample in the distribution system) |  |  |

Groundwater Triggered Source Sample(s):  _________________________________   (Identify Sources)

(Collect one sample for E. coli from each ground water source on line at the time of the routine total coliform-positive sample result)

###### If you purchase water from another water system, you must contact the water system from which you purchase water within 24 hours.

###### IV.  Sampling During The Month Following A Positive Sample

If one or more samples are positive for total coliform in a month, the water system is required to collect five routine samples during the following month.  These five samples can be collected over the course of the month or all on the same day.  Please list the locations from which these extra samples would be collected:

1.  				   2.  				   3.

4.  				   5.

# V.  Map or Diagram

Attach an 8.5" x 11" map or diagram showing the location of routine and repeat sample sites, the well(s), and the entry point of water into the distribution system.

# VI.  Personnel and Laboratory Notification

| Sampler: |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | (Sample collection must be performed by a person trained in sample collection. Provide name of sampler.) |  |  |
| Laboratory: |  |  |  |  |
|  |  | (Provide the name and phone number of the certified lab doing your water analysis. Arrangement must be made for weekend and holiday analysis if needed.) |  |  |
| Notification: |  | Laboratory to notify persons designated below within 24 hours whenever a sample is found to contain coliform bacteria: |  |  |
| 1. |  |  |  |  |
|  | (Name) |  | (Daytime Phone #) | (Evening Phone #) |
| 2. |  |  |  |  |
|  | (Name) |  | (Daytime Phone #) | (Evening Phone #) |

# VII.  Notification of the Department

The water system will notify the State Water Resources Control Board, Division of Drinking Water Sonoma District Office, within 24 hours whenever a sample contains fecal coliform or E. coli bacteria or whenever a follow-up sample is positive.

Sonoma District Office:				(707) 576-2145 (day or night, leave message)

Janice Oakley, Sonoma District Engineer:	(707) 576-2006 (evening: (707) 533-4510)

Submitted by:							    Date

## KEEP A COPY OF THIS FORM FOR YOUR REFERENCE AND USE

##### ADDITIONAL INFORMATION

When responding to a laboratory report of bacterial contamination, keep in mind the following:

- Coliform bacteria should not be present in drinking water and the presence of coliform indicates a potentially serious problem.  Appropriate investigation should be performed immediately.

- Check water system components such as water sources, filtration and/or chlorination equipment and storage tanks for indications of unusual conditions or problems.

- Correct problems immediately.  Do not wait for results of follow-up samples to take action.

- If a triggered source sample result is E. coli-positive, the system must conduct Tier 1 notification and collect five (5) additional source samples within 24 hours of being notified of the E. coli-positive sample result.

- Templates for many public notifications are available at the SWRCB website:  http://www.swrcb.ca.gov/drinking_water/certlic/drinkingwater/Notices.shtml

/tmp/in/input.doc	12/2018