State Water Resources Control Board

37a

Division of Drinking Water

SONOMA DISTRICT #18

Large Water System Bacteriological Site Sampling Plan – Surface Water

System:__________________________________________   Number:___________

- ROUTINE SAMPLING

Connections: 	Population Served:

Source(s):

Number of Pressure Zones:

Sampling Frequency:

| Routine Sampling Site | Pressure Zone |
| --- | --- |

Samplers:

Laboratory:

Notification:	Laboratory to notify water utility employees designated below within 24 hours whenever the presence of total coliform, fecal coliform, or E. coli is demonstrated in a sample or that a sample has been invalidated.

1.		 (work)

(home)

2.		 (work)

(home)

If you purchase water from another water system, you must contact the water system from which you purchase water within 24 hours of being notified of a routine total coliform positive sample result.

Name of wholesaler contact: ________________________________

Phone number of wholesaler contact:

The Utility will notify the State Water Resources Control Board Division of Drinking Water, Sonoma District Office within the 24 hours whenever there is a possible significant rise in bacteriological count defined by Section 64426, Title 22 of the California Code of Regulations (CCR) or whenever it determines it has violated the Bacteriological MCL for a month.

| Sonoma District Office: | 707-576-2145 (day or night, leave message) |
| --- | --- |
| Janice Oakley, Sonoma District Engineer: Sheri Miller, Mendocino District Engineer: | 707-576-2006 (work), 707-533-4510 (cell) 707-576-2734 (work), 707-974-8004 (cell) |

- PRESSURE ZONES

| Pressure Zone | Connections | Percentage of Total System | Population Served |
| --- | --- | --- | --- |

Include a brief description below of each pressure zone including how each zone is supplied, the storage in each zone, and other zones each zone feeds:

- ROUTINE SAMPLING SCHEDULE

Sample dates for a one-year period for each routine sample location in the system. This part of the plan will have to be updated annually.

Year:

|  |  | Sampling dates |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Zone | Sampling Site | January | February | March | April | May | June |

|  |  | Sampling dates |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Zone | Sampling Site | July | August | Sept. | Oct. | Nov. | Dec. |

- REPEAT SAMPLING

If a routine sample is total coliform positive, a repeat sample set shall be collected within 24 hours of being notified of the positive result.  The repeat sample set will consist of three samples, one sample from the original routine sample site, one from the upstream repeat sample site, and one from the downstream repeat sample site.

The utility has made arrangements to have repeat samples analyzed on weekends and holidays by the following laboratory:

| Pressure Zone | Routine Sampling Site | Upstream Repeat Site | Downstream Repeat Site |
| --- | --- | --- | --- |

For systems collecting less than 5 routine samples per month - If one or more samples are positive for total coliform in a month, at least 5 routine samples must be collected in the following month.

5. SITE MAP

A distribution system or street map must be attached showing all the locations of all sampling sites (routine and repeat) within the distribution system.

Submitted By: 								Date:

Staff\0 Common Links\All Tech Handouts ORIGINALS\37a LWS Bacti Sampling Plan – SW (Sonoma)	Rev.12/18