### Text For Lead Public Education Program For Community Water Systems

### [System must insert applicable information]

SOME HOMES IN THIS COMMUNITY HAVE ELEVATED LEAD LEVELS IN THEIR DRINKING WATER. LEAD CAN POSE A SIGNIFICANT RISK TO YOUR HEALTH. PLEASE READ THE ENCLOSED NOTICE FOR FURTHER INFORMATION.

INTRODUCTION:  The California State Water Resources Control Board (SWRCB), the U.S. Environmental Protection Agency, and [insert name of water supplier] are concerned about lead in your drinking water.  Although most homes have very low levels of lead in their drinking water, some homes in the community have lead levels above the state and federal action level of 15 parts per billion (ppb), or 0.015 milligrams of lead per liter of water (mg/L).  Under state and federal law, we are required to have a program in place to minimize lead in your drinking water by [insert date when corrosion control will be completed for your system].  This program includes corrosion control treatment, source water treatment, and public education. We are also required to replace the portion of each lead service line that we own if the line contributes lead concentrations of 15 ppb or more after we have completed the comprehensive treatment program. If you have any questions about how we are carrying out the requirements of the lead regulation, please give us a call at [insert water system's phone number].  This handout explains the simple steps you can take to protect you and your family by reducing your exposure to lead in drinking water.

HEALTH EFFECTS OF LEAD:  Lead is a common metal found throughout the environment in lead-based paint, air, soil, household dust, food, certain types of pottery, porcelain and pewter, and water.  Lead can pose a significant risk to your health if too much of it enters your body. Lead builds up in the body over many years and can cause damage to the brain, red blood cells and kidneys.  The greatest risk is to young children and pregnant women.  Amounts of lead that won't hurt adults can slow down normal mental and physical development of growing bodies.  In addition, a child at play often comes into contact with sources of lead contamination, such as dirt and dust, that rarely affect an adult.  It is important to wash children's hands and toys often and to try to make sure they only put food in their mouths.

LEAD IN DRINKING WATER: Lead in drinking water, although rarely the sole cause of lead poisoning, can significantly increase a person's total lead exposure, particularly the exposure of infants who drink baby formulas and concentrated juices that are mixed with water.  The U.S. Environmental Protection Agency estimates that drinking water can make up 20 percent or more of a person's total exposure to lead. Lead is unusual among drinking water contaminants in that it seldom occurs naturally in water supplies like rivers and lakes. Lead enters drinking water primarily as a result of the corrosion, or wearing away, of materials containing lead in the water distribution system and household plumbing.  These materials include lead-based solder used to join copper pipe, brass and chrome plated brass faucets, and in some cases, pipes made of lead that connect your house to the water main (service lines).  In 1986, Congress banned the use of lead solder containing greater than 0.2% lead, and restricted the lead content of faucets, pipes and other plumbing materials to 8.0%. In California, a similar law prohibiting the use of both lead solder and lead pipe was enacted in 1985.

When water stands in lead pipes or plumbing systems containing lead for several hours or more, the lead may dissolve into your drinking water. This means the first water drawn from the tap in the morning, or later in the afternoon after returning from work or school, can contain fairly high levels of lead.

STEPS YOU CAN TAKE IN THE HOME TO REDUCE EXPOSURE TO LEAD IN DRINKING WATER: Despite our best efforts mentioned earlier to control water corrosivity and remove lead from the water supply, lead levels in some homes or buildings can be high.  To find out whether you need to take action in your own home, have your drinking water tested to determine if it contains excessive concentrations of lead.  Testing the water is essential because you cannot see, taste, or smell lead in drinking water.  Some local laboratories that can provide this service are listed at the end of this booklet.  For more information on having your water tested, please call [insert phone number of water system]. If a water test indicates that the drinking water drawn from a tap in your home contains lead above 15 ppb, then you should take the following precautions:

- Run your water to flush out lead. Let the water run from the tap before using it for drinking or cooking any time the water in a faucet has gone unused for more than six hours.  The longer water resides in your home's plumbing the more lead it may contain.  Flushing the tap means running the cold water faucet until the water gets noticeably colder, usually about 15 to 30 seconds.  If your house has a lead service line to the water main, you may have to flush the water for a longer time, perhaps one minute, before drinking.  Although toilet flushing or showering flushes water through a portion of your home's plumbing system, you still need to flush the water in each faucet before using it for drinking or cooking.

Flushing tap water is a simple and inexpensive measure you can take to protect your family's health.  It usually uses less than one or two gallons of water and costs less than [insert a cost estimate based on flushing two times a day for 30 days] per month.  To conserve water, fill a couple of bottles for drinking water after flushing the tap and, whenever possible, use the first flush water to wash the dishes or water the plants.

If you live in a high-rise building, letting the water flow before using it may not work to lessen your risk from lead. The plumbing systems have more and sometimes larger pipes than smaller buildings. Ask your landlord for help in locating the source of the lead and for advice on reducing the lead level.

- Use cold water for cooking and drinking. Try not to cook with, or drink water from the hot water tap. Hot water can dissolve lead more quickly than cold water.  If you need hot water, draw water from the cold tap and heat it on the stove.

- Do not boil water to remove lead. Boiling water does not reduce lead levels.

- Check your plumbing and fixtures. Remove loose lead solder and debris from the plumbing materials installed in newly constructed homes, or homes in which the plumbing has recently been replaced, by removing the faucet strainers from all taps and running the water from 3 to 5 minutes. Thereafter, periodically remove the strainers and flush out any debris that has accumulated over time.

If your copper pipes are joined with lead solder that has been installed illegally since it was banned in 1986, notify the plumber who did the work and request that he or she replace the lead solder with lead-free solder. Lead solder looks dull gray, and when scratched with a key looks shiny. In addition, notify the California Department of Public Health and your local environmental health department about the violation.

Determine whether or not the service line that connects your home or apartment to the water main is made of lead.  The best way to determine if your service line is made of lead is by either hiring a licensed plumber to inspect the line or by contacting the plumbing contractor who installed the line.  You can identify the plumbing contractor by checking the record of building permits which should be maintained in the files of the [insert name of department that issues building permits].  A licensed plumber can at the same time check to see if your home's plumbing contains lead solder, lead pipes, or pipe fittings that contain lead.  The public water system that delivers water to your home should also maintain records of the materials located in the distribution system.

If the service line that connects your dwelling to the water main contributes more than 15 ppb to drinking water, after our comprehensive treatment program is in place, we are required to replace the portion of the line we own.  If the line is only partially owned by the [insert name of the city, county, or water system that owns the line], we are required to provide the owner of the privately-owned portion of the service line with information on how to replace the privately-owned portion of the service line, and offer to replace that portion of the line at the owner’s expense. If we replace only the portion of the line that we own, we also are required to notify you in advance and provide you with information on the steps you can take to minimize exposure to any temporary increase in lead levels that may result from the partial replacement, to take a follow-up sample at our expense from the line within 72 hours after the partial replacement, and to mail or otherwise provide you with the results of that sample within three business days of receiving the results.  Acceptable replacement alternatives include copper, stainless steel, and plastic pipes.  Partial replacement should avoid the creation of mixed piping systems and include the installation of approved dielectric couplings at all dissimilar metal interfaces.

- Check your wiring. Have an electrician check your wiring.  If grounding wires from the electrical system are attached to your pipes, corrosion may be greater.  Check with a licensed electrician or your local electrical code to determine if your wiring can be grounded elsewhere. DO NOT attempt to change the wiring yourself because improper grounding can cause electrical shock and fire hazards.

Look for alternative sources of treatment of water.

The steps described above will reduce the lead concentrations in your drinking water.  However, if a water test indicates that the drinking water coming from your tap contains lead concentrations in excess of 15 ppb after flushing or after we have completed our actions to minimize lead levels, then you may want to take the following additional measures:

- Purchase or lease a home treatment device.  Most home treatment devices treat only the water that flows from the faucet to which it is connected and all of the devices require periodic maintenance and replacement.  Devices such as reverse osmosis systems or distillers can effectively remove lead from your drinking water.  Since these treatments remove dissolved minerals, water treated by these devices will have a greater tendency to leach lead from brass faucets or fittings which the water contacts after treatment. Some activated carbon filters may reduce lead levels at the tap, however all lead reduction claims should be investigated.  Be sure to check the actual performance of a specific home treatment device before and after installing the unit. The California State Water Resources Control Board, Division of Drinking Water (Division) certifies the effectiveness of home treatment devices. Only devices certified by the Division to remove lead should be used for this purpose.

- Purchase bottled water for drinking and cooking.

FOR MORE INFORMATION

You can consult a variety of sources for additional information. Your family doctor or pediatrician can perform a blood test for lead and provide you with information about the health effects of lead. You may find more information about lead by visiting U.S. EPA website at http://www.epa.gov/lead/, calling the National Lead Information Center at 1-800-424-LEAD, or contacting your local government agencies for additional information:

| LOCAL AGENCY | PHONE NUMBER |
| --- | --- |
| Division of Drinking Water, Santa Rosa Field Office | (707) 576-2145 |
| Lake County Environmental Health | (707) 263-1164 |
| Marin County Human and Health Services | (415) 473-3078 |
| Mendocino County Health and Human Services | (707) 463-4466 |
| Napa County Health and Human Services | (707) 253-4270 |
| Sonoma County Health Services | (707) 565-6565 |

MENDOCINO DISTRICT (Lake, Napa, and Mendocino counties):

The following are two State-certified laboratories in your area that you may call to have your water tested for lead for a fee:

Brelje and Race Laboratory		Alpha Analytical Laboratory

425 South E Street				208 Mason Street

Santa Rosa, CA 94504			Ukiah, CA 95482

(707) 544-8807				(707) 468-0401

SONOMA DISTRICT (Sonoma and Marin Counties):

- The Sonoma County Public Health Department at (707) 565-4400 can provide you with information about your community’s water supply and a list of local laboratories that have been certified by the California Department of Public Health for testing water quality.

- The Sonoma County Permit and Resource s Management Department at (707) 565-1900 can provide you with information about building permit records that may contain the names of plumbing contractors that plumbed your home.

- The California Department of Public Health, Childhood Lead Poisoning Prevention Branch can provide you with information about the health effects of lead and how you can have your child’s blood tested. In Marin County, contact Christine Stipp at the Marin County Health Department at (415) 473-6891 or cstipp@marincounty.org.  In Sonoma County, contact James Tyler at the Sonoma County Health Department at (707) 565-6562 or jtyler@sonoma-county.org.

The following are two State-certified laboratories in your area that you may call to have your water tested for lead for a fee:

Brelje and Race Laboratories, Inc.	Analytical Sciences, Inc.

425 South E Street				110 Liberty Street

Santa Rosa, CA 94504			Petaluma, CA 94952

(707) 544-8807				(707) 769-3128