INITIAL WATER QUALITY PARAMETER MONITORING AND ENTRY POINT LEAD AND COPPER SAMPLE DATA SHEET

Collect water quality parameter (WQP) samples at the entry point to the distribution system during normal operating conditions. These samples must be collected for two consecutive calendar quarters and in the same month of each quarter (if the first samples were collected in March, the second round of samples would be collected June.)  In addition, collect a sample for lead and copper at the entry point (or points) to the distribution system. If treatment is installed on the system, the entry point is after treatment.

System Name:

Date of Lead or Copper Action Level Exceedance: _

Distribution System WQP Location (s):

ENTRY POINT TO DISTRIBUTION WQP MONITORING RESULTS

|  | First Quarter | Second Quarter |
| --- | --- | --- |
| Date samples collected |  |  |
| pH (field or lab) |  |  |
| Alkalinity (mg/L) |  |  |
| Calcium (mg/L) |  |  |
| Conductivity (uhMos) |  |  |
| Field temperature |  |  |
| Total Dissolved Solids (mg/L) |  |  |

LEAD AND COPPER MONITORING:  SOURCE/ENTRY POINT TO DISTRIBUTION SYSTEM

|  | Representative of Source Water(s) |
| --- | --- |
| Date samples collected |  |
| Lead, mg/L |  |
| Copper, mg/L |  |

Operator Signature:_________________________________________           Date:____________

Submit this completed form to the Division by ____________________________________.