GROUND LEVEL PRESSURE TANK INSPECTION REPORT

Water System Name & Number:

Station/Tank Name:      	Date:

Design Capacity:     	Effective Capacity:

Last Inspection Date:	     	Inspection Frequency:

Last Drained & Cleaned Date:	     	Next Scheduled Cleaned Date:

| SECURITY | YES | NO | N/A | Comments |
| --- | --- | --- | --- | --- |
| Signs of trespassing or vandalism? |  |  |  |  |
| Fence, cage and/or access ladder locked? |  |  |  |  |
| Ability to bypass? |  |  |  |  |
| Tank operations linked to SCADA? |  |  |  |  |
| Pressure gauge within 10% of SCADA reading? |  |  |  |  |

| SPECIAL COMPONENTS | YES | NO | N/A | Comments |
| --- | --- | --- | --- | --- |
| ASME name plate attached to tank? |  |  |  |  |
| Air compressor equipped with filter? |  |  |  |  |
| Sight glass functional? |  |  |  |  |
| Pressure/air relief valve(s) functional? |  |  |  |  |
| Pressure switch set points: | On: psi Off: psi |  |  |  |

| EXTERIOR SHELL | YES | NO | N/A | Comments |
| --- | --- | --- | --- | --- |
| Holes or openings visible? |  |  |  |  |
| Paint or coating cracked or peeled? |  |  |  |  |
| Rust spots or stains? |  |  |  |  |
| Excessive dirt or debris? |  |  |  |  |
| Access port available? |  |  |  |  |
| Other damages to structure? |  |  |  |  |
| Cathodic protection access plates watertight? |  |  |  |  |
| Cathodic protection system last inspection date: |  |  |  |  |
| Last maintenance, coating and/or paint date: |  |  |  |  |

| INTERIOR ROOF, SIDE SHELL & FLOOR | YES | NO | N/A | Comments |
| --- | --- | --- | --- | --- |
| Paint coating cracked or peeled? |  |  |  |  |
| Rust spots or stains? |  |  |  |  |
| Sediment deposits on side shell, floor and/or ladder? |  |  |  |  |
| Air to water ratio between 1:1 and 1:2? |  |  |  |  |
| Bladder in good condition? |  |  |  |  |
| Last maintenance, coating and/or paint date: |  |  |  |  |
| TREES AND VEGETATION | YES | NO | N/A | Comments |
| Overhanging tree limbs? |  |  |  |  |

| FINISHED WATER SUPPLY | YES | NO | N/A | Comments |
| --- | --- | --- | --- | --- |
| Dust, debris and/or floaters? |  |  |  |  |
| Odor? |  |  |  |  |
| Oil on surface? |  |  |  |  |
| Free and/or total chlorine residual level: |  |  |  |  |

OVERALL CONDITION OF TANK:	 POOR		 GOOD		 EXCELLENT

DOCUMENTS AVAILABLE:	 AS-BUILT PLANS    PHOTO/VIDEO    O/M RECORDS    LAT/LONG

PHOTOS – Please see attached document for the types of photos to include.

COMMENTS & RECOMMENDATIONS:

Inspector Name & Title:

Inspector Signature & Date:

Form provided to: 	 CDPH District Office