GROUND LEVEL REDWOOD TANK INSPECTION REPORT

Water System Name & Number:

Station/Tank Name:      	Date:

Design Capacity:     	Effective Capacity:

Last Inspection Date:	     	Inspection Frequency:

Last Drained & Cleaned Date:	     	Next Scheduled Cleaned Date:

| SECURITY | YES | NO | N/A | Comments |
| --- | --- | --- | --- | --- |
| Signs of trespassing or vandalism? |  |  |  |  |
| Fence, cage and/or access ladder locked? |  |  |  |  |
| Access hatch sealed properly and locked? |  |  |  |  |
| Ability to bypass? |  |  |  |  |
| Tank operations linked to SCADA? |  |  |  |  |
| Water level gauge within 10% of SCADA value? |  |  |  |  |

| OVERFLOW PIPE | YES | NO | N/A | Comments |
| --- | --- | --- | --- | --- |
| Overflow discharge pipe screened? |  |  |  |  |
| Overflow discharge pipe equipped with an air-gap? |  |  |  |  |

| ROOF AIR VENTS | YES | NO | N/A | Comments |
| --- | --- | --- | --- | --- |
| Roof air vents screened? |  |  |  |  |
| Roof air vents turned down or covered? |  |  |  |  |

| EXTERIOR ROOF | YES | NO | N/A | Comments |
| --- | --- | --- | --- | --- |
| Holes or openings in roof? |  |  |  |  |
| Roof cracking or peeling? |  |  |  |  |
| Depressions in the roof structure? |  |  |  |  |
| Ponding water? |  |  |  |  |
| Fungi or other vegetative growth? |  |  |  |  |
| Excessive dirt or debris? |  |  |  |  |
| Other damages to structure? |  |  |  |  |
| Last roof maintenance date: |  |  |  |  |

| EXTERIOR SIDE SHELL | YES | NO | N/A | Comments |
| --- | --- | --- | --- | --- |
| Leaks or evidence of past leaks? |  |  |  |  |
| Holes, cracks, or other openings in the staves? |  |  |  |  |
| Bands set to proper tightness? |  |  |  |  |
| Other damage to structure? |  |  |  |  |
| Last maintenance date: |  |  |  |  |

| INTERIOR ROOF, SIDE SHELL, FLOOR & LADDER | YES | NO | N/A | Comments |
| --- | --- | --- | --- | --- |
| Liner installed? |  |  |  |  |
| Liner in good condition? |  |  |  |  |
| Sediment deposits on sides, floor and/or ladder? |  |  |  |  |
| Roof supports in good condition? |  |  |  |  |
| Other damage to structure? |  |  |  |  |
| Last interior inspection date: |  |  |  |  |

| TREES AND VEGETATION | YES | NO | N/A | Comments |
| --- | --- | --- | --- | --- |
| Overhanging tree limbs? |  |  |  |  |

| FINISHED WATER SUPPLY | YES | NO | N/A | Comments |
| --- | --- | --- | --- | --- |
| Dust, debris and/or floaters? |  |  |  |  |
| Odor? |  |  |  |  |
| Oil on surface? |  |  |  |  |
| Free and/or total chlorine residual level: |  |  |  |  |

OVERALL CONDITION OF TANK:	 POOR		 GOOD		 EXCELLENT

DOCUMENTS AVAILABLE:	 AS-BUILT PLANS    PHOTO/VIDEO    O/M RECORDS    LAT/LONG

PHOTOS – Please see attached document for the types of photos to include.

COMMENTS & RECOMMENDATIONS:

Inspector Name & Title:

Inspector Signature & Date:

Form provided to: 	 CDPH District Office