State of California

**7-07**

**State Water Resources Control Board**

**Division of Drinking Water**

**District 3-Mendocino/Napa/Lake & District 18-Sonoma/Marin**

### Water Quality Monitoring Requirements for All Public Water Systems

Water Quality Monitoring Requirements can be found online here:

[**https://sdwis.waterboards.ca.gov/PDWW/**](https://sdwis.waterboards.ca.gov/PDWW/)

**Instructions** for viewing Water Quality Monitoring Requirements are available here:  
[**https://www.waterboards.ca.gov/drinking\_water/programs/districts/docs/sonoma/get\_monitoring\_schedules.pdf**](https://www.waterboards.ca.gov/drinking_water/programs/districts/docs/sonoma/get_monitoring_schedules.pdf)

All chemicals listed as “DUE NOW” are required as part of the permit application process.

The monitoring results must be electronically submitted by a State-certified laboratory to the Division of Drinking Water’s (Division) database by electronic data transfer (EDT). Hardcopies will not be accepted.

* Samples must be taken from the raw water source prior to any type of treatment.
* Sample results must clearly identify the source name and location of the sampling point (Examples: Well 01 – Well head; Clear Lake – Intake to Treatment Plant).
* In order for the laboratory to submit the data EDT, the water system must provide the laboratory with the Source Code provided by the Division. The Source Code consists of the 7-digit Water System Number followed by the 3-digit Sampling Point or Source Number (Example: 4900123-001). The laboratory cannot submit the data by EDT without the Source Code.