| State Water Resources Control Board Division of Drinking Water | Ultraviolet Disinfection Data Sheet | 8-28 |
| --- | --- | --- |

| System Name: |  |  |  |  | System No.: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Source of Information |  |  |  |  |  |  |  |  |  |
| Collected By: |  |  |  |  |  | Date: |  |  |  |
| Location: |  |  |  |  |  |  |  |  |  |
| Purpose: |  |  |  | Precautionary Disinfection |  |  |  |  |  |
| Year UV Operation Began: |  |  |  |  |  |  |  |  |  |
| Manufacturer: |  |  |  |  |  |  |  |  |  |
| Model: |  |  |  |  |  |  |  |  |  |
| No. of Modules: |  |  |  |  |  |  |  |  |  |
| No. Lamps per module: |  |  |  |  |  |  |  |  |  |
| NSF Std 55/61 Certified?1. |  |  |  |  |  |  |  |  |  |
| FLOW RATE |  |  |  |  |  |  |  |  |  |
| Average: |  |  |  |  |  |  |  |  |  |
| Maximum: |  |  |  |  |  |  |  |  |  |
| Minimum: |  |  |  |  |  |  |  |  |  |
| Hours of Operation: |  |  |  |  |  |  |  |  |  |
| PRETREATMENT |  |  |  |  |  |  |  |  |  |
| Description: |  |  |  |  |  |  |  |  |  |
| Number of Vessels: |  |  |  |  |  |  |  |  |  |
| Mode of Operation: |  |  |  |  |  |  |  |  |  |
| Type of media or cartridge: |  |  |  |  |  |  |  |  |  |
| NSF Std 61 Certified?1 |  |  |  |  |  |  |  |  |  |
| Maintenance schedule: |  |  |  |  |  |  |  |  |  |
| MAINTENANCE |  |  |  |  |  |  |  |  |  |
| Bulb Replacement Determined By: |  |  |  |  |  |  |  |  |  |
| Bulb Replacement Frequency: |  |  |  |  |  |  |  |  |  |
| Other Maintenance Required2: |  |  |  |  |  |  |  |  |  |
| RELIABILITY |  |  |  |  |  |  |  |  |  |
| How to verify device is working: |  |  |  |  |  |  |  |  |  |
| Verification Frequency: |  |  |  |  |  |  |  |  |  |
| Sample Tap Locations3: |  |  |  |  |  |  |  |  |  |
| WATER |  |  |  |  |  |  |  |  |  |
| Received From: |  |  |  |  |  |  |  |  |  |
| Delivered to: |  |  |  |  |  |  |  |  |  |
| Remarks: |  |  |  |  |  |  |  |  |  |

1Provide documentation

2Example: sleeve cleaning, ballast replacement, etc.

3Suggest pre-UV and post-UV. Label sample taps in the facility, and show them on the schematic.

Suggestions for Operations Plan elements for UV Disinfection at small water systems: - The operator will check the ultraviolet indicator light _____________ (frequency). - In addition to the operator check, someone from the facility will check the light ______________ (frequency), at a minimum. - If the indicator light is out, the System must contact the operator immediately and take _________ (steps). - The lamp sleeves will be cleaned by the operator ______ (frequency) with ______ (wipers, or cleaning solution of some sort). - Pretreatment will be checked and verified as follows: ____________________ These items must be added to the water system Operations Plan.