BACTERIOLOGICAL SAMPLE SITING PLAN

Division of Drinking Water

364 Knollcrest Drive, Suite 101, Redding, CA  96002

(530) 224-4800   Fax (530) 224-4844

Internet Address:  www.waterboards.ca.gov

System Information:

Name of Utility:								System Number:

Street Address:									Ph. No.

Mailing Address:         								   Fax:

Service Connections:    	        Population Served:                 Sampling Frequency:

Sample Collection:

All water samples will be collected by:

Name of Laboratory:

Mailing Address:

State Lab Code:			Phone #:  				Fax #:

The Laboratory was sent a copy of this plan on:

Raw Water Sampling:

Is water continuously treated with chlorine?		  YES		  NO

Systems which provide continuous chlorine treatment are required to take samples of water prior to the addition of chlorine (raw water samples) on a quarterly basis.  Please list below the sources which are continuously treated and the months when raw water samples will be taken:

1.					Months sampled:

2.					Months sampled:

Map of System:

A map of the distribution system showing the source (well, spring, etc.), storage tanks, treatment facilities, distribution piping, routine sample locations, and follow-up (repeat) sample locations is required.  Have you enclosed this map?		  YES		  NO

Ground Water Rule (GWR) sampling: According to the Ground Water Rule (GWR), within 24 hours of notification of a total coliform-positive routine sample, the water system will collect at least one ground water source sample from each ground water source in use at the time the total coliform-positive routine sample was collected. Each GWR sample must be tested for E. Coli, and the well must be running when the sample is collected.

Five samples the month following a routine-positive result: Unless waived by the Department, five routine samples will be collected the month following a routine-positive result. The five routine samples will be collected using a combination of two routine sample locations and three repeat locations.

# BACTERIOLOGICAL SAMPLE SITING PLAN (cont.)

Sample Locations:

The following describes each routine sample location, what months the location will be sampled, and where follow-up (repeat) samples will be taken in the event of a “positive” routine sample:

Routine Sample Location:					Follow-up (repeat) Sample Location:

1.                  							1.

(location name or address)						    (routine sample location name or address)

Water samples will be collected from this 					2.

location during the months of (circle):						  (location name or address up-stream)

1st Qtr:	Jan.	Feb.	Mar.	 				3.

2nd Qtr:	Apr.	May	Jun.						  (location name or address down-stream)

3rd Qtr:	July	Aug.	Sept.

4th Qtr:	Oct.	Nov.	Dec.					4.

(source)

Description:

(hose bib, sink faucet, etc.)					5.

(groundwater rule)

Routine Sample Location: (if required)				Follow-up (repeat) Sample Location:

2.  								1.

(location name or address)						    (routine sample location name or address)

Water samples will be collected from this 					2.

location during the months of (circle):				                      	    (location name or address up-stream)

1st Qtr:	Jan.	Feb.	Mar.	 				3.

2nd Qtr:	Apr.	May	Jun.						  (location name or address down-stream)

3rd Qtr:	July	Aug.	Sept.

4th Qtr:	Oct.	Nov.	Dec.					4.

(source)

Description:

(hose bib, sink faucet, etc.)					5.

(groundwater rule)

Routine Sample Location: (if required)				Follow-up (repeat) Sample Location:

3.  								1.

(location name or address)						  (routine sample location name or address)

Water samples will be collected from this 					2.

location during the months of (circle):						 (location name or address up-stream)

1st Qtr:	Jan.	Feb.	Mar.	 				3.

2nd Qtr:	Apr.	May	Jun.						 (location name or address down-stream)

3rd Qtr:	July	Aug.	Sept.

4th Qtr:	Oct.	Nov.	Dec.					4.

(source)

Description:

(hose bib, sink faucet, etc.) 					5. 											 						 (groundwater rule)

Report Prepared by:

Signature and Title:									Date: