2

California Department of Public Health

Safe Drinking Water State Revolving Fund

American Recovery and Reinvestment Act Funding

APPLICATION GUIDELINES AND INSTRUCTIONS

2009

IMPORTANT NOTICE

The Application for Construction Funds (Form DHS 8585 (4/01)) is specifically cited in regulation and cannot be changed.  It is important to reference both the application and this Application Guidelines and Instructions document when preparing the application.  This guidance describes the information that is needed for a complete American Recovery and Reinvestment Act (ARRA) application.

A complete application should be submitted as soon as possible but in all cases must be submitted within 60 calendar days of receipt of the funding invitation from CDPH.  Applications will be processed in the order received.  If a complete application is not submitted within 60 calendar days of receipt of the funding invitation from CDPH, the project will be bypassed.  The project will remain on the ARRA project priority list and may receive an invitation to apply in the future.  Only complete applications submitted by the deadline will be considered for funding.  Incomplete applications will not be processed.

Note that all of the required application documents must have a valid postmark; electronic copies will not be accepted.

These guidelines and instructions are intended to assist Safe Drinking Water State Revolving Fund (SDWSRF), American Recovery and Reinvestment Act (ARRA) applicants in completing the funding application.  These guidelines should be reviewed in conjunction with the SDWSRF regulations (see the box below for the link) prior to completing the application in order to gain a better understanding of the program requirements and to avoid unnecessary work.  Since federal funds are used to finance this program, much of the information that needs to be included in the application is necessary to meet federal requirements.

For the link to the SDWSRF regulations go to the web site below and look under SDWSRF Materials, SRF Regulations.

http://www.cdph.ca.gov/services/funding/Pages/SRF.aspx

GUIDELINES

Applicants are encouraged to contact the California Department of Public Health (CDPH) District Office that serves the project area to discuss questions regarding the project.

The Application for Construction Funds, Form DHS 8585, is available on the web at

http://www.cdph.ca.gov/services/funding/Pages/PreAppsandApps.aspx

A determination as to whether or not a disadvantaged community qualifies for possible grant assistance will not be made until the application is processed.

Prior to submitting the application, applicants should reference the Applicant Checklist for ARRA Funding to ensure that all items listed have been completed.  CDPH reserves the right to determine the adequacy of the information submitted.

Applicants are advised that only complete applications for projects that are “ready to proceed” will be processed.  CDPH will consider the following criteria in determining whether a project is “ready to proceed”:

- Within 60 calendar days of receipt of the funding invitation from the CDPH, the water system submits a complete Application for Construction Funds (Form DHS 8585), including the Technical, Managerial, and Financial (TMF) Assessment Form, the Applicant’s Checklist for ARRA Funding, and all required attachments listed at the back of the application.  However, plans and specifications and environmental documents must be submitted within seven calendar days of receipt of the funding invitation from the CDPH.

- Within 7 calendar days of the receipt of the funding invitation all plans and specifications must be submitted to the CDPH District office.  The plans and specifications must be complete and ready for bid purposes when submitted.  If the district engineer determines any plans/specifications to be incomplete then that project will be bypassed for ARRA funding.  Moreover, the applicant must attach a “Notice of Completeness” (Enclosure 0B) to the plans and specifications when submitting to the district office.

- Within 7 calendar days of receipt of the funding invitation, the water system must submit the Environmental Document Submittal Form (Enclosure 0C), the Federal Crosscutting Checklist (Enclosure 5A) and one of the following:

  - Final CEQA Document (EIR, Mitigated Negative Declaration or Negative Declaration), Board Resolution or council approval memo, Stamped copy of the Notice of Determination (filed with the State Clearinghouse or local City or County Clerk, a copy of the Department of Fish and Game filing fee receipt or Certificate of “de Minimus” Finding or a “No Effect” determination form

  - For projects determined to be CEQA exempt:  Worksheet for CEQA/NEPA Determination Form (Enclosure 5B) and a stamped copy of the Notice of Exemption (filed with the State Clearinghouse or City Clerk).

  - For mutual, private and investor-owned water companies:  Submit the Environmental Information Form (Enclosure 5C) or a draft copy of the Initial Study.

Within 60 calendar days of receipt of the funding invitation, all Biological and Cultural Resources studies must be submitted along with the full ARRA application (see the Applicant’s Checklist for ARRA funding - Enclosure 1B).  In order to fulfill the “NEPA-like” requirements, CDPH will consult with the appropriate federal agencies on the applicant’s behalf.  The agencies have 30 days to review the resources studies and often will require further mitigation and/or avoidance measures.  These recommendations are added to the environmental conditions included in the ARRA funding agreement.  CDPH must receive federal concurrence prior to the issuance of a funding agreement and prior to any groundbreaking activity.

- Construction must be able to begin within 60 days of executed funding agreement.

CDPH will notify the applicant by letter when it has determined that an application is complete or is incomplete.

Federal law states that SDWSRF funding can only be provided to water systems that demonstrate that they have adequate TMF capacity to operate a public water system satisfactorily.  The mandatory TMF elements listed on the TMF Assessment Form must be completed before CDPH will offer funding.  The mandatory TMF elements consist of the following:

- Consolidation feasibility

- Ownership

- Water rights

- Budget

The necessary TMF elements not previously addressed will be listed as permit conditions.  If you need assistance in completing the TMF Assessment Form, please contact your District Office.

### INSTRUCTIONS

These instructions follow the same order as the questions on the application form CDHS 8585.  Clarification concerning completion of the application can be obtained by contacting the CDPH District Office for your water system.

# PART A.  GENERAL INFORMATION

Pre-Application Number.  This is equivalent to the assigned project number, and is also the number that appears on the project priority list.  This number is necessary in order for CDPH to determine which priority list project the application addresses.  It consists of the system’s public water system identification number and the project number.  Some water systems have multiple projects on the priority list, making it difficult to relate the application to a specific project without this number.  An example of a water system’s complete project number is 1234567-001.

Priority List Category.  This is the category ranking of the problem to be solved by the project that appears on the project priority list (see cover letter for your project list category).

- Name of the Applicant Water System.  Provide the legal name of the public water system that is acting as the applicant for the loan.  The name used should be the same as what appears on the domestic water supply permit.  If it is different, please explain in an attached note.

If the applicant is a privately owned for-profit business such as a mobile home park, and is doing business under any name other than the owner’s true name, the name of the applicant must be the name on the fictitious business name statement.  A copy of the certificate of fictitious business name statement from the county in which the statement was filed must be provided.

If the project involves more than one existing public water system, the water system whose name appears on this line must be the system that has been designated as the applicant and that will be the recipient of the loan on behalf of the water systems involved in the project.  This entity will be assumed to be the party responsible for repayment of the loan and would sign the SRF funding agreement.  For projects involving consolidation of several water systems, the CDPH District Office should be contacted and asked to determine whether each system involved in the project needs to submit a separate application.

- Water System Identification Number.  Provide the public water system number assigned to the water system by CDPH to uniquely identify the water system.  The seven-digit number should be indicated on the domestic water supply permit issued to the water system.  Contact the District Office if you have difficulty locating the number.

NOTE:  All funding recipients will be required to obtain a Data Universal Numbering System (DUNS) Number as a means of identifying business entities.  Please see Enclosure 11 of the application packet for instructions on obtaining a DUNS Number.

- Street Address.  Provide the street address where the water system is located, not the address of an owner or company headquarters that may be located in a different city.

- County.  Identify the county in which the water system’s distribution system is located.

- Mailing Address.  Provide the address where information and other mail regarding the funding should be sent.

- Authorized Representative.  Identify the person who has the authority to represent the water system and sign documents pertaining to the funding application.  If the water system is owned by a public agency or has a governing board, the application must include a copy of a resolution adopted by the governing body designating its authorized representative and authorizing the submission of a funding application.  We recommend designating the title of the person authorized to sign as opposed to using a specific name; for example, use President, Board of Directors as opposed to the person’s name.  The funding application must be signed by the authorized representative.

- Principal Contact Person.  Provide the name, title, telephone number, and e-mail address of the person that CDPH should contact if we have any questions or need further information regarding the application or the project.

- Project Engineer.  Provide the name and address of the engineer or engineering firm that is designing the project.  CDPH anticipates that a qualified engineer will prepare the engineering report that must be developed and submitted with this application.  A recommended Engineering Report format is enclosed with this application package.  The CDPH District Office must concur with your selected project.

- Estimated Amount of Loan Funds Requested. Enter only the amount of eligible project costs for which a SDWSRF ARRA funding is being requested.  (Please refer to the SDWSRF Project Eligibility Box on the following page regarding costs that are eligible for funding).  This amount may differ from the preliminary estimate stated on the pre-application.  The total project cost may be greater than the amount requested if other funds will also be used. The requested funding amount should be based on the engineering design and completed plans and specifications.   The funding estimate should also include any cost of planning the project and preparing the application, for which the applicant may be seeking reimbursement.  These costs can be reimbursed only if the application is approved and a funding agreement executed.

CDPH will determine the final eligible funding amount after completing a detailed review of the application.  This amount will be reflected in the funding agreements that will be sent to qualified applicants.

SDWSRF Project Eligibility:

I.   In order to be eligible for funding, an applicant shall have the authority to enter into a funding agreement with the State.

II.  In order to be eligible for funding an applicant shall be either a community water system or a non-profit non-community water system.

A.  Only those project costs that are directly associated with the planning, design, and construction of a project shall be eligible for ARRA funding.

B.  The following project costs that otherwise would be eligible pursuant to Paragraph A, shall be ineligible for funding:

1.  Land acquisition except for land or land access that is integral to the construction of source, treatment or distribution facilities;

2.  Ongoing operations and maintenance costs;

3.  Any project facilities that are primarily to serve future growth;

4.  Dams or rehabilitation of dams and any raw water storage facilities;

5.  Water rights except water rights acquired through consolidation with another water system;

6.  Laboratories except those necessary for operation of a treatment facility.

III.  Costs arising from construction change orders that occur after funding agreement execution shall be ineligible for funding except for the following:

A. A change in the executed funding agreement amount based on the final accepted construction bid.  An applicant’s request for a change in the amount of funding specified in the funding agreement shall be limited to one occasion and shall be based solely on the final accepted construction bids.

B.  Change orders that are a result of changes in drinking water standards

C.  Change order requested by the Department

For additional information on our regulations, go to our web site below and look under SDWSRF Materials, SRF Regulations.

http://www.cdph.ca.gov/certlic/drinkingwater/Pages/DWPfunding.aspx

# PART B.  MANAGERIAL INFORMATION

- Classification of Water System.  Please check the box that represents your type of system.  The three boxes represent the three types of systems that are eligible for funding.  If you are unsure of the classification of your system, refer to the system’s domestic water supply permit.  The system classification should be noted on the permit.

- Ownership of the Water System.  Check the box that corresponds to the ownership of your water system.  Ownership documents must be consistent with TMF requirements in Enclosure 6.  Non-community water systems should be reminded that they must qualify as a non-profit entity in order to be eligible.  To verify this status, non-profit owners of non-community water systems must include the appropriate IRS non-profit ID number.  Privately owned systems must include a copy of the fictitious name statement.  Corporations must provide a copy of their Articles of Incorporation.

- Water System Regulated by the California Public Utility Commission (CPUC).  Please check the box as to whether your water system is regulated by the CPUC.  A list of all matters relating to your water system that are currently pending before the CPUC must be provided with your application for SDWSRF funding.  Be aware that water systems regulated by the CPUC must obtain CPUC approval to enter into a funding agreement for the SDWSRF program.  CDPH will notify the CPUC if an application for SDWSRF funding is received from your water system.

- Key Officers.  Provide the name, title, and duties of key officers of the water system.  If there are more than three individuals, submit an organization chart showing the names, titles, and the reporting relationship of all key persons involved with the operation of the water system.  The organization chart does not need to describe all personnel employed by the system, only those persons that have primary responsibilities for making decisions that affect the operation of the water system.

- Authority to Enter into a Funding Agreement.

- Applicants must have the legal authority to enter into an SDWSRF funding agreement.

- Applicants need to write in next to the Yes box the maximum loan term (e.g. 20 years) that can be entered into.

- The Proposition 218 requirement for a rate increase must be met prior to the issuance of a funding agreement.

After reviewing the water system’s application, it may be necessary for CDPH to request further documentation regarding an entity’s ability to enter into a funding agreement.

- Litigation.  Identify whether there is any litigation pending that could affect the water system’s financial situation to the extent that the system’s loan repayment capability could be hindered.  Minor litigation that does not have this effect does not have to be described.  However, if the litigation is over water rights, this needs to be described since it could affect the water system’s ability to provide an adequate water supply.

- Contract Operations.  Identify if any portion of the water system operations is contracted to a private entity or another agency.  Where this is the case, the applicant must name the contractual party and provide a copy of the agreement.

- Leases.  If any major portion of the water system, such as water sources, land upon which all or a portion of the system is located, treatment facilities, or pipelines are utilized pursuant to a lease, the terms of the lease must be described or a copy attached to the application.  CDPH must be assured that the water system has full control over all key facilities of the water system.  Leased equipment, such as vehicles, and leased space for laboratories or offices do not need to be described.  If a lease is critical to the location or operation of proposed project facilities such as land upon which a water source or a treatment plant is located, the lease must cover the loan funding repayment period which is typically 20 years.  NOTE:  An applicant that does not own or lease the land upon which all or a portion of the system is located must have a recorded easement on the land upon which the facilities are located.

- Water Rights.  Describe the nature of your water rights that apply to your source.  State law requires that CDPH establish that applicants hold any necessary water rights prior to making an offer of funds.  If your source water is derived from a surface source pursuant to a riparian right or if you extract groundwater from a basin that is not adjudicated, provide a statement to that effect.  If you purchase water from another water source, indicate that fact and attach a copy of the executed contract.  The term of the contract must be as long as the SRF loan term.  If the term is not, you will be required to amend the contract length before a SDWSRF funding agreement will be issued.

If you divert surface water pursuant to a water right granted by the State Water Resources Control Board, attach a copy of that permit.  If you extract water from an adjudicated groundwater basin, attach a copy of your right to extract such water from the basin water master.  Water rights documentation must be consistent with TMF requirements in Enclosure 6.

# PART C.  TECHNICAL INFORMATION

- Problem Description.    Describe the drinking water problem to be addressed by the project.  If the problem is described in Section B of the American Recovery and Reinvestment Act Applicant Engineering Report, state this in the space provided.  You already have submitted necessary documentation to demonstrate the problem as part of the pre-application you submitted.

CDPH recognizes that some systems have multiple problems in the fundable categories on the project priority list.  If you have received multiple statements of intent from CDPH to submit applications, you may combine those problems and associated projects into one application.  In these situations each problem must be described in this section.

- Project Description.  Describe the project(s) that will be constructed to resolve the problem(s).  This will already be done in Section D of the Applicant Engineering Report.

Do not include water system improvements that are not directly related to the problem(s) being solved.  To be considered eligible for funding, major components of the proposed project(s) must be directly related to the primary problem(s) in the categories for which your system was invited to submit an application.  With respect to water mains, for example, if a new well is being drilled to solve a source water problem, the piping to connect the well to the distribution system is eligible.

The ARRA has specific provisions concerning the funding of green infrastructure.  Water systems whose projects have green infrastructure shall provide descriptions, costs, and benefits for these components.  For more information about the ARRA requirements see the Guidelines for Green Infrastructure Components in the application package, Enclosure 10.

In addition to the ARRA requirements above, water systems shall provide descriptions and costs for any components that address water security, water conservation, and/or energy conservation and reliability deficiencies.  Details about this requirement as described in the SDWSRF Enhancing Project Impact may be found at the following website: http://www.cdph.ca.gov/services/funding/Documents/SRF/Applications/Security_Energy_Conservation.pdf .

- Service Area.  Identify and delineate the service area of the water system.  This information is used for purposes of project affordability and other factors.  In most cases, this can be done by providing a map showing the boundaries of the service area.  For municipal systems, the service area is likely to be the city or town limits, in which case a map showing those limits is sufficient.  Some large special districts however, may include more than one public water system within their legal district boundary.  The service area in this case, should be the area served by the specific permitted water system rather than the overall district boundary.  For community water systems that do not have a specified legal boundary, the service area should be described as that area served by the existing distribution system.

Since non-community water systems usually do not have a defined service area, it may be more difficult to determine the customer base.  If the majority of the users of the non-community system are derived from a specific area, then this area can be used as the service area for the system.  For purposes of determining median household incomes for non-community systems, the county in which the system is located generally will be used as the service area.

If the boundaries of the water system extend beyond the area served by the existing distribution system, the location of the current distribution system within those overall boundaries should be shown on the service area map.

- Population Served.  Estimate the population served on an average daily basis by the water system.  For community water systems, this would be the permanent population of the community.  Seasonal community systems should use the average population served by the system during the peak period in which the system is in operation.  Non-community water systems should use the average daily population served during the periods that the system is in operation.  The estimated population can be derived from census data, use records, billing information, or by converting service connections to population using a conversion factor of 2.8 persons per connection, whichever most closely approximates the actual number of persons served.

- Service Connections.  Provide the total number of active service connections that are currently and directly served by the water system.  This includes all domestic or residential, industrial, commercial or other connections.  Wholesalers, or entities that deliver water to another water system, should contact the CDPH District Office as to the appropriate number of service connections to be used since this may vary depending upon the type of project being proposed.  Non-community water systems do not need to fill out this section and should indicate “not applicable” on the form.

- Engineering Report. In order to expedite the review process, the project engineering report must follow the format provided in the enclosed American Recovery and Reinvestment Act Applicant Engineering Report.  This is included in the application package, Enclosure 3, and addresses all of the elements described below.  Applicants are not required to have a professional engineer prepare the project engineering report but are strongly encouraged to use a qualified professional engineer with experience in water system design.  The capability of the person you select to prepare the engineering report for your project can affect whether your application will be considered complete for purposes of funding review.

Note:  The items listed below follow the order in the application.  The Applicant Engineering Report (Enclosure 3) format does not follow that same order.  You must use the format of the Applicant Engineering Report when compiling the following information:

  - Evaluation of Alternatives.  It is essential that all feasible alternatives be evaluated. For example, if the problem is a contaminated well, alternatives may include drilling a new well, installing treatment on the existing well, blending the water with other uncontaminated sources, purchasing water from another system, and physically consolidating with an adjacent water system.  Alternatives that are not feasible for economic or physical reasons such as desalination do not have to be evaluated.  An alternative should not be discarded for political reasons, as for example, simply because the adjacent system is not interested in consolidating.  Alternatives that involve significantly different concepts need to be evaluated.

In addition to evaluating and discussing the feasibility of each alternative, the engineering report must estimate and compare the capital costs, and operations and maintenance (O&M) costs including certified operating personnel and disposal of waste from treatment over a 20-year period.  The report must also analyze the technical effectiveness (including reliability) of each alternative.  See table below for example for evaluating alternatives.

| Example | Capital | Operation & Maintenance over 20 years including personnel costs | Feasibility (yes/no) | Technical Effectiveness (Rate 1 to 5, 5 = Best) | Rank |
| --- | --- | --- | --- | --- | --- |
| Alt 1 | $2,000,000 | $3,000,000 | yes | 4 | 3 |
| Alt 2 | $2,000,000 | $3,000,000 | yes | 5 | 2 |
| Alt 3 | $3,000,000 | 1,000,000 | yes | 5 | 1 |
| etc |  |  |  |  |  |

SDWSRF will fund the highest ranked alternative.  The highest rank must be determined by comparing the long-term cost-effectiveness of the alternatives.  Technical effectiveness and feasibility should also be considered.  Preference is given to the project alternative that achieves an acceptable result at the least cost over the long-term.

- Consolidation.  Consolidation with another water system must be evaluated as one of the alternatives.  However, water systems serving more than 10,000 persons do not need to explore this option.  Water systems with populations less than 10,000 must evaluate the consolidation option.  If consolidation is deemed infeasible, the reasons for that determination must be described.

Consolidation means physically combining two or more systems into one system with the elimination of the other merged systems as separate water systems.  Consolidation with other systems needs to be evaluated for systems that are in reasonably close proximity within 5 miles.  After evaluation, consolidation may be deemed a non-viable alternative due to costs, physical factors, or limitations of the adjacent water system.  For example, the adjacent water system may not have sufficient water to serve the combined systems or may simply refuse to consolidate.  If consolidation appears to be a cost-effective solution but the other water system refuses to agree to the consolidation, the applicant needs to include a letter from that water system confirming their refusal.

Consolidation may also play a role in the correction of TMF deficiencies of an applicant.  In some cases, consolidation may be the only means of correcting existing TMF deficiencies.  Under these circumstances, consolidation could be funded as the selected alternative even though it may not be the most cost-effective solution.

- Project Description.  The selected project alternative must be fully described in the engineering report.  Each component or unit process, as well as related equipment, should be described as to necessity (with respect to solving the problem), function, size, and relationship to other project components.

The project description must identify any elements of the project that are believed to be ineligible for funding using the eligibility criteria in the SDWSRF regulations, ARRA requirements.  The construction project can include ineligible components provided that those components do not exceed 50% of the eligible costs.  In addition, the applicant would need to identify a secured alternate funding source at the time of application.

- Anticipated Benefits.  The report should describe how the project would solve the primary problem and the results that would be expected.

- Final Plans and Specifications.  The engineering report must be submitted as part of the completed application within 60-days of receipt of the funding invitation and it must reflect the final plans and specifications for the selected project alternative.  However, all final plans and specification submittals must be postmarked within 7-days of receipt of a funding invitation and they must be complete and ready for bid purposes such that construction can begin within 60 days of receipt of an executed funding agreement.

The final plans and specifications should include the following elements.  For treatment facilities include:

- Identification and description of the unit processes

- Project layout of the treatment process showing the location of the facilities

- Process flow diagram

- Anticipated size or design capacity of each unit or major piece of equipment

For new wells, the size of the well casing and the pump and the expected yield of the well should be indicated.  Any assumptions and design criteria used to size the facilities should also be shown.  Any reasonable methods may be used to estimate flows, water demands, or unit capacities, including the use of existing records, comparisons with similar water systems, and AWWA or Ten-State standards.

A map or drawing must be included in the report that shows the location of key facilities of the existing system (e.g. sources, treatment units, reservoirs, storage tanks, and primary distribution mains) and the proposed location of new facilities.  Unless shown elsewhere, the map also needs to delineate clearly the service area of the water system.   If land will be purchased or easement procured, the size, location, and purpose of each parcel must be shown or described in the application.

- Analysis of Projected Growth.  State law prohibits the SDWSRF from funding growth inducing projects.   “Reasonable amount of growth” is defined in the Health and Safety Code Section 116760.20 (j).  For SDWSRF project design growth is limited to 10 percent above the amount or capacity needed to serve existing maximum day demand.  In addition, federal law makes ineligible any project whose purpose is “primarily to serve future growth.”  This is interpreted by CDPH to mean that excess capacity will not be funded by the SDWSRF.  Since public water systems are also used for fire fighting, SDWSRF can fund a pipeline that is designed to meet fire flow requirements.

SDWSRF allows for fire flow consideration in source and treatment facility design, but restricts the additional capacity for fire flow to no greater than the maximum day demand.  In combination, this means that excess capacity, greater than (2.00P+0.10P), where P is maximum day demand will not be funded by the SDWSRF for the design of source, treatment and storage facilities.  Excess capacity can be included in a proposed project but the applicant must identify another means of funding the excess capacity.  The project is “primarily to serve future growth” when the project is more than double the capacity needed to serve existing water demand.  The applicant may decide to pay for additional excess capacity (no greater than 0.90P) from another source; however, if the proposed capacity of a major source, treatment, or storage component is more than 3.00P, the component would be declared ineligible and excluded from SDWSRF funding. (See below.)

| SDWSRF Project Capacity Limitations (Source, Treatment, Storage) |  |  |
| --- | --- | --- |
| Terminology | Designation | Explanation and comments |
| Existing maximum day demand | P | Capacity needed to serve existing water demand |
| Fundable capacity for fire flow | FF (where FF £ P) | For small water systems, contact District Office for fire flow requirement |
| Max. fundable fire flow | MFF = P |  |
| SRF Fundable growth | 0.10P | 10% Max. allowed for growth |
| Total SRF fundable | 2.10P = P + MFF + 0.10P | Total SRF fundable = existing max day demand + max. fundable fire flow + SRF fundable growth |
| Non-SRF fundable growth | 0.90P |  |
| Total component capacity allowed with max. fire flow | 3.00P = 2.10P + 0.90P | Total component capacity allowed with max. fire flow = Total SRF fundable + non-SRF fundable |
| Component excluded from SRF funding | Capacity of component >3.00P with FF Capacity of component >2.00P without FF |  |
| Ineligible Component(s) | IC |  |
| Eligible Component(s) | EC |  |
| Project excluded from SRF funding | Sum of IC > 50% of sum of EC | Consider only construction cost in this evaluation, not pre-construction costs. (Examples of pre-construction costs: planning, engineering, environmental, etc) |

| SDWSRF Project Capacity Limitations (Pipelines) |  |  |
| --- | --- | --- |
| Terminology | Designation | Explanation and comments |
| Existing maximum day demand | P | Capacity needed to serve existing water demand |
| Required fire flow | ff | Requirement must be in writing based on local fire code or local fire authority |
| SRF Fundable growth | 0.10P |  |
| Total SRF fundable | 1.10P + ff = P + 0.10P +ff | Total SRF fundable = Existing maximum day demand + SRF fundable growth + required fire flow |
| Non-SRF fundable growth | 0.90P |  |
| Maximum allowable pipeline capacity design | 2.00P + ff = 1.10P + 0.90P + ff | Maximum allowable pipeline capacity design = total SRF fundable + Non-SRF fundable growth |
| Pipeline component excluded from SRF funding | (with fire flow) Capacity of component > 2.00P + ff (without fire flow) Capacity of component > 2.00P |  |

For pipelines where fire flow is not being considered, the pipeline design may be based on peak hour demand.  If fire flow is included, you must not use peak hour demand as design criteria for pipeline sizing.

In the application the applicant needs to conduct several analyses and address certain items in order to establish the eligible design capacity of the project.  These steps are explained below.  As indicated earlier, all assumptions, criteria, and calculations used must be shown and described.

Step 1:  Determine the existing maximum day demand.  This should reflect the demand as of the date of submission of the application.  Where possible, this maximum day demand should be based on records of usage experienced by the water system during recent periods of highest daily use (e.g. during the past 5 years).  Where such records are not available, the applicant must calculate approximate maximum day demand based on annual use, number and type of consumers etc. using reasonable criteria.  In determining existing water demand, be sure to include water delivered to another public water system under an existing contract.  The allowable amount of growth in water demand would be the existing amount determined by the above plus 10 percent.

Step 2:  Determine the projected growth anticipated occurring within the service area within the next ten years, the resultant projected water demand, and the amount of growth or water demand to be included in the project.  (Even though the proposed project may not include all of the capacity needed to serve the 10-year projected demand, the applicant should have a plan for meeting that demand.)

Step 3:  Determine the design capacity or size of key facilities that are proposed to be constructed to meet the water demand determined in Step 1 at maximum day demand.  This should include any water sources, primary treatment unit processes, pumping and storage facilities, and transmission mains that will be part of the project.  The project engineer may use any of several methods or criteria to determine the design capacities or size of these project components including Waterworks Standards, previous design criteria such as filter flow rates, as approved by CDPH; AWWA criteria; or Ten-States Standards.  The assumptions and criteria used to size the units must be clearly shown.  If a specific item of equipment (such as a water main) is not available in the size determined to be eligible, the next larger available size may be used; these upgraded components remain subject to the 3P size limitation for a project with fire flow and 2P size limitation for project with no fire flow.

While funding to accommodate future growth is limited, applicants can include provisions within the eligible project that will facilitate the construction of additional treatment units in the future.  For example, piping and valve arrangements and pipe “stub-outs” to accommodate future treatment units can be included in the project funding.

- Ineligible Costs.  If the project contains ineligible construction items, the percentage of indirect costs including planning, administrative, design, and other costs that apply to the eligible construction portion should be estimated.  This can be based on a straight proration, which will be the method used by CDPH unless some other means is indicated.

- Cost Breakdown of Proposed Project.  In most cases the initial cost estimate included in the pre-application form was a rough estimate.  Applicants are not limited to the amount stated in the pre-application.  It is expected that the full application will contain detailed estimates based on the final plans and specifications.

NOTE:  ARRA language specifically prohibits the reimbursement of costs incurred before October 1, 2008.  If the project contains costs that were incurred before that date, they must be listed separately in the detailed project cost breakdown.  The applicant may fund these pre-October 1, 2008, costs through other funding sources.  For example, funding may be obtained from the regular SDWSRF funding program.

In developing the cost estimates for the project, the applicant must break the total cost estimate down into various project elements.  As a minimum, the engineering report should show the anticipated costs of the following items if they will be included in the funding requested.  If the applicant intends to pay for any of the items from another source, such as reserve accounts, this should be shown on the summary table on the application form (Part D. Item 5).

- All costs incurred before October 1, 2008, including portions of the items listed below

- Planning, preliminary engineering, and application preparation

- Design and engineering costs

- Construction costs must be broken down into the following line items:

- Land acquisition and easements

- Major project components

- Eligible versus ineligible items

- Excess ineligible growth capacity

- Construction management and contingencies

- Legal and administrative costs

- Other (describe)

- Useful Life.  The useful life of the key system components (the elements that make up the largest construction budget items) of the project should be estimated.

- Scheduling. The engineering report should also include a proposed schedule for project completion. The schedule should allow time needed for the completion of financing, processing of construction bids, start of construction, and completion of construction.  The CDPH District Office will use these estimates as a basis for preparation of an overall project schedule.

In addition to the preceding information, the technical, managerial and financial (TMF) capacity information must be submitted with this SDWSRF American Recovery and Reinvestment Act funding application.  When the application is submitted, a TMF review will be performed by the CDPH District Office.  Should the assessment identify any TMF deficiencies that require correction, the cost of completing those corrections can be included as an eligible project cost.

- Environmental Documentation.  An environmental review that complies with the California Environmental Quality Act (CEQA) and the federal “NEPA-like” review process is required as part of the application process for all projects considered “Ready to Proceed” and seeking ARRA funding.  CDPH is the state agency designated by the United States Environmental Protection Agency (USEPA) for all federal coordination for the “NEPA-like” review process.

ALL APPLICANTS MUST SUBMIT A COPY OF THE FEDERAL ENVIRONMENTAL CROSS-CUTTING EVALUATION CHECKLIST (Enclosure 5A) IN ORDER TO DEEM THE APPLICATION COMPLETE.

DO NOT USE THE SCHEDULE FOR COMPLIANCE WITH CEQA AND “NEPA-LIKE” REQUIREMENTS FOR ARRA APPLICATIONS.

Public Agencies

Compliance with CEQA includes submittal of all Final CEQA documentation (Final Mitigated Negative Declaration or Negative Declaration, Board or Council Approval, stamped copy of the Notice of Determination and Department of Fish and Game filing fee receipt or “No Effect Determination”).

The “NEPA-like” review process includes a copy of the Biological Resources and the Cultural Resources section of the CEQA document along with the Federal Crosscutting Evaluation Checklist and any special studies and surveys for compliance with Section 7 of the Endangered Species Act and Section 106 of the National Historic Preservation Act.  The CDPH Environmental Review Unit will coordinate all correspondence with any of the federal agencies.

Private, Mutual and Investor-owned Utilities

Compliance with CEQA includes submittal of all Final CEQA Documentation (see above).  If CEQA has yet to be completed, the applicant must submit an Environmental Information Form (Enclosure 5C).  CDPH Environmental Review Unit, as the CEQA lead agency, will evaluate this document for further CEQA review.

Projects Determined to be Exempt from CEQA and Excluded from “NEPA-like” Review Public agencies who have determined their ARRA projects exempt from CEQA, must complete a Worksheet for CEQA/NEPA Determination (Enclosure 5B), attach a copy of the stamped Notice of Exemption and submit as part of the complete application.

For a list of specific activities CDPH has determined to be exempt, see http://www.cdph.ca.gov/certlic/drinkingwater/Documents/ERU/SpecificActivitiesExemptfromCEQA.doc.

Projects considered excluded from the NEPA-like process include all replacement, repair and rehabilitation projects pursuant to Code of Federal Regulations, Title 40, Part 6 Subpart B Section 6.204.

The “NEPA-like” environmental review process will be conducted by the CDPH Environmental Review Unit (ERU). All applicants are required to submit any additional NEPA-like documentation such as cultural resources survey reports and biological surveys at the time of application review.  A funding agreement will not be issued until the environmental review process is complete.

The program cannot fund a project if construction begins before the environmental review process is completed for the entire project including all phases.

All of the environmental documents will be reviewed and approved by the CDPH Environmental Review Unit for proper interpretation of exemptions under CEQA and exclusions pursuant to the National Environmental Policy Act (NEPA).  Staff of this unit is available to assist you and respond to environmental compliance questions related to the project.  They may be contacted at (916) 449-5641.

# PART D.  FINANCIAL INFORMATION

The information provided in this part is necessary to help determine the affordability of the proposed project.  Affordability is measured in terms of water service charges imposed on residential customers.  In particular, Items 1 through 3 should be as accurate as possible.  In estimating projected costs, use current dollars and do not apply an inflation factor.  These items do not have to be filled out by non-community water systems (since their ability to repay a loan will not be based on user water rates).  Non-community systems should mark these items as not applicable.

- Average current monthly residential water bill.  Determine the average current monthly residential water bill.  Do not include industrial and commercial users.  This can be done by an evaluation of past charges or some other method.  If the water system uses a “tiered” water rate, the charge should reflect what a typical residential user pays.  The rate should reflect direct water charges plus any other fees or charges that support the water service such as parcel fees, standby charges, water taxes, and surcharges.  In addition to providing the average monthly water rate, the application should describe the method that was used to calculate the average residential rate.

A key factor used in determining the ability to repay the loan is consumer affordability.  In addition, other factors such as overall credit-worthiness, degree of indebtedness etc. are considered.  Affordability is based on a comparison of the average residential water bill of the system to a standard “Target Consumer Rate” (see California Code of Regulations, Section 63000.90).  For disadvantaged communities, the affordability analysis will also be used to determine the amount of grant funding, if any, that may be awarded.

- Impact of the SDWSRF loan on the average monthly residential water bill.  Calculate what the projected average monthly residential water bill will be should the requested SDWSRF loan funding be provided.  Estimate the portion of the eligible project cost that will be passed on to the consumers (this should be consistent with the engineering report).  In calculating this projected cost, all related costs of the eligible project (do not include any ineligible project costs), including operation and maintenance costs, should be included.  No SDWSRF, grant funding should be assumed; however, grant funds from other agencies can be included in the calculation.  Disadvantaged communities may assume a zero percent interest rate on their loan but other agencies should use a higher rate.  During calendar year 2008, the interest rate for conventional SDWSRF loan offers is 2.5017 percent.  SDWSRF loans are generally for 20 years.  If you are not certain whether your community qualifies as “disadvantaged,” use the higher rate.  Do not include anticipated increases in the water bill that are not related to the eligible portion of the SDWSRF project (this will be included in the next item).

The methodology and calculations for determining the cost impact of the loan should be shown.  CDPH will assume that project costs will affect residential and nonresidential water charges in a proportional manner to current costs. If this is not the case, please describe the reason for shifting the cost burden.

- Average projected monthly residential water bill.  Provide the total overall projected water charges that will be passed on to residential water users.  Include any ineligible project costs as well as non-project-related water system costs that will be imposed on the residential users during the next five years.  This is calculated in a similar fashion to the previous items.  As an example, the current average residential water rate may be $20 per month, the impact of the proposed project loan may raise this to $28 per month, and the overall projected monthly rate for the next five years may be $35 per month.

- Water rate structure.  Attach the water rate structure covering the past three years for all consumers including commercial and industrial users.

- Estimated project cost.  Summarize the project cost broken down by category and source of funding.  Much of this information may be derived from the engineering report but it may not be in this format; therefore, it should be re-summarized here.  If the categories used in the engineering report are more detailed than the categories listed in Column 1, the categories in the engineering report may be used.  Indicate the source of funding for any ineligible items that will be included in the project and those costs that will be paid for by the applicant.  The total amount at the bottom should be equal to the total cost of the project.

- Source of other funds.  Provide a breakdown of Item 5, column number four (other loans and grants).  (Applies only if project funding will not be entirely from SDWSRF funds.)  For example, if additional funds will be obtained from a federal agency such as the Rural Community Assistance Corporation, the Department of Housing and Urban Development, or from a private lender, the full name of each of the lenders or grantors should be listed under Fund Source.  The second column should designate whether the funds are in the form of a loan, a grant, or in the case of applicant funds, whether these are from cash reserves or other source.

In the fourth column, indicate with a yes or no whether these funds have been applied for at the time this application was submitted.  If the funds have been applied for and have actually been secured indicate that in column 5.  If an applicant’s ability to repay the SDWSRF loan, or if commencement of the project is contingent upon receiving these other funds, you must provide a date by which the funds will be secured.  CDPH will bypass your application for ARRA funding under the SDWSRF if necessary funding from other sources is not secured prior to issuance of an ARRA funding agreement.    CDPH encourages the use of multiple funding sources and works cooperatively with other funding agencies to coordinate and expedite funding.

- Source of funds for loan repayment.  Describe the funding source that you plan to use for loan repayment. SDWSRF applicants are required to have a “dedicated” source of funds for loan repayment.  Prior to actual funding agreement execution, the applicant must submit a resolution or ordinance adopted by the governing board establishing the dedicated fund source.

If the dedicated source of repayment and/or pledge of security for an ARRA loan under the SDWSRF is designated as rate, fees and/or charges then the SDWSRF funding agreement will expressly condition disbursement of funds upon timely satisfaction of applicable Proposition 218 requirements.

- Loan Security.  Identify what you are proposing to use as security for a loan, for example, assessments, stock, or property.  If you are using property, provide an estimate of the value, how the value was determined, and whether the property is already pledged as security for another loan.

- Financial Statements.  The applicant must provide three years of financial statements.  Applicants which operate on a fiscal year basis of accounting must include financial statements for fiscal years 2005/06, 2006/07, and 2007/08.  Applicants operating on a calendar year basis of accounting should provide financial statements for 2006, 2007, and 2008.  If calendar year 2008 is not available, then financial statements from 2005, 2006, and 2007 must be included along with a draft statement for 2008.  Audited financial statements are preferred.  Include a current balance sheet for 2009.

- Existing indebtedness.  Provide information on existing outstanding loans of the water system.

- Cash reserves.  Describe any cash reserves that your water system has in place.  This would include any cash-flow reserve, emergency reserve, equipment replacement fund, contingency reserve etc.  This information is needed to help establish the financial viability of your water system.  If a ARRA funding agreement for a loan is executed, the system will be required to maintain a loan repayment reserve equal to two loan payments.  This will be spelled out in the funding agreement.

The Department of Water Resources (DWR) conducts the financial analysis of applications with respect to loan repayment capability, and prepares a financial report for submission to CDPH.  The report contains the recommended loan amount; grant eligibility, interest rates, MHI, and loan repayment terms.  You may be contacted directly by DWR with respect to any financial items.

CERTIFICATION:  Provide the signature, name, title, and date for the person submitting the application.  This certifies the authority to apply for funding, and the accuracy of the information provided.