California Department of Public Health

2

Safe Drinking Water State Revolving Fund

APPLICATION GUIDELINES AND INSTRUCTIONS

Tier 1 – Construction Funds

2009

SDWSRF funding consists of two funding types: Tier 1 – Construction Funds and Tier 2 – Planning Funds.  To be considered for Tier 1 – Construction Funds, an applicant must submit the following Funding Deliverables no later than January 11, 2010:

- Complete Plans and Specifications ready for bid purposes

- Engineering Report

- Environmental Documents

- Audited Financial Statements for most recent 3 years

In addition, the applicant must complete and submit the Construction Funds Application (CDHS 8585) no later than February 4, 2010.

Applicants, who cannot meet the January 11, 2010, deadline, can still apply to receive Planning Funds.  Please contact your District Office for details.

These guidelines and instructions are intended to assist Safe Drinking Water State Revolving Fund (SDWSRF) applicants in completing a Construction Funds Application.  The guidelines should be used in conjunction with a copy of the SDWSRF regulations for a better understanding of the program requirements.

In order to be considered for funding based on the November 18, 2009, Statement of Intent, a completed application must be submitted no later than February 4, 2010.  If a completed application is not received by February 4, 2010, the project will be bypassed for this funding cycle.  The project will remain on the Project Priority List and may receive an invitation to apply in a future year.  Only complete applications submitted by the deadline will be considered for funding.

GUIDELINES

Applicants are encouraged to contact the California Department of Public Health (CDPH) District Office that serves the project area to request assistance in completing the necessary forms.  In many cases it will be helpful to have an initial meeting with District Office staff to discuss the proposed project, timing, project eligibility, environmental review procedures, federal cross-cutters, or any other aspect of the project.

SDWSRF is a low interest loan program. A determination as to whether or not a disadvantaged community qualifies for possible grant assistance will not be made until the application is processed.

There are several components of the application package that must be submitted:

- “Funding Deliverables”

- Technical, Managerial, and Financial (TMF) Assessment Form

- Application form CDHS 8585 and attachments listed at the back of the application

The application package can be found at:

http://www.cdph.ca.gov/services/funding/Pages/PreAppsandApps.aspx

Information on statutes and regulations relating to the SDWSRF program:

http://www.cdph.ca.gov/certlic/drinkingwater/Pages/Lawbook.aspx

District Office contact information:

http://www.cdph.ca.gov/programs/Documents/DDWEM/OriginalDistrictMapCDPH.pdf

Funding Deliverables:

Applicants are advised that only complete applications for projects that are “ready to proceed” will be processed for Tier 1: Construction Funds.  CDPH will consider the following criteria in determining whether a project is “ready to proceed”:

- Technical Deliverable: No later than January 11, 2010, the water system must submit an Engineering Report (Enclosure 3) and Final Plans and Specifications to the CDPH District office.  The applicant must attach the “Notice of Completeness” (Enclosure 0B) to the Engineering Report and Plans and Specifications when submitting to the District Office.  Two copies of the Engineering Report must also be sent to CDPH HQ, listed as Address “B.”  If the CDPH district engineer determines any Engineering Report or Plans/Specifications to be incomplete, the project will be bypassed from Tier 1 – Construction Funds.  However, the applicant may still be eligible for Tier 2 – Planning Funds.

- Environmental Deliverable: No later than January 11, 2010, the water system must complete and submit the “Notice of Completeness” (Enclosure 0C) and all necessary environmental forms.  For the environmental forms, see the Guide to Online CDPH Environmental Forms (Enclosure 5).

NOTE: Applicants must submit any additional follow-up studies, reports, or surveys no later than February 4, 2010, along with the full application.  In order to fulfill the “NEPA-like” requirements, CDPH will consult with the appropriate federal agencies on the applicant’s behalf.  The agencies have 30 days to review the resources studies and often will require further mitigation and/or avoidance measures.  These recommendations are added to the environmental conditions included in the funding agreement.  CDPH must receive federal concurrence prior to the issuance of a funding agreement and prior to any groundbreaking activity.

- Financial Deliverable: No later than January 11, 2010, the water system must submit the “Notice of Completeness” (Enclosure 0D), along with the most current three years of audited financial statements.  If applicable, the water system may also need to submit a copy of their Articles of Incorporation and Operating Agreement, fictitious name statement, or IRS non-profit ID number.

Technical, Managerial, and Financial (TMF) Assessment:

Federal law states that SDWSRF can only fund water systems that demonstrate that they have adequate TMF capacity to operate a public water system satisfactorily.  The mandatory TMF elements listed on the TMF Assessment Form must be submitted with the application.  The necessary TMF elements not previously addressed will be listed as permit conditions.  If you need assistance in completing the TMF Assessment Form, please contact your District Office.

CDPH can provide technical assistance to small water systems serving populations less than 10,000 as well as any disadvantaged community in developing the TMF documents.  Upon receiving such a request, engineers from the District Office or a third party contractor hired by CDPH will visit the water system and provide “hands-on” technical assistance in developing the necessary documents at no cost to the applicant.

IMPORTANT NOTICE

CDPH requires that each SDWSRF project must meet Davis Bacon wage requirements and include a labor compliance program in accordance to California Labor Compliance Code 1771.8.

Please see Other Requirements Under SDWSRF (Enclosure 11) for details.

### INSTRUCTIONS

# PART A.  GENERAL INFORMATION

Pre-Application Number.  This is the number of the project that appears on the project priority list.  An example of a water system’s complete project number is 1234567-001.

Priority List Category.  This is the category ranking of the problem to be solved by the project that appears on the project priority list (see cover letter for your project category).

- Name of the applicant water system.  Provide the legal name of the public water system that is acting as the applicant for the loan.  The name used should be the same as it appears on the domestic water supply permit.

If the applicant is a privately owned for-profit business such as a mobile home park, and is doing business under any name other than the owner’s true name, the name of the applicant must be the name on the fictitious business name statement.  A copy of the certificate of fictitious business name statement from the county in which the statement was filed must be provided along with the application.

If the project involves more than one existing public water system, the water system whose name appears on this line must be the system that has been designated as the applicant and that will be the recipient of the loan on behalf of the water systems involved in the project.  For projects involving consolidation of several water systems, consult with your CDPH District Office to determine whether each system involved in the project needs to submit a separate application.

- Water System Identification Number.  Provide the public water system number assigned to the water system to uniquely identify the water system.  The seven-digit number should be indicated on the domestic water supply permit issued to the water system.

- Street Address.  Provide the street address where the water system is located not the address of an owner or company headquarters that may be located in a different city.

- County.  Identify the county in which the water system’s distribution system is located.

- Mailing Address.  Provide the address where information and other mail regarding the funding should be sent.

- Authorized Representative.  Identify the person who has the authority to represent the water system and sign documents pertaining to the funding application.  If the water system is owned by a public agency or has a governing board, the application must include a copy of a resolution adopted by the governing body designating its authorized representative and authorizing the submission of a loan application.  It is advisable to designate the title of the person authorized to sign rather than a specific person.  The funding application must be signed by the authorized representative.

- Principal Contact Person.  Provide the name, title, telephone number, and e-mail address of the person that CDPH should contact concerning the application or the project.

- Project Engineer.  Provide the name and address of the engineer or engineering firm that is planning and designing the project.  CDPH anticipates that a qualified engineer will prepare the Engineering Report (Enclosure 3).

- Estimated Amount of Loan Funds Requested. Enter only the amount of eligible project costs for which an SDWSRF funding is being requested.  (Please refer to SRF Project Eligibility Box below regarding costs that are eligible for funding).  This amount may differ from the preliminary estimate stated on the pre-application.  The requested funding should be based on the engineering design and estimated construction costs as set forth in the Engineering Report and Plans and Specifications.  The estimate may also include any cost of planning the project and preparing the application if the applicant seeks reimbursement.

CDPH will determine the final eligible funding amount after completing a detailed review of the application.  This amount will be reflected in the preliminary funding offer Notice of Acceptance of Application (NOAA) that will be sent to applicants qualifying for funding, following application processing.

SDWSRF Project Eligibility:

I.   In order to be eligible for funding, an applicant shall have the authority to enter into a funding agreement with the State.

II.  In order to be eligible for funding an applicant shall be either a community water system or a non-profit non-community water system.

A.  Only those project costs that are directly associated with the planning, design, and construction of a project shall be eligible for SDWSRF funding.

B.  The following project costs that otherwise would be eligible pursuant to Paragraph A, shall be ineligible for funding:

1.  Land acquisition except for land or land access that is integral to the construction of source, treatment or distribution facilities

2.  Ongoing operations and maintenance costs

3.  Any project facilities that are primarily to serve future growth

4.  Dams or rehabilitation of dams and any raw water storage facilities

5.  Water rights except water rights acquired through consolidation with another water system

6.  Laboratories, except those necessary for operation of a treatment facility

III.  Costs arising from construction change orders that occur after funding agreement execution shall be ineligible for funding except for the following:

A. Change in the executed funding agreement amount based on the final accepted competitive construction bid.  An applicant’s request for a change in the amount of funding specified in the funding agreement shall be limited to one occasion and shall be based solely on the final accepted competitive construction bids.

B.  Change orders that are a result of changes in drinking water standards

C.  Change order requested by the CDPH

# PART B.  MANAGERIAL INFORMATION

- Classification of Water System.  Please check the box that represents your type of system.  If you are unsure of the classification of your system, refer to the system’s domestic water supply permit.

- Ownership of the Water System.  Check the box that corresponds to the ownership of your water system.  Non-community water systems are only eligible for SDWSRF funding if they qualify as a non-profit entity.  Non-profit owners of non-community water systems must include the appropriate IRS non-profit ID number.  Privately owned systems must include a copy of the fictitious name statement.  Corporations must provide a copy of their Articles of Incorporation.

- Water System Regulated by the California Public Utility Commission (CPUC).  Indicate whether your water system is regulated by the CPUC.  A list of all matters relating to your water system that are currently pending before the CPUC must be provided with your application for SDWSRF funding.  Water systems regulated by the CPUC must obtain CPUC approval to enter into a funding agreement for a SDWSRF loan.

- Key Officers.  Provide the name, title, and duties of key officers of the water system.  If there are more than three individuals, submit an organization chart showing the names, titles, and the reporting relationship of all key persons involved with the operation of the water system.  The organization chart does not need to describe all personnel employed by the system, only those persons that have primary responsibilities for making decisions that affect the operation of the water system.

- Authority to Enter into a Funding Agreement.  Applicants must have the legal authority to enter into an SDWSRF funding agreement.  Applicants need to write in next to the “yes” box, the maximum loan term (e.g. 20 years) that can be entered into.

- Litigation.  Identify whether there is any litigation pending that could affect the water system’s financial situation to the extent that the system’s loan repayment capability could be hindered.  Minor litigation that does not have this effect does not have to be described.  However, if the litigation is over water rights, this needs to be described since it could affect the water system’s ability to provide an adequate water supply.

- Contract Operations.  Identify if any portion of the water system operations is contracted to a private entity or another agency.  If applicable, name the contractual party and provide a copy of the agreement.

- Leases.  If any major portion of the water system, such as water sources, land upon which all or a portion of the system is located, treatment facilities, or pipelines are utilized pursuant to a lease, the terms of the lease must be described or a copy attached to the application.  CDPH must be assured that the water system has full control over all key facilities of the water system.  Leased equipment, such as vehicles, and leased space for laboratories or offices do not need to be described.  If a lease is critical to the location or operation of proposed project facilities such as land upon which a water source or a treatment plant is located, the lease must cover the loan repayment period which is typically 20 years.  NOTE:  An applicant that does not own or lease the land upon which all or a portion of the system is located must have a recorded easement on the land upon which the facilities are located.

- Water rights.  Describe the nature of your water rights that apply to your source.  State law requires that CDPH establish that applicants hold any necessary water rights prior to funding.  If your source water is derived from a surface source pursuant to a riparian right or if you extract groundwater from a basin that is not adjudicated, provide a statement to that effect.  If you purchase water from another water source, indicate that fact and attach a copy of the executed contract.  SDWSRF loan term cannot exceed the term of the system’s water supply contract.  If you divert surface water pursuant to a water right granted by the State Water Resources Control Board, attach a copy of that permit.  If you have applied for a water right permit but one has not yet been issued, provide a copy of your application for the water right.  If you extract water from an adjudicated groundwater basin, attach a copy of your right to extract such water from the basin water master.

# PART C.  TECHNICAL INFORMATION

- Problem Description.    Describe the drinking water problem to be addressed by the project. If the problem is described in the Engineering Report, identify the appropriate section of the Engineering Report.

CDPH recognizes that some systems have multiple problems in the fundable categories on the project priority list.  If you have received multiple statements of interests from CDPH to submit applications, you may combine those problems and associated projects into one application.  In these situations, each problem must be described in this section.

If your water system has additional problems that are not currently ranked on the project priority list, but would qualify for a fundable category, you may be able to include these additional problem(s) with the invited project, for which you are submitting the application.  Contact your CDPH District Office for assistance.  Additional problems may be added with concurrence from your CDPH District Office.  You will be required to provide documentation concerning the problem to be corrected.  To see the funding categories:

http://www.cdph.ca.gov/services/funding/Documents/SDWSRFRankingCriteria-01-2009.pdf

- Project Description.  Describe the project that will be constructed to resolve the problem.  If the project is described in the Engineering Report, please identify the appropriate section.

Do not include water system improvements that are not directly related to the problem being solved.  Major elements of the proposed project must be directly related to the primary problem in order to be eligible.  With respect to water mains for example, if a new well is being drilled to solve a source water problem, the piping to connect the well to the distribution system is eligible but piping to replace old or leaking distribution lines may not be eligible unless the old distribution system has supporting documentation to be in the fundable categories.

CDPH recognizes water conservation measures, including water meters, energy efficiency features, and water system security upgrades, as valuable enhancements to projects.  Therefore, when appropriate in the context of the funded project, components such as water meters, auxiliary generators, upgraded fencing, or other measures to improve water conservation, energy efficiency, reliability, and security components may be eligible for loan funds.  The components must be included as part of the project application to be considered for funding.

- Service Area.  Identify and delineate the service area of the water system.  In most cases, this can be done by providing a map showing the boundaries of the area served by the specific permitted water system.  For community water systems that do not have a specified legal boundary, the service area should be described as that area served by the existing distribution system.

If the boundaries of the water system extend beyond the area served by the existing distribution system, the location of the current distribution system within those overall boundaries should be shown on the service area map.

- Population Served.  Estimate the population served on an average daily basis by the water system.  For community water systems, this would be the permanent population of the community.  Seasonal community systems should use the average population served by the system during the peak period in which the system is in operation.  Non-community water systems should use the average daily population served during the periods that the system is in operation.  The estimated population can be derived from census data, use records, billing information, or by converting service connections to population using a conversion factor of 2.8 persons per connection, whichever most closely approximates the actual number of persons served.

- Service Connections.  Provide the total number of active service connections that are currently and directly served by the water system.  Include all residential, industrial, commercial or other connections.  Wholesalers, or entities that deliver water to another water system, should contact the CDPH District Office as to the appropriate number of service connections to be used.  Non-community water systems should indicate “not applicable.”

Engineering Report Deadline

The Engineering Report (Enclosure 3) must be submitted with the complete Plans and Specifications no later than January 11, 2010, to be considered for Tier 1: Construction Funds

- Engineering Report. The Engineering Report must follow the format provided in the enclosed SRF Applicant Engineering Report (Enclosure 3) and address all of the elements described below.  Applicants are not required to have a professional engineer prepare the project Engineering Report but are strongly encouraged to use a qualified professional engineer with experience in water system design.  The capability of the person you select to prepare the Engineering Report for your project can affect whether the application will be considered complete for purposes of funding review.

  - Evaluation of Alternatives.  All feasible alternatives must be evaluated. For example: if the problem is a contaminated well, alternatives may include drilling a new well, installing treatment, blending the water, purchasing water, or physically consolidating with an adjacent water system.  An alternative such as consolidation should be discussed if it is technically feasible regardless of the potential cooperation of an adjacent system.

In addition to evaluating and discussing the “feasibility” of each alternative, the Engineering Report must estimate and compare the capital costs and “operations and maintenance” (O&M) costs, including certified operating personnel, and disposal of waste from treatment, over a 20-year period.  The report must also analyze the technical effectiveness (including reliability) of each alternative.  See table below for an example of evaluating alternatives.

| Example | Capital | Operation & Maintenance over 20 years including personnel costs | Feasibility (yes/no) | Technical Effectiveness (Rate 1 to 5, 5 = Best) | Rank |
| --- | --- | --- | --- | --- | --- |
| Alt 1 | $2,000,000 | $3,000,000 | yes | 4 | 3 |
| Alt 2 | $2,000,000 | $3,000,000 | yes | 5 | 2 |
| Alt 3 | $3,000,000 | 1,000,000 | yes | 5 | 1 |
| etc |  |  |  |  |  |

SDWSRF will fund the highest ranked alternative.  The highest rank must be determined by comparing the “long-term cost-effectiveness” of the alternatives.  Technical effectiveness and feasibility should also be considered.  Preference is given to the project alternative that achieves an acceptable result at the least cost over the long-term.

The California Environmental Quality Act (CEQA) requires that the basic environmental impacts of each alternative be determined and compared.

- Consolidation.  Consolidation with another water system must be evaluated as one of the alternatives by water systems serving less than 10,000 persons.  If consolidation is deemed infeasible, the reasons for that determination must be described.  If consolidation is part of the proposed project, the applicant must submit a draft water service agreement between the systems.  For further information on the necessary elements of the service agreement, consult the District Office.

Consolidation with other systems must be evaluated for systems that are in reasonably close proximity (within 5 miles).  After evaluation, consolidation may be deemed a non-viable alternative due to costs, physical factors, or limitations of the adjacent water system.  If consolidation appears to be a cost-effective solution but the other water system refuses to agree to the consolidation, the applicant should include a letter from that water system confirming their refusal.

- Project Description.  The selected project alternative must be fully described in the Engineering Report.  Each component or unit process, as well as related equipment, should be described as to necessity (with respect to solving the problem), function, size, and relationship to other project components.

The project description must identify any elements of the project that are believed to be ineligible for funding using the eligibility criteria in the SDWSRF statutes and regulations.  The construction project can include ineligible components; however, the applicant will need to identify a funding source other than SDWSRF funds to pay for the ineligible portion.

- Anticipated Benefits.  Describe how the project would solve the primary problem and the results that would be expected.

- Final Plans and Specifications.  The Engineering Report must reflect the final Plans and Specifications for the selected project alternative.

The final Plans and Specifications should include the following elements:

For treatment facilities:

- Identification and description of the unit processes

- Project layout of the treatment process showing the location of the facilities

- Process flow diagram

- Anticipated size or design capacity of each unit or major piece of equipment

For wells:

Indicate the expected yield of the well and the size of the pump and well casing.    Any assumptions and design criteria used to size the facilities should also be shown.  Any reasonable methods may be used to estimate flows, water demands, or unit capacities, including the use of existing records, comparisons with similar water systems, and AWWA or Ten-State standards.

A map or drawing must be included in the report that shows the location of key facilities of the existing system (e.g. sources, treatment units, reservoirs, storage tanks, and primary distribution mains) and the proposed location of new facilities.  Unless shown elsewhere, the map also needs to delineate clearly the service area of the water system.   If land will be purchased or easement procured, the size, location, and purpose of each parcel must be shown or described in the application.

- Analysis of Projected Growth.  State law prohibits the SDWSRF from funding growth inducing projects.   For SDWSRF, project design growth is limited to 10 percent above the capacity needed to serve existing maximum day demand.  Federal law makes ineligible any project whose purpose is “primarily to serve future growth.”  This is interpreted by CDPH to mean that excess capacity will not be funded by SDWSRF.  However, since public water systems are also utilized for fire protection, SDWSRF can fund pipelines capable of meeting fire flow requirements.

SDWSRF allows for fire flow consideration in source and treatment facility design, but restricts the additional capacity for fire flow to no greater than the maximum day demand.  In combination, this means that excess capacity, greater than (2.00P+0.10P), where P is maximum day demand will not be funded by the SDWSRF for the design of source, treatment and storage facilities.  Excess capacity can be included in a proposed project but the applicant must identify another means of funding the excess capacity.  The project is “primarily to serve future growth” when the project is more than double the capacity needed to serve existing water demand.  The applicant may decide to pay for additional excess capacity (no greater than 0.90P) from another source; however, if the proposed capacity of a major source, treatment, or storage component is more than 3.00P, the entire project would be declared ineligible and excluded from SDWSRF funding. (See below.)

| SDWSRF Project Capacity Limitations (Source, Treatment, Storage) |  |  |
| --- | --- | --- |
| Terminology | Designation | Explanation and comments |
| Existing maximum day demand | P | Capacity needed to serve existing water demand |
| Fundable capacity for fire flow | FF (where FF £ P) | For small water systems, contact District Office for fire flow requirement |
| Max. fundable fire flow | MFF = P |  |
| SRF Fundable growth | 0.10P | 10% Max. allowed for growth |
| Total SRF fundable | 2.10P = P + MFF + 0.10P | Total SRF fundable = existing max day demand + max. fundable fire flow + SRF fundable growth |
| Non-SRF fundable growth | 0.90P |  |
| Total component capacity allowed with max. fire flow | 3.00P = 2.10P + 0.90P | Total component capacity allowed with max. fire flow = Total SRF fundable + non-SRF fundable |
| Component excluded from SRF funding | Capacity of component >3.00P with FF Capacity of component >2.00P without FF |  |
| Ineligible Component(s) | IC |  |
| Eligible Component(s) | EC |  |
| Project excluded from SRF funding | Sum of IC > 50% of sum of EC | Consider only construction cost in this evaluation, not pre-construction costs. (Examples of pre-construction costs: planning, engineering, environmental, etc) |

| For pipelines where fire flow is not being considered, the pipeline design may be based on peak hour demand. If fire flow is included, you may not use peak hour demand as design criteria for pipeline sizing. SDWSRF Project Capacity Limitations (Pipelines) |  |  |
| --- | --- | --- |
| Terminology | Designation | Explanation and comments |
| Existing maximum day demand | P | Capacity needed to serve existing water demand |
| Required fire flow | ff | Requirement must be in writing based on local fire code or local fire authority |
| SRF Fundable growth | 0.10P |  |
| Total SRF fundable | 1.10P + ff = P + 0.10P +ff | Total SRF fundable = Existing maximum day demand + SRF fundable growth + required fire flow |
| Non-SRF fundable growth | 0.90P |  |
| Maximum allowable pipeline capacity design | 2.00P + ff = 1.10P + 0.90P + ff | Maximum allowable pipeline capacity design = total SRF fundable + Non-SRF fundable growth |
| Pipeline component excluded from SRF funding | (with fire flow) Capacity of component > 2.00P + ff (without fire flow) Capacity of component > 2.00P |  |

Analysis of Projected Growth (continued).  The application must include several analyses and address certain items in order to establish the eligible design capacity of the project.  These steps are explained below.  As indicated earlier, all assumptions, criteria, and calculations used must be shown and described.

Step 1:  Determine the existing maximum day demand as of the date of submission of the application.  Where possible, maximum day demand should be based on records of usage experienced by the water system during recent periods (e.g. during the past 5 years).  Where such records are not available, the applicant must calculate approximate maximum day demand based on available information and include the methodology used.

Step 2:  Determine the anticipated growth within the service area in the next ten years, the resultant projected water demand, and the amount of growth or water demand to be included in the project.

Step 3:  Determine the design capacity or size of proposed key facilities to meet the maximum day demand determined in step 1.  Include any water sources, primary treatment unit processes, pumping and storage facilities, and transmission mains.  The Engineering Report must include the assumptions and criteria used to size the units.  If a specific item of equipment (such as a water main) is not available in the size determined to be eligible, the next larger available size may be used; these upgraded components remain subject to the 3P size limitation for a project with fire flow and 2P size limitation for project with no fire flow.

While funding to accommodate future growth is limited, applicants can include provisions within the eligible project that will facilitate the construction of additional treatment units in the future.  For example, piping and valve arrangements and pipe “stub-outs” to accommodate future treatment units can be included in the project funding.

- Ineligible Costs.  If the project contains ineligible construction items, the percentage of indirect costs (planning, administrative, design etc.) that apply to the eligible construction portion should be estimated.  This can be based on a straight proration, which will be the method used by CDPH unless some other means is indicated.

- Cost Breakdown of Proposed Project.  Applicants are not limited to the amount stated in the pre-application.  It is expected that the Engineering Report will contain detailed estimates based on the final Plans and Specifications.

The cost estimate for the project must break the total cost into various project elements.  As a minimum, the Engineering Report should show the anticipated costs of the following items (if they will be included in the funding requested), as shown below.

| Sample Cost Breakdown Table |  |  |
| --- | --- | --- |
| Component | Total Cost | Ineligible Portion |
| Construction (list major components) |  |  |
| Transmission Main |  |  |
| Booster Station |  |  |
| Meters |  |  |
| Storage Tank |  |  |
| Well Drilling |  |  |
| Subtotal |  |  |
| Contingency (based on construction only) |  |  |
| Design/Engineering |  |  |
| Land Acquisition (limitations apply) |  |  |
| Construction Management |  |  |
| Legal/Administrative |  |  |
| Other (describe) |  |  |
| Total |  |  |

If the applicant intends to pay for any of the items from another source, such as reserve accounts, this should be shown on the summary table on the application form (Part D. Item 5).

- Useful Life.  The useful life of the key system components (the elements that make up the largest construction budget items) of the project should be estimated.

- Scheduling. The Engineering Report should also include a proposed schedule for project completion. The schedule should allow time needed for the completion of financing, processing of construction bids, start of construction, and completion of construction.  The CDPH District Office will use these estimates as a basis for preparation of an overall project schedule.

The estimated increase in operations and maintenance costs caused by the project must be recorded in the Engineering Report.

- Environmental Documentation.  An environmental review that complies with the California Environmental Quality Act (CEQA) and the federal “NEPA-like” review process is required as part of the application process for all projects seeking Tier 1: Construction Funds.  CDPH is the state agency designated by the United States Environmental Protection Agency (USEPA) for all federal coordination for the “NEPA-like” review process.  All environmental forms are available online.  See enclosed Guide to Online Environmental Forms (Enclosure 5).

DO NOT USE THE “SCHEDULE OF DATES FOR COMPLIANCE WITH CEQA AND NEPA-LIKE REQUIREMENTS” FOR TIER 1: CONSTRUCTION FUNDS APPLICATIONS.

Projects serving greater than 1,000 service connections and/or have total project costs greater than $1.25 million

If applicable, applicants must submit the Federal Crosscutting Worksheet no later than January 11, 2010, and any follow-up “NEPA-like” documentation no later than February 4, 2010.  A funding agreement will not be issued until the environmental review process is complete.  SDWSRF cannot fund a project if construction begins before the environmental review process is completed for the entire project including all phases.

Public Agencies

Compliance with CEQA includes submittal of all Final CEQA documentation (Final Mitigated Negative Declaration or Negative Declaration, Board or Council Approval, stamped copy of the Notice of Determination and Department of Fish and Game filing fee receipt or “No Effect Determination”).

Private, Mutual and Investor-owned Utilities

Compliance with CEQA includes submittal of all Final CEQA Documentation.  If CEQA has yet to be completed, the applicant must submit the Environmental Information Form.  CDPH Environmental Review Unit, as the CEQA lead agency, will evaluate this document for further CEQA review.

Projects Determined to be Exempt from CEQA and Excluded from “NEPA-like” Review Public agencies who have determined their projects exempt from CEQA, must submit the Worksheet for CEQA/NEPA Determination Form and attach a copy of the stamped Notice of Exemption.  For a list of specific activities CDPH has determined to be exempt: http://www.cdph.ca.gov/certlic/drinkingwater/Documents/ERU/SpecificActivitiesExemptfromCEQA.doc.

All of the environmental documents will be reviewed and approved by the CDPH Environmental Review Unit for proper interpretation of exemptions under CEQA and exclusions pursuant to the National Environmental Policy Act (NEPA).  Staff of this unit is available to assist you and respond to environmental compliance questions related to the project.  They may be contacted at (916) 449-5641.

# PART D.  FINANCIAL INFORMATION

The following financial information is necessary to determine the affordability of the proposed project, measured in terms of water service charges imposed on residential customers.  In addition, other factors such as overall credit-worthiness, degree of indebtedness, etc. are considered.  For disadvantaged communities, the affordability analysis will also be used to determine the amount of grant funding, if any, that may be awarded.  Non-community systems should mark these items as not applicable, since their ability to repay a loan will not be based on user water rates.

- Average current monthly residential water bill.  Determine the average current monthly residential water bill.  Do not include industrial and commercial users.  If the water system uses a “tiered” water rate, the charge should reflect what a typical residential user pays.  The average water rate should reflect direct water charges plus any other charges that support the water service such as parcel fees, standby charges, water taxes, and surcharges.  Describe the method that was used to calculate the average residential rate and show the calculation.

- Impact of the SDWSRF loan on the average monthly residential water bill.  Calculate the projected average monthly residential water bill should the requested SDWSRF loan funding be provided.  Estimate the portion of the eligible project cost that will be passed on to the consumers (this should be consistent with the Engineering Report).  In calculating this projected cost, all related costs of the eligible project (do not include any ineligible project costs), including operation and maintenance costs, should be included.  No SDWSRF, grant funding should be assumed; however, grant funds from other agencies can be included in the calculation.  Disadvantaged communities may assume a zero percent interest rate on their loan but other agencies should use a higher rate.  During calendar year 2009, the interest rate for conventional SDWSRF loan offers is 2.5017 percent.  SDWSRF loans are generally for 20 years.  If you are not certain whether your community qualifies as “disadvantaged,” use the higher rate.  Do not include anticipated increases in the water bill that are not related to the eligible portion of the SDWSRF project (this will be included in the next item).

The methodology and calculations for determining the cost impact of the loan should be shown.  CDPH will assume that project costs will affect residential and nonresidential water charges in a proportional manner to current costs. If this is not the case, please describe the reason for shifting the cost burden.

- Average projected monthly residential water bill.  Provide the total overall projected water charges that will be passed on to residential water users.  Include any ineligible project costs as well as non-project-related water system costs that will be imposed on the residential users during the next five years.  The methodology and calculations should be shown.

- Water rate structure.  Attach the water rate structure covering the past three years for all consumers including commercial and industrial users.

- Estimated project cost.  Summarize the project cost by category and source of funding.  If the categories used in the Engineering Report are more detailed than the categories listed in Column No. 1, the categories in the Engineering Report may be used.  Indicate the source of funding for any ineligible items that will be included in the project and those costs that will be paid for by the applicant.  Contingencies (item F) allow the applicant to budget for unforeseen construction costs.

- Source of other funds.  If project funding will not be entirely from SDWSRF funds, provide a breakdown from Item 5, Other Loans and Grants (Column No.4).  If additional funds will be obtained from another source, the full name of each of the lenders or grantors should be listed under Fund Source.  The second column should designate whether the funds are in the form of a loan, a grant, or in the case of applicant funds, whether these are from cash reserves or another source.

In Column No. 4, indicate with a yes or no whether these funds have been applied for at the time this application was submitted.  Indicate in Column No. 5 if the funds have been applied for and have actually been secured.

- Source of funds for loan repayment.  Describe the funding source that the applicant plans to use for loan repayment. SDWSRF applicants are required to have a “dedicated” source of funds for loan repayment.  Prior to actual funding agreement execution the applicant must submit a resolution or ordinance adopted by the governing board establishing the dedicated fund source.

- Loan Security.  Identify what the applicant proposes to use as security for a loan, for example, assessments, stock, or property.  If security is in the form of real property, provide an estimate of the value, how the value was determined, and whether the property is already pledged as security for another loan.

- Financial Statements.  The applicant must provide the most recent three years of financial statements (include 2007, 2008, and 2009, if available).  Audited financial statements are preferred.

- Existing indebtedness.  Provide information on existing outstanding loans of the water system.

- Cash reserves.  Describe any cash reserves of the applicant water system.  Include any cash-flow reserve, emergency reserve, equipment replacement fund, contingency reserve, etc.

The Department of Water Resources (DWR) conducts the financial analysis of applications with respect to loan repayment capability, and prepares a financial report for submission to CDPH.  The report contains the recommended loan amount; grant eligibility, interest rates, MHI, and loan repayment terms.  You may be contacted directly by DWR with respect to any financial items.

CERTIFICATION:  Provide the signature, name, title, and date for the person submitting the application.  This certifies the authority to apply for funding, and the accuracy of the information provided.

---END---