## USGSdata Suan Rv abv Willard -
# Description of remark_cd column
# < - Actual value is known to be less than the value shown.
# > - Actual value is known to be greater than the value shown.
# A - Average value
# E - Estimated value
# M - Presence of material verified but not quantified
# N - Presumptive evidence of presence of material
# S - Most probable value
# U - Material specifically analyzed for but not detected
# V - Value affected by contamination
USGS 10356380 SUSAN RIVER, ABOVE CONFLUENCE W/WILLARD CR
|  |  |  | Latitude | Longitude | NAD
Lahontan Site Tag: |  | 637SUS003 |  | 40.3961 | -120.7808 | 83
Agency Code | Site Number | Sample Date | Sample Time |  | Temp oC | Baromettric Pressure (mmHg) | Agency analyzing sample, code | Discharge-instantaneous cfs | SC (Us-cm) | DO (mg/L) | DO % Saturation | pH field | pH lab | TKN (mg/L-N) | NO2+ NO3 (mg/L-N) | Dissolved PO4 (mg/L-P) | TP (mg/L) | Cl (mg/L) | Fecal Coliform (.7micron) col/100 ml | Purpose, site visit, code | TDS (mg/L) | Sample purpose, code | SSC (mg/L) | SS tons/day | Sampling method, code | Sampler type, code | SC lab (Us-cm) | Type of quality assurance data associated with sample, code | Turbidity (NTU) | Turbidity (NTRU)
agency_cd | site_no | sample_dt | sample_tm | medium_cd | p00010 | p00025 | p00028 | p00061 | p00095 | p00300 | P00301 | p00400 | p00403 | p00625 | p00631 | P00671 | p00665 | p00940 | p31625 | p50280 | p70300 | p71999 | p80154 | p80155 | p82398 | p84164 | p90095 | p99111 | p99872 | P63676
5s | 15s | 10d | 4d | 1s | 12s | 12s | 12s | 12s | 12s | 12s |  | 12s | 12s | 12s | 12s |  | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s
USGS | 10356380 | 2001-06-26 | 11:50 | 9 | 13 | 642 | 80020 | 7.9 | 166 | 9 |  | 8.4 |  | 0.2 | 0.17 |  | 0.08 | 0.61 |  | 1001 | 116 | 10 |  |  | 10 | 3044 |  |  | 1.2
USGS | 10356380 | 2001-09-26 | 11:05 | 9 | 9 |  | 80020 | 7.7 | 162 |  |  | 8.2 |  | 0.15 | 0.11 |  | E .05 | 0.95 |  | 1001 | 132 | 10 |  |  | 10 | 3044 |  |  | 0.9
USGS | 10356380 | 2001-12-27 | 11:00 | 9 | 3.5 | 644 | 80020 | 10 | 165 |  |  | 8.3 |  | 0.13 | 0.23 |  | E .06 | 1.01 |  | 1001 | 126 | 10 |  |  | 10 | 3044 |  |  | 0.7
USGS | 10356380 | 2002-03-27 | 10:30 | 9 | 5 | 644 | 80020 | 40 | 97 | 10.8 |  | 8.3 |  | 0.19 | E .04 |  | E .05 | 0.89 |  | 1001 | 80 | 10 |  |  | 10 | 3044 |  |  | 3.5
USGS | 10356380 | 2002-07-01 | 11:30 | 9 | 19.5 | 646 | 80020 | 87 | 56 | 7.2 |  | 8.2 |  | 0.38 | E .03 |  | 0.033 | < .30 |  | 1001 | 46 | 10 | 11 |  | 10 | 3044 |  |  | 4.2
USGS | 10356380 | 2002-10-23 | 10:45 | 9 | 5.5 | 641 | 80020 | 5.8 | 163 | 10.3 |  | 7.8 |  | 0.1 | 0.2 |  | 0.069 | 0.69 |  | 1001 | 125 | 10 | < .5 | < .01 | 10 | 3044 |  |  | < 1.0
USGS | 10356380 | 2003-01-22 | 11:10 | 9 | 4 | 646 | 80020 | 29 | 108 | 11.9 |  |  |  | 0.18 | 0.13 |  | 0.039 | 0.8 |  | 1001 | 85 | 10 | 2 |  | 10 | 3044 |  | 10 | 2.4
USGS | 10356380 | 2003-05-06 | 11:45 | 9 | 7 | 640 | 80020 | 67 | 87 | 7.9 |  | 7.9 |  | 0.14 | < .06 |  | 0.028 | 0.64 |  | 1001 | 79 | 10 | 8 |  | 10 | 3044 |  |  | 2.8
USGS | 10356380 | 2003-09-09 | 9:30 | 9 | 10 | 640 | 80020 | 7.3 | 158 | 9.8 |  | 8.1 | 8.1 | 0.1 | 0.108 |  | 0.07 | 0.75 | E 8 | 1001 | 115 | 10 | 4 |  | 10 | 3044 | 158 |  | 1.3
USGS | 10356380 | 2003-12-16 | 1100 | 9 | 2 |  | 80020 | 12 | 139 |  |  | 8.2 |  | 0.18 | 0.177 |  | 0.061 | 0.89 | E2 | 1001 | 119 | 10 | 5 | 0.16 | 10 | 3044 |  |  | 2.6
USGS | 10356380 | 2004-03-23 | 1030 | 9 | 5 | 640 | 80020 | 103 | 76 | 11.2 |  | 8.8 |  | 0.2 | 0.045 | 0.011 | 0.036 | 0.8 | E2 | 1001 | 73 | 10 | 17 | 4.7 | 10 | 3044 |  |  | 4.8
USGS | 10356380 | 2004-06-29 | 1105 | 9 | 17.5 | 643 | 80020 | 70 | 63 | 8.4 |  | 8 |  | 0.38 | 0.009 |  | 0.047 | 0.69 | E24 | 1001 | 52 | 10 | 14 | 2.6 | 10 | 3044 |  |  | 12
USGS | 10356380 | 2004-10-20 | 1045 | 9 | 5.5 | 631 | 80020 | 12 | 158 | 10.8 | 104 | 8.3 |  | 0.21 | 0.064 |  | 0.079 | 2.08 | E17 | 1001 | 128 | 10 | 5 | 0.16 | 10 | 3044 |  |  |  | <2.0
USGS | 10356380 | 2005-01-25 | 1110 | 9 | 2.0 | 642 | 80020 | 8.8 | 156 | 12.2 | 105 | 8.5 |  | 0.12 | 0.19 |  | 0.077 | 0.78 | <1 | 1001 | 118 | 10 | 6 | 0.14 | 10 | 3044 |  |  |  | <2.0
USGS | 10356380 | 2005-04-26 | 1030 | 9 | 7.5 |  | 80020 | 62 | 89 |  |  | 7.9 |  | 0.19 | 0.035 |  | 0.034 | 0.7 | E9 | 1001 | 63 | 10 | 6 | 1 | 10 | 3044 |  |  |  | 2.5
USGS | 10356380 | 2005-07-20 | 1100 | 9 | 21.0 | 644 | 80020 | 79 | 66 | 7.9 | 105 | 7.5 |  | 0.64 | 0.015 |  | 0.087 | 0.66 | E29 | 1001 | 49 | 10 | 46 | 9.8 | 10 | 3044 |  |  |  | 37

## Beneficial uses
637 | Susanville Hydrologic Unit
Beneficial Uses - Susan River
| MUN | Municipal and Domestic Supply
| AGR | Agriculture Supply
| IND | Industrial Service Supply
| GWR | Ground Water Recharge
| FRSH | Freshwater Replenishment
| NAV | Navigation
| REC-1 | Water Contact Recreation
| REC-2 | Non-contact Water Recreation
| COMM | Commercial and Sports Fishing
| WARM | Warm Freshwater Habitat
| COLD | Cold freshwater Habitat
| WILD | Wildlife Habitat
| MIGR | Migration of Aquatic Organisms
| SPWN | Spawning, Reproduction and Development

## BP Exceedences
USGS - Susan River, above confluence w/Willard Cr (Site Tag: 637SUS003)
Exceedances: Lahontan Water Quality Control Plan
Sample Date | Sample Time | TKN (mg/L-N) | NO2+NO3 (mg/L-N) | Calculated Total N (mg/L) | Total P (mg/L)
2001-06-26 | 11:50 | 0.2 | 0.17 | 0.37 | 0.08
2001-09-26 | 11:05 | 0.15 | 0.11 | 0.26 | E 0.05
2001-12-27 | 11:00 | 0.13 | 0.23 | 0.36 | E 0.06
Annual Average |  |  |  | 0.33 | E 0.063
2002-03-27 | 10:30 | 0.19 | E 0.04 | E0.23 | E 0.05
2002-07-01 | 11:30 | 0.38 | E 0.03 | E0.41 | 0.033
2002-10-23 | 10:45 | 0.1 | 0.2 | 0.3 | 0.069
Annual Average |  |  |  | E0.31 | E 0.051
2003-01-22 | 11:10 | 0.18 | 0.13 | 0.31 | 0.039
2003-05-06 | 11:45 | 0.14 | < 0.06 (ND) | E 0.17 | 0.028
2003-09-09 | 9:30 | 0.1 | 0.108 | 0.208 | 0.07
2003-12-16 | 11:00 | 0.18 | 0.177 | 0.357 | 0.061
Annual Average |  |  |  | E 0.261 | 0.0495
2004-03-23 | 10:30 | 0.2 | 0.045 | 0.245 | 0.036
2004-06-29 | 11:05 | 0.38 | 0.009 | 0.389 | 0.047
2004-10-20 | 10:45 | 0.21 | 0.064 | 0.27 | 0.079
Annual Average |  |  |  | 0.3 | 0.054
2005-01-25 | 11:10 | 0.12 | 0.19 | 0.31 | 0.077
2005-04-26 | 10:30 | 0.19 | 0.035 | 0.225 | 0.034
2005-07-20 | 11:00 | 0.64 | 0.015 | 0.66 | 0.087
Annual Average |  |  |  | 0.4 | 0.066
Where results are ND, annual averages are calculated using half the detection limit
E=estimated values are used as presented
Sample Year | Annual Average TN (mg/L) | Lahontan Water Quality Control Plan* 0.2 / 0.3 (mg/L) | California 1° MCL | California 2° MCL | California Toxics Rule
2001 | 0.33 | X | NA | NA | NA
2002 | E 0.31 | X | NA | NA | NA
2003 | E 0.261 | X | NA | NA | NA
2004 | 0.3 | X | NA | NA | NA
2005 | 0.4 | X | NA | NA | NA
Sample Year | Annual Average TP (mg/L) | Lahontan Water Quality Control Plan* 0.06 / - (mg/L) | California 1° MCL | California 2° MCL | California Toxics Rule
2001 | E 0.063 | X | NA | NA | NA
2002 | E 0.051 |  | NA | NA | NA
2003 | 0.05 |  | NA | NA | NA
2004 | 0.054 |  | NA | NA | NA
2005 | 0.066 | X | NA | NA | NA
Note* Lahontan Water Quality Control Plan Standards; first value represents the Annual Average criteria, and the second value represents the 90th Percentile criteria
USGS - Susan River, above confluence w/Willard Cr (Site Tag: 637SUS003)
Exceedances: Lahontan Water Quality Control Plan
Sample Date | Sample Time | Dissolved Cl (mg/L) | TDS (mg/L)
2001-06-26 | 11:50 | 0.61 | 116
2001-09-26 | 11:05 | 0.95 | 132
2001-12-27 | 11:00 | 1.01 | 126
Annual Average |  | 0.85667 | 124.6667
2002-03-27 | 10:30 | 0.89 | 80
2002-07-01 | 11:30 | < 0.15 (ND) | 46
2002-10-23 | 10:45 | 0.69 | 125
Annual Average |  | E 0.55 | 83.6667
2003-01-22 | 11:10 | 0.8 | 85
2003-05-06 | 11:45 | 0.64 | 79
2003-09-09 | 9:30 | 0.75 | 115
2003-12-16 | 11:00 | 0.89 | 119
Annual Average |  | 0.77 | 99.5
2004-03-23 | 10:30 | 0.8 | 73
2004-06-29 | 11:05 | 0.69 | 52
2004-10-20 | 10:45 | 2.08 | 128
Annual Average |  | 1.19 | 84.3
2005-01-25 | 11:10 | 0.78 | 118
2005-04-26 | 10:30 | 0.7 | 63
2005-07-20 | 11:00 | 0.66 | 49
Annual Average |  | 0.71 | 77
Where results are ND, annual averages are calculated using half the detection limit
E=estimated values are used as presented
Sample Year | Annual Average Dissolved Cl (mg/L) | Lahontan Water Quality Control Plan* 0.7 / 1.0 (mg/L) | California 1° MCL | California 2° MCL 250 (mg/L) | California Toxics Rule | Water Quality for Agriculture 106 (mg/L) | USEPA National WQ Criteria (Aquatic Life) 4-day Avg 230 (mg/L)
2001 | 0.85667 | X | NA |  | NA
2002 | E 0.55 |  | NA |  | NA
2003 | 0.77 | X | NA |  | NA
2004 | 1.19 | X | NA |  | NA
2005 | 0.71 | X | NA |  | NA
Sample Year | Annual Average TDS/Residue (mg/L) | Lahontan Water Quality Control Plan* 60 / 75 (mg/L) | California 1° MCL | California 2° MCL 500 (mg/L) | California Toxics Rule | Water Quality for Agriculture 450 (mg/L) | USEPA National WQ Criteria (Taste & Odor) 250 (mg/L)
2001 | 124.6667 | X | NA |  | NA
2002 | 83.6667 | X | NA |  | NA
2003 | 100 | X | NA |  | NA
2004 | 84 | X | NA |  | NA
2005 | 77 | X | NA |  | NA
Note* Lahontan Water Quality Control Plan Standards; first value represents the Annual Average criteria, and the second value represents the 90th Percentile criteria
USGS - Susan River, above confluence w/Willard Cr (Site Tag: 637SUS003)
Exceedances: Lahontan Water Quality Control Plan
Sample Date | Sample Time | Fecal coliform (col/100 ml) | Lahontan Water Quality Control Plan 20 (col/100ml) | California 1° MCL | California 2° MCL | California Toxics Rule
2003-09-09 | 9:30 | E 8 |  | NA | NA | NA
2003-12-16 | 11:00 | E2 |  | NA | NA | NA
2004-03-23 | 10:30 | E2 |  | NA | NA | NA
2004-06-29 | 11:05 | E24 | X | NA | NA | NA
2004-10-20 | 10:45 | E17 |  | NA | NA | NA
2005-01-25 | 11:10 | <1 (ND) |  | NA | NA | NA
2005-04-26 | 10:30 | E9 |  | NA | NA | NA
2005-07-20 | 11:00 | E29 | X | NA | NA | NA
E=estimated values are used as presented
Sample Date | Sample Time | DO (mg/L) | 1 Day Minimum 8.0 (mg/L)
2001-06-26 | 11:50 | 9
2002-03-27 | 10:30 | 10.8
2002-07-01 | 11:30 | 7.2 | X
2002-10-23 | 10:45 | 10.3
2003-01-22 | 11:10 | 11.9
2003-05-06 | 11:45 | 7.9 | X
2003-09-09 | 9:30 | 9.8
2004-03-23 | 10:30 | 11.2
2004-06-29 | 11:05 | 8.4
2004-10-20 | 10:45 | 10.8
2005-01-25 | 11:10 | 12.2
2005-07-20 | 11:00 | 7.9 | X
USGS - Susan River, above confluence w/Willard Cr (Site Tag: 637SUS003)
Exceedances: Lahontan Water Quality Control Plan and Marshack Exceedances
Sample Date | Sample Time | pH field | Lahontan Water Quality Control Plan 6.5 - 8.5 | California 1° MCL | California 2° MCL | California Toxics Rule | USEPA 2° MCL 6.5 - 8.5 | Water Quality for Agriculture 6.5 - 8.4 | USEPA National WQ Criteria (Aquatic Life) Instantaneous min/max 6.5 - 9 | USEPA National WQ Criteria (Taste & Odor) 5 - 9
2001-06-26 | 11:50 | 8.4 |  | NA | NA | NA
2001-09-26 | 11:05 | 8.2 |  | NA | NA | NA
2001-12-27 | 11:00 | 8.3 |  | NA | NA | NA
2002-03-27 | 10:30 | 8.3 |  | NA | NA | NA
2002-07-01 | 11:30 | 8.2 |  | NA | NA | NA
2002-10-23 | 10:45 | 7.8 |  | NA | NA | NA
2003-05-06 | 11:45 | 7.9 |  | NA | NA | NA
2003-09-09 | 9:30 | 8.1 |  | NA | NA | NA
2003-12-16 | 11:00 | 8.2 |  | NA | NA | NA
2004-03-23 | 10:30 | 8.8 | X | NA | NA | NA | X | X
2004-06-29 | 11:05 | 8 |  | NA | NA | NA
2004-10-20 | 10:45 | 8.3 |  | NA | NA | NA
2005-01-25 | 11:10 | 8.5 |  | NA | NA | NA
2005-04-26 | 10:30 | 7.9 |  | NA | NA | NA
2005-07-20 | 11:00 | 7.5 |  | NA | NA | NA
Note on E4: Total N : TKN + NO2/3

## TN
USGS - Susan River, above confluence w/Willard Cr (Site Tag: 637SUS003)
Exceedances: Lahontan Water Quality Control Plan
Sample Year | Data Qualifier | Annual Average Total N (mg/L) | Annual Average Lahontan Water Quality Control Plan (mg/L)
0.2
2001 |  | 0.33 | 0.2
2002 | E | 0.31333 | 0.2
2003 | E | 0.26 | 0.2
2004 |  | 0.3 | 0.2
2005 |  | 0.4 | 0.2
0.2
Lahontan Water Quality Control Plan

## TP
USGS - Susan River, above confluence w/Willard Cr (Site Tag: 637SUS003)
Exceedances: Lahontan Water Quality Control Plan
Sample Year | Data Qualifier | Annual Average Total P (mg/L) | Annual Average Lahontan Water Quality Control Plan (mg/L)
0.06
2001 | E | 0.063 | 0.06
2002 | E | 0.050667 | 0.06
2003 |  | 0.05 | 0.06
2004 |  | 0.054 | 0.06
2005 |  | 0.066 | 0.06
0.06
Lahontan Water Quality Control Plan

## Cl
USGS - Susan River, above confluence w/Willard Cr (Site Tag: 637SUS003)
Exceedances: Lahontan Water Quality Control Plan
Sample Year | Data Qualifier | Annual Average Dissolved Cl (mg/L) | Annual Average Lahontan Water Quality Control Plan (mg/L)
0.7
2001 |  | 0.85667 | 0.7
2002 | E | 0.55 | 0.7
2003 |  | 0.77 | 0.7
2004 |  | 1.19 | 0.7
2005 |  | 0.71 | 0.7
0.7
Lahontan Water Quality Control Plan

## TDS
USGS - Susan River, above confluence w/Willard Cr (Site Tag: 637SUS003)
Exceedances: Lahontan Water Quality Control Plan
Sample Year | Annual Average TDS/Residue (mg/L) | Annual Average Lahontan Water Quality Control Plan (mg/L)
60
2001 | 124.6667 | 60
2002 | 83.6667 | 60
2003 | 100 | 60
2004 | 84 | 60
2005 | 77 | 60
60
Lahontan Water Quality Control Plan

## coliform
USGS - Susan River, above confluence w/Willard Cr (Site Tag: 637SUS003)
Exceedances: Lahontan Water Quality Control Plan
Sample Date | Data Qualifier | fecal coliform (col/100mL) | Lahontan Water Quality Control Plan (col/100mL)
20
2003-09-09 | E | 8 | 20
2003-12-16 | E | 2 | 20
2004-03-23 | E | 2 | 20
2004-06-29 | E | 24 | 20
2004-10-20 | E | 17 | 20
2005-01-25 | < 1 | ND | 20
2005-04-26 | E | 9 | 20
2005-07-20 | E | 29 | 20
20
Lahontan Water Quality Control Plan
ND

## DO
USGS - Susan River, above confluence w/Willard Cr (Site Tag: 637SUS003)
Exceedances: Lahontan Water Quality Control Plan
Sample Date | DO (mg/L) | 1 Day Minimum (mg/L)
8
2001-06-26 | 9 | 8
2002-03-27 | 10.8 | 8
2002-07-01 | 7.2 | 8
2002-10-23 | 10.3 | 8
2003-01-22 | 11.9 | 8
2003-05-06 | 7.9 | 8
2003-09-09 | 9.8 | 8
2004-03-23 | 11.2 | 8
2004-06-29 | 8.4 | 8
2004-10-20 | 10.8 | 8
2005-01-25 | 12.2 | 8
2005-07-20 | 7.9 | 8
8
1 Day Minimum

## pH
USGS - Susan River, above confluence w/Willard Cr (Site Tag: 637SUS003)
Exceedances: Lahontan Water Quality Control Plan
Sample Date | pH | Lahontan Water Quality Control Plan Maximum | USEPA 2° MCL Maximum | Water Quality for Agriculture Maximum
|  | 8.5 | 8.5 | 8.4
2001-06-26 | 8.4 | 8.5 | 8.5 | 8.4
2001-09-26 | 8.2 | 8.5 | 8.5 | 8.4
2001-12-27 | 8.3 | 8.5 | 8.5 | 8.4
2002-03-27 | 8.3 | 8.5 | 8.5 | 8.4
2002-07-01 | 8.2 | 8.5 | 8.5 | 8.4
2002-10-23 | 7.8 | 8.5 | 8.5 | 8.4
2003-05-06 | 7.9 | 8.5 | 8.5 | 8.4
2003-09-09 | 8.1 | 8.5 | 8.5 | 8.4
2003-12-16 | 8.2 | 8.5 | 8.5 | 8.4
2004-03-23 | 8.8 | 8.5 | 8.5 | 8.4
2004-06-29 | 8 | 8.5 | 8.5 | 8.4
2004-10-20 | 8.3 | 8.5 | 8.5 | 8.4
2005-01-25 | 8.5 | 8.5 | 8.5 | 8.4
2005-04-26 | 7.9 | 8.5 | 8.5 | 8.4
2005-07-20 | 7.5 | 8.5 | 8.5 | 8.4
|  | 8.5 | 8.5 | 8.4
Lahontan Water Quality Control Plan Maximum USEPA 2° MCL Maximum Water Quality for Agriculture Maximum