ANALYTICAL RESULT FOR METALS

(FOR MULTIPLE METAL ANALYSES)

| DATE ANALYZED |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| LAB SAMPLE I.D. |  |  |  |  |  |  |  |
| CLIENT SAMPLE I.D. |  |  |  |  |  |  |  |
| DILUTION FACTOR |  |  |  |  |  |  |  |
| PREP: TCLP / CAL-WET / TM / DM |  |  |  |  |  |  |  |
| SAMPLE MATRIX |  |  |  |  |  |  |  |
| REPORTING UNIT: MG/KG MG/L |  |  |  |  |  |  |  |
| METAL | METHOD | CRDL | RESULTS |  |  |  |  |

ANALYTICAL RESULT FOR METALS

(FOR SINGLE METAL ANALYSIS)

| METHOD: DATE ANALYZED: PREP (TCLP, CAL-WET, TM, DM): CRDL: METAL ELEMENT: REPORTING UNIT: |  |  |  |  |
| --- | --- | --- | --- | --- |
| LAB SAMPLE I.D. | CLIENT SAMPLE I.D. | SAMPLE MATRIX | DILUTION FACTOR | RESULT |

QA/QC REPORT

I.	Matrix Spike (MS)/Matrix Spike Duplicate (MSD)

LAB SAMPLE I.D.:

REPORTING UNIT:

| METAL | DATE | SAMPLE RESULT | SPK CONC | MS | %MS | SPK CONC (DUP) | MSD | %MSD | RPD | MS/MSD LIMIT | RPD LIMIT |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

II.	Calibration, CRDL, And Laboratory Control Sample (LCS)

CALIBRATION

STANDARD   	   LCS

DATE RECEIVED/PREPARED:

LOT NUMBER:

SUPPLY SOURCE:

| METAL | DATE | CALIBRATION RANGE | LCS @ CRDL | RESULT | %RC | LCS @ MID-LEVEL CONC | RESULT | %RC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

QA/QC REPORT (CONTINUED)

III.	Inductively Coupled Plasma (ICP) Interference Check Sample

(As specified in EPA Methods 200.7/6010)

REPORTING UNIT:

| METAL | DATE ANALYZED | TRUE CONC | INITIAL RUN |  | FINAL RUN |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | RESULT | %RC | RESULT | %RC |

IV.	Serial Dilution Result (Required for Flame A.A., Graphite Furnace A.A., and ICP Method, for evaluating matrix interference only)

LAB SAMPLE I.D.:

REPORTING UNIT:

| METAL | DATE ANALYZED | SERIES DILUTION RESULT | %DIFF |
| --- | --- | --- | --- |