LOS ANGELES COUNTY DEPARTMENT OF PUBLIC WORKS

GEOTECHNICAL AND MATERIALS ENGINEERING DIVISION

2012 WATER QUALITY MONITORING FOR

SOFT BOTTOM CHANNEL CLEANOUTS

Channel/Reach: Los Angeles River – West Side/Reach 25

PCA: F6057919
Date: 09/14/2012
	SAMPLE LOCATION
	Upstream of Project*
	Within Project*
	Downstream of Project*

	TIME#
	1005
	1027
	1051

	SAMPLE NO.
	LARW-1A
	LARW-2A
	LARW-3A

	TEMPERATURE (°F)
	82.8
	87.3
	79.5

	pH
	6.95
	6.91
	6.91

	TURBIDITY (NTUs)
	4.85
	9.19
	5.68

	DISSOLVED O2 (mg/L)
	12.11
	8.811
	6.381

	TOTAL SUSPENDED SOLIDS (mg/L)
	53.01
	79.01
	39.01


· * – Upstream of Project = 1, Within Project = 2, and Downstream of Project = 3 on sample labels and lab reports

· # – A = morning and P = afternoon on sample labels and lab reports

· Samples for Dissolved Oxygen and Total Suspended Solids were analyzed by GMED’s As-Needed Contract Environmental Laboratories, Sierra Analytical Labs, Inc. (Sierra); 1 – Reference: Sierra Lab Report No. 1209172; ND – not detected at or above the Method Detection Limit
· Field Equipment Used: Hanna Model HI 991300 pH/EC/TDS/T Probe; LaMotte 2020e Turbidimeter

FIELD NOTES:
Pre-Work Monitoring/Baseline Sampling

· Upstream sampling point, #1: located on the west bank of the L.A. River about 85’ s/o the south side of the Willow Street bridge over the L.A. River; sampling point located at the end of the trapezoidal concrete channel and beginning of the SBC; access to sampling point from the end of the n/b 710 off-ramp to East Willow Street at the locked vehicle gate to the west levee, then over concrete wall and down concrete slope to west bank of river; see Figure 1 and Photo 1.

· Internal sampling point, #2: located on the west bank of the L.A. River about 1175’ s/o the south side of the Willow Street bridge over the L.A. River at the petroleum pipeline support structure; sampling point on west bank between the 2nd and 3rd supports with access over concrete wall and down rip-rap slope; see Figure 2 and Photo 2.
· Downstream sampling point, #3: located on the west bank of the L.A. River directly below the north side of the Pacific Coast Highway (PCH) bridge over the river; access to sampling point at service road to levee from w/b PCH to n/b 710 on-ramp, then over concrete wall and down rip-rap slope; see Figure 3 and Photo 3.

C:/My Files/WQ-Soft Bottom Channels/LA River-West/Fall 2012/wqmonitsheet.091412
