## SMB 7-1
SMB 7-1
|  | Concentration of Biologics |  |  | Ratio Check TMDL Single Sample Results |  |  | 30 Day Running Geometric Mean Calculation
Sample Date |  | Enterococcus (CFU/100ml) | Fecal Coliform (CFU/100 ml)1 | Total Coliforms (CFU/100 ml) | Ratio Fecal Coliforms/ Total Coliforms > 0.1 | Total Coliform Density Check <1000 OK | DAY | Enterococcus(1) | 30 Day Avg Enterococus (<35 CFU/100 ml) | Fecal Coliform(1) | 30 Day Avg Fecal Coliform (< 200 CFU/100 ml) | Total Coliforms (1) | 30 Day Avg Total Coliforms (<= 1000 CFU/100 ml)
2015-07-06 | 0 | 1 | 22 | 20 | 1.1 | 20 | 0 | 1 | 1.1755 | 22 | 2.8426 | 20 | 12.9402
2015-07-13 | 7 | 1 | 1 | 42 | 0.02381 | 42 | 1 | 1 | 1.1755 | 22 | 2.5643 | 20 | 12.8167
2015-07-20 | 14 | 1 | 2 | 16 | 0.125 | 16 | 2 | 1 | 1.1755 | 22 | 2.3132 | 20 | 12.6943
2015-07-27 | 21 | 2 | 2 | 2 | 1 | 2 | 3 | 1 | 1.1755 | 22 | 2.0867 | 20 | 12.5732 | 1
2015-08-03 | 28 | 1 | 0 | 15 | 0 | 15 | 4 | 1 | 1.1755 | 22 | 1.8824 | 20 | 12.4532
2015-08-10 | 35 | 1 | 2 | 15 | 0.13333 | 15 | 5 | 1 | 1.1755 | 22 | 1.6981 | 20 | 12.3344
2015-08-17 | 42 | 1 | 13 | 1 | 13 | 1 | 6 | 1 | 1.1755 | 22 | 1.5677 | 20 | 12.2166
2015-08-25 | 50 | 1 | 1 | 3 | 0.33333 | 3 | 7 | 1 | 1.1755 | 1 | 1.4473 | 42 | 12.1001
2015-08-31 | 56 | 3 | 27 | 120 | 0.225 | 120 | 8 | 1 | 1.1755 | 1 | 1.4811 | 42 | 11.6918
2015-09-08 | 64 | 1 | 4 | 28 | 0.14286 | 28 | 9 | 1 | 1.1755 | 1 | 1.5157 | 42 | 11.2974
2015-09-14 | 70 | 1 | 1 | 8 | 0.125 | 8 | 10 | 1 | 1.1755 | 1 | 1.5511 | 42 | 10.9162
2015-09-22 | 78 | 1 | 4 | 4 | 1 | 4 | 11 | 1 | 1.1755 | 1 | 1.5874 | 42 | 10.5479
2015-09-28 | 84 | 1 | 3 | 6 | 0.5 | 6 | 12 | 1 | 1.1755 | 1 | 1.6245 | 42 | 10.192
2015-10-05 | 91 | 1 | 1 | 4 | 0.25 | 4 | 13 | 1 | 1.1755 | 1 | 1.7695 | 42 | 8.9981
2015-10-13 | 99 | 1 | 4 | 21 | 0.19048 | 21 | 14 | 1 | 1.1755 | 2 | 1.9275 | 16 | 7.9441
2015-10-19 | 105 | 1 | 5 | 11 | 0.45455 | 11 | 15 | 1 | 1.1755 | 2 | 2.0515 | 16 | 7.2428
2015-10-26 | 112 | 16 | 220 | 360 | 0.61111 | 360 | 16 | 1 | 1.1755 | 2 | 2.1836 | 16 | 6.6034
2015-11-02 | 119 | 1 | 1 | 8 | 0.125 | 8 | 17 | 1 | 1.1755 | 2 | 2.3242 | 16 | 6.0205
2015-11-09 | 126 | 1 | 1 | 1 | 1 | 1 | 18 | 1 | 1.1755 | 2 | 2.4738 | 16 | 5.489
2015-11-16 | 133 | 1 | 1 | 5 | 0.2 | 5 | 19 | 1 | 1.1755 | 2 | 2.6331 | 16 | 5.0045
2015-11-23 | 140 | 1 | 1 | 2 | 0.5 | 2 | 20 | 1 | 1.1755 | 2 | 2.8026 | 16 | 4.5627
2015-11-30 | 147 | 1 | 1 | 1 | 1 | 1 | 21 | 2 | 1.1755 | 2 | 2.7386 | 2 | 4.3151
2015-12-07 | 154 | 1 | 1 | 1 | 1 | 1 | 22 | 2 | 1.1487 | 2 | 2.6761 | 2 | 4.3738
2015-12-14 | 161 | 1 | 1 | 9 | 0.11111 | 9 | 23 | 2 | 1.1269 | 2 | 2.7031 | 2 | 4.4934
2015-12-21 | 168 | 1 | 1 | 1 | 1 | 1 | 24 | 2 | 1.1041 | 2 | 2.7323 | 2 | 4.6252
2015-12-29 | 176 | 1 | 1 | 1 | 1 | 1 | 25 | 2 | 1.0801 | 2 | 2.7641 | 2 | 4.7711
2016-01-04 | 182 | 7 | 17 | 41 | 0.41463 | 41 | 26 | 2 | 1.0548 | 2 | 2.7987 | 2 | 4.9333
2016-01-11 | 189 | 1 | 29 | 33 | 0.87879 | 33 | 27 | 2 | 1.0281 | 2 | 2.8366 | 2 | 5.1147
2016-01-19 | 197 | 1 | 4 | 16 | 0.25 | 16 | 28 | 1 | 1 | 1 | 2.8782 | 15 | 5.3188
2016-01-25 | 203 | 1 | 1 | 8 | 0.125 | 8 | 29 | 1 | 1 | 1 | 3.0135 | 15 | 5.0844
2016-02-01 | 210 | 1 | 1 | 12 | 0.083333 | 12 | 30 | 1 | 1 | 1 | 3.1685 | 15 | 4.8404
2016-02-09 | 218 | 1 | 4 | 4 | 1 | 4 | 31 | 1 | 1 | 1 | 3.3474 | 15 | 4.5866
2016-02-16 | 225 | 1 | 1 | 4 | 0.25 | 4 | 32 | 1 | 1 | 1 | 3.5558 | 15 | 4.3227
2016-02-22 | 231 | 1 | 1 | 1 | 1 | 1 | 33 | 1 | 1 | 1 | 3.8013 | 15 | 4.0487
2016-02-29 | 238 | 1 | 4 | 36 | 0.11111 | 36 | 34 | 1 | 1 | 1 | 4.0941 | 15 | 3.7646
2016-03-08 | 246 | 3 | 5 | 4 | 1.25 | 4 | 35 | 1 | 1 | 2 | 4.448 | 15 | 3.4706
2016-03-14 | 252 | 4 | 4 | 11 | 0.36364 | 11 | 36 | 1 | 1 | 2 | 4.6758 | 15 | 3.1672
2016-03-21 | 259 | 3 | 20 | 37 | 0.54054 | 37 | 37 | 1 | 1 | 2 | 4.9482 | 15 | 2.8553
2016-03-29 | 267 | 1 | 13 | 17 | 0.76471 | 17 | 38 | 1 | 1 | 2 | 5.279 | 15 | 2.5362
2016-04-04 | 273 | 1 | 9 | 20 | 0.45 | 20 | 39 | 1 | 1 | 2 | 5.6882 | 15 | 2.2121
2016-04-11 | 280 | 1 | 1 | 17 | 0.058824 | 17 | 40 | 1 | 1 | 2 | 6.2058 | 15 | 1.886
2016-04-18 | 287 | 3 | 1 | 3 | 0.33333 | 3 | 41 | 1 | 1 | 2 | 6.8787 | 15 | 1.5619
2016-04-25 | 294 | 1 | 1 | 1 | 1 | 1 | 42 | 1 | 1 | 13 | 7.7831 | 1 | 1.2457
2016-05-02 | 301 | 1 | 1 | 4 | 0.25 | 4 | 43 | 1 | 1 | 13 | 7.3519 | 1 | 1.2765
2016-05-09 | 308 | 1 | 2 | 22 | 0.090909 | 22 | 44 | 1 | 1 | 13 | 6.8463 | 1 | 1.3161
2016-05-17 | 316 | 1 | 1 | 9 | 0.11111 | 9 | 45 | 1 | 1 | 13 | 6.247 | 1 | 1.3687
2016-05-23 | 322 | 1 | 1 | 1 | 1 | 1 | 46 | 1 | 1 | 13 | 5.5288 | 1 | 1.4422
2016-05-31 | 330 | 4 | 16 | 24 | 0.66667 | 24 | 47 | 1 | 1 | 13 | 4.6598 | 1 | 1.5518
2016-06-06 | 336 | 4 | 4 | 8 | 0.5 | 8 | 48 | 1 | 1 | 13 | 3.6056 | 1 | 1.7321
2016-06-13 | 343 | 1 | 3 | 12 | 0.25 | 12 | 49 | 1 | 1 | 13 | 2.3513 | 1 | 2.0801
2016-06-20 | 350 | 1 | 12 | 13 | 0.92308 | 13 | 50 | 1 | 1 | 1 | 1 | 3 | 3
2016-06-27 | 357 | 1 | 1 | 26 | 0.038462 | 26 | 51 | 1 | 1 | 1 | 1 | 3 | 3
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365

## SMB 7-2
SMB 7-2
|  | Concentration of Biologics |  |  | Ratio Check TMDL Single Sample Results |  | 30 Day Running Geometric Mean Calculation
Sample Date |  | Enterococcus (CFU/100ml) | Fecal Coliform (CFU/100 ml)1 | Total Coliforms (CFU/100 ml) | Ratio Fecal Coliforms/ Total Coliforms > 0.1 | Total Coliform Density Check <1000 OK | DAY | Enterococcus(1) | 30 Day Avg Enterococus (<35 CFU/100 ml) | Fecal Coliform(1) | 30 Day Avg Fecal Coliform (< 200 CFU/100 ml) | Total Coliforms (1) | 30 Day Avg Total Coliforms (<= 1000 CFU/100 ml)
2015-07-06 | 0 | 1 | 50 | 36 | 1.3889 | 1 | 0 | 1 | 1 | 50 | 5.1246 | 36 | 6.3775
2015-07-13 | 7 | 1 | 11 | 19 | 0.57895 | 3 | 1 | 1 | 1 | 50 | 4.4981 | 36 | 5.8705
2015-07-20 | 14 | 1 | 1 | 1 | 1 | 3 | 2 | 1 | 1 | 50 | 3.9481 | 36 | 5.4039
2015-07-27 | 21 | 1 | 2 | 3 | 0.66667 | 1 | 3 | 1 | 1 | 50 | 3.4655 | 36 | 4.9743
2015-08-03 | 28 | 1 | 1 | 3 | 0.33333 | 1 | 4 | 1 | 1 | 50 | 3.0418 | 36 | 4.5789
2015-08-10 | 35 | 1 | 2 | 1 | 2 | 13 | 5 | 1 | 1 | 50 | 2.6699 | 36 | 4.2149
2015-08-17 | 42 | 1 | 1 | 1 | 1 | 91 | 6 | 1 | 1 | 50 | 2.3983 | 36 | 3.7403
2015-08-25 | 50 | 1 | 2 | 13 | 0.15385 | 8 | 7 | 1 | 1 | 11 | 2.1543 | 19 | 3.3192
2015-08-31 | 56 | 1 | 2 | 91 | 0.021978 | 180 | 8 | 1 | 1 | 11 | 2.0353 | 19 | 3.0089
2015-09-08 | 64 | 1 | 50 | 8 | 6.25 | 160 | 9 | 1 | 1 | 11 | 1.9228 | 19 | 2.7276
2015-09-14 | 70 | 3 | 4 | 180 | 0.022222 | 16 | 10 | 1 | 1 | 11 | 1.8166 | 19 | 2.4726 | 1
2015-09-22 | 78 | 1 | 1 | 160 | 0.00625 | 27 | 11 | 1 | 1 | 11 | 1.7163 | 19 | 2.2415
2015-09-28 | 84 | 11 | 1 | 16 | 0.0625 | 31 | 12 | 1 | 1 | 11 | 1.6215 | 19 | 2.0319
2015-10-05 | 91 | 1 | 1 | 27 | 0.037037 | 11 | 13 | 1 | 1 | 11 | 1.4969 | 19 | 1.842
2015-10-13 | 99 | 4 | 4 | 31 | 0.12903 | 24 | 14 | 1 | 1 | 1 | 1.3819 | 1 | 1.6698
2015-10-19 | 105 | 7 | 1 | 11 | 0.090909 | 9 | 15 | 1 | 1 | 1 | 1.3819 | 1 | 1.6698
2015-10-26 | 112 | 3 | 3 | 24 | 0.125 | 16 | 16 | 1 | 1 | 1 | 1.3819 | 1 | 1.6698
2015-11-02 | 119 | 4 | 11 | 9 | 1.2222 | 9 | 17 | 1 | 1 | 1 | 1.3819 | 1 | 1.6698
2015-11-09 | 126 | 3 | 1 | 16 | 0.0625 | 36 | 18 | 1 | 1 | 1 | 1.3819 | 1 | 1.6698
2015-11-16 | 133 | 1 | 1 | 9 | 0.11111 | 1 | 19 | 1 | 1 | 1 | 1.3819 | 1 | 1.6698
2015-11-23 | 140 | 1 | 1 | 36 | 0.027778 | 3 | 20 | 1 | 1 | 1 | 1.3819 | 1 | 1.6698
2015-11-30 | 147 | 1 | 1 | 1 | 1 | 34 | 21 | 1 | 1 | 2 | 1.4142 | 3 | 1.8188
2015-12-07 | 154 | 1 | 1 | 3 | 0.33333 | 4 | 22 | 1 | 1 | 2 | 1.4142 | 3 | 1.9099
2015-12-14 | 161 | 1 | 4 | 34 | 0.11765 | 3 | 23 | 1 | 1 | 2 | 1.4142 | 3 | 2.0056
2015-12-21 | 168 | 1 | 1 | 4 | 0.25 | 4 | 24 | 1 | 1 | 2 | 1.3974 | 3 | 1.9779
2015-12-29 | 176 | 1 | 1 | 3 | 0.33333 | 31 | 25 | 1 | 1 | 2 | 1.3796 | 3 | 1.9487
2016-01-04 | 182 | 1 | 3 | 4 | 0.75 | 30 | 26 | 1 | 1 | 2 | 1.3608 | 3 | 1.9178
2016-01-11 | 189 | 2 | 1 | 31 | 0.032258 | 150 | 27 | 1 | 1 | 2 | 1.3408 | 3 | 1.8851
2016-01-19 | 197 | 1 | 5 | 30 | 0.16667 | 3 | 28 | 1 | 1 | 1 | 1.3195 | 3 | 1.8504
2016-01-25 | 203 | 1 | 1 | 150 | 0.0066667 | 24 | 29 | 1 | 1 | 1 | 1.3348 | 3 | 1.8135
2016-02-01 | 210 | 1 | 1 | 3 | 0.33333 | 7 | 30 | 1 | 1 | 1 | 1.3517 | 3 | 1.7743
2016-02-09 | 218 | 1 | 4 | 24 | 0.16667 | 8 | 31 | 1 | 1 | 1 | 1.3704 | 3 | 1.7324
2016-02-16 | 225 | 1 | 1 | 7 | 0.14286 | 3 | 32 | 1 | 1 | 1 | 1.3911 | 3 | 1.6877
2016-02-22 | 231 | 1 | 1 | 8 | 0.125 | 90 | 33 | 1 | 1 | 1 | 1.4142 | 3 | 1.6398
2016-02-29 | 238 | 1 | 1 | 3 | 0.33333 | 9 | 34 | 1 | 1 | 1 | 1.4402 | 3 | 1.5885
2016-03-08 | 246 | 10 | 3 | 90 | 0.033333 | 15 | 35 | 1 | 1 | 2 | 1.4697 | 1 | 1.5334
2016-03-14 | 252 | 1 | 1 | 9 | 0.11111 | 7 | 36 | 1 | 1 | 2 | 1.4433 | 1 | 1.5725
2016-03-21 | 259 | 1 | 20 | 15 | 1.3333 | 3 | 37 | 1 | 1 | 2 | 1.4142 | 1 | 1.6176
2016-03-29 | 267 | 1 | 1 | 7 | 0.14286 | 7 | 38 | 1 | 1 | 2 | 1.3819 | 1 | 1.6703
2016-04-04 | 273 | 1 | 1 | 3 | 0.33333 | 1 | 39 | 1 | 1 | 2 | 1.3459 | 1 | 1.7326
2016-04-11 | 280 | 1 | 1 | 7 | 0.14286 | 9 | 40 | 1 | 1 | 2 | 1.3055 | 1 | 1.8074
2016-04-18 | 287 | 1 | 1 | 1 | 1 | 1 | 41 | 1 | 1 | 2 | 1.2599 | 1 | 1.8988
2016-04-25 | 294 | 1 | 3 | 9 | 0.33333 | 16 | 42 | 1 | 1 | 1 | 1.2081 | 1 | 2.0128
2016-05-02 | 301 | 1 | 1 | 1 | 1 | 4 | 43 | 1 | 1 | 1 | 1.2311 | 1 | 2.1587
2016-05-09 | 308 | 1 | 1 | 16 | 0.0625 | 3 | 44 | 1 | 1 | 1 | 1.2599 | 1 | 2.3513
2016-05-17 | 316 | 1 | 1 | 4 | 0.25 | 1 | 45 | 1 | 1 | 1 | 1.2968 | 1 | 2.6165
2016-05-23 | 322 | 1 | 1 | 3 | 0.33333 | 9 | 46 | 1 | 1 | 1 | 1.3459 | 1 | 3.002
2016-05-31 | 330 | 1 | 1 | 1 | 1 | 4 | 47 | 1 | 1 | 1 | 1.4142 | 1 | 3.6056
2016-06-06 | 336 | 16 | 3 | 9 | 0.33333 | 8 | 48 | 1 | 1 | 1 | 1.5157 | 1 | 4.6598
2016-06-13 | 343 | 1 | 3 | 4 | 0.75 | 9 | 49 | 1 | 1 | 1 | 1.6818 | 1 | 6.8463
2016-06-20 | 350 | 1 | 5 | 8 | 0.625 | 0 | 50 | 1 | 1 | 2 | 2 | 13 | 13
2016-06-27 | 357 | 1 | 2 | 9 | 0.22222 | 0 | 51 | 1 | 1 | 2 | 2 | 13 | 13
[7 empty] | 52 | 1 | 1 | 2 | 2 | 13 | 13

## SMB 7-3
SMB 7-3
|  | Concentration of Biologics |  |  | Ratio Check TMDL Single Sample Results |  | 30 Day Running Geometric Mean Calculation
Sample Date |  | Enterococcus (CFU/100ml) | Fecal Coliform (CFU/100 ml)1 | Total Coliforms (CFU/100 ml) | Ratio Fecal Coliforms/ Total Coliforms > 0.1 | Total Coliform Density Check <1000 OK | DAY | Enterococcus(1) | 30 Day Avg Enterococus (<35 CFU/100 ml) | Fecal Coliform(1) | 30 Day Avg Fecal Coliform (< 200 CFU/100 ml) | Total Coliforms (1) | 30 Day Avg Total Coliforms (<= 1000 CFU/100 ml)
2015-07-06 | 0 | 3 | 2 | 8 | 0.25 | 8 | 0 | 3 | 1.2922 | 2 | 5.864 | 8 | 8.9698
2015-07-13 | 7 | 1 | 70 | 17 | 4.1176 | 17 | 1 | 3 | 1.2457 | 2 | 5.7301 | 8 | 9.4309
2015-07-20 | 14 | 1 | 7 | 4 | 1.75 | 4 | 2 | 3 | 1.2009 | 2 | 5.5992 | 8 | 9.9158
2015-07-27 | 21 | 1 | 2 | 8 | 0.25 | 8 | 3 | 3 | 1.1578 | 2 | 5.4713 | 8 | 10.4256
2015-08-03 | 28 | 1 | 23 | 36 | 0.63889 | 36 | 4 | 3 | 1.1161 | 2 | 5.3463 | 8 | 10.9616
2015-08-10 | 35 | 1 | 8 | 18 | 0.44444 | 18 | 5 | 3 | 1.076 | 2 | 5.2242 | 8 | 11.5252
2015-08-17 | 42 | 1 | 0 | 7 | 0 | 7 | 6 | 3 | 1.0373 | 2 | 5.4713 | 8 | 11.841
2015-08-25 | 50 | 3 | 8 | 24 | 0.33333 | 24 | 7 | 1 | 1 | 70 | 5.7301 | 17 | 12.1655
2015-08-31 | 56 | 9 | 30 | 55 | 0.54545 | 55 | 8 | 1 | 1 | 70 | 5.3304 | 17 | 12.1887
2015-09-08 | 64 | 1 | 1 | 4 | 0.25 | 4 | 9 | 1 | 1 | 70 | 4.9586 | 17 | 12.2119
2015-09-14 | 70 | 3 | 50 | 110 | 0.45455 | 110 | 10 | 1 | 1 | 70 | 4.6127 | 17 | 12.2352
2015-09-22 | 78 | 1 | 4 | 8 | 0.5 | 8 | 11 | 1 | 1 | 70 | 4.291 | 17 | 12.2585
2015-09-28 | 84 | 12 | 5 | 18 | 0.27778 | 18 | 12 | 1 | 1 | 70 | 3.9917 | 17 | 12.2819
2015-10-05 | 91 | 1 | 1 | 51 | 0.019608 | 51 | 13 | 1 | 1 | 70 | 3.4646 | 17 | 11.924
2015-10-13 | 99 | 6 | 4 | 18 | 0.22222 | 18 | 14 | 1 | 1 | 7 | 3.0071 | 4 | 11.5765
2015-10-19 | 105 | 1 | 8 | 11 | 0.72727 | 11 | 15 | 1 | 1 | 7 | 2.8183 | 4 | 11.7944
2015-10-26 | 112 | 38 | 58 | 400 | 0.145 | 400 | 16 | 1 | 1 | 7 | 2.6413 | 4 | 12.0165
2015-11-02 | 119 | 18 | 16 | 18 | 0.88889 | 18 | 17 | 1 | 1 | 7 | 2.4754 | 4 | 12.2428
2015-11-09 | 126 | 1 | 5 | 12 | 0.41667 | 12 | 18 | 1 | 1 | 7 | 2.3199 | 4 | 12.4733
2015-11-16 | 133 | 1 | 64 | 100 | 0.64 | 100 | 19 | 1 | 1 | 7 | 2.1742 | 4 | 12.7081
2015-11-23 | 140 | 5 | 7 | 16 | 0.4375 | 16 | 20 | 1 | 1 | 7 | 2.0377 | 4 | 12.9474
2015-11-30 | 147 | 1 | 4 | 12 | 0.33333 | 12 | 21 | 1 | 1.0373 | 2 | 2.0467 | 8 | 13.7443
2015-12-07 | 154 | 2 | 16 | 31 | 0.51613 | 31 | 22 | 1 | 1.076 | 2 | 2.1435 | 8 | 14.2569
2015-12-14 | 161 | 4 | 8 | 1 | 8 | 1 | 23 | 1 | 1.0787 | 2 | 2.1487 | 8 | 14.5438
2015-12-21 | 168 | 5 | 20 | 18 | 1.1111 | 18 | 24 | 1 | 1.0816 | 2 | 2.1542 | 8 | 14.8576
2015-12-29 | 176 | 1 | 1 | 1 | 1 | 1 | 25 | 1 | 1.0848 | 2 | 2.1601 | 8 | 15.2022
2016-01-04 | 182 | 4 | 12 | 36 | 0.33333 | 36 | 26 | 1 | 1.0882 | 2 | 2.1665 | 8 | 15.5823
2016-01-11 | 189 | 1 | 1 | 200 | 0.005 | 200 | 27 | 1 | 1.0919 | 2 | 2.1735 | 8 | 16.0034
2016-01-19 | 197 | 1 | 12 | 1 | 12 | 1 | 28 | 1 | 1.0959 | 1 | 2.181 | 36 | 16.4725
2016-01-25 | 203 | 18 | 17 | 200 | 0.085 | 200 | 29 | 1 | 1.1002 | 1 | 2.2562 | 36 | 15.922
2016-02-01 | 210 | 1 | 1 | 18 | 0.055556 | 18 | 30 | 1 | 1.105 | 1 | 2.3412 | 36 | 15.3424
2016-02-09 | 218 | 3 | 3 | 12 | 0.25 | 12 | 31 | 1 | 1.1103 | 1 | 2.438 | 36 | 14.7317
2016-02-16 | 225 | 9 | 32 | 55 | 0.58182 | 55 | 32 | 1 | 1.1161 | 1 | 2.5491 | 36 | 14.0881
2016-02-22 | 231 | 8 | 36 | 200 | 0.18 | 200 | 33 | 1 | 1.1226 | 1 | 2.6778 | 36 | 13.4093
2016-02-29 | 238 | 1 | 4 | 9 | 0.44444 | 9 | 34 | 1 | 1.1298 | 1 | 2.8284 | 36 | 12.6934
2016-03-08 | 246 | 1 | 1 | 1 | 1 | 1 | 35 | 1 | 1.138 | 8 | 3.0068 | 18 | 11.9384
2016-03-14 | 252 | 1 | 16 | 20 | 0.8 | 20 | 36 | 1 | 1.1472 | 8 | 2.8284 | 18 | 11.636
2016-03-21 | 259 | 5 | 8 | 1 | 8 | 1 | 37 | 1 | 1.1578 | 8 | 2.639 | 18 | 11.3024
2016-03-29 | 267 | 4 | 57 | 37 | 1.5405 | 37 | 38 | 1 | 1.1699 | 8 | 2.438 | 18 | 10.9329
2016-04-04 | 273 | 1 | 3 | 4 | 0.75 | 4 | 39 | 1 | 1.1841 | 8 | 2.2251 | 18 | 10.5215
2016-04-11 | 280 | 1 | 1 | 1 | 1 | 1 | 40 | 1 | 1.2009 | 8 | 2 | 18 | 10.0611
2016-04-18 | 287 | 1 | 1 | 1 | 1 | 1 | 41 | 1 | 1.2211 | 8 | 1.7632 | 18 | 9.5429
2016-04-25 | 294 | 4 | 4 | 4 | 1 | 4 | 42 | 1 | 1.2457 | 1 | 1.5157 | 7 | 8.9561
2016-05-02 | 301 | 1 | 1 | 1 | 1 | 1 | 43 | 1 | 1.2765 | 1 | 1.5874 | 7 | 9.2048
2016-05-09 | 308 | 1 | 1 | 4 | 0.25 | 4 | 44 | 1 | 1.3161 | 1 | 1.6818 | 7 | 9.5252
2016-05-17 | 316 | 1 | 1 | 1 | 1 | 1 | 45 | 1 | 1.3687 | 1 | 1.8114 | 7 | 9.9538
2016-05-23 | 322 | 3 | 10 | 12 | 0.83333 | 12 | 46 | 1 | 1.4422 | 1 | 2 | 7 | 10.5553
2016-05-31 | 330 | 1 | 1 | 1 | 1 | 1 | 47 | 1 | 1.5518 | 1 | 2.2974 | 7 | 11.4589
2016-06-06 | 336 | 1 | 3 | 9 | 0.33333 | 9 | 48 | 1 | 1.7321 | 1 | 2.8284 | 7 | 12.9615
2016-06-13 | 343 | 1 | 4 | 8 | 0.5 | 8 | 49 | 1 | 2.0801 | 1 | 4 | 7 | 15.9162
2016-06-20 | 350 | 1 | 4 | 1 | 4 | 1 | 50 | 3 | 3 | 8 | 8 | 24 | 24
2016-06-27 | 357 | 1 | 4 | 9 | 0.44444 | 9 | 51 | 3 | 3 | 8 | 8 | 24 | 24

## SMB 7-4
SMB 7-4
|  | Concentration of Biologics |  |  | Ratio Check TMDL Single Sample Results |  | 30 Day Running Geometric Mean Calculation
Sample Date |  | Enterococcus (CFU/100ml) | Fecal Coliform (CFU/100 ml)1 | Total Coliforms (CFU/100 ml) | Ratio Fecal Coliforms/ Total Coliforms > 0.1 | Total Coliform Density Check <1000 OK | DAY | Enterococcus (1) | 30 Day Avg Enterococus (<35 CFU/100 ml) | Fecal Coliform(1) | 30 Day Avg Fecal Coliform (< 200 CFU/100 ml) | Total Coliforms (1) | 30 Day Avg Total Coliforms (<= 1000 CFU/100 ml)
2015-07-06 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1.6245 | 1 | 6.1989
2015-07-13 | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.6245 | 1 | 7.3704
2015-07-20 | 14 | 1 | 4 | 47 | 0.085106 | 47 | 2 | 1 | 1 | 1 | 1.6245 | 1 | 8.7633
2015-07-27 | 21 | 1 | 2 | 12 | 0.16667 | 12 | 3 | 1 | 1 | 1 | 1.6245 | 1 | 10.4194
2015-08-03 | 28 | 1 | 4 | 180 | 0.022222 | 180 | 4 | 1 | 1 | 1 | 1.6245 | 1 | 12.3885
2015-08-10 | 35 | 1 | 2 | 8 | 0.25 | 8 | 5 | 1 | 1 | 1 | 1.6245 | 1 | 14.7297
2015-08-17 | 42 | 1 | 1 | 1 | 1 | 1 | 6 | 1 | 1 | 1 | 1.6625 | 1 | 15.787
2015-08-25 | 50 | 1 | 0 | 4 | 0 | 4 | 7 | 1 | 1 | 1 | 1.7013 | 1 | 16.92
2015-08-31 | 56 | 4 | 4 | 8 | 0.5 | 8 | 8 | 1 | 1 | 1 | 1.7411 | 1 | 18.1344
2015-09-08 | 64 | 1 | 1 | 8 | 0.125 | 8 | 9 | 1 | 1 | 1 | 1.7818 | 1 | 19.436
2015-09-14 | 70 | 1 | 4 | 17 | 0.23529 | 17 | 10 | 1 | 1 | 1 | 1.8234 | 1 | 20.831
2015-09-22 | 78 | 1 | 1 | 7 | 0.14286 | 7 | 11 | 1 | 1 | 1 | 1.8661 | 1 | 22.3261
2015-09-28 | 84 | 1 | 1 | 4 | 0.25 | 4 | 12 | 1 | 1 | 1 | 1.9097 | 1 | 23.9285
2015-10-05 | 91 | 1 | 1 | 3 | 0.33333 | 3 | 13 | 1 | 1 | 1 | 1.9097 | 1 | 23.9285
2015-10-13 | 99 | 1 | 1 | 43 | 0.023256 | 43 | 14 | 1 | 1 | 4 | 1.9097 | 47 | 23.9285
2015-10-19 | 105 | 1 | 2 | 1 | 2 | 1 | 15 | 1 | 1 | 4 | 1.8234 | 47 | 21.0465
2015-10-26 | 112 | 12 | 1 | 110 | 0.0090909 | 110 | 16 | 1 | 1 | 4 | 1.7411 | 47 | 18.5116
2015-11-02 | 119 | 3 | 1 | 8 | 0.125 | 8 | 17 | 1 | 1 | 4 | 1.6625 | 47 | 16.282
2015-11-09 | 126 | 1 | 1 | 1 | 1 | 1 | 18 | 1 | 1 | 4 | 1.5874 | 47 | 14.3209
2015-11-16 | 133 | 1 | 1 | 1 | 1 | 1 | 19 | 1 | 1 | 4 | 1.5157 | 47 | 12.596
2015-11-23 | 140 | 96 | 20 | 4000 | 0.005 | 4000 | 20 | 1 | 1 | 4 | 1.4473 | 47 | 11.0789
2015-11-30 | 147 | 1 | 1 | 1 | 1 | 1 | 21 | 1 | 1 | 2 | 1.3819 | 12 | 10.2054
2015-12-07 | 154 | 1 | 1 | 1 | 1 | 1 | 22 | 1 | 1 | 2 | 1.3503 | 12 | 9.8384
2015-12-14 | 161 | 8 | 20 | 71 | 0.28169 | 71 | 23 | 1 | 1 | 2 | 1.3322 | 12 | 9.7713
2015-12-21 | 168 | 1 | 1 | 4 | 0.25 | 4 | 24 | 1 | 1 | 2 | 1.313 | 12 | 9.6998
2015-12-29 | 176 | 1 | 1 | 1 | 1 | 1 | 25 | 1 | 1 | 2 | 1.2927 | 12 | 9.6237
2016-01-04 | 182 | 1 | 1 | 1 | 1 | 1 | 26 | 1 | 1 | 2 | 1.2712 | 12 | 9.5423
2016-01-11 | 189 | 1 | 1 | 36 | 0.027778 | 36 | 27 | 1 | 1 | 2 | 1.2483 | 12 | 9.4553
2016-01-19 | 197 | 1 | 1 | 1 | 1 | 1 | 28 | 1 | 1 | 1 | 1.2241 | 180 | 9.3618
2016-01-25 | 203 | 1 | 1 | 5 | 0.2 | 5 | 29 | 1 | 1 | 1 | 1.2349 | 180 | 8.2326
2016-02-01 | 210 | 7 | 1 | 200 | 0.005 | 200 | 30 | 1 | 1 | 1 | 1.2468 | 180 | 7.1555
2016-02-09 | 218 | 2 | 2 | 3 | 0.66667 | 3 | 31 | 1 | 1 | 1 | 1.2599 | 180 | 6.1368
2016-02-16 | 225 | 1 | 1 | 1 | 1 | 1 | 32 | 1 | 1 | 1 | 1.2746 | 180 | 5.183
2016-02-22 | 231 | 1 | 1 | 4 | 0.25 | 4 | 33 | 1 | 1 | 1 | 1.2909 | 180 | 4.3002
2016-02-29 | 238 | 1 | 1 | 1 | 1 | 1 | 34 | 1 | 1 | 1 | 1.3094 | 180 | 3.4945
2016-03-08 | 246 | 43 | 30 | 36 | 0.83333 | 36 | 35 | 1 | 1 | 2 | 1.3303 | 8 | 2.7713
2016-03-16 | 254 | 1 | 1 | 1 | 1 | 1 | 36 | 1 | 1 | 2 | 1.2968 | 8 | 2.5937
2016-03-21 | 259 | 1 | 5 | 3 | 1.6667 | 3 | 37 | 1 | 1 | 2 | 1.2599 | 8 | 2.4061
2016-03-29 | 267 | 1 | 1 | 1 | 1 | 1 | 38 | 1 | 1 | 2 | 1.219 | 8 | 2.2082
2016-04-04 | 273 | 1 | 1 | 1 | 1 | 1 | 39 | 1 | 1 | 2 | 1.1735 | 8 | 2
2016-04-11 | 280 | 1 | 1 | 1 | 1 | 1 | 40 | 1 | 1 | 2 | 1.1225 | 8 | 1.7818
2016-04-18 | 287 | 1 | 1 | 1 | 1 | 1 | 41 | 1 | 1 | 2 | 1.065 | 8 | 1.5544
2016-04-25 | 294 | 1 | 1 | 1 | 1 | 1 | 42 | 1 | 1 | 1 | 1 | 1 | 1.3195
2016-05-02 | 301 | 1 | 1 | 5 | 0.2 | 5 | 43 | 1 | 1 | 1 | 1 | 1 | 1.3608
2016-05-09 | 308 | 1 | 1 | 1 | 1 | 1 | 44 | 1 | 1 | 1 | 1 | 1 | 1.4142
2016-05-17 | 316 | 1 | 1 | 5 | 0.2 | 5 | 45 | 1 | 1 | 1 | 1 | 1 | 1.486
2016-05-23 | 322 | 1 | 1 | 5 | 0.2 | 5 | 46 | 1 | 1 | 1 | 1 | 1 | 1.5874
2016-05-31 | 330 | 1 | 1 | 2 | 0.5 | 2 | 47 | 1 | 1 | 1 | 1 | 1 | 1.7411
2016-06-06 | 336 | 5 | 4 | 36 | 0.11111 | 36 | 48 | 1 | 1 | 1 | 1 | 1 | 2
2016-06-13 | 343 | 1 | 1 | 3 | 0.33333 | 3 | 49 | 1 | 1 | 1 | 1 | 1 | 2.5198
2016-06-20 | 350 | 1 | 1 | 8 | 0.125 | 8 | 50 | 1 | 1 | 1 | 1 | 4 | 4
2016-06-27 | 357 | 1 | 1 | 1 | 1 | 1 | 51 | 1 | 1 | 1 | 1 | 4 | 4
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365

## SMB 7-5
SMB 7-5
|  | Concentration of Biologics |  |  | Ratio Check TMDL Single Sample Results |  | 30 Day Running Geometric Mean Calculation
Sample Date |  | Enterococcus (CFU/100ml) | Fecal Coliform (CFU/100 ml)1 | Total Coliforms (CFU/100 ml) | Ratio Fecal Coliforms/ Total Coliforms > 0.1 | Total Coliform Density Check <1000 OK | DAY | Enterococcus (1) | 30 Day Avg Enterococus (<35 CFU/100 ml) | Fecal Coliform(1) | 30 Day Avg Fecal Coliform (< 200 CFU/100 ml) | Total Coliforms (1) | 30 Day Avg Total Coliforms (<= 1000 CFU/100 ml)
2015-07-06 | 0 | 7 | 17 | 24 | 0.70833 | 24 | 0 | 7 | 4.7837 | 17 | 5.0351 | 24 | 60.7258
2015-07-13 | 7 | 1 | 2 | 86 | 0.023256 | 86 | 1 | 7 | 4.4833 | 17 | 4.5813 | 24 | 61.5521
2015-07-20 | 14 | 9 | 0 | 51 | 0 | 51 | 2 | 7 | 4.2017 | 17 | 4.1685 | 24 | 62.3897
2015-07-27 | 21 | 13 | 30 | 150 | 0.2 | 150 | 3 | 7 | 3.9378 | 17 | 3.7928 | 24 | 63.2386
2015-08-03 | 28 | 1 | 50 | 36 | 1.3889 | 36 | 4 | 7 | 3.6905 | 17 | 3.451 | 24 | 64.0991
2015-08-10 | 35 | 1 | 7 | 28 | 0.25 | 28 | 5 | 7 | 3.4587 | 17 | 3.14 | 24 | 64.9714
2015-08-17 | 42 | 5 | 50 | 31 | 1.6129 | 31 | 6 | 7 | 3.2415 | 17 | 3.0485 | 24 | 65.3061
2015-08-25 | 50 | 7 | 80 | 59 | 1.3559 | 59 | 7 | 1 | 3.0379 | 2 | 2.9597 | 86 | 65.6425
2015-08-31 | 56 | 1 | 17 | 91 | 0.18681 | 91 | 8 | 1 | 3.0379 | 2 | 3.0859 | 86 | 63.2325
2015-09-08 | 64 | 3 | 22 | 39 | 0.5641 | 39 | 9 | 1 | 3.0379 | 2 | 3.2175 | 86 | 60.911
2015-09-14 | 70 | 1 | 0 | 34 | 0 | 34 | 10 | 1 | 3.0379 | 2 | 3.3547 | 86 | 58.6747
2015-09-22 | 78 | 1 | 5 | 51 | 0.098039 | 51 | 11 | 1 | 3.0379 | 2 | 3.4977 | 86 | 56.5205
2015-09-28 | 84 | 1 | 15 | 24 | 0.625 | 24 | 12 | 1 | 3.0379 | 2 | 3.6469 | 86 | 54.4455
2015-10-05 | 91 | 1 | 4 | 47 | 0.085106 | 47 | 13 | 1 | 3.2054 | 2 | 3.5636 | 86 | 52.6248
2015-10-13 | 99 | 1 | 3 | 110 | 0.027273 | 110 | 14 | 9 | 3.382 | 1 | 3.4822 | 51 | 50.865
2015-10-19 | 105 | 1 | 3 | 36 | 0.083333 | 36 | 15 | 9 | 3.3164 | 1 | 3.4822 | 51 | 50.0279
2015-10-26 | 112 | 24 | 15 | 400 | 0.0375 | 400 | 16 | 9 | 3.252 | 1 | 3.4822 | 51 | 49.2046
2015-11-02 | 119 | 4 | 4 | 4 | 1 | 4 | 17 | 9 | 3.1889 | 1 | 3.4822 | 51 | 48.3948
2015-11-09 | 126 | 87 | 9 | 42 | 0.21429 | 42 | 18 | 9 | 3.1271 | 1 | 3.4822 | 51 | 47.5983
2015-11-16 | 133 | 20 | 21 | 59 | 0.35593 | 59 | 19 | 9 | 3.0664 | 1 | 3.4822 | 51 | 46.8149
2015-11-23 | 140 | 3 | 1 | 36 | 0.027778 | 36 | 20 | 9 | 3.0069 | 1 | 3.4822 | 51 | 46.0445
2015-11-30 | 147 | 3 | 5 | 35 | 0.14286 | 35 | 21 | 13 | 2.9818 | 30 | 4.0298 | 150 | 46.2687
2015-12-07 | 154 | 7 | 1 | 51 | 0.019608 | 51 | 22 | 13 | 2.9209 | 30 | 4.1638 | 150 | 44.8517
2015-12-14 | 161 | 11 | 11 | 120 | 0.091667 | 120 | 23 | 13 | 2.7743 | 30 | 3.8897 | 150 | 43.0229
2015-12-21 | 168 | 8 | 1 | 24 | 0.041667 | 24 | 24 | 13 | 2.6255 | 30 | 3.616 | 150 | 41.146
2015-12-29 | 176 | 1 | 4 | 34 | 0.11765 | 34 | 25 | 13 | 2.4744 | 30 | 3.3434 | 150 | 39.2213
2016-01-04 | 182 | 1 | 3 | 36 | 0.083333 | 36 | 26 | 13 | 2.3215 | 30 | 3.0729 | 150 | 37.2491
2016-01-11 | 189 | 7 | 5 | 91 | 0.054945 | 91 | 27 | 13 | 2.1669 | 30 | 2.8052 | 150 | 35.2303
2016-01-19 | 197 | 3 | 1 | 12 | 0.083333 | 12 | 28 | 1 | 2.011 | 1 | 2.5414 | 36 | 33.1666
2016-01-25 | 203 | 1 | 1 | 39 | 0.025641 | 39 | 29 | 1 | 2.073 | 1 | 2.6466 | 36 | 33.0486
2016-02-01 | 210 | 16 | 8 | 420 | 0.019048 | 420 | 30 | 1 | 2.1429 | 1 | 2.7663 | 36 | 32.9203
2016-02-09 | 218 | 4 | 1 | 15 | 0.066667 | 15 | 31 | 1 | 2.2221 | 1 | 2.9037 | 36 | 32.7805
2016-02-16 | 225 | 1 | 3 | 19 | 0.15789 | 19 | 32 | 1 | 2.3126 | 1 | 3.0626 | 36 | 32.6273
2016-02-22 | 231 | 3 | 3 | 27 | 0.11111 | 27 | 33 | 1 | 2.4169 | 1 | 3.2485 | 36 | 32.4588
2016-02-29 | 238 | 1 | 1 | 10 | 0.1 | 10 | 34 | 1 | 2.5384 | 1 | 3.4682 | 36 | 32.2726
2016-03-08 | 246 | 43 | 12 | 150 | 0.08 | 150 | 35 | 1 | 2.6813 | 7 | 3.7314 | 28 | 32.0657
2016-03-14 | 252 | 9 | 210 | 540 | 0.38889 | 540 | 36 | 1 | 2.8518 | 7 | 3.5876 | 28 | 32.3386
2016-03-21 | 259 | 1 | 3 | 51 | 0.058824 | 51 | 37 | 1 | 3.0582 | 7 | 3.4312 | 28 | 32.6507
2016-03-29 | 267 | 1 | 1 | 1 | 1 | 1 | 38 | 1 | 3.3124 | 7 | 3.2608 | 28 | 33.011
2016-04-04 | 273 | 1 | 4 | 110 | 0.036364 | 110 | 39 | 1 | 3.632 | 7 | 3.0747 | 28 | 33.4318
2016-04-11 | 280 | 1 | 4 | 18 | 0.22222 | 18 | 40 | 1 | 4.0442 | 7 | 2.871 | 28 | 33.9294
2016-04-18 | 287 | 1 | 1 | 16 | 0.0625 | 16 | 41 | 1 | 4.5919 | 7 | 2.6475 | 28 | 34.5271
2016-04-25 | 294 | 1 | 1 | 6 | 0.16667 | 6 | 42 | 5 | 5.3481 | 1 | 2.4022 | 31 | 35.2582
2016-05-02 | 301 | 1 | 1 | 19 | 0.052632 | 19 | 43 | 5 | 5.3882 | 1 | 2.6479 | 31 | 35.766
2016-05-09 | 308 | 1 | 5 | 24 | 0.20833 | 24 | 44 | 5 | 5.4388 | 1 | 2.9907 | 31 | 36.4111
2016-05-17 | 316 | 1 | 3 | 25 | 0.12 | 25 | 45 | 5 | 5.5045 | 1 | 3.4974 | 31 | 37.2577
2016-05-23 | 322 | 1 | 1 | 16 | 0.0625 | 16 | 46 | 5 | 5.5934 | 1 | 4.3089 | 31 | 38.4171
2016-05-31 | 330 | 1 | 3 | 29 | 0.10345 | 29 | 47 | 5 | 5.7203 | 1 | 5.7708 | 31 | 40.1012
2016-06-06 | 336 | 1 | 1 | 17 | 0.058824 | 17 | 48 | 5 | 5.9161 | 1 | 8.9443 | 31 | 42.7668
2016-06-13 | 343 | 1 | 1 | 4 | 0.25 | 4 | 49 | 5 | 6.2573 | 1 | 18.5664 | 31 | 47.6089
2016-06-20 | 350 | 7 | 2 | 25 | 0.08 | 25 | 50 | 7 | 7 | 80 | 80 | 59 | 59
2016-06-27 | 357 | 5 | 11 | 30 | 0.36667 | 30 | 51 | 7 | 7 | 80 | 80 | 59 | 59