## Stations
StationSource | StationCode | StationName | StationDescr | StationAgency | StationComments | EventType1 | EventType2 | EventType3 | GeometryShape | DirectionsToStation | AddDate | CoordinateNumber | TargetLatitude | TargetLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments | LocalWatershed | LocalWaterbody | State | Counties_2004_COUNTY | SWRCBWatTypeCode | CalWater_2004_RB | CalWater_2004_CALWNUM | CalWater_2004_HUNAME | GageStationID | UpstreamArea | HBASA2_1995_NHCODE | NHD_24k_v2_GNIS_Name | NHD_24k_v2_ReachCode | NHD_24k_v2_HUC_12 | NHD_24k_v2_Hu_12_Name | NHD_100k_GNIS_Name | NHD_100k_ReachCode | NHD_Plus_CatchmentComID | Ecoregion_1987_Level3 | IBI_NorthCoast_2005_WithinPolygon | IBI_SoCal_2005_WithinPolygon | StationGISVerBy | StationGISVerDate | StationGISVerComments
| LCC1 | Stearns Street | [10 empty] | 33.7954 | -118.1036
| SB4 | Sub-basin 4 - Spring Street Drain | [10 empty] | 33.8131 | -118.1395
| SB10 | Sub-basin 10 - Palo Verde | [10 empty] | 33.8104 | -118.1143
| SB9 | Sub-basin 9- Del Amo | [10 empty] | 33.8468 | -118.134
Note on A1: Lookup List: AgencyLookUp or ProjectLookUp
Note on E1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on G1: Lookup List: EventLookUp
Note on H1: Lookup List: EventLookUp
Note on I1: Lookup List: EventLookUp
Note on J1: LookUp List: VariableCodes LookUp
Note on L1: Format: dd/mmm/yyyy
Note on M1: Default Value: 1
Note on P1: LookUp List: VariableCodesLookUp Default Value: NR
Note on Q1: LookUp List: VariableCodesLookUp Default Value: NR
Note on S1: LookUp List: VariableCodesLookUp
Note on Y1: LookUp List: VariableCodesLookUp Default Value: CA
Note on AA1: LookUp List: WBType Lookup Default Value: NR
Note on AB1: Number of Regional Water Board station is located in
Note on AI1: 14-digit number based on National Hydrography Data Reach (NHD)
Note on AJ1: 12-digit number based on National Hydrography Data Reach (NHD)
Note on AK1: If value is null or None, populate LocalWatershed with a value.
Note on AO1: Required Field to use Bioassessment Reporting Module
Note on AP1: Required Field to use Bioassessment Reporting Module
Note on AQ1: Required Field to use Bioassessment Reporting Module

## Locations
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CoordinateNumber | ActualLatitude | ActualLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments
LCC1 | 2016-07-18 |  | WQ
LCC1 | 2016-11-21 |  | WQ
SB10 | 2016-11-21 |  | WQ
SB4 | 2016-11-21 |  | WQ
LCC1 | 2016-12-16 |  | WQ
SB10 | 2016-12-16 |  | WQ
SB4 | 2016-12-16 |  | WQ
LCC1 | 2017-01-09 |  | WQ
SB10 | 2017-01-09 |  | WQ
SB4 | 2017-01-09 |  | WQ
LCC1 | 2017-02-17 |  | WQ
SB9 | 2017-02-17 |  | WQ
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: LookUp List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Default Value: 1
Note on M1: LookUp List: VariableCodesLookUp Default Value: NR
Note on N1: LookUp List: VariableCodesLookUp Default Value: NR
Note on P1: LookUp List: VariableCodesLookUp

## FieldResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | Replicate | CollectionDeviceName | CollectionDepth | UnitCollectionDepth | PositionWaterColumn | FieldCollectionComments | MatrixName | MethodName | AnalyteName | FractionName | UnitName | FieldReplicate | Result | ResQualCode | QACode | ComplianceCode | BatchVerificationCode | CalibrationDate | FieldResultComments
LCC-LCC1 | 2017-07-20 | LCC_CIMP | WQ | Not Recorded | Kinnetic |  | Not Recorded |  | 9:30 | Grab | 1 | Hydrolab Quanta | 0.1 | m | Subsurface |  | samplewater | FieldMeasure | Temperature |  | Deg C |  | 27.37
LCC-LCC1 | 2017-07-20 | LCC_CIMP | WQ | Not Recorded | Kinnetic |  | Not Recorded |  | 9:30 | Grab | 1 | Hydrolab Quanta | 0.1 | m | Subsurface |  | samplewater | FieldMeasure | pH |  | pH |  | 9.23
LCC-LCC1 | 2017-07-20 | LCC_CIMP | WQ | Not Recorded | Kinnetic |  | Not Recorded |  | 9:30 | Grab | 1 | Hydrolab Quanta | 0.1 | m | Subsurface |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.892
LCC-LCC1 | 2017-07-20 | LCC_CIMP | WQ | Not Recorded | Kinnetic |  | Not Recorded |  | 9:30 | Grab | 1 | Hydrolab Quanta | 0.1 | m | Subsurface |  | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.44
LCC-LCC1 | 2017-07-20 | LCC_CIMP | WQ | Not Recorded | Kinnetic |  | Not Recorded |  | 9:30 | Grab | 1 | Hydrolab Quanta | 0.1 | m | Subsurface |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 7.65
LCC-LCC1 | 2017-07-20 | LCC_CIMP | WQ | Not Recorded | Kinnetic |  | Not Recorded |  | 9:30 | Grab | 1 | Hydrolab Quanta | 0.1 | m | Subsurface |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 94.3
LCC-LCC1 | 2017-07-20 | LCC_CIMP | WQ | Not Recorded | Kinnetic |  | Not Recorded |  | 9:30 | Grab | 1 | Hydrolab Quanta | 0.1 | m | Subsurface |  | samplewater | FieldMeasure | Turbidity |  | NTU |  | 9.3
LCC-LCC1 | 2017-07-20 | LCC_CIMP | WQ | Not Recorded | Kinnetic |  | Not Recorded |  | 9:30 | Grab | 1 | KLI Flow Meter | 0.1 | m | Subsurface |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 0.79
Note on A2: LookUp List: StationLookUp
Note on B2: Format: dd/mmm/yyyy Default Value: 01/Jan/1950
Note on C2: LookUp List: ProjectLookUp
Note on D2: LookUp List: EventLookUp
Note on E2: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F2: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on H2: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I2: LookUp List: VariableCodesLookUp
Note on J2: Format: hh:mm Default Value: 00:00
Note on K2: LookUp List: CollectionMethodLookUp Default Value: Field
Note on L2: Default Value: 1
Note on M2: LookUp List: CollectionDeviceLookUp Default Value: Not Recorded
Note on O2: LookUp List: VariableCodesLookUp
Note on P2: LookUp List: VariableCodesLookUp Default: Not Applicable
Note on R2: LookUp List: MatrixLookUp Default Value: Not Recorded
Note on S2: LookUp List: MethodLookUp Default Value: FieldMeasure
Note on T2: LookUp List: AnalyteLookUp
Note on U2: LookUp List: FractionLookUp
Note on V2: LookUp List: UnitLookUp
Note on W2: Default value: 1
Note on X2: Result may be left blank as long as an appropriate ResQualCode is provided
Note on Y2: LookUp List: ResQualLookUp Default Value: =
Note on Z2: LookUp List: QALookUp Default Value: NR. If unknown. Default Value: None. Indicates no special conditions.
Note on AA2: LookUp List: ComplianceLookUp Default Value: NR
Note on AB2: LookUp List: BatchVerificationLookUp Default Value: NR
Note on AC2: Format: dd/mmm/yyyy Default Value: 01/Jan/1950