## Notes_Information
CEDEN Online LookUp Lists
http://ceden.org/CEDEN_checker/Checker/LookUpLists.php
CEDEN Online Data Checker
CV RDC
http://checker.cv.mpsl.mlml.calstate.edu/CVRDC/CVRDCUpload.php
SCCWRP Data Center
http://www.sccwrp.org/Data/DataSubmission/SouthernCaliforniaRegionalDataCenter.aspx
SFEI Data Center
http://rdcdataupload.sfei.org/
MPSL-MLML Data Center
http://checker.calducs.mpsl.mlml.calstate.edu/calducs
If you do not know what data center to utilize, use the following link: http://ceden.org/data_centers.shtml
CEDEN Chemistry Template Documentation
http://www.ceden.org/ceden_datatemplates.shtml
Notes for all tabs
Location | This tab should only be filled out if actual latitude and longitude measurements are being recorded.
1. Bolded Green text indicates a Minimum/Required field necessary for loading data into CEDEN
2. Black bolded text indicates a Desireable/Default Required field to help increase the usability of the data by CEDEN users. Desireable/Default Required fields cannot be left blank and must be populated with a default value if an actual value cannot be provided.
3. Cells with orange text and grey background indicate an extra field used for additional information and completeness purposes. Although not required, it is desireable that you provide this information if available.
4. Grey highlighted cells with blue bolded text (located only in the stations tab) indicate an extra field used for additional information and completeness purposes unless your project is submitting bioassessment data for that particular station. These fields are required when utilizing the Bioassessment Reporting Module.
* | Please see the notation/comment box located in the top right corner of the column headers to view the name of the corresponding LookUp List, any associated Default Values, and/or proper formatting for each field.
Template Updates
2014-02-14 | Bacteria examples have been added to this template to provide guidance to data submitters
2014-05-27 | LabBatches listed in ChemResults tab have been added to the LabBatch tab
2016-07-05 | Updated links; created blank template in addition to existing template with examples; modified example data; changed not required fields to have orange, unbolded text; added instruction that Station tab can be left blank; added macros to help entry of the the correct CollectionTime format
2017-01-03 | Removed Stations tab and references to it.

## Locations
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CoordinateNumber | ActualLatitude | ActualLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments
LHH-1 | 2018-01-09 | La Habra Heights |  |  |  | Dry site, no samples collected |  |  | 1 | 33.9474 | -117.965 | NR
LHH-2 | 2018-01-09 | La Habra Heights | [6 empty] | 1 | 33.9745 | -117.9676 | NR
LHH-1 | 2018-03-10 | La Habra Heights |  |  |  | Dry site, no samples collected |  |  | 1 | 33.9474 | -117.965 | NR
LHH-2 | 2018-03-10 | La Habra Heights | [6 empty] | 1 | 33.9745 | -117.9676 | NR
LHH-1 | 2018-03-22 | La Habra Heights |  |  |  | Dry site, no samples collected |  |  | 1 | 33.9474 | -117.965 | NR
LHH-2 | 2018-03-22 | La Habra Heights | [6 empty] | 1 | 33.9745 | -117.9676 | NR
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: LookUp List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Default Value: 1
Note on M1: LookUp List: VariableCodesLookUp Default Value: NR
Note on N1: LookUp List: VariableCodesLookUp Default Value: NR
Note on P1: LookUp List: VariableCodesLookUp

## ChemResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | SampleTypeCode | Replicate | CollectionDeviceName | CollectionDepth | UnitCollectionDepth | PositionWaterColumn | LabCollectionComments | LabBatch | AnalysisDate | MatrixName | MethodName | AnalyteName | FractionName | UnitName | LabReplicate | Result | ResQualCode | MDL | RL | QACode | ComplianceCode | DilutionFactor | ExpectedValue | PrepPreservationName | PrepPreservationDate | DigestExtractMethod | DigestExtractDate | SampleID | LabSampleID | LabResultComments
LHH-2 | 2018-01-09 | La Habra Heights | [6 empty] | 6:04 | Not Applicable | Grab | 1 |  | -88 | m |  |  | I0116HARB2 | 2018-01-16 14:45 | samplewater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 120 | = | 2 | 4 | None |  | 2 | [5 empty] | 20180109LHH-2 | 18-01-0410-1-A
LHH-2 | 2018-01-09 | La Habra Heights | [6 empty] | 6:30 | Not Applicable | Grab | 2 |  | -88 | m |  |  | I0116HARB2 | 2018-01-16 14:45 | samplewater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 120 | = | 2 | 4 | None |  | 2 | [5 empty] | 20180109LHH-DUP | 18-01-0410-2-A
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 6:20 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | I0116HARB2 | 2018-01-16 14:45 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | -88 | ND | 0.99 | 2 | None |  | 1 | [5 empty] | 20180109LHH-BLK | 18-01-0410-3-A
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | I0116HARB2 | 2018-01-16 14:45 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | -88 | ND | 0.99 | 2 | None |  | 1 | [5 empty] | Method Blank | 099-14-457-771
LHH-2 | 2018-01-09 | La Habra Heights | [6 empty] | 6:04 | Not Applicable | Grab | 1 |  | -88 | m |  |  | I0113TDSL1 | 2018-01-13 16:00 | samplewater | SM 2540 C | Dissolved Solids | Total | mg/L | 1 | 200 | = | 0.87 | 1 | None |  | 1 | [5 empty] | 20180109LHH-2 | 18-01-0410-1-D
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | I0113TDSL1 | 2018-01-13 16:00 | blankwater | SM 2540 C | Dissolved Solids | Total | mg/L | 1 | -88 | ND | 0.87 | 1 | None |  | 1 | [5 empty] | Method Blank | 099-12-180-5948
LHH-2 | 2018-01-09 | La Habra Heights | [6 empty] | 6:04 | Not Applicable | Grab | 1 |  | -88 | m |  |  | I0113TSSL1 | 2018-01-13 14:00 | samplewater | SM 2540 D | Suspended Solids | Total | mg/L | 1 | 340 | = | 0.829 | 1 | None |  | 1 | [5 empty] | 20180109LHH-2 | 18-01-0410-1-C
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | I0113TSSL1 | 2018-01-13 14:00 | blankwater | SM 2540 D | Suspended Solids | Total | mg/L | 1 | -88 | ND | 0.83 | 1 | None |  | 1 | [5 empty] | Method Blank | 099-09-010-8823
LHH-2 | 2018-01-09 | La Habra Heights | [6 empty] | 6:04 | Not Applicable | Grab | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 21:05 | samplewater | EPA 200.8 | Lead | Total | mg/L | 1 | 0.0249 | = | 8.98e-05 | 0.001 | None |  | 1 | [5 empty] | 20180109LHH-2 | 18-01-0410-1-B
LHH-2 | 2018-01-09 | La Habra Heights | [6 empty] | 6:04 | Not Applicable | Grab | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 21:05 | samplewater | EPA 200.8 | Selenium | Total | mg/L | 1 | 0.000576 | < | 0.000168 | 0.001 | IP,J |  | 1 | [5 empty] | 20180109LHH-2 | 18-01-0410-1-B
LHH-2 | 2018-01-09 | La Habra Heights | [6 empty] | 6:30 | Not Applicable | Grab | 2 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 21:07 | samplewater | EPA 200.8 | Copper | Total | mg/L | 1 | 0.0294 | = | 0.00014 | 0.001 | None |  | 1 | [5 empty] | 20180109LHH-DUP | 18-01-0410-2-B
LHH-2 | 2018-01-09 | La Habra Heights | [6 empty] | 6:30 | Not Applicable | Grab | 2 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 21:07 | samplewater | EPA 200.8 | Lead | Total | mg/L | 1 | 0.0222 | = | 8.98e-05 | 0.001 | None |  | 1 | [5 empty] | 20180109LHH-DUP | 18-01-0410-2-B
LHH-2 | 2018-01-09 | La Habra Heights | [6 empty] | 6:30 | Not Applicable | Grab | 2 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 21:07 | samplewater | EPA 200.8 | Selenium | Total | mg/L | 1 | 0.000909 | < | 0.000168 | 0.001 | IP,J |  | 1 | [5 empty] | 20180109LHH-DUP | 18-01-0410-2-B
LHH-2 | 2018-01-09 | La Habra Heights | [6 empty] | 6:30 | Not Applicable | Grab | 2 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 21:07 | samplewater | EPA 200.8 | Zinc | Total | mg/L | 1 | 0.106 | = | 0.000479 | 0.005 | None |  | 1 | [5 empty] | 20180109LHH-DUP | 18-01-0410-2-B
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 6:20 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-12 18:54 | blankwater | EPA 200.8 | Copper | Total | mg/L | 1 | -88 | ND | 0.00014 | 0.001 | None |  | 1 | [5 empty] | 20180109LHH-BLK | 18-01-0410-3-B
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 6:20 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-12 18:54 | blankwater | EPA 200.8 | Lead | Total | mg/L | 1 | -88 | ND | 8.98e-05 | 0.001 | None |  | 1 | [5 empty] | 20180109LHH-BLK | 18-01-0410-3-B
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 6:20 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-12 18:54 | blankwater | EPA 200.8 | Selenium | Total | mg/L | 1 | -88 | ND | 0.000168 | 0.001 | None |  | 1 | [5 empty] | 20180109LHH-BLK | 18-01-0410-3-B
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 6:20 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-12 18:54 | blankwater | EPA 200.8 | Zinc | Total | mg/L | 1 | 0.000649 | < | 0.000479 | 0.005 | J |  | 1 | [5 empty] | 20180109LHH-BLK | 18-01-0410-3-B
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:22 | blankwater | EPA 200.8 | Copper | Total | mg/L | 1 | -88 | ND | 0.00014 | 0.001 | None |  | 1 | [5 empty] | Method Blank | 099-16-094-2156
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:22 | blankwater | EPA 200.8 | Lead | Total | mg/L | 1 | -88 | ND | 8.98e-05 | 0.001 | None |  | 1 | [5 empty] | Method Blank | 099-16-094-2156
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:22 | blankwater | EPA 200.8 | Selenium | Total | mg/L | 1 | 0.000578 | < | 0.000168 | 0.001 | J |  | 1 | [5 empty] | Method Blank | 099-16-094-2156
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:22 | blankwater | EPA 200.8 | Zinc | Total | mg/L | 1 | -88 | ND | 0.000479 | 0.005 | None |  | 1 | [5 empty] | Method Blank | 099-16-094-2156
LHH-2 | 2018-01-09 | La Habra Heights | [6 empty] | 6:04 | Not Applicable | Grab | 1 |  | -88 | m |  |  | 180110LA3F | 2018-01-10 19:31 | samplewater | EPA 200.8 | Lead | Dissolved | mg/L | 1 | 0.00126 | = | 8.98e-05 | 0.001 | None |  | 1 | [5 empty] | 20180109LHH-2 | 18-01-0410-1-E
LHH-2 | 2018-01-09 | La Habra Heights | [6 empty] | 6:04 | Not Applicable | Grab | 1 |  | -88 | m |  |  | 180110LA3F | 2018-01-10 19:31 | samplewater | EPA 200.8 | Selenium | Dissolved | mg/L | 1 | 0.000559 | < | 0.000168 | 0.001 | IP,J |  | 1 | [5 empty] | 20180109LHH-2 | 18-01-0410-1-E
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | 180110LA3F | 2018-01-10 18:45 | blankwater | EPA 200.8 | Lead | Dissolved | mg/L | 1 | -88 | ND | 8.98e-05 | 0.001 | None |  | 1 | [5 empty] | Method Blank | 099-12-900-160
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | 180110LA3F | 2018-01-10 18:45 | blankwater | EPA 200.8 | Selenium | Dissolved | mg/L | 1 | 0.000201 | < | 0.000168 | 0.001 | J |  | 1 | [5 empty] | Method Blank | 099-12-900-160
000NONPJ | 2018-01-09 | La Habra Heights | [6 empty] | 3:40 | Not Applicable | QAGrab | 1 |  | -88 | m |  |  | I0116HARB2 | 2018-01-16 14:45 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 117 | = | 0.9892 | 2 | None |  | 1 | [5 empty] | 18-01-0408-1 | 18-01-0408-1
000NONPJ | 2018-01-09 | La Habra Heights | [6 empty] | 3:40 | Not Applicable | QAGrab | 1 |  | -88 | m |  |  | I0116HARB2 | 2018-01-16 14:45 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 115 | = | 0.9892 | 2 | None |  | 1 | [5 empty] | 18-01-0408-1 | 18-01-0408-1
000NONPJ | 2018-01-09 | La Habra Heights | [6 empty] | 7:10 | Not Applicable | QAGrab | 1 |  | -88 | m |  |  | I0113TDSL1 | 2018-01-13 16:00 | blankwater | SM 2540 C | Dissolved Solids | Total | mg/L | 1 | 55 | = | 0.8703 | 1 | None |  | 1 | [5 empty] | 18-01-0405-1 | 18-01-0405-1
000NONPJ | 2018-01-09 | La Habra Heights | [6 empty] | 7:10 | Not Applicable | QAGrab | 1 |  | -88 | m |  |  | I0113TDSL1 | 2018-01-13 16:00 | blankwater | SM 2540 C | Dissolved Solids | Total | mg/L | 1 | 55 | = | 0.8703 | 1 | None |  | 1 | [5 empty] | 18-01-0405-1 | 18-01-0405-1
000NONPJ | 2018-01-09 | La Habra Heights | [6 empty] | 9:13 | Not Applicable | QAGrab | 1 |  | -88 | m |  |  | I0113TSSL1 | 2018-01-13 14:00 | blankwater | SM 2540 D | Suspended Solids | Total | mg/L | 1 | 81.75 | = | 0.8287 | 1 | None |  | 1 | [5 empty] | 18-01-0423-12 | 18-01-0423-12
000NONPJ | 2018-01-09 | La Habra Heights | [6 empty] | 9:13 | Not Applicable | QAGrab | 1 |  | -88 | m |  |  | I0113TSSL1 | 2018-01-13 14:00 | blankwater | SM 2540 D | Suspended Solids | Total | mg/L | 1 | 82.25 | = | 0.8287 | 1 | None |  | 1 | [5 empty] | 18-01-0423-12 | 18-01-0423-12
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 3:40 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:27 | samplewater | EPA 200.8 | Copper | Total | %REC | 1 | 107 | = | 0.0001397 | 0.001 | None |  | 1 | [5 empty] | 18-01-0408-1 | 18-01-0408-1
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 3:40 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:27 | samplewater | EPA 200.8 | Lead | Total | %REC | 1 | 110 | = | 8.976e-05 | 0.001 | None |  | 1 | [5 empty] | 18-01-0408-1 | 18-01-0408-1
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 3:40 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:27 | samplewater | EPA 200.8 | Selenium | Total | %REC | 1 | 101 | = | 0.0001682 | 0.001 | None |  | 1 | [5 empty] | 18-01-0408-1 | 18-01-0408-1
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 3:40 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:27 | samplewater | EPA 200.8 | Zinc | Total | %REC | 1 | 99 | = | 0.0004789 | 0.005 | None |  | 1 | [5 empty] | 18-01-0408-1 | 18-01-0408-1
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 3:40 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:29 | samplewater | EPA 200.8 | Copper | Total | %REC | 1 | 106 | = | 0.0001397 | 0.001 | None |  | 1 | [5 empty] | 18-01-0408-1 | 18-01-0408-1
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 3:40 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:29 | samplewater | EPA 200.8 | Lead | Total | %REC | 1 | 112 | = | 8.976e-05 | 0.001 | None |  | 1 | [5 empty] | 18-01-0408-1 | 18-01-0408-1
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 3:40 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:29 | samplewater | EPA 200.8 | Selenium | Total | %REC | 1 | 103 | = | 0.0001682 | 0.001 | None |  | 1 | [5 empty] | 18-01-0408-1 | 18-01-0408-1
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 3:40 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:29 | samplewater | EPA 200.8 | Zinc | Total | %REC | 1 | 98 | = | 0.0004789 | 0.005 | None |  | 1 | [5 empty] | 18-01-0408-1 | 18-01-0408-1
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 7:47 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180110LA3F | 2018-01-10 19:18 | samplewater | EPA 200.8 | Lead | Dissolved | %REC | 1 | 109 | = | 8.976e-05 | 0.001 | None |  | 1 | [5 empty] | 18-01-0398-1 | 18-01-0398-1
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 7:47 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180110LA3F | 2018-01-10 19:18 | samplewater | EPA 200.8 | Selenium | Dissolved | %REC | 1 | 112 | = | 0.0001682 | 0.001 | None |  | 1 | [5 empty] | 18-01-0398-1 | 18-01-0398-1
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 7:47 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180110LA3F | 2018-01-10 19:21 | samplewater | EPA 200.8 | Lead | Dissolved | %REC | 1 | 108 | = | 8.976e-05 | 0.001 | None |  | 1 | [5 empty] | 18-01-0398-1 | 18-01-0398-1
LABQA | 2018-01-09 | La Habra Heights | [6 empty] | 7:47 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180110LA3F | 2018-01-10 19:21 | samplewater | EPA 200.8 | Selenium | Dissolved | %REC | 1 | 112 | = | 0.0001682 | 0.001 | None |  | 1 | [5 empty] | 18-01-0398-1 | 18-01-0398-1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | I0113TDSL1 | 2018-01-13 16:00 | blankwater | SM 2540 C | Dissolved Solids | Total | %REC | 1 | 100 | = | 0.8703 | 1 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-12-180-5948
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | I0113TDSL1 | 2018-01-13 16:00 | blankwater | SM 2540 C | Dissolved Solids | Total | %REC | 1 | 95 | = | 0.8703 | 1 | None |  | 1 | [5 empty] | Laboratory Control Sample Duplicate | 099-12-180-5948
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | I0113TSSL1 | 2018-01-13 14:00 | blankwater | SM 2540 D | Suspended Solids | Total | %REC | 1 | 96 | = | 0.8287 | 1 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-09-010-8823
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | I0113TSSL1 | 2018-01-13 14:00 | blankwater | SM 2540 D | Suspended Solids | Total | %REC | 1 | 98 | = | 0.8287 | 1 | None |  | 1 | [5 empty] | Laboratory Control Sample Duplicate | 099-09-010-8823
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:24 | blankwater | EPA 200.8 | Copper | Total | %REC | 1 | 105 | = | 0.0001397 | 0.001 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-16-094-2156
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:24 | blankwater | EPA 200.8 | Lead | Total | %REC | 1 | 109 | = | 8.976e-05 | 0.001 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-16-094-2156
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:24 | blankwater | EPA 200.8 | Selenium | Total | %REC | 1 | 104 | = | 0.0001682 | 0.001 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-16-094-2156
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | 180110LA2 | 2018-01-10 20:24 | blankwater | EPA 200.8 | Zinc | Total | %REC | 1 | 107 | = | 0.0004789 | 0.005 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-16-094-2156
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | 180110LA3F | 2018-01-10 18:48 | blankwater | EPA 200.8 | Lead | Dissolved | %REC | 1 | 106 | = | 8.976e-05 | 0.001 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-12-900-160
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | 180110LA3F | 2018-01-10 18:48 | blankwater | EPA 200.8 | Selenium | Dissolved | %REC | 1 | 108 | = | 0.0001682 | 0.001 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-12-900-160
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:05 | Water_Grab | Grab | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-14 | samplewater | EPA 200.8 | Calcium | Total | mg/L | 1 | 10.2 | = | 2.3 | 10 | None |  | 100
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:05 | Water_Grab | Grab | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-13 | samplewater | EPA 200.8 | Lead | Total | mg/L | 1 | 0.0104 | = | 0.00076 | 0.005 | None |  | 1
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:05 | Water_Grab | Grab | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Lead | Dissolved | mg/L | 1 | -88 | ND | 0.00076 | 0.005 | None |  | 1
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:05 | Water_Grab | Grab | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-14 | samplewater | EPA 200.8 | Magnesium | Total | mg/L | 1 | 4.9 | < | 0.56 | 5 | J |  | 100
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:05 | Water_Grab | Grab | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-13 | samplewater | EPA 200.8 | Selenium | Total | mg/L | 1 | -88 | ND | 0.00039 | 0.002 | None |  | 1
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:05 | Water_Grab | Grab | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Selenium | Dissolved | mg/L | 1 | -88 | ND | 0.00039 | 0.002 | None |  | 1
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:05 | Water_Grab | Grab | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-14 | samplewater | SM 2340 B | Hardness as CaCO3 | Total | mg/L | 1 | 45.6 | = | 0.2 | 0.5 | None |  | 1
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:05 | Water_Grab | Grab | 1 |  | -88 | m |  |  | QC1188741 | 2018-03-12 | samplewater | SM 2540 C | Dissolved Solids | Total | mg/L | 1 | 63 | = | 10 | 10 | None |  | 1
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:05 | Water_Grab | Grab | 1 |  | -88 | m |  |  | QC1188872 | 2018-03-14 | samplewater | SM 2540 D | Suspended Solids | Total | mg/L | 1 | 260 | = | 2 | 2 | None |  | 4
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:10 | Water_Grab | Grab | 2 |  | -88 | m |  |  | QC1188703 | 2018-03-14 | samplewater | EPA 200.8 | Calcium | Total | mg/L | 1 | 9.92 | < | 2.3 | 10 | J |  | 100
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:10 | Water_Grab | Grab | 2 |  | -88 | m |  |  | QC1188703 | 2018-03-13 | samplewater | EPA 200.8 | Copper | Total | mg/L | 1 | 0.0123 | = | 0.00012 | 0.003 | None |  | 1
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:10 | Water_Grab | Grab | 2 |  | -88 | m |  |  | QC1188703 | 2018-03-13 | samplewater | EPA 200.8 | Lead | Total | mg/L | 1 | 0.00918 | = | 0.00076 | 0.005 | None |  | 1
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:10 | Water_Grab | Grab | 2 |  | -88 | m |  |  | QC1188703 | 2018-03-14 | samplewater | EPA 200.8 | Magnesium | Total | mg/L | 1 | 4.79 | < | 0.56 | 5 | J |  | 100
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:10 | Water_Grab | Grab | 2 |  | -88 | m |  |  | QC1188703 | 2018-03-13 | samplewater | EPA 200.8 | Selenium | Total | mg/L | 1 | -88 | ND | 0.00039 | 0.002 | None |  | 1
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:10 | Water_Grab | Grab | 2 |  | -88 | m |  |  | QC1188703 | 2018-03-13 | samplewater | EPA 200.8 | Zinc | Total | mg/L | 1 | 0.0547 | = | 0.0027 | 0.01 | None |  | 1
LHH-2 | 2018-03-11 | La Habra Heights | [6 empty] | 23:10 | Water_Grab | Grab | 2 |  | -88 | m |  |  | QC1188703 | 2018-03-14 | samplewater | SM 2340 B | Hardness as CaCO3 | Total | mg/L | 1 | 44.4 | = | 20 | 50 | None |  | 100
LABQA | 2018-03-11 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-14 | blankwater | EPA 200.8 | Calcium | Total | mg/L | 1 | -88 | ND | 0.023 | 0.1 | None |  | 1
LABQA | 2018-03-11 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-13 | blankwater | EPA 200.8 | Copper | Total | mg/L | 1 | -88 | ND | 0.00012 | 0.003 | None |  | 1
LABQA | 2018-03-11 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-13 | blankwater | EPA 200.8 | Lead | Total | mg/L | 1 | -88 | ND | 0.00076 | 0.005 | None |  | 1
LABQA | 2018-03-11 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-14 | blankwater | EPA 200.8 | Magnesium | Total | mg/L | 1 | -88 | ND | 0.0056 | 0.05 | None |  | 1
LABQA | 2018-03-11 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-13 | blankwater | EPA 200.8 | Selenium | Total | mg/L | 1 | -88 | ND | 0.00039 | 0.002 | None |  | 1
LABQA | 2018-03-11 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-13 | blankwater | EPA 200.8 | Zinc | Total | mg/L | 1 | -88 | ND | 0.0027 | 0.01 | None |  | 1
LABQA | 2018-03-11 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-14 | blankwater | SM 2340 B | Hardness as CaCO3 | Total | mg/L | 1 | -88 | ND | 0.2 | 0.5 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Aluminum | Dissolved | mg/L | 1 | 0.00268 | = | 0.0033 | 0.01 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Copper | Dissolved | mg/L | 1 | -88 | ND | 0.00012 | 0.003 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Lead | Dissolved | mg/L | 1 | -88 | ND | 0.00076 | 0.005 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Nickel | Dissolved | mg/L | 1 | -88 | ND | 0.00059 | 0.005 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Selenium | Dissolved | mg/L | 1 | -88 | ND | 0.00039 | 0.002 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Zinc | Dissolved | mg/L | 1 | -88 | ND | 0.0027 | 0.01 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Aluminum | Dissolved | mg/L | 2 | -88 | ND | 0.0033 | 0.01 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Copper | Dissolved | mg/L | 2 | -88 | ND | 0.00012 | 0.003 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Lead | Dissolved | mg/L | 2 | -88 | ND | 0.00076 | 0.005 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Nickel | Dissolved | mg/L | 2 | -88 | ND | 0.00059 | 0.005 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Selenium | Dissolved | mg/L | 2 | -88 | ND | 0.00039 | 0.002 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Zinc | Dissolved | mg/L | 2 | -88 | ND | 0.0027 | 0.01 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Aluminum | Total | mg/L | 1 | 0.0005 | = | 0.0033 | 0.01 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Aluminum | Total | mg/L | 1 | 0.0005 | = | 0.0033 | 0.01 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Cadmium | Total | mg/L | 1 | 0.0004 | = | 7.4e-05 | 0.001 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Cadmium | Total | mg/L | 1 | 0.0004 | = | 7.4e-05 | 0.001 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Calcium | Total | mg/L | 1 | 0.0152 | = | 0.023 | 0.1 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Calcium | Total | mg/L | 1 | 0.0152 | = | 0.023 | 0.1 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Copper | Total | mg/L | 1 | -88 | ND | 0.00012 | 0.003 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Copper | Total | mg/L | 1 | -88 | ND | 0.00012 | 0.003 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Lead | Total | mg/L | 1 | -88 | ND | 0.00076 | 0.005 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Lead | Total | mg/L | 1 | -88 | ND | 0.00076 | 0.005 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Magnesium | Total | mg/L | 1 | 0.00109 | = | 0.0056 | 0.05 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Magnesium | Total | mg/L | 1 | 0.00109 | = | 0.0056 | 0.05 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Selenium | Total | mg/L | 1 | -88 | ND | 0.00039 | 0.002 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Selenium | Total | mg/L | 1 | -88 | ND | 0.00039 | 0.002 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Silver | Total | mg/L | 1 | -88 | ND | 0.00056 | 0.005 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Silver | Total | mg/L | 1 | -88 | ND | 0.00056 | 0.005 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Zinc | Total | mg/L | 1 | 0.0003 | = | 0.0027 | 0.01 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | blankwater | EPA 200.8 | Zinc | Total | mg/L | 1 | 0.0003 | = | 0.0027 | 0.01 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188741 | 2018-03-12 | blankwater | SM 2540 C | Dissolved Solids | Total | mg/L | 1 | -88 | ND | 10 | 10 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | QC1188872 | 2018-03-14 | blankwater | SM 2540 D | Suspended Solids | Total | mg/L | 1 | -88 | ND | 0.5 | 0.5 | None |  | 1
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Aluminum | Total | %REC | 1 | 89 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Copper | Total | %REC | 1 | 90 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Lead | Total | %REC | 1 | 87 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Nickel | Total | %REC | 1 | 91 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Selenium | Total | %REC | 1 | 98 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | blankwater | EPA 200.8 | Zinc | Total | %REC | 1 | 98 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Aluminum | Total | %REC | 1 | 84 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Copper | Total | %REC | 1 | 79 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Lead | Total | %REC | 1 | 87 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Nickel | Total | %REC | 1 | 84 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Selenium | Total | %REC | 1 | 82 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Zinc | Total | %REC | 1 | 0 | = | -88 | -88 | BB
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Aluminum | Total | %REC | 1 | 86 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Copper | Total | %REC | 1 | 75 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Lead | Total | %REC | 1 | 83 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Nickel | Total | %REC | 1 | 79 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Selenium | Total | %REC | 1 | 82 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188702 | 2018-03-12 | samplewater | EPA 200.8 | Zinc | Total | %REC | 1 | 81 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Aluminum | Total | %REC | 1 | 92 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Cadmium | Total | %REC | 1 | 110 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Calcium | Total | %REC | 1 | 95 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Copper | Total | %REC | 1 | 90 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Lead | Total | %REC | 1 | 94 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Magnesium | Total | %REC | 1 | 103 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Selenium | Total | %REC | 1 | 112 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Silver | Total | %REC | 1 | 94 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Zinc | Total | %REC | 1 | 108 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Aluminum | Total | %REC | 1 | 70 | = | -88 | -88 | GB
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Cadmium | Total | %REC | 1 | 115 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Copper | Total | %REC | 1 | 89 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Lead | Total | %REC | 1 | 94 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Selenium | Total | %REC | 1 | 109 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Silver | Total | %REC | 1 | 94 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Zinc | Total | %REC | 1 | 105 | = | -88 | -88 | None
000NONPJ | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Calcium | Total | %REC | 1 | 129 | = | -88 | -88 | BB
000NONPJ | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | QC1188703 | 2018-03-12 | samplewater | EPA 200.8 | Magnesium | Total | %REC | 1 | 98 | = | -88 | -88 | None
LABQA | 1950-01-01 | La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | QC1188741 | 2018-03-12 | blankwater | SM 2540 C | Dissolved Solids | Total | %REC | 1 | 99 | = | -88 | -88 | None
LHH-2 | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:50 | Not Applicable | Grab | 1 |  | -88 | m |  |  | I0330HARB1 | 2018-03-30 15:13 | samplewater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 29 | = | 0.99 | 2 | None |  | 1 | [5 empty] | 20180322LHH-2 | 18-03-1952-1-C
LHH-2 | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:55 | Not Applicable | Grab | 2 |  | -88 | m |  |  | I0330HARB1 | 2018-03-30 15:13 | samplewater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 30 | = | 0.99 | 2 | None |  | 1 | [5 empty] | 20180322LHH-DUP | 18-03-1952-2-B
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:55 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | I0330HARB1 | 2018-03-30 15:13 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | -88 | ND | 0.99 | 2 | None |  | 1 | [5 empty] | 20180322LHH-BLK | 18-03-1952-3-B
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | I0330HARB1 | 2018-03-30 15:13 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | -88 | ND | 0.99 | 2 | None |  | 1 | [5 empty] | Method Blank | 099-14-457-790
LHH-2 | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:50 | Not Applicable | Grab | 1 |  | -88 | m |  |  | I0326TDSL2 | 2018-03-26 18:00 | samplewater | SM 2540 C | Dissolved Solids | Total | mg/L | 1 | 65 | = | 0.87 | 1 | None |  | 1 | [5 empty] | 20180322LHH-2 | 18-03-1952-1-D
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | I0326TDSL2 | 2018-03-26 18:00 | blankwater | SM 2540 C | Dissolved Solids | Total | mg/L | 1 | -88 | ND | 0.87 | 1 | None |  | 1 | [5 empty] | Method Blank | 099-12-180-6079
LHH-2 | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:50 | Not Applicable | Grab | 1 |  | -88 | m |  |  | I0329TSSL2 | 2018-03-29 14:30 | samplewater | SM 2540 D | Suspended Solids | Total | mg/L | 1 | 125 | = | 0.829 | 1 | None |  | 1 | [5 empty] | 20180322LHH-2 | 18-03-1952-1-E
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | I0329TSSL2 | 2018-03-29 14:30 | blankwater | SM 2540 D | Suspended Solids | Total | mg/L | 1 | -88 | ND | 0.83 | 1 | None |  | 1 | [5 empty] | Method Blank | 099-09-010-9048
LHH-2 | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:50 | Not Applicable | Grab | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:42 | samplewater | EPA 200.8 | Lead | Total | mg/L | 1 | 0.00245 | = | 8.98e-05 | 0.001 | None |  | 1 | [5 empty] | 20180322LHH-2 | 18-03-1952-1-B
LHH-2 | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:50 | Not Applicable | Grab | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:42 | samplewater | EPA 200.8 | Selenium | Total | mg/L | 1 | 0.000815 | < | 0.000168 | 0.001 | J |  | 1 | [5 empty] | 20180322LHH-2 | 18-03-1952-1-B
LHH-2 | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:55 | Not Applicable | Grab | 2 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:44 | samplewater | EPA 200.8 | Copper | Total | mg/L | 1 | 0.00779 | = | 0.00014 | 0.001 | None |  | 1 | [5 empty] | 20180322LHH-DUP | 18-03-1952-2-A
LHH-2 | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:55 | Not Applicable | Grab | 2 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:44 | samplewater | EPA 200.8 | Lead | Total | mg/L | 1 | 0.00248 | = | 8.98e-05 | 0.001 | None |  | 1 | [5 empty] | 20180322LHH-DUP | 18-03-1952-2-A
LHH-2 | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:55 | Not Applicable | Grab | 2 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:44 | samplewater | EPA 200.8 | Selenium | Total | mg/L | 1 | 0.000611 | < | 0.000168 | 0.001 | J |  | 1 | [5 empty] | 20180322LHH-DUP | 18-03-1952-2-A
LHH-2 | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:55 | Not Applicable | Grab | 2 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:44 | samplewater | EPA 200.8 | Zinc | Total | mg/L | 1 | 0.0215 | = | 0.000479 | 0.005 | None |  | 1 | [5 empty] | 20180322LHH-DUP | 18-03-1952-2-A
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:55 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:54 | blankwater | EPA 200.8 | Copper | Total | mg/L | 1 | -88 | ND | 0.00014 | 0.001 | None |  | 1 | [5 empty] | 20180322LHH-BLK | 18-03-1952-3-A
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:55 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:54 | blankwater | EPA 200.8 | Lead | Total | mg/L | 1 | -88 | ND | 8.98e-05 | 0.001 | None |  | 1 | [5 empty] | 20180322LHH-BLK | 18-03-1952-3-A
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:55 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:54 | blankwater | EPA 200.8 | Selenium | Total | mg/L | 1 | 0.000614 | < | 0.000168 | 0.001 | J |  | 1 | [5 empty] | 20180322LHH-BLK | 18-03-1952-3-A
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:55 | Not Applicable | FieldBlank | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:54 | blankwater | EPA 200.8 | Zinc | Total | mg/L | 1 | -88 | ND | 0.000479 | 0.005 | None |  | 1 | [5 empty] | 20180322LHH-BLK | 18-03-1952-3-A
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 13:56 | blankwater | EPA 200.8 | Copper | Total | mg/L | 1 | -88 | ND | 0.00014 | 0.001 | None |  | 1 | [5 empty] | Method Blank | 099-16-094-2287
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 13:56 | blankwater | EPA 200.8 | Lead | Total | mg/L | 1 | -88 | ND | 8.98e-05 | 0.001 | None |  | 1 | [5 empty] | Method Blank | 099-16-094-2287
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 13:56 | blankwater | EPA 200.8 | Selenium | Total | mg/L | 1 | -88 | ND | 0.000168 | 0.001 | None |  | 1 | [5 empty] | Method Blank | 099-16-094-2287
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 13:56 | blankwater | EPA 200.8 | Zinc | Total | mg/L | 1 | -88 | ND | 0.000479 | 0.005 | None |  | 1 | [5 empty] | Method Blank | 099-16-094-2287
LHH-2 | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:50 | Not Applicable | Grab | 1 |  | -88 | m |  |  | 180329LA2F | 2018-03-30 15:05 | samplewater | EPA 200.8 | Lead | Dissolved | mg/L | 1 | 0.000356 | < | 8.98e-05 | 0.001 | J |  | 1 | [5 empty] | 20180322LHH-2 | 18-03-1952-1-A
LHH-2 | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:50 | Not Applicable | Grab | 1 |  | -88 | m |  |  | 180329LA2F | 2018-03-30 15:05 | samplewater | EPA 200.8 | Selenium | Dissolved | mg/L | 1 | 0.000765 | < | 0.000168 | 0.001 | IP,J |  | 1 | [5 empty] | 20180322LHH-2 | 18-03-1952-1-A
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | 180329LA2F | 2018-03-30 13:59 | blankwater | EPA 200.8 | Lead | Dissolved | mg/L | 1 | -88 | ND | 8.98e-05 | 0.001 | None |  | 1 | [5 empty] | Method Blank | 099-12-900-204
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LabBlank | 1 |  | -88 | m |  |  | 180329LA2F | 2018-03-30 13:59 | blankwater | EPA 200.8 | Selenium | Dissolved | mg/L | 1 | 0.00025 | < | 0.000168 | 0.001 | J |  | 1 | [5 empty] | Method Blank | 099-12-900-204
000NONPJ | 2018-03-22 | City of La Habra Heights | [6 empty] | 12:05 | Not Applicable | QAGrab | 1 |  | -88 | m |  |  | I0330HARB1 | 2018-03-30 15:13 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 281 | = | 0.9892 | 2 | None |  | 1 | [5 empty] | 18-03-1957-1 | 18-03-1957-1
000NONPJ | 2018-03-22 | City of La Habra Heights | [6 empty] | 12:05 | Not Applicable | QAGrab | 1 |  | -88 | m |  |  | I0330HARB1 | 2018-03-30 15:13 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 275 | = | 0.9892 | 2 | None |  | 1 | [5 empty] | 18-03-1957-1 | 18-03-1957-1
000NONPJ | 2018-03-22 | City of La Habra Heights | [6 empty] | 14:50 | Not Applicable | QAGrab | 1 |  | -88 | m |  |  | I0326TDSL2 | 2018-03-26 18:00 | blankwater | SM 2540 C | Dissolved Solids | Total | mg/L | 1 | 65 | = | 0.8703 | 1 | None |  | 1 | [5 empty] | 20180322LHH-2 | 18-03-1952-1
000NONPJ | 2018-03-22 | City of La Habra Heights | [6 empty] | 15:20 | Not Applicable | QAGrab | 1 |  | -88 | m |  |  | I0329TSSL2 | 2018-03-29 14:30 | blankwater | SM 2540 D | Suspended Solids | Total | mg/L | 1 | 98.67 | = | 0.8287 | 1 | None |  | 1 | [5 empty] | 18-03-2016-1 | 18-03-2016-1
000NONPJ | 2018-03-22 | City of La Habra Heights | [6 empty] | 15:20 | Not Applicable | QAGrab | 1 |  | -88 | m |  |  | I0329TSSL2 | 2018-03-29 14:30 | blankwater | SM 2540 D | Suspended Solids | Total | mg/L | 1 | 101.7 | = | 0.8287 | 1 | None |  | 1 | [5 empty] | 18-03-2016-1 | 18-03-2016-1
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 11:20 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:05 | samplewater | EPA 200.8 | Copper | Total | %REC | 1 | 91 | = | 0.0001397 | 0.001 | None |  | 1 | [5 empty] | 18-03-1948-1 | 18-03-1948-1
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 11:20 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:05 | samplewater | EPA 200.8 | Lead | Total | %REC | 1 | 99 | = | 8.976e-05 | 0.001 | None |  | 1 | [5 empty] | 18-03-1948-1 | 18-03-1948-1
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 11:20 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:05 | samplewater | EPA 200.8 | Selenium | Total | %REC | 1 | 83 | = | 0.0001682 | 0.001 | None |  | 1 | [5 empty] | 18-03-1948-1 | 18-03-1948-1
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 11:20 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:05 | samplewater | EPA 200.8 | Zinc | Total | %REC | 1 | 69 | = | 0.0004789 | 0.005 | GB |  | 1 | [5 empty] | 18-03-1948-1 | 18-03-1948-1
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 11:20 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:07 | samplewater | EPA 200.8 | Copper | Total | %REC | 1 | 95 | = | 0.0001397 | 0.001 | None |  | 1 | [5 empty] | 18-03-1948-1 | 18-03-1948-1
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 11:20 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:07 | samplewater | EPA 200.8 | Lead | Total | %REC | 1 | 102 | = | 8.976e-05 | 0.001 | None |  | 1 | [5 empty] | 18-03-1948-1 | 18-03-1948-1
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 11:20 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:07 | samplewater | EPA 200.8 | Selenium | Total | %REC | 1 | 90 | = | 0.0001682 | 0.001 | None |  | 1 | [5 empty] | 18-03-1948-1 | 18-03-1948-1
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 11:20 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 16:07 | samplewater | EPA 200.8 | Zinc | Total | %REC | 1 | 78 | = | 0.0004789 | 0.005 | GB |  | 1 | [5 empty] | 18-03-1948-1 | 18-03-1948-1
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 11:50 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180329LA2F | 2018-04-02 15:57 | samplewater | EPA 200.8 | Lead | Dissolved | %REC | 1 | 107 | = | 8.976e-05 | 0.001 | None |  | 1 | [5 empty] | 18-03-1947-1 | 18-03-1947-1
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 11:50 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180329LA2F | 2018-04-02 15:57 | samplewater | EPA 200.8 | Selenium | Dissolved | %REC | 1 | 106 | = | 0.0001682 | 0.001 | None |  | 1 | [5 empty] | 18-03-1947-1 | 18-03-1947-1
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 11:50 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180329LA2F | 2018-04-02 16:07 | samplewater | EPA 200.8 | Lead | Dissolved | %REC | 1 | 108 | = | 8.976e-05 | 0.001 | None |  | 1 | [5 empty] | 18-03-1947-1 | 18-03-1947-1
LABQA | 2018-03-22 | City of La Habra Heights | [6 empty] | 11:50 | Not Applicable | MS1 | 1 |  | -88 | m |  |  | 180329LA2F | 2018-04-02 16:07 | samplewater | EPA 200.8 | Selenium | Dissolved | %REC | 1 | 104 | = | 0.0001682 | 0.001 | None |  | 1 | [5 empty] | 18-03-1947-1 | 18-03-1947-1
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | I0326TDSL2 | 2018-03-26 18:00 | blankwater | SM 2540 C | Dissolved Solids | Total | %REC | 1 | 90 | = | 0.8703 | 1 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-12-180-6079
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | I0326TDSL2 | 2018-03-26 18:00 | blankwater | SM 2540 C | Dissolved Solids | Total | %REC | 1 | 95 | = | 0.8703 | 1 | None |  | 1 | [5 empty] | Laboratory Control Sample Duplicate | 099-12-180-6079
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | I0329TSSL2 | 2018-03-29 14:30 | blankwater | SM 2540 D | Suspended Solids | Total | %REC | 1 | 97 | = | 0.8287 | 1 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-09-010-9048
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | I0329TSSL2 | 2018-03-29 14:30 | blankwater | SM 2540 D | Suspended Solids | Total | %REC | 1 | 93 | = | 0.8287 | 1 | None |  | 1 | [5 empty] | Laboratory Control Sample Duplicate | 099-09-010-9048
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 14:03 | blankwater | EPA 200.8 | Copper | Total | %REC | 1 | 96 | = | 0.0001397 | 0.001 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-16-094-2287
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 14:03 | blankwater | EPA 200.8 | Lead | Total | %REC | 1 | 95 | = | 8.976e-05 | 0.001 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-16-094-2287
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 14:03 | blankwater | EPA 200.8 | Selenium | Total | %REC | 1 | 95 | = | 0.0001682 | 0.001 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-16-094-2287
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | 180329LA1 | 2018-03-30 14:03 | blankwater | EPA 200.8 | Zinc | Total | %REC | 1 | 97 | = | 0.0004789 | 0.005 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-16-094-2287
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | 180329LA2F | 2018-03-30 14:06 | blankwater | EPA 200.8 | Lead | Dissolved | %REC | 1 | 97 | = | 8.976e-05 | 0.001 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-12-900-204
LABQA | 1950-01-01 | City of La Habra Heights | [6 empty] | 0:00 | Not Applicable | LCS | 1 |  | -88 | m |  |  | 180329LA2F | 2018-03-30 14:06 | blankwater | EPA 200.8 | Selenium | Dissolved | %REC | 1 | 95 | = | 0.0001682 | 0.001 | None |  | 1 | [5 empty] | Laboratory Control Sample | 099-12-900-204
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy Default Value: 01/Jan/1950
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded LabQA Samples: Not Applicable
Note on F1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded LabQA Samples: Not Applicable
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Format: hh:mm Default Value: 00:00 Note: If highlighted, incorrect format used
Note on K1: LookUp List: CollectionMethodLookUp Default Value: Not Recorded LabQA Samples: Not Applicable
Note on L1: LookUp List: SampleTypeLookUp Default Value: Not Recorded
Note on M1: Default Value: 1
Note on N1: LookUp List: CollectionDeviceLookUp Default Value: Not Recorded
Note on P1: LookUp List: VariableCodesLookUp
Note on Q1: LookUp List: VariableCodesLookUp Default: Not Applicable
Note on T1: Format: dd/mmm/yyyy hh:mm Default Value: 01/Jan/1950 00:00
Note on U1: LookUp List: MatrixLookUp Default Value: Not Recorded
Note on V1: LookUp List: MethodLookUp Default Value: Not Recorded
Note on W1: LookUp List: AnalyteLookUp
Note on X1: LookUp List: FractionLookUp
Note on Y1: LookUp List: UnitLookUp
Note on Z1: Default: 1
Note on AA1: Result may be left blank as long as an appropriate ResQualCode is provided
Note on AB1: LookUp List: ResQualLookUp Default Value: =
Note on AC1: Default Value: -88
Note on AD1: Default Value: -88
Note on AE1: LookUp List: QALookUp Default Value: NR. If unknown. Default Value: None. Indicates no special conditions.
Note on AF1: LookUp List: ComplianceLookUp Default Value: NR
Note on AG1: Default Value: 1
Note on AI1: LookUp List: PrepPreservationLookUp Default Value: Not Recorded
Note on AJ1: Format: dd/mmm/yyyy hh:mm Default Value: 01/Jan/1950 00:00
Note on AK1: LookUp List: DigestExtractLookUp Default Value: Not Recorded
Note on AL1: Format: dd/mmm/yyyy hh:mm Default Value: 01/Jan/1950 00:00

## LabBatch
LabBatch | LabAgencyCode | LabSubmissionCode | BatchVerificationCode | SubmittingAgencyCode | LabBatchComments
I0116HARB2 | CALSCI
I0113TDSL1 | CALSCI
I0113TSSL1 | CALSCI
180110LA2 | CALSCI
180110LA3F | CALSCI
QC1188703 | ENTHALPY
QC1188702 | ENTHALPY
QC1188741 | ENTHALPY
QC1188872 | ENTHALPY
I0330HARB1 | CALSCI
I0326TDSL2 | CALSCI
I0329TSSL2 | CALSCI
180329LA1 | CALSCI
180329LA2F | CALSCI
Note on B1: LookUp List: AgencyLookUp Default Value: Not Recorded
Note on C1: LookUp List: LabSubmissionLookUp Default Value: NR
Note on D1: LookUp List: BatchVerificationLookUp Default Value: NR
Note on E1: LookUp List: AgencyLookUp